## Model Out
Date/Time | Month | Day | HOD | Run Label | Outdoor Air Temperature [F] | Living Zone Air Temperature [F] | Attic Zone Air Temperature [F] | Fan [W] | ASHP Compressor Heat [W] | ASHP Defrost [W] | ASHP Crankcase Heater [W] | ASHP Resistance Backup Heat [W]
01/01 01:00:00 | 01 | 01 | 01 | 1_People_ERWH_6_Timestep | 41 | 69.5533 | 44.972 | 22.3184 | 260.6964 | 19.8666 | 182.2886 | 0
01/01 02:00:00 | 01 | 01 | 02 | 1_People_ERWH_6_Timestep | 41 | 68.8021 | 45.1885 | 19.9766 | 230.0517 | 21.364 | 184.1353 | 0
01/01 03:00:00 | 01 | 01 | 03 | 1_People_ERWH_6_Timestep | 41 | 69.6327 | 45.0246 | 30.3466 | 346.999 | 32.454 | 175.8999 | 0
01/01 04:00:00 | 01 | 01 | 04 | 1_People_ERWH_6_Timestep | 42.08 | 68.7719 | 45.0859 | 15.6097 | 216.577 | 0 | 187.652 | 0
01/01 05:00:00 | 01 | 01 | 05 | 1_People_ERWH_6_Timestep | 42.98 | 69.7265 | 45.0528 | 18.8741 | 261.0828 | 0 | 185.0697 | 0
01/01 06:00:00 | 01 | 01 | 06 | 1_People_ERWH_6_Timestep | 46.04 | 68.3693 | 46.8422 | 6.1713 | 87.7725 | 0 | 195.1182 | 0
01/01 07:00:00 | 01 | 01 | 07 | 1_People_ERWH_6_Timestep | 44.06 | 69.665 | 46.2958 | 15.2565 | 212.1408 | 0 | 187.9314 | 0
01/01 08:00:00 | 01 | 01 | 08 | 1_People_ERWH_6_Timestep | 44.06 | 68.2471 | 46.3861 | 9.2487 | 130.096 | 0 | 192.6839 | 0
01/01 09:00:00 | 01 | 01 | 09 | 1_People_ERWH_6_Timestep | 46.04 | 69.5245 | 47.4294 | 21.1989 | 297.9109 | 0 | 183.2307 | 0
01/01 10:00:00 | 01 | 01 | 10 | 1_People_ERWH_6_Timestep | 46.04 | 69.5873 | 48.4345 | 12.2029 | 173.7559 | 0 | 190.3469 | 0
01/01 11:00:00 | 01 | 01 | 11 | 1_People_ERWH_6_Timestep | 48.02 | 69.0415 | 51.2241 | 3.1385 | 45.3509 | 0 | 197.5173 | 0
01/01 12:00:00 | 01 | 01 | 12 | 1_People_ERWH_6_Timestep | 48.92 | 68.7895 | 52.3765 | 4.5499 | 66.0661 | 0 | 196.4008 | 0
01/01 13:00:00 | 01 | 01 | 13 | 1_People_ERWH_6_Timestep | 42.98 | 68.8639 | 51.5341 | 10.2356 | 143.0888 | 0 | 191.9031 | 0
01/01 14:00:00 | 01 | 01 | 14 | 1_People_ERWH_6_Timestep | 44.06 | 67.713 | 50.4226 | 11.9873 | 168.6007 | 0 | 190.5175 | 0
01/01 15:00:00 | 01 | 01 | 15 | 1_People_ERWH_6_Timestep | 44.06 | 69.6679 | 51.5196 | 30.2448 | 420.0795 | 0 | 176.0749 | 0
01/01 16:00:00 | 01 | 01 | 16 | 1_People_ERWH_6_Timestep | 42.98 | 68.7784 | 49.4452 | 17.8085 | 250.757 | 0 | 185.9126 | 0
01/01 17:00:00 | 01 | 01 | 17 | 1_People_ERWH_6_Timestep | 42.98 | 68.7921 | 48.0843 | 20.8614 | 290.4126 | 0 | 183.4976 | 0
01/01 18:00:00 | 01 | 01 | 18 | 1_People_ERWH_6_Timestep | 42.98 | 69.7187 | 47.1943 | 19.7863 | 274.9148 | 0 | 184.3481 | 0
01/01 19:00:00 | 01 | 01 | 19 | 1_People_ERWH_6_Timestep | 42.98 | 68.2324 | 46.3728 | 6.9047 | 96.6784 | 0 | 194.538 | 0
01/01 20:00:00 | 01 | 01 | 20 | 1_People_ERWH_6_Timestep | 42.98 | 68.88 | 46.3355 | 18.3967 | 253.6902 | 0 | 185.4473 | 0
01/01 21:00:00 | 01 | 01 | 21 | 1_People_ERWH_6_Timestep | 42.08 | 68.6609 | 45.6642 | 19.9135 | 274.8393 | 0 | 184.2475 | 0
01/01 22:00:00 | 01 | 01 | 22 | 1_People_ERWH_6_Timestep | 42.98 | 68.5879 | 46.1879 | 27.7903 | 384.4477 | 0 | 178.0165 | 0
01/01 23:00:00 | 01 | 01 | 23 | 1_People_ERWH_6_Timestep | 42.98 | 69.2715 | 46.4864 | 37.8392 | 523.4217 | 0 | 170.0673 | 0
01/01 24:00:00 | 01 | 01 | 24 | 1_People_ERWH_6_Timestep | 42.98 | 68.5547 | 46.9153 | 39.1088 | 544.7984 | 0 | 169.0631 | 0

## Model In
Run Label | Timesteps Per Hour | Weather File | Building Orientation [deg] | Conditioned Footprint Area [ft^2] | Average Number of Stories Above Foundation | Average Ceiling Height Per Story [ft] | Building Width to Depth Ratio | Exterior Non-Foundation Wall Construction | Ceiling And Roof Construction | Foundation And Floor Construction | Window U-Value [Btu/h-ft^2-F] | Window Solar Heat Gain Coefficient | Window Shades | Window-to-Wall Ratio, Front [%] | Window-to-Wall Ratio, Back [%] | Window-to-Wall Ratio, Left [%] | Window-to-Wall Ratio, Right [%] | Conditioned Envelope Infiltration [ACH50] | Primary HVAC Type | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | Backup Electric Baseboard Heat Capacity [kW] | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Gas Furnace AFUE [%] | Supply Duct Leakage [%] | Supply Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Return Duct Leakage [%] | Return Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Heating Setpoint Schedule | Cooling Setpoint Schedule | Water Heater Type | Water Heater Setpoint Schedule | Number Of People | Interior Lighting Power Density [W/ft^2] | Exterior Lighting Power [W] | Range | Dryer | Refrigerator | Clothes Washer | Dishwasher | Misc Electric Gains [Max W] | Misc Electric Gains Schedule | Misc Gas Gains [Max Btu/h] | Misc Gas Gains Schedule
1_People_ERWH_6_Timestep | 6 | USA_WA_Seattle-Tacoma.Intl.AP.727930_TMY3 | 0 | 2000 | 1 | 8 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R49 Cavity Insulation | Slab - R5 Perimeter with No Thermal Break | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 7 | Single Speed ASHP (8.2 HSPF 14 SEER) | ton | 4 | ton | 4 | Electric | kW | 15 | 0 | 30 | 0 | 0.85 | 0.1 | 4 | 0.1 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 1 | 1 | 1000 | None | None | None | None | None | 1000 | PNNL Prototype Default | 0

## Run Characteristics
EnergyPlus Directory | C:\EnergyPlusV9-5-0\energyplus.exe
Model Input Template Directory | D:\Repositories\REEDR\Model Input Template.xlsx
Simulation Type | Test Run
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 1
Simulation End Day | 1
Output Granularity | Hourly
Output End Uses | Heating
Run Complete Timestamp | 2022-12-30 14:05:29.808005-08:00 US Pacific Time