## Sheet1
Run_Label | Total_Elec[kWh] | Heat_Elec[kWh] | Cool_Elec[kWh] | Fan_Elec[kWh] | Pump_Elec[kWh] | DHW_Elec[kWh] | IntLights_Elec[kWh] | ExtLights_Elec[kWh] | IntEquip_Elec[kWh] | HeatRecov_Elec[kWh] | Total_Gas[therm] | Heating_Gas[therm] | DHW_Gas[therm] | IntEquip_Gas[therm] | UnmetHours_Heating | UnmetHours_Cooling | Infiltration_Living[ACH] | Infiltration_Attic[ACH] | Infiltration_Crawlspace[ACH] | Infiltration_UnheatedBasement[ACH]
Air Source Heat Pump_Single Speed with Electric backup | 10431.42 | 8210.77 | 1171.93 | 1048.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1772.25 | 300 | 0 | 0 | 0 | 0
Air Source Heat Pump_Single Speed with Gas backup | 6173.34 | 3952.68 | 1171.93 | 1048.72 | 0 | 0 | 0 | 0 | 0 | 0 | 181.66 | 181.66 | 0 | 0 | 1772.25 | 300 | 0 | 0 | 0 | 0
Electric Furnace with CAC | 15519.94 | 13411.43 | 1177.28 | 931.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 652.75 | 295.25 | 0 | 0 | 0 | 0
Electric Furnace with No CAC | 13908.62 | 13244.43 | 0 | 664.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 652.25 | 2696.5 | 0 | 0 | 0 | 0
Gas Furnace with CAC | 2108.52 | 0 | 1177.28 | 931.24 | 0 | 0 | 0 | 0 | 0 | 0 | 572.16 | 572.16 | 0 | 0 | 652.75 | 295.25 | 0 | 0 | 0 | 0
Gas Furnace with No CAC | 664.2 | 0 | 0 | 664.2 | 0 | 0 | 0 | 0 | 0 | 0 | 565.03 | 565.03 | 0 | 0 | 652.25 | 2696.5 | 0 | 0 | 0 | 0
Zonal Resistance Baseboard Heat with No AC | 9339.9 | 9315.54 | 0 | 24.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2676.75 | 0 | 0 | 0 | 0
Zonal Resistance Baseboard Heat with Window AC | 11193.96 | 9437.85 | 1720.36 | 35.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 51.75 | 0 | 0 | 0 | 0