## Model Out
Date/Time | Month | Day | HOD | Run Label | Outdoor Air Temperature [F] | Living Zone Air Temperature [F] | Attic Zone Air Temperature [F] | Crawlspace Zone Air Temperature [F] | Fan [W] | ASHP Compressor Heat [W] | ASHP Defrost [W] | ASHP Crankcase Heater [W] | ASHP Resistance Backup Heat [W]
01/01 01:00:00 | 01 | 01 | 01 | Example 1 | 46.4 | 69.4007 | 43.5205 | 64.6057 | 50.6217 | 696.1927 | 0 | 135.9292 | 0
01/01 02:00:00 | 01 | 01 | 02 | Example 1 | 44.6 | 68.9222 | 47.3386 | 62.6847 | 47.1332 | 647.2784 | 0 | 140.3445 | 0
01/01 03:00:00 | 01 | 01 | 03 | Example 1 | 46.4 | 69.0665 | 48.6082 | 61.0123 | 46.2794 | 637.8627 | 0 | 141.4251 | 0
01/01 04:00:00 | 01 | 01 | 04 | Example 1 | 46.4 | 68.7679 | 49.9927 | 60.256 | 45.8922 | 631.8946 | 0 | 141.9153 | 0
01/01 05:00:00 | 01 | 01 | 05 | Example 1 | 44.6 | 68.9349 | 49.9993 | 60.6496 | 49.1168 | 666.346 | 0 | 137.834 | 0
01/01 06:00:00 | 01 | 01 | 06 | Example 1 | 44.6 | 68.8335 | 49.4824 | 58.0625 | 47.9406 | 651.7266 | 0 | 139.3226 | 0
01/01 07:00:00 | 01 | 01 | 07 | Example 1 | 44.6 | 69.3615 | 49.9679 | 61.9779 | 45.7895 | 619.7734 | 0 | 142.0453 | 0
01/01 08:00:00 | 01 | 01 | 08 | Example 1 | 44.6 | 68.8259 | 49.4126 | 59.5217 | 38.7094 | 529.4268 | 0 | 151.0063 | 0
01/01 09:00:00 | 01 | 01 | 09 | Example 1 | 42.8 | 69.1374 | 49.3409 | 62.2327 | 44.5135 | 597.3226 | 0 | 143.6603 | 0
01/01 10:00:00 | 01 | 01 | 10 | Example 1 | 42.8 | 69.0323 | 49.0947 | 62.7234 | 40.1421 | 542.3601 | 0 | 149.193 | 0
01/01 11:00:00 | 01 | 01 | 11 | Example 1 | 44.6 | 69.1252 | 49.2157 | 62.8861 | 36.3601 | 496.2867 | 0 | 153.9798 | 0
01/01 12:00:00 | 01 | 01 | 12 | Example 1 | 46.4 | 69.151 | 49.3068 | 61.9796 | 25.9219 | 358.1023 | 0 | 167.1913 | 0
01/01 13:00:00 | 01 | 01 | 13 | Example 1 | 46.4 | 69.0248 | 49.859 | 62.9853 | 23.2345 | 320.6611 | 0 | 170.5927 | 0
01/01 14:00:00 | 01 | 01 | 14 | Example 1 | 48.2 | 69.1328 | 50.1714 | 61.4048 | 20.4586 | 285.6304 | 0 | 174.106 | 0
01/01 15:00:00 | 01 | 01 | 15 | Example 1 | 48.2 | 69.0217 | 50.6532 | 61.8265 | 16.2192 | 226.193 | 0 | 179.4717 | 0
01/01 16:00:00 | 01 | 01 | 16 | Example 1 | 48.2 | 68.8792 | 50.3194 | 59.4586 | 14.2177 | 198.1791 | 0 | 182.005 | 0
01/01 17:00:00 | 01 | 01 | 17 | Example 1 | 44.6 | 68.1125 | 49.2472 | 57.9502 | 16.3725 | 222.1242 | 0 | 179.2777 | 0
01/01 18:00:00 | 01 | 01 | 18 | Example 1 | 42.8 | 69.0112 | 48.1692 | 59.0607 | 24.8558 | 330.5439 | 0 | 168.5405 | 0
01/01 19:00:00 | 01 | 01 | 19 | Example 1 | 43.52 | 68.9032 | 47.55 | 56.9036 | 25.372 | 342.2551 | 0 | 167.8873 | 0
01/01 20:00:00 | 01 | 01 | 20 | Example 1 | 40.82 | 68.6898 | 46.8823 | 56.9882 | 39.8441 | 433.4171 | 47.5693 | 149.3333 | 0
01/01 21:00:00 | 01 | 01 | 21 | Example 1 | 37.22 | 68.7748 | 45.1014 | 57.0394 | 50.2778 | 550.6691 | 50.8788 | 135.8818 | 0
01/01 22:00:00 | 01 | 01 | 22 | Example 1 | 32.18 | 68.5902 | 43.2536 | 57.7206 | 70.7771 | 781.5421 | 55.6787 | 109.5109 | 0
01/01 23:00:00 | 01 | 01 | 23 | Example 1 | 28.22 | 68.6131 | 41.6623 | 58.2539 | 102.497 | 1135.0108 | 63.0119 | 68.8754 | 0
01/01 24:00:00 | 01 | 01 | 24 | Example 1 | 25.16 | 68.7323 | 40.767 | 58.8123 | 139.1581 | 1538.5799 | 72.8703 | 21.891 | 0
01/01 01:00:00 | 01 | 01 | 01 | Example 2 | 42.08 | 68.8879 | 45.3507 | 57.5389 | 65.0703 | 875.8602 | 0 | 117.642 | 0
01/01 02:00:00 | 01 | 01 | 02 | Example 2 | 42.08 | 69.0079 | 46.8351 | 58.5716 | 70.4526 | 939.0726 | 0 | 110.8297 | 0
01/01 03:00:00 | 01 | 01 | 03 | Example 2 | 42.08 | 69.0495 | 47.2746 | 57.241 | 70.195 | 938.1004 | 0 | 111.1558 | 0
01/01 04:00:00 | 01 | 01 | 04 | Example 2 | 42.98 | 68.6733 | 47.9575 | 55.8798 | 73.5649 | 986.4041 | 0 | 106.8905 | 0
01/01 05:00:00 | 01 | 01 | 05 | Example 2 | 42.98 | 68.9329 | 48.1012 | 55.513 | 78.5462 | 1047.3509 | 0 | 100.5859 | 0
01/01 06:00:00 | 01 | 01 | 06 | Example 2 | 42.08 | 68.6149 | 47.6885 | 53.2432 | 84.5605 | 1123.1715 | 0 | 92.9736 | 0
01/01 07:00:00 | 01 | 01 | 07 | Example 2 | 39.92 | 68.9647 | 47.1409 | 53.0198 | 122.3072 | 1330.6793 | 133.6578 | 44.3927 | 0
01/01 08:00:00 | 01 | 01 | 08 | Example 2 | 41 | 69.1374 | 46.772 | 52.7462 | 105.8868 | 1164.0921 | 113.8635 | 65.4493 | 0
01/01 09:00:00 | 01 | 01 | 09 | Example 2 | 39.92 | 69.1896 | 47.0611 | 55.5094 | 93.6424 | 1024.3804 | 102.2617 | 80.8616 | 0
01/01 10:00:00 | 01 | 01 | 10 | Example 2 | 42.98 | 69.1441 | 46.9403 | 54.9195 | 54.282 | 727.3524 | 0 | 131.2965 | 0
01/01 11:00:00 | 01 | 01 | 11 | Example 2 | 42.98 | 69.0363 | 47.1126 | 54.9172 | 52.207 | 698.6708 | 0 | 133.9227 | 0
01/01 12:00:00 | 01 | 01 | 12 | Example 2 | 39.02 | 67.8834 | 45.9382 | 51.0312 | 85.4473 | 936.5377 | 90.3368 | 91.2044 | 0
01/01 13:00:00 | 01 | 01 | 13 | Example 2 | 39.2 | 68.826 | 45.954 | 50.7484 | 106.9029 | 1159.6178 | 108.2096 | 63.953 | 0
01/01 14:00:00 | 01 | 01 | 14 | Example 2 | 39.2 | 69.0644 | 46.1491 | 51.3809 | 107.4575 | 1155.7651 | 123.417 | 63.1298 | 0
01/01 15:00:00 | 01 | 01 | 15 | Example 2 | 42.8 | 69.0622 | 47.0597 | 52.6142 | 65.4556 | 869.4245 | 0 | 117.1543 | 0
01/01 16:00:00 | 01 | 01 | 16 | Example 2 | 42.08 | 69.2307 | 46.9721 | 53.1496 | 65.3958 | 866.8411 | 0 | 117.23 | 0
01/01 17:00:00 | 01 | 01 | 17 | Example 2 | 39.2 | 69.1591 | 46.5312 | 53.8385 | 84.8107 | 935.948 | 85.8492 | 92.0656 | 0
01/01 18:00:00 | 01 | 01 | 18 | Example 2 | 37.4 | 69.0839 | 45.2493 | 53.108 | 83.5334 | 907.4499 | 90.3148 | 93.4312 | 0
01/01 19:00:00 | 01 | 01 | 19 | Example 2 | 35.06 | 69.0579 | 43.2819 | 52.4275 | 82.3631 | 896.3334 | 80.6565 | 94.7528 | 0
01/01 20:00:00 | 01 | 01 | 20 | Example 2 | 33.98 | 69.0231 | 43.8038 | 55.2024 | 84.3429 | 900.5489 | 92.3059 | 91.9411 | 0
01/01 21:00:00 | 01 | 01 | 21 | Example 2 | 35.06 | 69.1209 | 43.8164 | 57.6335 | 76.8673 | 830.7778 | 81.2897 | 101.6905 | 0
01/01 22:00:00 | 01 | 01 | 22 | Example 2 | 33.98 | 68.9639 | 43.8536 | 57.8094 | 79.8075 | 867.1396 | 81.2598 | 97.8463 | 0
01/01 23:00:00 | 01 | 01 | 23 | Example 2 | 33.98 | 68.9775 | 43.9099 | 58.001 | 88.7792 | 963.3141 | 90.3944 | 86.3629 | 0
01/01 24:00:00 | 01 | 01 | 24 | Example 2 | 33.8 | 68.963 | 44.0294 | 58.0375 | 99.8108 | 1091.0085 | 95.2504 | 72.3173 | 0
01/01 01:00:00 | 01 | 01 | 01 | Example 3 | 24.08 | 68.5822 | 36.0847 | 55.5321 | 140.2094 | 1553.9153 | 79.0877 | 20.2209 | 0
01/01 02:00:00 | 01 | 01 | 02 | Example 3 | 21.92 | 68.8393 | 34.4693 | 56.5381 | 158.0181 | 1683.02 | 89.8911 | 0 | 593.0759
01/01 03:00:00 | 01 | 01 | 03 | Example 3 | 21.02 | 68.9038 | 33.7258 | 52.9211 | 158.0181 | 1688.6364 | 85.3154 | 0 | 1504.8527
01/01 04:00:00 | 01 | 01 | 04 | Example 3 | 21.92 | 68.9462 | 34.0714 | 53.9596 | 158.0181 | 1692.8525 | 81.7168 | 0 | 1710.2884
01/01 05:00:00 | 01 | 01 | 05 | Example 3 | 21.92 | 68.9841 | 34.1459 | 54.2769 | 158.0181 | 1683.3349 | 91.2825 | 0 | 1290.1753
01/01 06:00:00 | 01 | 01 | 06 | Example 3 | 24.98 | 69.0005 | 34.5708 | 51.7094 | 158.0181 | 1718.2546 | 84.7192 | 0 | 638.651
01/01 07:00:00 | 01 | 01 | 07 | Example 3 | 26.06 | 69.0098 | 35.537 | 53.0768 | 158.0181 | 1672.9052 | 119.2193 | 0 | 380.0248
01/01 08:00:00 | 01 | 01 | 08 | Example 3 | 26.06 | 69.0041 | 35.7048 | 52.5069 | 158.0181 | 1673.6103 | 121.2372 | 0 | 359.4714
01/01 09:00:00 | 01 | 01 | 09 | Example 3 | 26.96 | 69.0327 | 37.5942 | 55.0303 | 149.1087 | 1605.1021 | 119.209 | 8.3287 | 0
01/01 10:00:00 | 01 | 01 | 10 | Example 3 | 28.04 | 69.0294 | 39.4016 | 50.3794 | 124.1543 | 1351.9075 | 94.9227 | 40.694 | 0
01/01 11:00:00 | 01 | 01 | 11 | Example 3 | 28.94 | 69.0771 | 41.9137 | 50.9346 | 114.8934 | 1237.789 | 95.2324 | 52.5393 | 0
01/01 12:00:00 | 01 | 01 | 12 | Example 3 | 28.94 | 69.2828 | 44.5552 | 53.2042 | 97.2477 | 1049.5411 | 80.6068 | 75.186 | 0
01/01 13:00:00 | 01 | 01 | 13 | Example 3 | 28.94 | 69.0188 | 44.1781 | 51.8584 | 103.8406 | 1118.6368 | 92.7603 | 66.5637 | 0
01/01 14:00:00 | 01 | 01 | 14 | Example 3 | 30.92 | 69.2244 | 47.0629 | 56.9067 | 95.2543 | 1028.6576 | 85.2129 | 77.8679 | 0
01/01 15:00:00 | 01 | 01 | 15 | Example 3 | 30.92 | 68.8721 | 44.7548 | 51.5621 | 101.3007 | 1104.1721 | 90.6247 | 70.1114 | 0
01/01 16:00:00 | 01 | 01 | 16 | Example 3 | 30.92 | 69.0806 | 44.1609 | 54.6628 | 107.9623 | 1163.551 | 96.5807 | 61.5749 | 0
01/01 17:00:00 | 01 | 01 | 17 | Example 3 | 30.92 | 69.0517 | 43.184 | 56.9664 | 100.4582 | 1089.9776 | 89.8534 | 71.194 | 0
01/01 18:00:00 | 01 | 01 | 18 | Example 3 | 32 | 69.0629 | 41.8722 | 57.2332 | 89.5027 | 974.8188 | 82.5924 | 85.3263 | 0
01/01 19:00:00 | 01 | 01 | 19 | Example 3 | 30.92 | 68.9578 | 39.0086 | 50.5359 | 89.5653 | 973.5927 | 81.4369 | 85.1322 | 0
01/01 20:00:00 | 01 | 01 | 20 | Example 3 | 30.02 | 68.776 | 39.3556 | 52.4293 | 102.5635 | 1097.2714 | 94.7998 | 68.2997 | 0
01/01 21:00:00 | 01 | 01 | 21 | Example 3 | 30.02 | 69.0395 | 38.8934 | 54.8901 | 99.4306 | 1064.8975 | 91.9284 | 72.3216 | 0
01/01 22:00:00 | 01 | 01 | 22 | Example 3 | 30.92 | 69.1112 | 38.8988 | 56.6422 | 92.1196 | 991.6036 | 88.7584 | 81.7551 | 0
01/01 23:00:00 | 01 | 01 | 23 | Example 3 | 30.02 | 68.9741 | 37.9786 | 56.669 | 101.5335 | 1097.8771 | 93.8929 | 69.6162 | 0
01/01 24:00:00 | 01 | 01 | 24 | Example 3 | 30.02 | 68.9819 | 38.1479 | 56.7732 | 110.6816 | 1193.259 | 103.9222 | 57.8348 | 0
01/01 01:00:00 | 01 | 01 | 01 | Example 4 | 15.08 | 68.5468 | 35.0953 | 60.9498 | 158.0181 | 1715.2579 | 41.1374 | 0 | 478.3789
01/01 02:00:00 | 01 | 01 | 02 | Example 4 | 8.06 | 68.7725 | 31.3879 | 59.6823 | 158.0181 | 1645.3084 | 40.0984 | 0 | 2618.7727
01/01 03:00:00 | 01 | 01 | 03 | Example 4 | 3.2 | 68.841 | 28.3465 | 58.8539 | 158.0181 | 1620.4893 | 23.3431 | 0 | 4062.2069
01/01 04:00:00 | 01 | 01 | 04 | Example 4 | 3.2 | 68.8706 | 24.3917 | 51.2352 | 158.0181 | 1619.6134 | 23.3431 | 0 | 4750.1087
01/01 05:00:00 | 01 | 01 | 05 | Example 4 | 3.92 | 68.8987 | 24.2339 | 57.5696 | 158.0181 | 1621.3567 | 14.864 | 0 | 4857.1653
01/01 06:00:00 | 01 | 01 | 06 | Example 4 | 8.06 | 68.9443 | 24.3376 | 56.9553 | 158.0181 | 1656.1909 | 29.7428 | 0 | 3858.3582
01/01 07:00:00 | 01 | 01 | 07 | Example 4 | 10.94 | 68.9591 | 25.3999 | 53.6695 | 158.0181 | 1686.0891 | 26.3318 | 0 | 3391.4649
01/01 08:00:00 | 01 | 01 | 08 | Example 4 | 14 | 68.9806 | 27.2791 | 57.0115 | 158.0181 | 1681.187 | 44.77 | 0 | 2768.6474
01/01 09:00:00 | 01 | 01 | 09 | Example 4 | 14 | 68.9733 | 28.3547 | 56.5 | 158.0181 | 1701.9159 | 35.4213 | 0 | 2704.9435
01/01 10:00:00 | 01 | 01 | 10 | Example 4 | 17.6 | 68.9856 | 29.7901 | 56.7456 | 158.0181 | 1716.9284 | 46.169 | 0 | 2114.3635
01/01 11:00:00 | 01 | 01 | 11 | Example 4 | 21.2 | 69.0026 | 32.3473 | 56.79 | 158.0181 | 1712.6073 | 71.9006 | 0 | 1393.6111
01/01 12:00:00 | 01 | 01 | 12 | Example 4 | 23 | 69.0134 | 35.3739 | 56.7719 | 158.0181 | 1717.5332 | 79.2572 | 0 | 864.4634
01/01 13:00:00 | 01 | 01 | 13 | Example 4 | 24.8 | 69.0284 | 39.7647 | 56.7717 | 158.0181 | 1745.1819 | 70.0451 | 0 | 124.4074
01/01 14:00:00 | 01 | 01 | 14 | Example 4 | 26.6 | 69.0618 | 42.6247 | 56.8713 | 143.4356 | 1603.9474 | 70.8692 | 16.7136 | 0
01/01 15:00:00 | 01 | 01 | 15 | Example 4 | 26.6 | 69.0585 | 44.8194 | 56.8496 | 132.5248 | 1482.7195 | 65.4785 | 30.6554 | 0
01/01 16:00:00 | 01 | 01 | 16 | Example 4 | 26.6 | 69.0401 | 44.5457 | 56.813 | 127.9592 | 1431.565 | 63.2227 | 36.4896 | 0
01/01 17:00:00 | 01 | 01 | 17 | Example 4 | 28.4 | 69.0621 | 43.0471 | 56.9239 | 115.8168 | 1277.7236 | 79.9333 | 51.6493 | 0
01/01 18:00:00 | 01 | 01 | 18 | Example 4 | 28.4 | 69.0321 | 41.1992 | 56.9149 | 106.7871 | 1178.6089 | 73.7013 | 63.2154 | 0
01/01 19:00:00 | 01 | 01 | 19 | Example 4 | 26.96 | 68.985 | 39.5759 | 56.8192 | 103.1821 | 1133.0141 | 70.6497 | 67.6754 | 0
01/01 20:00:00 | 01 | 01 | 20 | Example 4 | 26.6 | 68.9854 | 38.3433 | 56.7579 | 101.9375 | 1109.8922 | 76.0786 | 69.0584 | 0
01/01 21:00:00 | 01 | 01 | 21 | Example 4 | 28.4 | 69.0674 | 37.4527 | 56.8457 | 92.3198 | 1017.9791 | 63.7162 | 81.7471 | 0
01/01 22:00:00 | 01 | 01 | 22 | Example 4 | 28.4 | 69.014 | 37.1707 | 56.7755 | 93.7248 | 1034.4459 | 64.6861 | 79.947 | 0
01/01 23:00:00 | 01 | 01 | 23 | Example 4 | 28.4 | 68.9864 | 37.1428 | 56.6767 | 101.2571 | 1116.8178 | 69.8845 | 70.2992 | 0
01/01 24:00:00 | 01 | 01 | 24 | Example 4 | 28.4 | 68.9694 | 37.3066 | 56.551 | 112.0729 | 1235.514 | 77.3491 | 56.4453 | 0

## Model In
Run Label | Timesteps Per Hour | Weather File | Building Orientation [deg] | Conditioned Footprint Area [ft^2] | Average Number of Stories Above Foundation | Average Ceiling Height Per Story [ft] | Building Width to Depth Ratio | Exterior Non-Foundation Wall Construction | Ceiling And Roof Construction | Foundation And Floor Construction | Window U-Value [Btu/h-ft^2-F] | Window Solar Heat Gain Coefficient | Window Shades | Window-to-Wall Ratio, Front [%] | Window-to-Wall Ratio, Back [%] | Window-to-Wall Ratio, Left [%] | Window-to-Wall Ratio, Right [%] | Conditioned Envelope Infiltration [ACH50] | Primary HVAC Type | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | Backup Electric Baseboard Heat Capacity [kW] | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Gas Furnace AFUE [%] | Supply Duct Leakage [%] | Supply Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Return Duct Leakage [%] | Return Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Heating Setpoint Schedule | Cooling Setpoint Schedule | Water Heater Type | Water Heater Setpoint Schedule | Number Of People | Interior Lighting Power Density [W/ft^2] | Exterior Lighting Power [W] | Range | Dryer | Refrigerator | Clothes Washer | Dishwasher | Misc Electric Gains [Max W] | Misc Electric Gains Schedule | Misc Gas Gains [Max Btu/h] | Misc Gas Gains Schedule
Example 1 | 1 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 2000 | 1 | 8 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R30 Cavity Insulation | Vented Crawlspace - R19 Cavity Insulation | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 8 | Single Speed ASHP (8.5 HSPF 15 SEER) | ton | 2.5 | ton | 2.5 | Electric | kW | 15 | 0 | 30 | -5 |  | 0.1 | 6 | 0.1 | 6 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 3 | 0.5 | 100 | Electric | Electric | Yes | Yes | Yes | 2000 | PNNL Prototype Default | 0
Example 2 | 1 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 2000 | 1 | 8 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R30 Cavity Insulation | Vented Crawlspace - R19 Cavity Insulation | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 8 | Single Speed ASHP (8.5 HSPF 15 SEER) | ton | 2.5 | ton | 2.5 | Electric | kW | 15 | 0 | 30 | -5 |  | 0.1 | 6 | 0.1 | 6 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 3 | 0.5 | 100 | Electric | Electric | Yes | Yes | Yes | 2000 | PNNL Prototype Default | 0
Example 3 | 1 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 2000 | 1 | 8 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R30 Cavity Insulation | Vented Crawlspace - R19 Cavity Insulation | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 8 | Single Speed ASHP (8.5 HSPF 15 SEER) | ton | 2.5 | ton | 2.5 | Electric | kW | 15 | 0 | 30 | -5 |  | 0.1 | 6 | 0.1 | 6 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 3 | 0.5 | 100 | Electric | Electric | Yes | Yes | Yes | 2000 | PNNL Prototype Default | 0
Example 4 | 1 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 2000 | 1 | 8 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R30 Cavity Insulation | Vented Crawlspace - R19 Cavity Insulation | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 8 | Single Speed ASHP (8.5 HSPF 15 SEER) | ton | 2.5 | ton | 2.5 | Electric | kW | 15 | 0 | 30 | -5 |  | 0.1 | 6 | 0.1 | 6 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 3 | 0.5 | 100 | Electric | Electric | Yes | Yes | Yes | 2000 | PNNL Prototype Default | 0

## Run Characteristics
EnergyPlus Directory | C:\EnergyPlusV9-5-0\energyplus.exe
Model Input Template Directory | D:\Repositories\REEDR\Model Input Template.xlsx
Simulation Type | Test Run
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 1
Simulation End Day | 1
Output Granularity | Hourly
Output End Uses | Heating
Run Complete Timestamp | 2023-02-09 15:00:06.788441-08:00 US Pacific Time