## Sheet1
Date/Time | Run_Label | UNHEATEDBSMT_UNIT1:Zone Windows Total Transmitted Solar Radiation Rate [W](Hourly) | UNHEATEDBSMT_UNIT1:Zone Windows Total Transmitted Solar Radiation Energy [J](Hourly) | UNHEATEDBSMT_UNIT1:Zone Windows Total Heat Gain Energy [J](Hourly) | LIVING_UNIT1:Zone Windows Total Transmitted Solar Radiation Rate [W](Hourly) | LIVING_UNIT1:Zone Windows Total Transmitted Solar Radiation Energy [J](Hourly) | LIVING_UNIT1:Zone Windows Total Heat Gain Energy [J](Hourly) | ATTIC_UNIT1:Zone Windows Total Transmitted Solar Radiation Rate [W](Hourly) | ATTIC_UNIT1:Zone Windows Total Transmitted Solar Radiation Energy [J](Hourly) | ATTIC_UNIT1:Zone Windows Total Heat Gain Energy [J](Hourly) | UNHEATEDBSMT_UNIT1:Zone Mean Air Temperature [C](Hourly) | Living_Zone_Air_Temperature[F] | Attic_Zone_Air_Temperature[F] | UNHEATEDBSMT_UNIT1:AFN Zone Infiltration Sensible Heat Gain Rate [W](Hourly) | LIVING_UNIT1:AFN Zone Infiltration Sensible Heat Gain Rate [W](Hourly) | ATTIC_UNIT1:AFN Zone Infiltration Sensible Heat Gain Rate [W](Hourly) | UNHEATEDBSMT_UNIT1:AFN Zone Infiltration Air Change Rate [ach](Hourly) | LIVING_UNIT1:AFN Zone Infiltration Air Change Rate [ach](Hourly) | ATTIC_UNIT1:AFN Zone Infiltration Air Change Rate [ach](Hourly) | Total_Electric_HVAC[W]
01/01 01:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.06 | 69.01 | 50.54 | 0 | 0 | 0 | 0.27 | 0.23 | 0.26 | 3406.75
01/01 02:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.8 | 69 | 53.87 | 0 | 0 | 0 | 0.28 | 0.26 | 1.1 | 3486.05
01/01 03:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.37 | 69 | 54.81 | 0 | 0 | 0 | 0.48 | 0.28 | 3.08 | 3460.54
01/01 04:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.21 | 69 | 55.94 | 0 | 0 | 0 | 0.5 | 0.33 | 2.75 | 3551.71
01/01 05:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.21 | 69 | 56.22 | 0 | 0 | 0 | 0.38 | 0.32 | 1.76 | 3509.23
01/01 06:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.67 | 69 | 55 | 0 | 0 | 0 | 0.62 | 0.38 | 4.13 | 3650.61
01/01 07:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.16 | 69 | 56.89 | 0 | 0 | 0 | 0.27 | 0.25 | 0.21 | 3195.93
01/01 08:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.89 | 69 | 55.78 | 0 | 0 | 0 | 0.38 | 0.32 | 1.76 | 3327.67
01/01 09:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 53.71 | 193367.32 | 0 | 0 | 0 | 0 | 17.98 | 69 | 56.48 | 0 | 0 | 0 | 0.28 | 0.27 | 0 | 3196.95
01/01 10:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 401.04 | 1443743.31 | 0 | 0 | 0 | 0 | 17.91 | 69 | 56.16 | 0 | 0 | 0 | 0.28 | 0.26 | 0 | 2986.1
01/01 11:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 372.08 | 1339471.15 | 0 | 0 | 0 | 0 | 17.9 | 69 | 56.6 | 0 | 0 | 0 | 0.27 | 0.25 | 0 | 2751.4
01/01 12:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 897.1 | 3229560.53 | 1908765.03 | 0 | 0 | 0 | 17.9 | 69 | 56.84 | 0 | 0 | 0 | 0.27 | 0.24 | 0.76 | 2292.63
01/01 13:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 562.45 | 2024803.49 | 417835.88 | 0 | 0 | 0 | 17.86 | 69 | 57.78 | 0 | 0 | 0 | 0.27 | 0.24 | 0 | 2209.34
01/01 14:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 571.28 | 2056605.68 | 627614.54 | 0 | 0 | 0 | 17.83 | 69 | 57.64 | 0 | 0 | 0 | 0.29 | 0.24 | 1.51 | 2089.59
01/01 15:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 775.91 | 2793269.92 | 1515398.7 | 0 | 0 | 0 | 17.83 | 69 | 58.64 | 0 | 0 | 0 | 0.27 | 0.23 | 0.69 | 1924.25
01/01 16:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 685.94 | 2469382.08 | 1101614.71 | 0 | 0 | 0 | 17.49 | 69 | 57.55 | 0 | 0 | 0 | 0.47 | 0.28 | 3.1 | 1981.97
01/01 17:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.2 | 69 | 56.52 | 0 | 0 | 0 | 0.53 | 0.35 | 3.36 | 2616.41
01/01 18:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.4 | 69 | 56.22 | 0 | 0 | 0 | 0.34 | 0.3 | 1.57 | 2766.68
01/01 19:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.97 | 69 | 54.47 | 0 | 0 | 0 | 0.55 | 0.35 | 3.71 | 3075.41
01/01 20:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.96 | 69 | 53.68 | 0 | 0 | 0 | 0.46 | 0.34 | 2.76 | 3352.73
01/01 21:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.96 | 69 | 51.82 | 0 | 0 | 0 | 0.37 | 0.32 | 2.05 | 3628.76
01/01 22:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.91 | 69 | 49.69 | 0 | 0 | 0 | 0.3 | 0.34 | 1.12 | 4171.53
01/01 23:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.79 | 69 | 47.39 | 0 | 0 | 0 | 0.29 | 0.36 | 0.58 | 4763.2
01/01 24:00:00 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.63 | 69 | 45.47 | 0 | 0 | 0 | 0.29 | 0.38 | 0.18 | 5312.11
01/01 01:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.82 | 69 | 49.95 | 0 | 0 | 0 | 0.76 | 0.45 | 4.71 | 4509.92
01/01 02:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.98 | 69 | 51.35 | 0 | 0 | 0 | 0.51 | 0.42 | 3.7 | 4412.45
01/01 03:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.47 | 69 | 51.6 | 0 | 0 | 0 | 0.67 | 0.41 | 4.04 | 4328.12
01/01 04:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.23 | 69 | 51.63 | 0 | 0 | 0 | 0.77 | 0.54 | 6.12 | 4717.65
01/01 05:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.07 | 69 | 51.71 | 0 | 0 | 0 | 0.77 | 0.54 | 6.12 | 4688.88
01/01 06:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.23 | 69 | 50.64 | 0 | 0 | 0 | 1.2 | 0.67 | 9.65 | 5264.17
01/01 07:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.18 | 69 | 49.94 | 0 | 0 | 0 | 1.03 | 0.6 | 7.94 | 5206.34
01/01 08:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.05 | 69 | 49.93 | 0 | 0 | 0 | 1.04 | 0.54 | 7.62 | 4864.39
01/01 09:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 545.56 | 1964007.18 | 0 | 0 | 0 | 0 | 16.84 | 69 | 51.14 | 0 | 0 | 0 | 0.44 | 0.41 | 3 | 4123.68
01/01 10:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 931.53 | 3353514.71 | 1583709.48 | 0 | 0 | 0 | 16.51 | 69 | 51.4 | 0 | 0 | 0 | 0.67 | 0.41 | 4.02 | 3507.9
01/01 11:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 569.53 | 2050319.06 | 0 | 0 | 0 | 0 | 16.49 | 69 | 51.74 | 0 | 0 | 0 | 0.67 | 0.41 | 4.03 | 3438.15
01/01 12:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 811 | 2919607.11 | 811689.8 | 0 | 0 | 0 | 15.44 | 69 | 49.31 | 0 | 0 | 0 | 1.11 | 0.64 | 8.79 | 4537.93
01/01 13:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 671.71 | 2418173.01 | 168215.26 | 0 | 0 | 0 | 15.34 | 69 | 49.34 | 0 | 0 | 0 | 1.15 | 0.62 | 7.83 | 4503.04
01/01 14:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 553.37 | 1992141.07 | 0 | 0 | 0 | 0 | 15.48 | 69 | 49.44 | 0 | 0 | 0 | 0.96 | 0.54 | 6.31 | 4193.83
01/01 15:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 1017.3 | 3662272.8 | 1956918.26 | 0 | 0 | 0 | 15.68 | 69 | 50.7 | 0 | 0 | 0 | 0.93 | 0.55 | 7.06 | 3709.24
01/01 16:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 321.42 | 1157124.43 | 0 | 0 | 0 | 0 | 15.82 | 69 | 50.86 | 0 | 0 | 0 | 0.76 | 0.48 | 5.3 | 3639.64
01/01 17:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 258.96 | 932269.67 | 0 | 0 | 0 | 0 | 16.17 | 69 | 50.81 | 0 | 0 | 0 | 0.44 | 0.41 | 3 | 3775.4
01/01 18:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.86 | 69 | 49.71 | 0 | 0 | 0 | 0.54 | 0.38 | 3.33 | 4017.25
01/01 19:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.74 | 69 | 48.04 | 0 | 0 | 0 | 0.54 | 0.38 | 3.75 | 4389.91
01/01 20:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.19 | 69 | 49.06 | 0 | 0 | 0 | 0.29 | 0.32 | 1.12 | 4346.72
01/01 21:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.2 | 69 | 49.52 | 0 | 0 | 0 | 0.29 | 0.31 | 0 | 4315.07
01/01 22:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.16 | 69 | 49.45 | 0 | 0 | 0 | 0.29 | 0.32 | 0 | 4479.27
01/01 23:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.14 | 69 | 49.35 | 0 | 0 | 0 | 0.29 | 0.32 | 0 | 4549.05
01/01 24:00:00 | USA_OR_Salem.Muni.AP-McNary.Field.726940_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.1 | 69 | 49.17 | 0 | 0 | 0 | 0.29 | 0.32 | 0 | 4634.48
01/01 01:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.25 | 69 | 43 | 0 | 0 | 0 | 0.48 | 0.42 | 2.6 | 5858.77
01/01 02:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.94 | 69 | 40.95 | 0 | 0 | 0 | 0.44 | 0.39 | 2.14 | 6050.8
01/01 03:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.35 | 69 | 39.12 | 0 | 0 | 0 | 0.54 | 0.46 | 2.74 | 6701.8
01/01 04:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.48 | 69 | 39.3 | 0 | 0 | 0 | 0.44 | 0.47 | 2.2 | 6846.25
01/01 05:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.32 | 69 | 39.37 | 0 | 0 | 0 | 0.42 | 0.39 | 2 | 6387.8
01/01 06:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.86 | 69 | 39.51 | 0 | 0 | 0 | 0.56 | 0.42 | 3.72 | 6448.1
01/01 07:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.83 | 69 | 40.68 | 0 | 0 | 0 | 0.52 | 0.38 | 3.03 | 6252.59
01/01 08:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.76 | 69 | 40.8 | 0 | 0 | 0 | 0.5 | 0.39 | 2.9 | 6269.92
01/01 09:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 1146.98 | 4129120.28 | 1922187.79 | 0 | 0 | 0 | 16.05 | 69 | 43.58 | 0 | 0 | 0 | 0.35 | 0.39 | 0.9 | 5506.34
01/01 10:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 2178.01 | 7840820.78 | 6551546.82 | 0 | 0 | 0 | 15.24 | 69 | 45.28 | 0 | 0 | 0 | 0.63 | 0.49 | 3.69 | 4821.75
01/01 11:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 1563.91 | 5630085.34 | 3864014.29 | 0 | 0 | 0 | 15.23 | 69 | 47.95 | 0 | 0 | 0 | 0.63 | 0.49 | 3.73 | 4429.06
01/01 12:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 1022.06 | 3679419.15 | 1547739.12 | 0 | 0 | 0 | 15.69 | 69 | 51.3 | 0 | 0 | 0 | 0.38 | 0.37 | 1.91 | 3864.39
01/01 13:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 364.38 | 1311784.52 | 0 | 0 | 0 | 0 | 15.38 | 69 | 50.37 | 0 | 0 | 0 | 0.47 | 0.39 | 2.63 | 4236.71
01/01 14:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 415.57 | 1496051.07 | 0 | 0 | 0 | 0 | 15.76 | 69 | 54.52 | 0 | 0 | 0 | 0.32 | 0.33 | 0 | 3931.47
01/01 15:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 177.23 | 638037.02 | 0 | 0 | 0 | 0 | 15.41 | 69 | 51.28 | 0 | 0 | 0 | 0.44 | 0.39 | 2.14 | 4317.05
01/01 16:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 118.21 | 425566.41 | 0 | 0 | 0 | 0 | 15.62 | 69 | 51.3 | 0 | 0 | 0 | 0.33 | 0.34 | 1.2 | 4228.95
01/01 17:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.6 | 69 | 50.95 | 0 | 0 | 0 | 0.32 | 0.34 | 0 | 4342.19
01/01 18:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.59 | 69 | 50.34 | 0 | 0 | 0 | 0.32 | 0.33 | 0 | 4352.12
01/01 19:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.88 | 69 | 46.55 | 0 | 0 | 0 | 0.59 | 0.39 | 3.94 | 4825.16
01/01 20:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.13 | 69 | 46.81 | 0 | 0 | 0 | 0.44 | 0.39 | 2.1 | 5125.03
01/01 21:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.32 | 69 | 47.13 | 0 | 0 | 0 | 0.32 | 0.35 | 0.25 | 4947.8
01/01 22:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.31 | 69 | 47.55 | 0 | 0 | 0 | 0.32 | 0.33 | 0 | 4842.79
01/01 23:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.25 | 69 | 46.7 | 0 | 0 | 0 | 0.32 | 0.34 | 0 | 5012.74
01/01 24:00:00 | USA_WA_Pasco-Tri.Cities.AP.727845_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.21 | 69 | 46.84 | 0 | 0 | 0 | 0.33 | 0.34 | 0 | 5032.14
01/01 01:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.27 | 69 | 43.05 | 0 | 0 | 0 | 0.49 | 0.37 | 2.84 | 5468.89
01/01 02:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.21 | 69 | 44.8 | 0 | 0 | 0 | 0.33 | 0.36 | 0.64 | 5560.95
01/01 03:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.75 | 69 | 41.76 | 0 | 0 | 0 | 0.92 | 0.5 | 9.86 | 5946.81
01/01 04:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.3 | 69 | 42.05 | 0 | 0 | 0 | 1.08 | 0.56 | 11.39 | 6306.21
01/01 05:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.3 | 69 | 43.05 | 0 | 0 | 0 | 0.91 | 0.49 | 7.63 | 6017.31
01/01 06:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.77 | 69 | 45.35 | 0 | 0 | 0 | 0.55 | 0.41 | 3.26 | 5612.78
01/01 07:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.03 | 69 | 44.52 | 0 | 0 | 0 | 0.83 | 0.51 | 5.65 | 6030.72
01/01 08:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.79 | 69 | 43.35 | 0 | 0 | 0 | 0.91 | 0.49 | 7.63 | 5906.04
01/01 09:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 73.1 | 263160.95 | 0 | 0 | 0 | 0 | 15.1 | 69 | 44.27 | 0 | 0 | 0 | 0.66 | 0.42 | 5.92 | 5534.41
01/01 10:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 423.54 | 1524736.33 | 0 | 0 | 0 | 0 | 14.87 | 69 | 44.36 | 0 | 0 | 0 | 0.73 | 0.45 | 7.43 | 5324.03
01/01 11:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 427.45 | 1538819.38 | 0 | 0 | 0 | 0 | 14.41 | 69 | 43.42 | 0 | 0 | 0 | 0.9 | 0.52 | 10.68 | 5506.97
01/01 12:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 276.9 | 996857.79 | 0 | 0 | 0 | 0 | 14.42 | 69 | 45.03 | 0 | 0 | 0 | 0.89 | 0.48 | 9.21 | 5219.54
01/01 13:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 414.13 | 1490856.58 | 0 | 0 | 0 | 0 | 14.58 | 69 | 45.54 | 0 | 0 | 0 | 0.73 | 0.46 | 8.24 | 5000.28
01/01 14:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 266.84 | 960612.58 | 0 | 0 | 0 | 0 | 13.92 | 69 | 43.37 | 0 | 0 | 0 | 1.06 | 0.55 | 12.99 | 5377.22
01/01 15:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 53.53 | 192724.17 | 0 | 0 | 0 | 0 | 14.31 | 69 | 47.11 | 0 | 0 | 0 | 0.83 | 0.48 | 5.99 | 5157.26
01/01 16:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 14.49 | 52176.42 | 0 | 0 | 0 | 0 | 14.71 | 69 | 46.06 | 0 | 0 | 0 | 0.48 | 0.37 | 2.86 | 4867.48
01/01 17:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.9 | 69 | 47.55 | 0 | 0 | 0 | 0.35 | 0.37 | 1.06 | 4969.19
01/01 18:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.85 | 69 | 45.87 | 0 | 0 | 0 | 0.32 | 0.37 | 0 | 5208.54
01/01 19:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.71 | 69 | 43.29 | 0 | 0 | 0 | 0.33 | 0.39 | 0 | 5703.23
01/01 20:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.35 | 69 | 40.49 | 0 | 0 | 0 | 0.45 | 0.39 | 2.22 | 5827.56
01/01 21:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 69 | 40.54 | 0 | 0 | 0 | 0.65 | 0.43 | 4.74 | 5880.09
01/01 22:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.66 | 69 | 39.61 | 0 | 0 | 0 | 0.72 | 0.46 | 5.69 | 6304.57
01/01 23:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.96 | 69 | 40.86 | 0 | 0 | 0 | 0.56 | 0.42 | 3.46 | 6161.76
01/01 24:00:00 | USA_OR_Baker.City.Muni.AP.726886_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.35 | 69 | 41.99 | 0 | 0 | 0 | 0.36 | 0.38 | 1.47 | 5894.17
01/01 01:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.3 | 67.7 | 31.65 | 0 | 0 | 0 | 0.36 | 0.53 | 0 | 8497.78
01/01 02:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.63 | 66.58 | 26.31 | 0 | 0 | 0 | 0.39 | 0.54 | 1.48 | 8497.78
01/01 03:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.66 | 66.04 | 22.97 | 0 | 0 | 0 | 0.56 | 0.52 | 3.12 | 8497.78
01/01 04:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.73 | 65.23 | 21.46 | 0 | 0 | 0 | 0.48 | 0.53 | 3.37 | 8497.78
01/01 05:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.65 | 64.65 | 21.2 | 0 | 0 | 0 | 0.43 | 0.51 | 2.47 | 8497.78
01/01 06:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.4 | 64.45 | 21.4 | 0 | 0 | 0 | 0.46 | 0.48 | 2.34 | 8497.78
01/01 07:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.35 | 64.02 | 22.32 | 0 | 0 | 0 | 0.42 | 0.48 | 2.45 | 8497.78
01/01 08:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.4 | 63.48 | 23.85 | 0 | 0 | 0 | 0.35 | 0.49 | 0 | 8497.78
01/01 09:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 1635.44 | 5887570.4 | 3141173.63 | 0 | 0 | 0 | 15.3 | 64.44 | 27.78 | 0 | 0 | 0 | 0.35 | 0.47 | 0 | 8497.78
01/01 10:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 1401.57 | 5045666.16 | 2103930.53 | 0 | 0 | 0 | 15.28 | 65.29 | 33.06 | 0 | 0 | 0 | 0.34 | 0.46 | 0.15 | 8497.78
01/01 11:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 2555.64 | 9200304.21 | 7489672.49 | 0 | 0 | 0 | 15.27 | 66.98 | 39.24 | 0 | 0 | 0 | 0.34 | 0.45 | 0.52 | 8497.78
01/01 12:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 3018.23 | 10865636.95 | 9186550.28 | 0 | 0 | 0 | 15.3 | 68.59 | 45.46 | 0 | 0 | 0 | 0.34 | 0.45 | 0.87 | 8010.36
01/01 13:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 3116.74 | 11220276.9 | 9800327.32 | 0 | 0 | 0 | 15.17 | 68.94 | 48.69 | 0 | 0 | 0 | 0.39 | 0.44 | 1.43 | 6062.62
01/01 14:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 2614.87 | 9413533.13 | 7776176.88 | 0 | 0 | 0 | 15.14 | 68.99 | 48.71 | 0 | 0 | 0 | 0.42 | 0.43 | 2.1 | 4822.77
01/01 15:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 2475.27 | 8910963.83 | 6506907.16 | 0 | 0 | 0 | 15.07 | 69 | 51.5 | 0 | 0 | 0 | 0.35 | 0.48 | 0 | 5182.52
01/01 16:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 2201.83 | 7926593.55 | 4874236.87 | 0 | 0 | 0 | 14.95 | 69 | 43.69 | 0 | 0 | 0 | 0.35 | 0.49 | 1.67 | 5133.84
01/01 17:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.84 | 69 | 41.05 | 0 | 0 | 0 | 0.35 | 0.5 | 0 | 6458.77
01/01 18:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.71 | 68.99 | 35.55 | 0 | 0 | 0 | 0.35 | 0.51 | 0 | 7562.56
01/01 19:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.63 | 68.99 | 32.79 | 0 | 0 | 0 | 0.35 | 0.51 | 0 | 8122.83
01/01 20:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.71 | 69 | 32.16 | 0 | 0 | 0 | 0.34 | 0.47 | 0 | 7835.45
01/01 21:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.63 | 68.99 | 32.75 | 0 | 0 | 0 | 0.34 | 0.47 | 0 | 8161.78
01/01 22:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.56 | 68.99 | 33.14 | 0 | 0 | 0 | 0.34 | 0.47 | 0 | 8466.13
01/01 23:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.54 | 69 | 33.64 | 0 | 0 | 0 | 0.34 | 0.46 | 0 | 8487.99
01/01 24:00:00 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.47 | 68.86 | 33.79 | 0 | 0 | 0 | 0.34 | 0.46 | 0 | 8497.78
01/01 01:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.02 | 69 | 42.79 | 0 | 0 | 0 | 0.35 | 0.36 | 0 | 5344.86
01/01 02:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.53 | 69 | 42.7 | 0 | 0 | 0 | 0.36 | 0.39 | 0 | 5851.26
01/01 03:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.33 | 69 | 40.89 | 0 | 0 | 0 | 0.36 | 0.39 | 0 | 5977.25
01/01 04:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.19 | 69 | 39.61 | 0 | 0 | 0 | 0.36 | 0.38 | 0 | 5920.6
01/01 05:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.07 | 69 | 39.04 | 0 | 0 | 0 | 0.35 | 0.37 | 0 | 5847.62
01/01 06:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.75 | 69 | 38.11 | 0 | 0 | 0 | 0.36 | 0.4 | 0 | 6420.38
01/01 07:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.56 | 69 | 36.94 | 0 | 0 | 0 | 0.36 | 0.41 | 0 | 6713.24
01/01 08:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.41 | 69 | 37.58 | 0 | 0 | 0 | 0.36 | 0.41 | 0 | 6773.23
01/01 09:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 4.81 | 17328.47 | 0 | 0 | 0 | 0 | 16.39 | 69 | 38.93 | 0 | 0 | 0 | 0.36 | 0.39 | 0 | 6468.7
01/01 10:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 24.24 | 87259.83 | 0 | 0 | 0 | 0 | 16.26 | 69 | 39.21 | 0 | 0 | 0 | 0.36 | 0.39 | 0 | 6486.4
01/01 11:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 327.95 | 1180625.06 | 0 | 0 | 0 | 0 | 16.36 | 69 | 43.24 | 0 | 0 | 0 | 0.35 | 0.35 | 0 | 5608.26
01/01 12:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 177.12 | 637619.06 | 0 | 0 | 0 | 0 | 16.21 | 69 | 45.85 | 0 | 0 | 0 | 0.35 | 0.35 | 0 | 5632.22
01/01 13:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 352.28 | 1268219.63 | 0 | 0 | 0 | 0 | 16.19 | 69 | 48.27 | 0 | 0 | 0 | 0.35 | 0.35 | 0 | 5296.39
01/01 14:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 981.71 | 3534139.37 | 1677205.61 | 0 | 0 | 0 | 15.75 | 69 | 48.8 | 0 | 0 | 0 | 0.55 | 0.4 | 5.13 | 4724.79
01/01 15:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 931.79 | 3354452.91 | 1234978.98 | 0 | 0 | 0 | 15.72 | 69 | 52.09 | 0 | 0 | 0 | 0.5 | 0.38 | 2.87 | 4400.79
01/01 16:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 819.93 | 2951734.8 | 926972.9 | 0 | 0 | 0 | 14.56 | 69 | 50.17 | 0 | 0 | 0 | 1.16 | 0.65 | 7.74 | 5130.21
01/01 17:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 345.72 | 1244586.55 | 0 | 0 | 0 | 0 | 15.75 | 69 | 54.53 | 0 | 0 | 0 | 0.34 | 0.35 | 0 | 4286.55
01/01 18:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.68 | 69 | 50.15 | 0 | 0 | 0 | 0.35 | 0.35 | 0 | 4485.9
01/01 19:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.51 | 69 | 46.71 | 0 | 0 | 0 | 0.35 | 0.38 | 0 | 5148.49
01/01 20:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.41 | 69 | 43.25 | 0 | 0 | 0 | 0.35 | 0.39 | 0 | 5471.99
01/01 21:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.46 | 69 | 42.89 | 0 | 0 | 0 | 0.35 | 0.37 | 0 | 5270.18
01/01 22:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.45 | 69 | 43.53 | 0 | 0 | 0 | 0.35 | 0.36 | 0 | 5207.75
01/01 23:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.39 | 69 | 44.17 | 0 | 0 | 0 | 0.35 | 0.36 | 0 | 5297.91
01/01 24:00:00 | USA_ID_Jerome.County.AP.726816_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.24 | 69 | 44.24 | 0 | 0 | 0 | 0.35 | 0.38 | 0 | 5680.74
01/01 01:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.89 | 69 | 45.93 | 0 | 0 | 0 | 0.34 | 0.44 | 0 | 6439.39
01/01 02:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.29 | 69 | 41.48 | 0 | 0 | 0 | 0.35 | 0.48 | 0 | 7386.02
01/01 03:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.87 | 68.99 | 37.61 | 0 | 0 | 0 | 0.35 | 0.5 | 0 | 8204.82
01/01 04:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.27 | 68.99 | 32.25 | 0 | 0 | 0 | 0.43 | 0.5 | 2.07 | 8574.29
01/01 05:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.37 | 68.99 | 32.52 | 0 | 0 | 0 | 0.35 | 0.49 | 0 | 8742.48
01/01 06:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.26 | 69 | 32.55 | 0 | 0 | 0 | 0.34 | 0.47 | 0 | 8391.27
01/01 07:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.13 | 68.99 | 33.19 | 0 | 0 | 0 | 0.35 | 0.45 | 1.16 | 8283.9
01/01 08:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.09 | 69 | 35.59 | 0 | 0 | 0 | 0.33 | 0.43 | 0 | 8003.05
01/01 09:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.95 | 68.99 | 36.63 | 0 | 0 | 0 | 0.33 | 0.43 | 0 | 8043.21
01/01 10:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 43.69 | 157281.83 | 0 | 0 | 0 | 0 | 14.92 | 69 | 38.34 | 0 | 0 | 0 | 0.33 | 0.41 | 0 | 7632.36
01/01 11:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 132.26 | 476123.59 | 0 | 0 | 0 | 0 | 14.9 | 69 | 41.08 | 0 | 0 | 0 | 0.32 | 0.39 | 0 | 7106.07
01/01 12:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 201.85 | 726674.22 | 0 | 0 | 0 | 0 | 14.84 | 69 | 44.3 | 0 | 0 | 0 | 0.32 | 0.38 | 0 | 6718.6
01/01 13:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 422.88 | 1522363.46 | 0 | 0 | 0 | 0 | 14.8 | 69 | 48.47 | 0 | 0 | 0 | 0.32 | 0.37 | 0 | 6196.33
01/01 14:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 398.52 | 1434656.51 | 0 | 0 | 0 | 0 | 14.76 | 69 | 51.57 | 0 | 0 | 0 | 0.31 | 0.36 | 0 | 5746.99
01/01 15:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 491.28 | 1768624.76 | 0 | 0 | 0 | 0 | 14.69 | 69 | 54.02 | 0 | 0 | 0 | 0.31 | 0.36 | 0 | 5441.18
01/01 16:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 217.65 | 783557.8 | 0 | 0 | 0 | 0 | 14.62 | 69 | 53.98 | 0 | 0 | 0 | 0.31 | 0.36 | 0 | 5368.06
01/01 17:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 87.86 | 316290.77 | 0 | 0 | 0 | 0 | 14.6 | 69 | 53.16 | 0 | 0 | 0 | 0.31 | 0.35 | 0 | 5198.57
01/01 18:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.54 | 69 | 51.95 | 0 | 0 | 0 | 0.31 | 0.35 | 0 | 5204
01/01 19:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.45 | 69 | 50.92 | 0 | 0 | 0 | 0.32 | 0.36 | 0 | 5300.15
01/01 20:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.38 | 69 | 50.1 | 0 | 0 | 0 | 0.31 | 0.36 | 0 | 5345.21
01/01 21:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.37 | 69 | 49.76 | 0 | 0 | 0 | 0.31 | 0.35 | 0 | 5200.06
01/01 22:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.31 | 69 | 49.6 | 0 | 0 | 0 | 0.31 | 0.35 | 0 | 5206.2
01/01 23:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.26 | 69 | 49.51 | 0 | 0 | 0 | 0.31 | 0.35 | 0 | 5214.68
01/01 24:00:00 | USA_MT_Kalispell-Glacier.Park.Intl.AP.727790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.21 | 69 | 49.43 | 0 | 0 | 0 | 0.31 | 0.35 | 0 | 5224.42
01/01 01:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.19 | 69 | 42.15 | 0 | 0 | 0 | 0.94 | 0.52 | 10.14 | 5466.19
01/01 02:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.37 | 69 | 39.79 | 0 | 0 | 0 | 1.14 | 0.58 | 12.72 | 5765.66
01/01 03:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.3 | 69 | 39.32 | 0 | 0 | 0 | 1.08 | 0.57 | 12.46 | 5874.63
01/01 04:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.53 | 69 | 39.9 | 0 | 0 | 0 | 0.82 | 0.5 | 9.27 | 5681.78
01/01 05:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.35 | 69 | 39.91 | 0 | 0 | 0 | 0.8 | 0.48 | 8.08 | 5664.29
01/01 06:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.49 | 69 | 39.73 | 0 | 0 | 0 | 0.6 | 0.43 | 4.5 | 5793.94
01/01 07:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.69 | 69 | 41.73 | 0 | 0 | 0 | 0.55 | 0.37 | 3.46 | 5211.43
01/01 08:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.46 | 68.99 | 39.27 | 0 | 0 | 0 | 1.7 | 0.84 | 15.42 | 7261.83
01/01 09:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 19.34 | 69609.59 | 0 | 0 | 0 | 0 | 12.66 | 68.99 | 38.58 | 0 | 0 | 0 | 2.32 | 1.12 | 21.15 | 8767.77
01/01 10:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 127.2 | 457904.06 | 0 | 0 | 0 | 0 | 12.51 | 69 | 38.94 | 0 | 0 | 0 | 2.25 | 1.09 | 20.33 | 8632.13
01/01 11:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 373.05 | 1342979.96 | 0 | 0 | 0 | 0 | 12.13 | 68.99 | 39.34 | 0 | 0 | 0 | 2.38 | 1.15 | 21.37 | 8724.54
01/01 12:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 346.81 | 1248499.18 | 0 | 0 | 0 | 0 | 12.19 | 69 | 39.31 | 0 | 0 | 0 | 2.17 | 1.05 | 20.19 | 8123
01/01 13:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 387.15 | 1393755.33 | 0 | 0 | 0 | 0 | 12.01 | 68.99 | 39.2 | 0 | 0 | 0 | 2.23 | 1.07 | 23.16 | 8062.01
01/01 14:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 530.41 | 1909491.06 | 0 | 0 | 0 | 0 | 11.78 | 68.99 | 39.42 | 0 | 0 | 0 | 2.49 | 1.19 | 30.13 | 8226.29
01/01 15:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 1296.61 | 4667790.5 | 2736989.7 | 0 | 0 | 0 | 11.54 | 69 | 38.65 | 0 | 0 | 0 | 2.62 | 1.29 | 37.43 | 8071.09
01/01 16:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 1299.32 | 4677547.72 | 2879394.3 | 0 | 0 | 0 | 11.85 | 68.99 | 40.85 | 0 | 0 | 0 | 2.51 | 1.21 | 35.71 | 6947.85
01/01 17:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 172.03 | 619299.16 | 0 | 0 | 0 | 0 | 11.94 | 69 | 41.56 | 0 | 0 | 0 | 2.41 | 1.15 | 34.29 | 6935.64
01/01 18:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.94 | 68.99 | 41.9 | 0 | 0 | 0 | 2.37 | 1.17 | 34.05 | 7277.62
01/01 19:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.66 | 68.99 | 42.29 | 0 | 0 | 0 | 2.7 | 1.28 | 35.69 | 7769.78
01/01 20:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.34 | 68.99 | 42.38 | 0 | 0 | 0 | 3.03 | 1.42 | 36.6 | 8407.17
01/01 21:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.58 | 69 | 43.09 | 0 | 0 | 0 | 2.61 | 1.24 | 30.3 | 7684.29
01/01 22:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.44 | 68.99 | 43.02 | 0 | 0 | 0 | 2.68 | 1.27 | 31.13 | 7793.83
01/01 23:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.22 | 68.99 | 43.05 | 0 | 0 | 0 | 2.9 | 1.36 | 32.22 | 8198.47
01/01 24:00:00 | USA_ID_Craters.of.the.Moon.Natl.Monument.725790_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.14 | 69 | 43.28 | 0 | 0 | 0 | 2.94 | 1.38 | 31.42 | 8268.78
01/01 01:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.63 | 68.99 | 32.94 | 0 | 0 | 0 | 0.78 | 0.59 | 8.43 | 8840.49
01/01 02:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.43 | 68.99 | 31.95 | 0 | 0 | 0 | 0.7 | 0.57 | 7.32 | 8867.52
01/01 03:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.1 | 69 | 31.38 | 0 | 0 | 0 | 0.71 | 0.53 | 6 | 8584.82
01/01 04:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.13 | 69 | 33.15 | 0 | 0 | 0 | 0.62 | 0.48 | 3.91 | 8242.4
01/01 05:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.84 | 68.99 | 32.2 | 0 | 0 | 0 | 0.64 | 0.51 | 5.03 | 8453.81
01/01 06:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.33 | 68.99 | 30.84 | 0 | 0 | 0 | 0.77 | 0.56 | 8.32 | 8825.9
01/01 07:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.4 | 68.99 | 27.9 | 0 | 0 | 0 | 1.41 | 0.75 | 15.02 | 10218.98
01/01 08:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.25 | 69 | 29.53 | 0 | 0 | 0 | 1.03 | 0.63 | 11.98 | 9434.9
01/01 09:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 1339.75 | 4823094.74 | 1595515.34 | 0 | 0 | 0 | 11.87 | 68.99 | 30.33 | 0 | 0 | 0 | 1.44 | 0.76 | 11.72 | 9534.58
01/01 10:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 2495.65 | 8984337.55 | 6494202.33 | 0 | 0 | 0 | 11.21 | 68.99 | 30.98 | 0 | 0 | 0 | 1.57 | 0.82 | 12.26 | 9120.54
01/01 11:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 3062.43 | 11024735.35 | 8853080.02 | 0 | 0 | 0 | 10.95 | 68.99 | 31.89 | 0 | 0 | 0 | 1.46 | 0.8 | 11.3 | 8254.04
01/01 12:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 2397.59 | 8631308.22 | 5568943.02 | 0 | 0 | 0 | 11.51 | 69 | 30.52 | 0 | 0 | 0 | 1.14 | 0.64 | 11.76 | 6825.32
01/01 13:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 327.25 | 1178094.31 | 0 | 0 | 0 | 0 | 11.52 | 69 | 29.58 | 0 | 0 | 0 | 1.04 | 0.63 | 10.6 | 7762.35
01/01 14:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 256.88 | 924768.49 | 0 | 0 | 0 | 0 | 12.18 | 68.99 | 31.35 | 0 | 0 | 0 | 0.77 | 0.55 | 5.84 | 8020.67
01/01 15:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 202.01 | 727230.24 | 0 | 0 | 0 | 0 | 12.41 | 68.99 | 31.03 | 0 | 0 | 0 | 0.7 | 0.54 | 6.04 | 7950.96
01/01 16:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 118 | 424815.73 | 0 | 0 | 0 | 0 | 12.34 | 69 | 31.55 | 0 | 0 | 0 | 0.76 | 0.54 | 7.02 | 7981.16
01/01 17:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.04 | 69 | 35.05 | 0 | 0 | 0 | 0.48 | 0.46 | 2.71 | 7715.94
01/01 18:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.39 | 69 | 36.24 | 0 | 0 | 0 | 0.37 | 0.44 | 1.36 | 7625.89
01/01 19:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.9 | 69 | 34.55 | 0 | 0 | 0 | 0.57 | 0.5 | 5.21 | 7942.95
01/01 20:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.02 | 69 | 34.22 | 0 | 0 | 0 | 1.01 | 0.55 | 10.32 | 8092.13
01/01 21:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.98 | 69 | 34.73 | 0 | 0 | 0 | 1.01 | 0.55 | 10.37 | 8130.57
01/01 22:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.99 | 69 | 35.82 | 0 | 0 | 0 | 1.01 | 0.55 | 10.35 | 7920.68
01/01 23:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.42 | 69 | 38.24 | 0 | 0 | 0 | 0.81 | 0.48 | 7.96 | 7348.23
01/01 24:00:00 | USA_MT_Baker.Muni.AP.726777_TMYx.2004-2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.58 | 69 | 41.7 | 0 | 0 | 0 | 0.7 | 0.5 | 3.99 | 7353