## Model Out
Run Label | Total Elec [kWh] | Total Gas [therm] | Total Heat Elec [kWh] | Prim Furnace Heat Elec [kWh] | ASHP Compressor Heat Elec [kWh] | ASHP Backup Heat Elec [kWh] | Baseboard Heat Elec [kWh] | Cool Elec [kWh] | Fan Elec [kWh] | Pump Elec [kWh] | DHW Elec [kWh] | IntLights Elec [kWh] | ExtLights Elec [kWh] | Total IntEquip Elec [kWh] | IntEquip Range Elec [kWh] | IntEquip Dryer Elec [kWh] | IntEquip Clotheswasher Elec [kWh] | IntEquip Dishwasher Elec [kWh] | IntEquip Refrigerator Elec [kWh] | IntEquip Misc Elec [kWh] | HeatRecov Elec [kWh] | Total Heat Gas [therm] | DHW Gas [therm] | Total IntEquip Gas [therm] | IntEquip Range Gas [therm] | IntEquip Dryer Gas [therm] | IntEquip Misc Gas [therm] | UnmetHours Heating | UnmetHours Cooling | Infiltration Living [ACH] | Infiltration Attic [ACH] | Infiltration Crawlspace [ACH] | Infiltration UnheatedBasement [ACH]
Run1 | 6425.13 | 60.1 | 2972.73 | 0 | 7363.79 | 0 | 0 | 40.29 | 258.43 | 0 | 3153.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 1.62 | 0 | 0

## Model In
Run Label | Timesteps Per Hr | Weather File | Bldg Orient [deg] | Conditioned Footprint Area [ft^2] | Total Conditioned Volume Above Foundation Walls [ft^3] | Ratio Width to Depth | Exterior Non-Foundation Wall Construction | Ceiling And Roof Construction | Foundation And Floor Construction | Foundation Wall Height Above Ground [ft] | Foundation Wall Height Below Ground [ft] | Window U-Value [Btu/h/ft^2/F] | Window SHGC | Window Shades | WtW Ratio Front [%] | WtW Ratio Back [%] | WtW Ratio Left [%] | WtW Ratio Right [%] | Primary HVAC Type | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | Backup Electric Baseboard Heat Capacity [kW] | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Gas Furnace AFUE [%] | Supply Duct Leakage [%] | Return Duct Leakage [%] | Htg StPt Sch | Clg StPt Sch | Water Heater Type | DHW StPt Sch | Number Of People | Interior LPD [W/ft^2] | Exterior LP [W] | Range | Dryer | Refrigerator | ClothesWasher | Dishwasher | Misc Electric Gains [Max W] | Misc Gas Gains [Max Btu/h]
Run1 | 4 | USA_WA_Tacoma-JB.Lewis-McChord-Gray.AAF.742070_TMYx.2004-2018 | 180 | 2000 | 18000 | 1 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R38 Cavity Insulation | Slab - R5 Perimeter with No Thermal Break | 0 | 0 | 0.5 | 0.5 | No | 0.2 | 0.2 | 0.2 | 0.2 | Single Speed ASHP (8.5 HSPF 15 SEER) | ton | 3 | ton | 3 | Gas | kBtu/h | 80 |  | 30 | 30 | 0.9 | 0.05 | 0.05 | Heat_Sch_1 | Cool_Sch_1 | Electric Storage_50-gallon | DHW_Sch_1 | 0 | 0 | 0 | None | None | None | None | None | 0 | 0

## Run Characteristics
EnergyPlus Directory | C:\Users\Logan\Desktop\Projects\blackbird\EnergyPlusV9-5-0\energyplus.exe
Model Input Template Directory | C:\Users\Logan\Desktop\Repositories\REEDR-O\Model Input Template.xlsx
Simulation Type | Annual
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 12
Simulation End Day | 31
Output Granularity | Annual
Output End Uses | All_End_Uses
Run Complete Timestamp | 2022-11-01 11:49:13.606051-07:00 US Pacific Time