## Slide 1
Mains Pressure (Pump)
Mains Inlet Node
Mains Pressure Outlet Node
Water Heater
Water Heater Use Inlet Node
Water Heater Use Outlet Node
DHW Supply Outlet Pipe
DHW Supply Outlet Node
Mains Inlet Branch
Water Heater Branch
DHW Supply Outlet Branch
DHW Supply Splitter
DHW Supply Mixer
Plant/Supply Side
DHW Demand Inlet Node
DHW Demand Inlet Pipe
DHW Demand Inlet Pipe Outlet Node
DHW Demand Inlet Branch
DHW Demand Splitter
Water Shower Inlet Node
DHW Showers
Water Shower Outlet Node
Water Shower Branch
DHW Supply Outlet Pipe Inlet Node
Water Sink Inlet Node
DHW Sinks
Water Sink outlet Node
Water Sink Branch
Water ClothesWasher Inlet Node
DHW ClothesWasher
Water ClothesWasher Outlet Node
Water ClothesWasher Branch
Water DishWasher Inlet Node
DHW DishWasher
Water DishWasher outlet Node
Washer Dishwasher Branch
Water Bath Inlet Node
DHW Baths
Water Bath Outlet Node
Water Bath Branch
DHW Demand Mixer
Mains Makeup Pipe Inlet Node
Mains Makeup Pipe
Mains Makeup Node
Mains Makeup Branch
Demand Side
Original PNNL Prototype Hot Water Schematic

## Slide 2
Mains Pressure (Pump)
Mains Inlet Node
Mains Pressure Outlet Node
Water Heater
Water Heater Use Inlet Node
Water Heater Use Outlet Node
DHW Supply Outlet Pipe
DHW Supply Outlet Node
Mains Inlet Branch
Water Heater Branch
DHW Supply Outlet Branch
DHW Supply Splitter
DHW Supply Mixer
Plant/Supply Side
DHW Demand Inlet Node
DHW Demand Inlet Pipe
DHW Demand Inlet Pipe Outlet Node
DHW Demand Inlet Branch
DHW Demand Splitter
DHW Supply Outlet Pipe Inlet Node
Total Hot Water Load Inlet Node
DHW Total Hot Water Load
Total Hot Water Load Outlet Node
Hot Water Load Branch
Mains Makeup Pipe Inlet Node
Mains Makeup Pipe
Mains Makeup Node
Mains Makeup Branch
Demand Side
REEDR Simplified Hot Water Schematic