## Model Out
Date/Time | Month | Day | HOD | Run Label | Outdoor Air Temperature [F] | Living Zone Air Temperature [F] | Attic Zone Air Temperature [F] | Fan [W] | Primary Elec Furnace Heat [W]
01/01 01:00:00 | 01 | 01 | 01 | SecondRun1 | -2.2 | 68.8456 | 47.303 | 11.522 | 961.6249
01/01 02:00:00 | 01 | 01 | 02 | SecondRun1 | -5.8 | 68.8205 | 42.9434 | 15.1416 | 1263.7175
01/01 03:00:00 | 01 | 01 | 03 | SecondRun1 | -2.2 | 68.8431 | 40.6615 | 17.0967 | 1426.8916
01/01 04:00:00 | 01 | 01 | 04 | SecondRun1 | -2.2 | 68.8533 | 39.8125 | 18.768 | 1566.3811
01/01 05:00:00 | 01 | 01 | 05 | SecondRun1 | -2.2 | 68.8759 | 40.4972 | 19.4378 | 1622.2767
01/01 06:00:00 | 01 | 01 | 06 | SecondRun1 | 1.4 | 68.9154 | 41.2217 | 18.596 | 1552.0241
01/01 07:00:00 | 01 | 01 | 07 | SecondRun1 | 1.4 | 68.9238 | 42.2516 | 17.9951 | 1501.8678
01/01 08:00:00 | 01 | 01 | 08 | SecondRun1 | -0.4 | 68.9147 | 44.6381 | 17.8905 | 1493.1413
01/01 09:00:00 | 01 | 01 | 09 | SecondRun1 | 2.12 | 68.9983 | 49.5684 | 13.4125 | 1119.4043
01/01 10:00:00 | 01 | 01 | 10 | SecondRun1 | 4.64 | 68.9794 | 53.3906 | 11.6481 | 972.1519
01/01 11:00:00 | 01 | 01 | 11 | SecondRun1 | 7.16 | 69.034 | 58.7661 | 7.1103 | 593.428
01/01 12:00:00 | 01 | 01 | 12 | SecondRun1 | 9.68 | 69.0358 | 63.2187 | 3.881 | 323.908
01/01 13:00:00 | 01 | 01 | 13 | SecondRun1 | 12.2 | 69.0307 | 64.887 | 1.7101 | 142.728
01/01 14:00:00 | 01 | 01 | 14 | SecondRun1 | 15.8 | 69.0051 | 64.1744 | 0.98669 | 82.3488
01/01 15:00:00 | 01 | 01 | 15 | SecondRun1 | 6.8 | 68.9749 | 63.1459 | 1.4771 | 123.2808
01/01 16:00:00 | 01 | 01 | 16 | SecondRun1 | 5 | 68.9539 | 56.4359 | 2.3501 | 196.1403
01/01 17:00:00 | 01 | 01 | 17 | SecondRun1 | 3.2 | 68.8528 | 54.3376 | 6.4056 | 534.6088
01/01 18:00:00 | 01 | 01 | 18 | SecondRun1 | 1.4 | 68.8699 | 49.1487 | 7.938 | 662.504
01/01 19:00:00 | 01 | 01 | 19 | SecondRun1 | 1.4 | 68.8861 | 48.4409 | 8.8172 | 735.8863
01/01 20:00:00 | 01 | 01 | 20 | SecondRun1 | 6.8 | 68.9236 | 49.1385 | 8.5515 | 713.711
01/01 21:00:00 | 01 | 01 | 21 | SecondRun1 | 6.8 | 68.9129 | 50.0555 | 9.2026 | 768.0483
01/01 22:00:00 | 01 | 01 | 22 | SecondRun1 | 6.8 | 68.8939 | 50.4488 | 10.3787 | 866.2042
01/01 23:00:00 | 01 | 01 | 23 | SecondRun1 | 8.6 | 68.8784 | 51.2192 | 11.7926 | 984.2142
01/01 24:00:00 | 01 | 01 | 24 | SecondRun1 | 8.6 | 68.8649 | 51.1856 | 13.4777 | 1124.8503
01/01 01:00:00 | 01 | 01 | 01 | SecondRun2 | -2.2 | 68.8771 | 33.5276 | 12.6722 | 1057.6234
01/01 02:00:00 | 01 | 01 | 02 | SecondRun2 | -5.8 | 68.8413 | 28.8893 | 18.9736 | 1583.5335
01/01 03:00:00 | 01 | 01 | 03 | SecondRun2 | -2.2 | 68.8574 | 26.6415 | 22.3767 | 1867.5629
01/01 04:00:00 | 01 | 01 | 04 | SecondRun2 | -2.2 | 68.8678 | 25.6388 | 25.3009 | 2111.6105
01/01 05:00:00 | 01 | 01 | 05 | SecondRun2 | -2.2 | 68.896 | 25.958 | 26.4474 | 2207.2969
01/01 06:00:00 | 01 | 01 | 06 | SecondRun2 | 1.4 | 68.9426 | 26.7019 | 25.1579 | 2099.6783
01/01 07:00:00 | 01 | 01 | 07 | SecondRun2 | 1.4 | 68.9509 | 27.8215 | 24.4193 | 2038.0355
01/01 08:00:00 | 01 | 01 | 08 | SecondRun2 | -0.4 | 68.939 | 29.3894 | 24.5845 | 2051.8257
01/01 09:00:00 | 01 | 01 | 09 | SecondRun2 | 2.12 | 69.0294 | 33.7769 | 18.5298 | 1546.4941
01/01 10:00:00 | 01 | 01 | 10 | SecondRun2 | 4.64 | 69.0089 | 38.552 | 16.2741 | 1358.2384
01/01 11:00:00 | 01 | 01 | 11 | SecondRun2 | 7.16 | 69.0635 | 44.4633 | 9.6088 | 801.947
01/01 12:00:00 | 01 | 01 | 12 | SecondRun2 | 9.68 | 69.0595 | 49.9799 | 4.97 | 414.7973
01/01 13:00:00 | 01 | 01 | 13 | SecondRun2 | 12.2 | 69.0511 | 52.3284 | 1.7725 | 147.9362
01/01 14:00:00 | 01 | 01 | 14 | SecondRun2 | 15.8 | 69.0153 | 52.5392 | 0.95926 | 80.06
01/01 15:00:00 | 01 | 01 | 15 | SecondRun2 | 6.8 | 68.9813 | 51.7653 | 1.8384 | 153.4334
01/01 16:00:00 | 01 | 01 | 16 | SecondRun2 | 5 | 68.9648 | 44.9957 | 3.0798 | 257.0362
01/01 17:00:00 | 01 | 01 | 17 | SecondRun2 | 3.2 | 68.871 | 41.5673 | 8.7104 | 726.9725
01/01 18:00:00 | 01 | 01 | 18 | SecondRun2 | 1.4 | 68.8941 | 36.443 | 10.8505 | 905.5822
01/01 19:00:00 | 01 | 01 | 19 | SecondRun2 | 1.4 | 68.9143 | 34.4511 | 11.7514 | 980.7754
01/01 20:00:00 | 01 | 01 | 20 | SecondRun2 | 6.8 | 68.9491 | 35.0082 | 11.1947 | 934.3127
01/01 21:00:00 | 01 | 01 | 21 | SecondRun2 | 6.8 | 68.9346 | 35.8494 | 12.1783 | 1016.4051
01/01 22:00:00 | 01 | 01 | 22 | SecondRun2 | 6.8 | 68.9153 | 36.474 | 14.3142 | 1194.6615
01/01 23:00:00 | 01 | 01 | 23 | SecondRun2 | 8.6 | 68.8987 | 37.3138 | 16.9183 | 1412.002
01/01 24:00:00 | 01 | 01 | 24 | SecondRun2 | 8.6 | 68.8867 | 37.4448 | 19.876 | 1658.8553
01/01 01:00:00 | 01 | 01 | 01 | SecondRun3 | -2.2 | 68.9302 | 18.2556 | 9.8001 | 817.9151
01/01 02:00:00 | 01 | 01 | 02 | SecondRun3 | -5.8 | 68.8617 | 14.6775 | 18.8016 | 1569.1844
01/01 03:00:00 | 01 | 01 | 03 | SecondRun3 | -2.2 | 68.8669 | 13.7754 | 25.1054 | 2095.3017
01/01 04:00:00 | 01 | 01 | 04 | SecondRun3 | -2.2 | 68.8787 | 13.3358 | 30.1424 | 2515.684
01/01 05:00:00 | 01 | 01 | 05 | SecondRun3 | -2.2 | 68.9129 | 13.6103 | 31.9529 | 2666.7896
01/01 06:00:00 | 01 | 01 | 06 | SecondRun3 | 1.4 | 68.9655 | 14.5107 | 29.7596 | 2483.741
01/01 07:00:00 | 01 | 01 | 07 | SecondRun3 | 1.4 | 68.9714 | 15.8231 | 28.7504 | 2399.512
01/01 08:00:00 | 01 | 01 | 08 | SecondRun3 | -0.4 | 68.955 | 16.4057 | 29.4487 | 2457.7903
01/01 09:00:00 | 01 | 01 | 09 | SecondRun3 | 2.12 | 69.0357 | 20.271 | 21.8207 | 1821.1553
01/01 10:00:00 | 01 | 01 | 10 | SecondRun3 | 4.64 | 69.0142 | 25.5819 | 19.3739 | 1616.9437
01/01 11:00:00 | 01 | 01 | 11 | SecondRun3 | 7.16 | 69.0764 | 32.9271 | 10.0516 | 838.9034
01/01 12:00:00 | 01 | 01 | 12 | SecondRun3 | 9.68 | 69.0705 | 40.2788 | 3.6122 | 301.4742
01/01 13:00:00 | 01 | 01 | 13 | SecondRun3 | 12.2 | 69.1578 | 34.908 | 0 | 0
01/01 14:00:00 | 01 | 01 | 14 | SecondRun3 | 15.8 | 69.3025 | 34.0747 | 0 | 0
01/01 15:00:00 | 01 | 01 | 15 | SecondRun3 | 6.8 | 69.0981 | 29.5765 | 0 | 0
01/01 16:00:00 | 01 | 01 | 16 | SecondRun3 | 5 | 68.9899 | 32.5039 | 1.356 | 113.173
01/01 17:00:00 | 01 | 01 | 17 | SecondRun3 | 3.2 | 68.9083 | 28.2582 | 9.0509 | 755.3889
01/01 18:00:00 | 01 | 01 | 18 | SecondRun3 | 1.4 | 68.9257 | 24.0361 | 11.2476 | 938.7219
01/01 19:00:00 | 01 | 01 | 19 | SecondRun3 | 1.4 | 68.9494 | 21.3335 | 11.9845 | 1000.2255
01/01 20:00:00 | 01 | 01 | 20 | SecondRun3 | 6.8 | 68.9855 | 22 | 10.2614 | 856.4137
01/01 21:00:00 | 01 | 01 | 21 | SecondRun3 | 6.8 | 68.9609 | 22.9456 | 11.6588 | 973.0424
01/01 22:00:00 | 01 | 01 | 22 | SecondRun3 | 6.8 | 68.927 | 23.6602 | 15.5821 | 1300.4801
01/01 23:00:00 | 01 | 01 | 23 | SecondRun3 | 8.6 | 68.9029 | 24.5469 | 20.5903 | 1718.4686
01/01 24:00:00 | 01 | 01 | 24 | SecondRun3 | 8.6 | 68.8895 | 24.7775 | 26.0805 | 2176.6833
01/01 01:00:00 | 01 | 01 | 01 | SecondRun4 | -2.2 | 69.0413 | -2.132 | 0 | 0
01/01 02:00:00 | 01 | 01 | 02 | SecondRun4 | -5.8 | 68.8138 | 4.38 | 12.9761 | 1082.985
01/01 03:00:00 | 01 | 01 | 03 | SecondRun4 | -2.2 | 68.8709 | 4.8526 | 20.8668 | 1741.5465
01/01 04:00:00 | 01 | 01 | 04 | SecondRun4 | -2.2 | 68.8741 | 6.2276 | 29.1482 | 2432.7087
01/01 05:00:00 | 01 | 01 | 05 | SecondRun4 | -2.2 | 68.9187 | 6.9191 | 31.9058 | 2662.8593
01/01 06:00:00 | 01 | 01 | 06 | SecondRun4 | 1.4 | 68.9773 | 8.3923 | 29.0006 | 2420.3875
01/01 07:00:00 | 01 | 01 | 07 | SecondRun4 | 1.4 | 68.9825 | 10.0779 | 27.8222 | 2322.0439
01/01 08:00:00 | 01 | 01 | 08 | SecondRun4 | -0.4 | 68.9631 | 10.2497 | 29.1065 | 2429.2329
01/01 09:00:00 | 01 | 01 | 09 | SecondRun4 | 2.12 | 69.035 | 13.87 | 20.7383 | 1730.8169
01/01 10:00:00 | 01 | 01 | 10 | SecondRun4 | 4.64 | 69.0126 | 19.7016 | 18.5156 | 1545.3111
01/01 11:00:00 | 01 | 01 | 11 | SecondRun4 | 7.16 | 69.0772 | 27.9655 | 7.4516 | 621.9129
01/01 12:00:00 | 01 | 01 | 12 | SecondRun4 | 9.68 | 69.0848 | 28.1627 | 0 | 0
01/01 13:00:00 | 01 | 01 | 13 | SecondRun4 | 12.2 | 69.5118 | 32.168 | 0 | 0
01/01 14:00:00 | 01 | 01 | 14 | SecondRun4 | 15.8 | 69.6518 | 31.8428 | 0 | 0
01/01 15:00:00 | 01 | 01 | 15 | SecondRun4 | 6.8 | 69.5099 | 28.4277 | 0 | 0
01/01 16:00:00 | 01 | 01 | 16 | SecondRun4 | 5 | 69.3558 | 21.3364 | 0 | 0
01/01 17:00:00 | 01 | 01 | 17 | SecondRun4 | 3.2 | 68.9966 | 23.2926 | 6.0467 | 504.6586
01/01 18:00:00 | 01 | 01 | 18 | SecondRun4 | 1.4 | 68.9773 | 17.8126 | 7.9643 | 664.6988
01/01 19:00:00 | 01 | 01 | 19 | SecondRun4 | 1.4 | 68.9841 | 15.3614 | 7.5723 | 631.9824
01/01 20:00:00 | 01 | 01 | 20 | SecondRun4 | 6.8 | 69.0149 | 15.7887 | 4.7342 | 395.1158
01/01 21:00:00 | 01 | 01 | 21 | SecondRun4 | 6.8 | 68.9787 | 16.8904 | 6.4684 | 539.8505
01/01 22:00:00 | 01 | 01 | 22 | SecondRun4 | 6.8 | 68.9311 | 17.6264 | 12.0506 | 1005.746
01/01 23:00:00 | 01 | 01 | 23 | SecondRun4 | 8.6 | 68.9032 | 18.5609 | 19.4982 | 1627.3209
01/01 24:00:00 | 01 | 01 | 24 | SecondRun4 | 8.6 | 68.8882 | 18.8943 | 27.6858 | 2310.6617
01/01 01:00:00 | 01 | 01 | 01 | SecondRun5 | -2.2 | 69.7884 | -2.1563 | 0 | 0
01/01 02:00:00 | 01 | 01 | 02 | SecondRun5 | -5.8 | 68.9677 | 1.9905 | 2.5725 | 214.7029
01/01 03:00:00 | 01 | 01 | 03 | SecondRun5 | -2.2 | 68.9147 | 2.5941 | 11.9216 | 994.9788
01/01 04:00:00 | 01 | 01 | 04 | SecondRun5 | -2.2 | 68.8937 | 3.6563 | 21.1813 | 1767.788
01/01 05:00:00 | 01 | 01 | 05 | SecondRun5 | -2.2 | 68.9246 | 4.1983 | 25.6193 | 2138.1837
01/01 06:00:00 | 01 | 01 | 06 | SecondRun5 | 1.4 | 68.9829 | 5.5718 | 22.7061 | 1895.055
01/01 07:00:00 | 01 | 01 | 07 | SecondRun5 | 1.4 | 68.9858 | 7.2328 | 21.9964 | 1835.8204
01/01 08:00:00 | 01 | 01 | 08 | SecondRun5 | -0.4 | 68.9651 | 6.959 | 24.3296 | 2030.5533
01/01 09:00:00 | 01 | 01 | 09 | SecondRun5 | 2.12 | 69.0296 | 10.3675 | 16.0314 | 1337.9826
01/01 10:00:00 | 01 | 01 | 10 | SecondRun5 | 4.64 | 69.007 | 16.3919 | 14.5538 | 1214.6582
01/01 11:00:00 | 01 | 01 | 11 | SecondRun5 | 7.16 | 69.0737 | 25.0665 | 2.6338 | 219.8181
01/01 12:00:00 | 01 | 01 | 12 | SecondRun5 | 9.68 | 69.3727 | 26.4713 | 0 | 0
01/01 13:00:00 | 01 | 01 | 13 | SecondRun5 | 12.2 | 69.8251 | 31.5264 | 0 | 0
01/01 14:00:00 | 01 | 01 | 14 | SecondRun5 | 15.8 | 70.0071 | 31.4014 | 0 | 0
01/01 15:00:00 | 01 | 01 | 15 | SecondRun5 | 6.8 | 69.8617 | 28.2065 | 0 | 0
01/01 16:00:00 | 01 | 01 | 16 | SecondRun5 | 5 | 69.7565 | 20.9369 | 0 | 0
01/01 17:00:00 | 01 | 01 | 17 | SecondRun5 | 3.2 | 69.0747 | 14.7369 | 0 | 0
01/01 18:00:00 | 01 | 01 | 18 | SecondRun5 | 1.4 | 68.997 | 14.065 | 1.8669 | 155.8142
01/01 19:00:00 | 01 | 01 | 19 | SecondRun5 | 1.4 | 69.0097 | 10.9721 | 1.2082 | 100.8361
01/01 20:00:00 | 01 | 01 | 20 | SecondRun5 | 6.8 | 69.243 | 4.8116 | 0 | 0
01/01 21:00:00 | 01 | 01 | 21 | SecondRun5 | 6.8 | 69.1141 | 4.0824 | 0 | 0
01/01 22:00:00 | 01 | 01 | 22 | SecondRun5 | 6.8 | 68.9281 | 11.9103 | 5.3585 | 447.2222
01/01 23:00:00 | 01 | 01 | 23 | SecondRun5 | 8.6 | 68.9023 | 12.7285 | 15.3696 | 1282.7512
01/01 24:00:00 | 01 | 01 | 24 | SecondRun5 | 8.6 | 68.8824 | 14.0905 | 26.7375 | 2231.5161
01/01 01:00:00 | 01 | 01 | 01 | SecondRun6 | -2.2 | 68.8341 | 47.4247 | 12.2388 | 1021.4545
01/01 02:00:00 | 01 | 01 | 02 | SecondRun6 | -5.8 | 68.8099 | 43.1709 | 15.9612 | 1332.1203
01/01 03:00:00 | 01 | 01 | 03 | SecondRun6 | -2.2 | 68.8254 | 40.7157 | 17.8889 | 1493.0055
01/01 04:00:00 | 01 | 01 | 04 | SecondRun6 | -2.2 | 68.8421 | 39.913 | 19.5742 | 1633.6671
01/01 05:00:00 | 01 | 01 | 05 | SecondRun6 | -2.2 | 68.8661 | 40.5661 | 20.2513 | 1690.1721
01/01 06:00:00 | 01 | 01 | 06 | SecondRun6 | 1.4 | 68.9074 | 41.3136 | 19.3301 | 1613.288
01/01 07:00:00 | 01 | 01 | 07 | SecondRun6 | 1.4 | 68.9154 | 42.318 | 18.725 | 1562.7923
01/01 08:00:00 | 01 | 01 | 08 | SecondRun6 | -0.4 | 68.9052 | 44.8311 | 18.6277 | 1554.6685
01/01 09:00:00 | 01 | 01 | 09 | SecondRun6 | 2.12 | 68.9915 | 49.6682 | 14.0912 | 1176.0552
01/01 10:00:00 | 01 | 01 | 10 | SecondRun6 | 4.64 | 68.9731 | 53.6174 | 12.2562 | 1022.9032
01/01 11:00:00 | 01 | 01 | 11 | SecondRun6 | 7.16 | 69.0276 | 58.7888 | 7.6647 | 639.6936
01/01 12:00:00 | 01 | 01 | 12 | SecondRun6 | 9.68 | 69.0305 | 63.5168 | 4.3882 | 366.2367
01/01 13:00:00 | 01 | 01 | 13 | SecondRun6 | 12.2 | 69.0214 | 64.7493 | 2.1462 | 179.1198
01/01 14:00:00 | 01 | 01 | 14 | SecondRun6 | 15.8 | 69.0005 | 64.5059 | 1.408 | 117.5081
01/01 15:00:00 | 01 | 01 | 15 | SecondRun6 | 6.8 | 68.9628 | 62.9472 | 1.9882 | 165.9334
01/01 16:00:00 | 01 | 01 | 16 | SecondRun6 | 5 | 68.947 | 56.8065 | 2.9212 | 243.8054
01/01 17:00:00 | 01 | 01 | 17 | SecondRun6 | 3.2 | 68.843 | 54.0215 | 7.0159 | 585.5435
01/01 18:00:00 | 01 | 01 | 18 | SecondRun6 | 1.4 | 68.8604 | 49.5748 | 8.605 | 718.1751
01/01 19:00:00 | 01 | 01 | 19 | SecondRun6 | 1.4 | 68.8775 | 48.3386 | 9.4787 | 791.0935
01/01 20:00:00 | 01 | 01 | 20 | SecondRun6 | 6.8 | 68.9173 | 49.5051 | 9.1364 | 762.521
01/01 21:00:00 | 01 | 01 | 21 | SecondRun6 | 6.8 | 68.9056 | 50.1517 | 9.7692 | 815.334
01/01 22:00:00 | 01 | 01 | 22 | SecondRun6 | 6.8 | 68.8863 | 50.7874 | 10.945 | 913.472
01/01 23:00:00 | 01 | 01 | 23 | SecondRun6 | 8.6 | 68.8713 | 51.2955 | 12.3177 | 1028.0338
01/01 24:00:00 | 01 | 01 | 24 | SecondRun6 | 8.6 | 68.8571 | 51.52 | 13.9996 | 1168.4077
01/01 01:00:00 | 01 | 01 | 01 | SecondRun7 | -2.2 | 68.8633 | 33.7674 | 14.0448 | 1172.1756
01/01 02:00:00 | 01 | 01 | 02 | SecondRun7 | -5.8 | 68.8277 | 29.079 | 20.5604 | 1715.9725
01/01 03:00:00 | 01 | 01 | 03 | SecondRun7 | -2.2 | 68.8466 | 26.7962 | 23.9048 | 1995.0944
01/01 04:00:00 | 01 | 01 | 04 | SecondRun7 | -2.2 | 68.8565 | 25.7758 | 26.8447 | 2240.4579
01/01 05:00:00 | 01 | 01 | 05 | SecondRun7 | -2.2 | 68.8847 | 26.1081 | 27.987 | 2335.7949
01/01 06:00:00 | 01 | 01 | 06 | SecondRun7 | 1.4 | 68.9336 | 26.8407 | 26.563 | 2216.9514
01/01 07:00:00 | 01 | 01 | 07 | SecondRun7 | 1.4 | 68.9412 | 27.9588 | 25.8082 | 2153.9554
01/01 08:00:00 | 01 | 01 | 08 | SecondRun7 | -0.4 | 68.9282 | 29.5952 | 26.0004 | 2169.9968
01/01 09:00:00 | 01 | 01 | 09 | SecondRun7 | 2.12 | 69.021 | 33.9491 | 19.8486 | 1656.5637
01/01 10:00:00 | 01 | 01 | 10 | SecondRun7 | 4.64 | 69.0018 | 38.7471 | 17.4693 | 1457.9848
01/01 11:00:00 | 01 | 01 | 11 | SecondRun7 | 7.16 | 69.0581 | 44.6189 | 10.6953 | 892.6316
01/01 12:00:00 | 01 | 01 | 12 | SecondRun7 | 9.68 | 69.0545 | 50.1286 | 5.959 | 497.3405
01/01 13:00:00 | 01 | 01 | 13 | SecondRun7 | 12.2 | 69.0459 | 52.4296 | 2.6584 | 221.87
01/01 14:00:00 | 01 | 01 | 14 | SecondRun7 | 15.8 | 69.0105 | 52.6387 | 1.7698 | 147.707
01/01 15:00:00 | 01 | 01 | 15 | SecondRun7 | 6.8 | 68.9721 | 51.9152 | 2.8452 | 237.4639
01/01 16:00:00 | 01 | 01 | 16 | SecondRun7 | 5 | 68.9561 | 45.1215 | 4.1614 | 347.307
01/01 17:00:00 | 01 | 01 | 17 | SecondRun7 | 3.2 | 68.8622 | 41.7535 | 9.8846 | 824.9665
01/01 18:00:00 | 01 | 01 | 18 | SecondRun7 | 1.4 | 68.884 | 36.6484 | 12.0972 | 1009.6358
01/01 19:00:00 | 01 | 01 | 19 | SecondRun7 | 1.4 | 68.9048 | 34.659 | 13.0411 | 1088.4066
01/01 20:00:00 | 01 | 01 | 20 | SecondRun7 | 6.8 | 68.9436 | 35.2057 | 12.3086 | 1027.2783
01/01 21:00:00 | 01 | 01 | 21 | SecondRun7 | 6.8 | 68.9278 | 36.0594 | 13.2777 | 1108.1577
01/01 22:00:00 | 01 | 01 | 22 | SecondRun7 | 6.8 | 68.9017 | 36.6737 | 15.4022 | 1285.4706
01/01 23:00:00 | 01 | 01 | 23 | SecondRun7 | 8.6 | 68.8846 | 37.5193 | 17.9396 | 1497.2433
01/01 24:00:00 | 01 | 01 | 24 | SecondRun7 | 8.6 | 68.877 | 37.6408 | 20.893 | 1743.7274
01/01 01:00:00 | 01 | 01 | 01 | SecondRun8 | -2.2 | 68.9099 | 18.6286 | 12.806 | 1068.7853
01/01 02:00:00 | 01 | 01 | 02 | SecondRun8 | -5.8 | 68.8464 | 15.0186 | 22.1244 | 1846.4999
01/01 03:00:00 | 01 | 01 | 03 | SecondRun8 | -2.2 | 68.8574 | 14.0611 | 28.2403 | 2356.9385
01/01 04:00:00 | 01 | 01 | 04 | SecondRun8 | -2.2 | 68.8691 | 13.6047 | 33.2471 | 2774.802
01/01 05:00:00 | 01 | 01 | 05 | SecondRun8 | -2.2 | 68.9033 | 13.8808 | 35.0171 | 2922.5309
01/01 06:00:00 | 01 | 01 | 06 | SecondRun8 | 1.4 | 68.9586 | 14.7656 | 32.5497 | 2716.5956
01/01 07:00:00 | 01 | 01 | 07 | SecondRun8 | 1.4 | 68.9634 | 16.069 | 31.5026 | 2629.2054
01/01 08:00:00 | 01 | 01 | 08 | SecondRun8 | -0.4 | 68.9457 | 16.711 | 32.2478 | 2691.4002
01/01 09:00:00 | 01 | 01 | 09 | SecondRun8 | 2.12 | 69.0283 | 20.5524 | 24.4435 | 2040.0576
01/01 10:00:00 | 01 | 01 | 10 | SecondRun8 | 4.64 | 69.0088 | 25.8494 | 21.7764 | 1817.4614
01/01 11:00:00 | 01 | 01 | 11 | SecondRun8 | 7.16 | 69.0724 | 33.1667 | 12.2434 | 1021.8342
01/01 12:00:00 | 01 | 01 | 12 | SecondRun8 | 9.68 | 69.067 | 40.4829 | 5.6116 | 468.347
01/01 13:00:00 | 01 | 01 | 13 | SecondRun8 | 12.2 | 69.0541 | 44.1962 | 1.3133 | 109.6076
01/01 14:00:00 | 01 | 01 | 14 | SecondRun8 | 15.8 | 69.0602 | 35.6717 | 0 | 0
01/01 15:00:00 | 01 | 01 | 15 | SecondRun8 | 6.8 | 68.9431 | 41.1404 | 1.6194 | 135.1559
01/01 16:00:00 | 01 | 01 | 16 | SecondRun8 | 5 | 68.9697 | 34.4767 | 3.7697 | 314.6214
01/01 17:00:00 | 01 | 01 | 17 | SecondRun8 | 3.2 | 68.8911 | 30.7429 | 11.4536 | 955.9195
01/01 18:00:00 | 01 | 01 | 18 | SecondRun8 | 1.4 | 68.9142 | 25.2899 | 13.6751 | 1141.3213
01/01 19:00:00 | 01 | 01 | 19 | SecondRun8 | 1.4 | 68.939 | 22.4667 | 14.4619 | 1206.9896
01/01 20:00:00 | 01 | 01 | 20 | SecondRun8 | 6.8 | 68.9808 | 22.7577 | 12.3806 | 1033.2817
01/01 21:00:00 | 01 | 01 | 21 | SecondRun8 | 6.8 | 68.9549 | 23.5579 | 13.7473 | 1147.3482
01/01 22:00:00 | 01 | 01 | 22 | SecondRun8 | 6.8 | 68.9171 | 24.1761 | 17.6409 | 1472.3142
01/01 23:00:00 | 01 | 01 | 23 | SecondRun8 | 8.6 | 68.8931 | 25.0046 | 22.5208 | 1879.5885
01/01 24:00:00 | 01 | 01 | 24 | SecondRun8 | 8.6 | 68.8815 | 25.1938 | 28.0055 | 2337.3377
01/01 01:00:00 | 01 | 01 | 01 | SecondRun9 | -2.2 | 68.9724 | 11.0646 | 5.2955 | 441.9611
01/01 02:00:00 | 01 | 01 | 02 | SecondRun9 | -5.8 | 68.8556 | 8.8021 | 18.2304 | 1521.5072
01/01 03:00:00 | 01 | 01 | 03 | SecondRun9 | -2.2 | 68.8708 | 8.2012 | 25.4782 | 2126.4133
01/01 04:00:00 | 01 | 01 | 04 | SecondRun9 | -2.2 | 68.8749 | 8.1627 | 33.0099 | 2755.0076
01/01 05:00:00 | 01 | 01 | 05 | SecondRun9 | -2.2 | 68.9128 | 8.4321 | 35.6595 | 2976.1443
01/01 06:00:00 | 01 | 01 | 06 | SecondRun9 | 1.4 | 68.9718 | 9.4049 | 32.4267 | 2706.331
01/01 07:00:00 | 01 | 01 | 07 | SecondRun9 | 1.4 | 68.9743 | 10.7943 | 31.3493 | 2616.4139
01/01 08:00:00 | 01 | 01 | 08 | SecondRun9 | -0.4 | 68.9537 | 10.9526 | 32.8366 | 2740.548
01/01 09:00:00 | 01 | 01 | 09 | SecondRun9 | 2.12 | 69.0257 | 14.465 | 24.3455 | 2031.8722
01/01 10:00:00 | 01 | 01 | 10 | SecondRun9 | 4.64 | 69.0059 | 20.2077 | 21.9133 | 1828.8868
01/01 11:00:00 | 01 | 01 | 11 | SecondRun9 | 7.16 | 69.073 | 28.3796 | 10.6472 | 888.6179
01/01 12:00:00 | 01 | 01 | 12 | SecondRun9 | 9.68 | 69.0667 | 36.3961 | 3.1189 | 260.3056
01/01 13:00:00 | 01 | 01 | 13 | SecondRun9 | 12.2 | 69.2515 | 34.087 | 0 | 0
01/01 14:00:00 | 01 | 01 | 14 | SecondRun9 | 15.8 | 69.3898 | 33.611 | 0 | 0
01/01 15:00:00 | 01 | 01 | 15 | SecondRun9 | 6.8 | 69.1526 | 29.4977 | 0 | 0
01/01 16:00:00 | 01 | 01 | 16 | SecondRun9 | 5 | 68.9937 | 29.1146 | 0.80168 | 66.9081
01/01 17:00:00 | 01 | 01 | 17 | SecondRun9 | 3.2 | 68.9219 | 24.5314 | 9.9951 | 834.1889
01/01 18:00:00 | 01 | 01 | 18 | SecondRun9 | 1.4 | 68.9375 | 19.4851 | 12.3689 | 1032.3092
01/01 19:00:00 | 01 | 01 | 19 | SecondRun9 | 1.4 | 68.9652 | 16.3264 | 12.0396 | 1004.8215
01/01 20:00:00 | 01 | 01 | 20 | SecondRun9 | 6.8 | 69.008 | 16.7313 | 8.6136 | 718.889
01/01 21:00:00 | 01 | 01 | 21 | SecondRun9 | 6.8 | 68.9733 | 17.5459 | 10.1797 | 849.599
01/01 22:00:00 | 01 | 01 | 22 | SecondRun9 | 6.8 | 68.9262 | 18.2288 | 15.6318 | 1304.6347
01/01 23:00:00 | 01 | 01 | 23 | SecondRun9 | 8.6 | 68.8973 | 19.0853 | 22.7959 | 1902.5459
01/01 24:00:00 | 01 | 01 | 24 | SecondRun9 | 8.6 | 68.8812 | 19.3248 | 30.8342 | 2573.4271

## Model In
Run Label | Timesteps Per Hr | Weather File | Bldg Orient [deg] | Conditioned Footprint Area [ft^2] | Total Conditioned Volume Above Foundation Walls [ft^3] | Ratio Width to Depth | Exterior Non-Foundation Wall Construction | Ceiling And Roof Construction | Foundation And Floor Construction | Foundation Wall Height Above Ground [ft] | Foundation Wall Height Below Ground [ft] | Window U-Value [Btu/h-ft^2-F] | Window SHGC | Window Shades | WtW Ratio Front [%] | WtW Ratio Back [%] | WtW Ratio Left [%] | WtW Ratio Right [%] | Conditioned Envelope Infiltration [ACH50] | Primary HVAC Type | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | Backup Electric Baseboard Heat Capacity [kW] | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Gas Furnace AFUE [%] | Supply Duct Leakage [%] | Supply Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Return Duct Leakage [%] | Return Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Htg StPt Sch | Clg StPt Sch | Water Heater Type | DHW StPt Sch | Number Of People | Interior LPD [W/ft^2] | Exterior LP [W] | Range | Dryer | Refrigerator | ClothesWasher | Dishwasher | Misc Electric Gains [Max W] | Misc Electric Gains Sch | Misc Gas Gains [Max Btu/h] | Misc Gas Gains Sch
SecondRun1 | 2 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 500 | 4000 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R49 Cavity Insulation | Slab - R5 Perimeter with No Thermal Break | 0 | 0 | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | Electric Furnace with CAC (15 SEER) | ton | 3 | ton | 3 | Electric | kW | 15 | 0 | 30 | 0 | 0.85 | 0.1 | 4 | 0.1 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 0 | 1 | 1000 | None | None | None | None | None | 1000 | PNNL Prototype Default | 0
SecondRun2 | 2 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 1000 | 8000 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R49 Cavity Insulation | Slab - R5 Perimeter with No Thermal Break | 0 | 0 | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | Electric Furnace with CAC (15 SEER) | ton | 3 | ton | 3 | Electric | kW | 15 | 0 | 30 | 0 | 0.85 | 0.1 | 4 | 0.1 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 0 | 1 | 1000 | None | None | None | None | None | 1000 | PNNL Prototype Default | 0
SecondRun3 | 2 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 2000 | 16000 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R49 Cavity Insulation | Slab - R5 Perimeter with No Thermal Break | 0 | 0 | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | Electric Furnace with CAC (15 SEER) | ton | 3 | ton | 3 | Electric | kW | 15 | 0 | 30 | 0 | 0.85 | 0.1 | 4 | 0.1 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 0 | 1 | 1000 | None | None | None | None | None | 1000 | PNNL Prototype Default | 0
SecondRun4 | 2 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 3000 | 24000 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R49 Cavity Insulation | Slab - R5 Perimeter with No Thermal Break | 0 | 0 | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | Electric Furnace with CAC (15 SEER) | ton | 3 | ton | 3 | Electric | kW | 15 | 0 | 30 | 0 | 0.85 | 0.1 | 4 | 0.1 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 0 | 1 | 1000 | None | None | None | None | None | 1000 | PNNL Prototype Default | 0
SecondRun5 | 2 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 4000 | 32000 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R49 Cavity Insulation | Slab - R5 Perimeter with No Thermal Break | 0 | 0 | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | Electric Furnace with CAC (15 SEER) | ton | 3 | ton | 3 | Electric | kW | 15 | 0 | 30 | 0 | 0.85 | 0.1 | 4 | 0.1 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 0 | 1 | 1000 | None | None | None | None | None | 1000 | PNNL Prototype Default | 0
SecondRun6 | 2 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 500 | 4000 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R49 Cavity Insulation | Slab - R5 Perimeter with No Thermal Break | 0 | 0 | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 1 | Electric Furnace with CAC (15 SEER) | ton | 3 | ton | 3 | Electric | kW | 15 | 0 | 30 | 0 | 0.85 | 0.1 | 4 | 0.1 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 0 | 1 | 1000 | None | None | None | None | None | 1000 | PNNL Prototype Default | 0
SecondRun7 | 2 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 1000 | 8000 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R49 Cavity Insulation | Slab - R5 Perimeter with No Thermal Break | 0 | 0 | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 1 | Electric Furnace with CAC (15 SEER) | ton | 3 | ton | 3 | Electric | kW | 15 | 0 | 30 | 0 | 0.85 | 0.1 | 4 | 0.1 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 0 | 1 | 1000 | None | None | None | None | None | 1000 | PNNL Prototype Default | 0
SecondRun8 | 2 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 2000 | 16000 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R49 Cavity Insulation | Slab - R5 Perimeter with No Thermal Break | 0 | 0 | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 1 | Electric Furnace with CAC (15 SEER) | ton | 3 | ton | 3 | Electric | kW | 15 | 0 | 30 | 0 | 0.85 | 0.1 | 4 | 0.1 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 0 | 1 | 1000 | None | None | None | None | None | 1000 | PNNL Prototype Default | 0
SecondRun9 | 2 | USA_ID_Coeur.dAlene.AP-Boyington.Field.727834_TMYx.2004-2018 | 0 | 3000 | 24000 | 1.4 | Wood-Framed - 2x4 - 16 in OC - R-13 Cavity | Attic - R49 Cavity Insulation | Slab - R5 Perimeter with No Thermal Break | 0 | 0 | 0.5 | 0.5 | No | 0.25 | 0.25 | 0.25 | 0.25 | 1 | Electric Furnace with CAC (15 SEER) | ton | 3 | ton | 3 | Electric | kW | 15 | 0 | 30 | 0 | 0.85 | 0.1 | 4 | 0.1 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 0 | 1 | 1000 | None | None | None | None | None | 1000 | PNNL Prototype Default | 0

## Run Characteristics
EnergyPlus Directory | C:\EnergyPlusV9-5-0\energyplus.exe
Model Input Template Directory | C:\Users\Logan\Desktop\Repositories\REEDR\Model Input Template.xlsx
Simulation Type | Test Run
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 1
Simulation End Day | 1
Output Granularity | Hourly
Output End Uses | Heating
Run Complete Timestamp | 2022-12-08 16:17:47.070273-08:00 US Pacific Time