## Model Out
Run Label | Has Open Crawl? | Total Elec [kWh] | Total Nat Gas [therm] | Total Propane [gal] | Total Heat Elec [kWh] | HEMS Total HVAC | Things to Change | Prim Furnace Heat Elec [kWh] | ASHP Compressor Heat Elec [kWh] | ASHP Backup Heat Elec [kWh] | ASHP Defrost Elec [kWh] | ASHP Crankcase Heater Elec [kWh] | Baseboard Heat Elec [kWh] | Cool Elec [kWh] | Fan Elec [kWh] | Pump Elec [kWh] | DHW Elec [kWh] | IntLights Elec [kWh] | ExtLights Elec [kWh] | Total IntEquip Elec [kWh] | IntEquip Range Elec [kWh] | IntEquip Dryer Elec [kWh] | IntEquip Clotheswasher Elec [kWh] | IntEquip Dishwasher Elec [kWh] | IntEquip Refrigerator Elec [kWh] | IntEquip Misc Elec [kWh] | HeatRecov Elec [kWh] | Heat Nat Gas [therm] | DHW Nat Gas [therm] | Total IntEquip Nat Gas [therm] | IntEquip Range Nat Gas [therm] | IntEquip Dryer Nat Gas [therm] | IntEquip Misc Nat Gas [therm] | Heat Propane [gal] | UnmetHours Heating | UnmetHours Cooling | Infiltration Living [ACH] | Infiltration Attic [ACH] | Infiltration Crawlspace [ACH] | Infiltration UnheatedBasement [ACH]
SITE_01826-2019 | Yes | 7238.4981 | 0 |  | 5413.3619 | 9022.7875 | Heating t-stat too low; has attic, vented crawl | 5413.3619 | [6 empty] | 64.8617 |  |  | 0 | 0 | 1760.2745 | [5 empty] | 1760.2745 |  |  |  | 0 |  |  | 0 |  | 0.33333 | 3511.3333 | 0.08738 | 3.9258e-09 | 5.6199e-07
SITE_00411-2019 | Yes | 18619.2112 | 0 |  | 10851.637 | 7227.1444 | has attic, vented crawl, tstat too high | 10851.637 | [6 empty] | 130.022 |  |  | 0 | 0 | 7637.5523 | [5 empty] | 7637.5523 |  |  |  | 0 |  |  | 0 |  | 0.33333 | 3563.3333 | 0.18479 | 1.5351e-08 | 6.4349e-07
SITE_00411-2021 | Yes | 16663.7455 | 0 |  | 8209.696 | 6103.0249 | has attic, vented crawl, tstat too high | 8209.696 | [6 empty] | 98.3668 |  |  | 0 | 0 | 8355.6827 | [5 empty] | 8355.6827 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 3938 | 0.19719 | 1.8823e-08 | 5.6175e-07
SITE_00569-2021 | No | 14422.1855 | 0 |  | 10261.3063 | 11557.3416 | infiltration known | 10261.3063 | [6 empty] | 122.9489 |  |  | 0 | 0 | 4037.9304 | [5 empty] | 4037.9304 |  |  |  | 0 |  |  | 0 |  | 0 | 3762 | 0.083414 | 1.3982e-08
SITE_00327-2021 | Yes | 23610.5524 | 0 |  | 19073.4489 | 10189.4711 | has a high tstat setting | 19073.4489 | [6 empty] | 228.5339 |  |  | 0 | 0 | 4308.5696 | [5 empty] | 4308.5696 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 2796.5 | 0.12819 | 3.336e-08 | 7.3516e-07
SITE_00726-2021 | Yes | 13345.8289 | 0 |  | 3385.304 | 2896.7075 | tstat a bit high; unvented ceiling; vented crawl | 3385.304 | [5 empty] | 2148.9164 | 203.9234 |  |  | 0 | 0 | 7607.6851 | [5 empty] | 7607.6851 |  |  |  | 0 |  |  | 0 |  | 1.5 | 12.6667 | 0.12268 | 3.2927e-08 | 9.2187e-07
SITE_01838-2021 | No | 13806.4188 | 0 |  | 1796.5925 | 478.325 | Crawlspace vents blocked; tstat setting too high | 1796.5925 | [6 empty] | 21.5264 |  |  | 0 | 0 | 11988.2999 | [5 empty] | 11988.2999 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 5072.5 | 0.068273 | 5.5305e-09 | 3.2468e-07
SITE_01895-2021 | Yes | 10822.061 | 0 |  | 3666.029 | 4926.8185 | Tstat a bit too low; crawlspace vented; assume vented attic | 3666.029 | [6 empty] | 43.9256 |  |  | 0 | 0 | 7112.1064 | [5 empty] | 7112.1064 |  |  |  | 0 |  |  | 0 |  | 0.66667 | 3779 | 0.028796 | 1.1802e-09 | 8.1594e-07
SITE_01855-2021 | Yes | 2612.5218 | 0 |  | 1313.7045 | 1634.5505 | vented crawl; vented attic; tstat a little low | 1313.7045 | [6 empty] | 15.7405 |  |  | 0 | 0 | 1283.0768 | [5 empty] | 1283.0768 |  |  |  | 0 |  |  | 0 |  | 0 | 2937.8333 | 0.1093 | 2.166e-08 | 3.7416e-07
SITE_01863-2021 | Yes | 6978.8387 | 0 |  | 2170.0738 | 5534.3255 | tstat too low; vented attic; vented crawl | 2170.0738 | [6 empty] | 26.0014 |  |  | 0 | 0 | 4782.7636 | [5 empty] | 4782.7636 |  |  |  | 0 |  |  | 0 |  | 0.33333 | 4586.1667 | 0.053581 | 4.7283e-10 | 7.979e-07
SITE_01840-2021 | Yes | 12220.4021 | 0 |  | 5282.2212 | 5137.7721 | vented crawl; attic, tstat a little low | 5282.2212 | [6 empty] | 63.2904 |  |  | 0 | 0 | 6874.8905 | [5 empty] | 6874.8905 |  |  |  | 0 |  |  | 0 |  | 0 | 3177 | 0.073816 | 3.4603e-09 | 3.8404e-07
SITE_00595-2021 | No | 12993.2535 | 0 |  | 8325.8263 | 5771.2985 | unvented crawl, attic, new build | 8325.8263 | [6 empty] | 99.7582 |  |  | 0 | 0 | 4567.669 | [5 empty] | 4567.669 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 4515.5 | 0.14372 | 4.092e-09 | 5.6052e-07
SITE_01208-2019 | No | 15568.5327 | 0 |  | 9825.9202 | 9260.6129 |  | 9825.9202 | [6 empty] | 117.732 |  |  | 0 | 0 | 5624.8805 | [5 empty] | 5624.8805 |  |  |  | 0 |  |  | 0 |  | 0 | 2671.1667 | 0.10423 | 1.9811e-09
SITE_01208-2021 | No | 10968.5865 | 0 |  | 5094.9775 | 9401.9654 | tstat too low | 5094.9775 | [6 empty] | 61.0469 |  |  | 0 | 0 | 5812.5621 | [5 empty] | 5812.5621 |  |  |  | 0 |  |  | 0 |  | 0 | 2597.8333 | 0.12311 | 2.1026e-09
SITE_00558-2021 | Yes | 16078.1509 | 0 |  | 5787.9709 | 10296.745 | vented crawl; attic; | 5787.9709 | [6 empty] | 69.3502 |  |  | 0 | 0 | 10220.8298 | [5 empty] | 10220.8298 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 4026.1667 | 0.11834 | 1.223e-08 | 6.0703e-07
SITE_00650-2021 | Yes | 14425.1562 | 0 |  | 4621.3752 | 9977.6467 | tstat way too low, vented attic; vented crawl | 4621.3752 | [6 empty] | 55.3723 |  |  | 0 | 0 | 9748.4087 | [5 empty] | 9748.4087 |  |  |  | 0 |  |  | 0 |  | 0.83333 | 4705 | 0.15117 | 1.0875e-08 | 8.3786e-07
SITE_01857-2021 | Yes | 9469.1735 | 0 |  | 7089.8932 | 1616.5346 | tstat too high; Sig difference between mains and total of circuits | 7089.8932 | [6 empty] | 84.9496 |  |  | 0 | 0 | 2294.3307 | [5 empty] | 2294.3307 |  |  |  | 0 |  |  | 0 |  | 0 | 3823.1667 | 0.11739 | 7.5664e-09 | 5.2511e-07
SITE_01918-2019 | Yes | 6841.9683 | 0 |  | 3049.5006 | 3683.5104 | tstat a little low, has attic; has vented crawl | 3049.5006 | [6 empty] | 36.5385 |  |  | 0 | 0 | 3755.9293 | [5 empty] | 3755.9293 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 2744.3333 | 0.12738 | 3.2637e-09 | 6.1034e-07
SITE_01918-2021 | Yes | 7405.9938 | 0 |  | 4664.5896 | 6633.1248 | tstat about right, has attic; has vented crawl | 4664.5896 | [6 empty] | 55.8901 |  |  | 0 | 0 | 2685.514 | [5 empty] | 2685.514 |  |  |  | 0 |  |  | 0 |  | 0 | 2707.1667 | 0.15115 | 3.7391e-09 | 7.3822e-07
SITE_00908-2021 | Yes | 15004.4041 | 0 |  | 9848.7093 | 25229.94 | tstat way too low; vented crawl; attic | 9848.7093 | [6 empty] | 118.0051 |  |  | 0 | 0 | 5037.6897 | [5 empty] | 5037.6897 |  |  |  | 0 |  |  | 0 |  | 2.1667 | 3482.5 | 0.10772 | 7.2242e-09 | 1.0264e-06
SITE_00548-2021 | Yes | 15451.8856 | 0 |  | 6131.0047 | 3108.0118 | has offgrid appliance | 6131.0047 | [5 empty] | 3220.1863 | 343.226 |  |  | 0 | 0 | 5757.4687 | [5 empty] | 5757.4687 |  |  |  | 0 |  |  | 0 |  | 0 | 572.6667 | 0.10954 | 4.7741e-09 | 5.0363e-07
SITE_00651-2021 | Yes | 17885.8005 | 0 |  | 9998.743 | 11637.3443 | tstat too low | 9998.743 | [5 empty] | 1352.1559 | 225.0058 |  |  | 0 | 0 | 6309.8958 | [5 empty] | 6309.8958 |  |  |  | 0 |  |  | 0 |  | 0 | 6.1667 | 0.16862 | 2.3838e-08 | 8.2762e-07
[5 empty] | 145861.8856 | 161325.0031

## Model In
Run Label | Timesteps Per Hour | Weather File | Building Orientation [deg] | Conditioned Footprint Area [ft^2] | Average Number of Stories Above Foundation | Average Ceiling Height Per Story [ft] | Building Width to Depth Ratio | Roof Pitch | Exterior Non-Foundation Wall Input Methd | Exterior Non-Foundation Wall Pre-Defined Constructions | Exterior Non-Foundation Wall Overall Effective R-Value [h-ft^2-F/Btu] | Ceiling And Roof Input Methd | Ceiling And Roof Construction | Ceiling Overall Effective R-Value [h-ft^2-F/Btu] | Floor and Foundation Input Methd | Foundation And Floor Construction | Foundation Type | Floor Overall Effective R-Value [h-ft^2-F/Btu] | Slab Perimeter Insulation R-Value [h-ft^2-F/Btu] | Full Under-Slab Insulation R-Value [h-ft^2-F/Btu] | Slab Thermal Break Insulation R-Value [h-ft^2-F/Btu] | Basement Wall Insulation R-Value [h-ft^2-F/Btu] | Window U-Value [Btu/h-ft^2-F] | Window Solar Heat Gain Coefficient | Window Shades | Window-to-Wall Ratio, Front [%] | Window-to-Wall Ratio, Back [%] | Window-to-Wall Ratio, Left [%] | Window-to-Wall Ratio, Right [%] | Conditioned Envelope Infiltration [ACH50] | Primary HVAC Type | HVAC Sizing Method | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Backup Electric Baseboard Heat Capacity [kW] | Non-Electric Furnace AFUE [%] | Supply Duct Leakage [%] | Supply Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Return Duct Leakage [%] | Return Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Heating Setpoint Schedule | Cooling Setpoint Schedule | Water Heater | Water Heater Setpoint Schedule | Number Of People | Interior Lighting Power Density [W/ft^2] | Exterior Lighting Power [W] | Range | Dryer | Refrigerator | Clothes Washer | Dishwasher | Misc Electric Gains [Max W] | Misc Electric Gains Schedule | Misc Gas Gains [Max Btu/h] | Misc Gas Gains Schedule
SITE_01826-2019 | 6 | USA_OR_Salem-Muni-AP-McNary-Field.726940_AMY_2019EPW | 0 | 1423.5 | 1 | 8.1091 | 1.6568 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.6335 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 11.2891 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 31.7764 | 0 | 0 | 0 | 0 | 0.52418 | 0.55161 | No | 0.15754 | 0.14139 | 0.29283 | 0.0061061 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 16.8 | [7 empty] | 0 |  | 0.17053 | 15.8882 | 0.001 | 100 | SITE_01826-2019-HVAC |  | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 1952.0306 | SITE_01826-2019-MISC | 0
SITE_00411-2019 | 6 | USA_ID_Twin-Falls-Magic-Valley-Rgnl-AP-Joslin-Field.725866_AMY_2019EPW | 0 | 1656 | 1 | 9.2251 | 0.89355 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 11.2891 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 13.8173 | 0 | 2.6329 | 0 | 0 | 0.52177 | 0.6625 | No | 0.06597 | 0.089372 | 0.088126 | 0.067215 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 19.2 | [7 empty] | 0 |  | 0.17053 | 6.9086 | 0.001 | 100 | SITE_00411-2019-HVAC |  | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3073.269 | SITE_00411-2019-MISC | 0
SITE_00411-2021 | 6 | USA_ID_Twin-Falls-Magic-Valley-Rgnl-AP-Joslin-Field.725866_AMY_2021EPW | 0 | 1656 | 1 | 9.2251 | 0.89355 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 11.2891 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 13.8173 | 0 | 2.6329 | 0 | 0 | 0.52177 | 0.6625 | No | 0.06597 | 0.089372 | 0.088126 | 0.067215 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 19.2 | [7 empty] | 0 |  | 0.17053 | 6.9086 | 0.001 | 100 | SITE_00411-2021-HVAC |  | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 2650.6117 | SITE_00411-2021-MISC | 0
SITE_00569-2021 | 6 | USA_OR_Crater-Lake-Klamath-Rgnl-AP.725895_AMY_2021EPW | 0 | 1311 | 2 | 6.6553 | 1.6766 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 12.632 | Foundation Type with Effective R-Values |  | Heated Basement | 4.7448 | 10 | 0 | 0 | 2.8652 | 0.53117 | 0.59846 | No | 0.26346 | 0.22417 | 0.43785 | 0.049778 | 5.7942 | Electric Furnace with No CAC | Manual | kW | 20 | [7 empty] | 0 |  | 0.091605 | 0.39253 | 0.1399 | 0.78506 | SITE_00569-2021-HVAC |  | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 1972.932 | SITE_00569-2021-MISC | 0
SITE_00327-2021 | 6 | USA_WA_Pullman-Moscow-Rgnl-AP.727857_AMY_2021EPW | 0 | 1070 | 1 | 9.2667 | 1.5874 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 4.3012 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 11.2891 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 11.3712 | 0 | 0 | 0 | 0 | 0.53453 | 0.54008 | No | 0.157 | 0.066497 | 0.22349 | 0.001 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 11.9 | [7 empty] | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | SITE_00327-2021-HVAC |  | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 2837.1518 | SITE_00327-2021-MISC | 0
SITE_00726-2021 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2021EPW | 0 | 770 | 1 | 9.2323 | 0.75367 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.1432 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 15.7301 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 15.0296 | 0 | 0 | 0 | 0 | 0.75389 | 0.75386 | No | 0.072191 | 0.088209 | 0.001 | 0.1604 | 8.5964 | Electric Furnace with CAC (14 SEER) | Manual | kW | 16.2 | ton | 3 | [5 empty] | 0 |  | 0.17053 | 7.5148 | 0.001 | 100 | SITE_00726-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 3796.808 | SITE_00726-2021-MISC | 0
SITE_01838-2021 | 6 | USA_OR_Eugene-AP-Sweet-Field.726930_AMY_2021EPW | 0 | 1300 | 1 | 7.1418 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 24.0342 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 23.5886 | 0 | 0 | 0 | 0 | 0.52706 | 0.54008 | No | 0.10042 | 0.14653 | 0.1425 | 0.096295 | 5.4038 | Electric Furnace with No CAC | Manual | kW | 12.3 | [7 empty] | 0 |  | 0.12716 | 11.7943 | 0.001 | 100 | SITE_01838-2021-HVAC |  | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 5736.91 | SITE_01838-2021-MISC | 0
SITE_01895-2021 | 6 | USA_WA_Puyallup-Pierce.County.AP-Thun.Field.720388_AMY_2021EPW | 0 | 1000 | 1 | 8.4027 | 1.7529 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 11.2891 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 11.3712 | 0 | 0 | 0 | 0 | 0.52775 | 0.71149 | No | 0.069572 | 0.089213 | 0.074376 | 0.08441 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 16.3429 | [7 empty] | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | SITE_01895-2021-HVAC |  | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 2123.0548 | SITE_01895-2021-MISC | 0
SITE_01855-2021 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2021EPW | 0 | 1248 | 1 | 6.9948 | 2.1753 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 24.0342 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 20.8919 | 0 | 0 | 0 | 0 | 0.52177 | 0.72644 | No | 0.001 | 0.19149 | 0.14176 | 0.049739 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 15 | [7 empty] | 0 |  | 0.12716 | 10.446 | 0.001 | 100 | SITE_01855-2021-HVAC |  | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1252.1034 | SITE_01855-2021-MISC | 0
SITE_01863-2021 | 6 | USA_OR_Roseburg-Rgnl-AP-Carl-Meml-Field.726904_AMY_2021EPW | 0 | 810 | 1 | 9.2313 | 0.53571 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 10.0206 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 8.0481 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 9.3223 | 0 | 0 | 0 | 0 | 1.096 | 0.54895 | No | 0.10892 | 0.058215 | 0.11815 | 0.048985 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 15 | [7 empty] | 0 |  | 0.17053 | 4.6611 | 0.001 | 100 | SITE_01863-2021-HVAC |  | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 3705.3924 | SITE_01863-2021-MISC | 0
SITE_01840-2021 | 6 | USA_OR_Newport.Muni.AP.726950_AMY_2021EPW | 0 | 1560 | 1 | 8.3224 | 1.4188 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 9.469 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 24.0342 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 23.5886 | 0 | 0 | 0 | 0 | 0.5245 | 0.54008 | No | 0.064772 | 0.19755 | 0.036942 | 0.22538 | 4.8008 | Electric Furnace with No CAC | Manual | kW | 12 | [7 empty] | 0 |  | 0.12716 | 11.7943 | 0.001 | 100 | SITE_01840-2021-HVAC |  | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 3165.6484 | SITE_01840-2021-MISC | 0
SITE_00595-2021 | 6 | USA_WA_Walla-Walla-Rgnl-AP.727846_AMY_2021EPW | 0 | 1948 | 1 | 7.6008 | 0.52773 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 13.4517 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 39.8831 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 31.7764 | 0 | 0 | 0 | 0 | 0.52177 | 0.68813 | No | 0.001 | 0.34671 | 0.12151 | 0.22521 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 22 | [7 empty] | 0 |  | 0.12716 | 15.8882 | 0.001 | 100 | SITE_00595-2021-HVAC |  | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 4244.9993 | SITE_00595-2021-MISC | 0
SITE_01208-2019 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2019EPW | 0 | 2146 | 1.5 | 8.496 | 0.87203 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 23.3743 | Foundation Type with Effective R-Values |  | Slab | 0 | 0 | 2.6329 | 0 | 0 | 0.53487 | 0.58024 | No | 0.1858 | 0.001 | 0.1858 | 0.001 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 22.5 | [7 empty] | 0 |  | 0.091605 | 0.39253 | 0.1399 | 0.78506 | SITE_01208-2019-HVAC |  | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3336.801 | SITE_01208-2019-MISC | 0
SITE_01208-2021 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2021EPW | 0 | 2146 | 1.5 | 8.496 | 0.87203 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 23.3743 | Foundation Type with Effective R-Values |  | Slab | 0 | 0 | 2.6329 | 0 | 0 | 0.53487 | 0.58024 | No | 0.1858 | 0.001 | 0.1858 | 0.001 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 22.5 | [7 empty] | 0 |  | 0.091605 | 0.39253 | 0.1399 | 0.78506 | SITE_01208-2021-HVAC |  | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3383.063 | SITE_01208-2021-MISC | 0
SITE_00558-2021 | 6 | USA_OR_Redmond-Muni-AP-Roberts-Field.726920_AMY_2021EPW | 0 | 1120 | 1 | 8.0762 | 1.2529 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 4.8637 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 26.0716 | 0 | 0 | 0 | 0 | 0.52177 | 0.54008 | No | 0.086009 | 0.19388 | 0.15066 | 0.12923 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 14 | [7 empty] | 0 |  | 0.12716 | 13.0358 | 0.001 | 100 | SITE_00558-2021-HVAC |  | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 3405.015 | SITE_00558-2021-MISC | 0
SITE_00650-2021 | 6 | USA_WA_Spokane-Fairchild-AFB.727855_AMY_2021EPW | 0 | 891 | 1 | 9.6151 | 0.57237 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 24.0342 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 21.6577 | 0 | 0 | 0 | 0 | 0.52177 | 0.54008 | No | 0.059722 | 0.059954 | 0.059904 | 0.059772 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 14.4 | [7 empty] | 0 |  | 0.12716 | 10.8288 | 0.001 | 100 | SITE_00650-2021-HVAC |  | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 4098.3866 | SITE_00650-2021-MISC | 0
SITE_01857-2021 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2021EPW | 0 | 1500 | 1 | 9.1576 | 0.68072 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 14.45 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 36.3663 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 20.258 | 0 | 0 | 0 | 0 | 0.52177 | 0.54008 | No | 0.11887 | 0.052755 | 0.094278 | 0.077348 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 14.4 | [7 empty] | 0 |  | 0.12716 | 10.129 | 0.001 | 100 | SITE_01857-2021-HVAC |  | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1381.4166 | SITE_01857-2021-MISC | 0
SITE_01918-2019 | 6 | USA_WA_Tacoma-Narrows-AP.727938_AMY_2019EPW | 0 | 1081 | 1 | 7.8374 | 1.4713 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.516 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 10.5746 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 11.3147 | 0 | 0 | 0 | 0 | 0.52177 | 0.54008 | No | 0.089278 | 0.15216 | 0.16698 | 0.074462 | 12.9298 | Electric Furnace with No CAC | Manual | kW | 14.7 | [7 empty] | 0 |  | 0.17053 | 5.6574 | 0.001 | 100 | SITE_01918-2019-HVAC |  | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1715.0307 | SITE_01918-2019-MISC | 0
SITE_01918-2021 | 6 | USA_WA_Tacoma-Narrows-AP.727938_AMY_2021EPW | 0 | 1081 | 1 | 7.8374 | 1.4713 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.516 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 10.5746 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 11.3147 | 0 | 0 | 0 | 0 | 0.52177 | 0.54008 | No | 0.089278 | 0.15216 | 0.16698 | 0.074462 | 12.9298 | Electric Furnace with No CAC | Manual | kW | 14.7 | [7 empty] | 0 |  | 0.17053 | 5.6574 | 0.001 | 100 | SITE_01918-2021-HVAC |  | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1561.5443 | SITE_01918-2021-MISC | 0
SITE_00908-2021 | 6 | USA_MT_Missoula-Intl-AP.727730_AMY_2021EPW | 0 | 1178 | 1 | 9.8379 | 0.49293 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 20.6992 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 21.6577 | 0 | 0 | 0 | 0 | 0.52177 | 0.54008 | No | 0.26772 | 0.03234 | 0.18743 | 0.11263 | 10.5282 | Electric Furnace with No CAC | Manual | kW | 21.6 | [7 empty] | 0 |  | 0.12716 | 10.8288 | 0.001 | 100 | SITE_00908-2021-HVAC |  | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 2348.1472 | SITE_00908-2021-MISC | 0
SITE_00548-2021 | 6 | USA_OR_Bend.Muni.AP.720638_AMY_2021EPW | 0 | 1566 | 1 | 7.3061 | 0.4 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 14.6638 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 25.4108 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 20.258 | 0 | 0 | 0 | 0 | 0.62515 | 0.60247 | No | 0.0069974 | 0.19602 | 0.002799 | 0.63959 | 8.5964 | Electric Furnace with CAC (14 SEER) | Manual | kW | 16.3429 | ton | 3 | [5 empty] | 0 |  | 0.091605 | 0.39253 | 0.1399 | 0.78506 | SITE_00548-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 3594.3506 | SITE_00548-2021-MISC | 0
SITE_00651-2021 | 6 | USA_WA_Spokane-Intl-AP.727850_AMY_2021EPW | 0 | 1078 | 1 | 10.9979 | 0.86783 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 9.6358 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 8.0481 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 43.1022 | 0 | 0 | 0 | 0 | 0.52177 | 0.54008 | No | 0.001 | 0.14393 | 0.001 | 0.14393 | 8.5964 | Electric Furnace with CAC (14 SEER) | Manual | kW | 17.1 | ton | 3 | [5 empty] | 0 |  | 0.17053 | 21.5511 | 0.001 | 100 | SITE_00651-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2821.7636 | SITE_00651-2021-MISC | 0

## Run Characteristics
EnergyPlus Directory | C:\EnergyPlusV22-2-0\energyplus.exe
Model Input Template Directory | C:\Users\Christian\Repositories\REEDR\Model Input Template.xlsx
Simulation Type | Annual
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 12
Simulation End Day | 31
Output Granularity | Annual
Output End Uses | All_End_Uses
Run Complete Timestamp | 2023-07-25 20:09:38.356866-07:00 US Pacific Time