## Sheet1
Row Labels | Sum of Total HVAC | Sum of HPWH HP Coil Heating [kWh] | Sum of HPWH ER Coil Heating [kWh] | Sum of ERWH ER Coil Heating [kWh] | Sum of DHW Elec [kWh]
1 Occupant_USA_FL_Electric Storage_50-gallon | 7228.0524 |  |  | 1453.1471 | 1525.8551
1 Occupant_USA_FL_HPWH_50-gallon | 7033.7645 | 1314.717 | 0 |  | 358.9847
1 Occupant_USA_GA_Electric Storage_50-gallon | 4966.1855 |  |  | 1763.5042 | 1836.2123
1 Occupant_USA_GA_HPWH_50-gallon | 5025.3952 | 1605.4536 | 0 |  | 427.6233
1 Occupant_USA_IL_Electric Storage_50-gallon | 9300.615 |  |  | 2024.3873 | 2097.0953
1 Occupant_USA_IL_HPWH_50-gallon | 9755.1401 | 1851.794 | 0 |  | 484.2095
1 Occupant_USA_MN_Electric Storage_50-gallon | 15316.6013 |  |  | 2243.0127 | 2315.7208
1 Occupant_USA_MN_HPWH_50-gallon | 16194.8641 | 2060.5534 | 0 |  | 530.9483
1 Occupant_USA_WA_Electric Storage_50-gallon | 3753.3686 |  |  | 1997.3463 | 2070.0543
1 Occupant_USA_WA_HPWH_50-gallon | 4003.7505 | 1827.8529 | 0 |  | 469.9366
2 Occupant_USA_FL_Electric Storage_50-gallon | 7454.9501 |  |  | 1970.059 | 2042.767
2 Occupant_USA_FL_HPWH_50-gallon | 7187.1783 | 1788.851 | 0 |  | 452.1286
2 Occupant_USA_GA_Electric Storage_50-gallon | 5045.3947 |  |  | 2437.9818 | 2510.6899
2 Occupant_USA_GA_HPWH_50-gallon | 5071.8564 | 2228.7504 | 0 |  | 547.1632
2 Occupant_USA_IL_Electric Storage_50-gallon | 9139.2062 |  |  | 2829.0603 | 2901.7683
2 Occupant_USA_IL_HPWH_50-gallon | 9722.4216 | 2599.9522 | 0 |  | 629.0807
2 Occupant_USA_MN_Electric Storage_50-gallon | 14929.2281 |  |  | 3161.2895 | 3233.9976
2 Occupant_USA_MN_HPWH_50-gallon | 16080.4882 | 2915.9726 | 0 |  | 695.3434
2 Occupant_USA_WA_Electric Storage_50-gallon | 3704.4501 |  |  | 2786.105 | 2858.8131
2 Occupant_USA_WA_HPWH_50-gallon | 4013.1069 | 2561.2115 | 0 |  | 607.7
3 Occupant_USA_FL_Electric Storage_50-gallon | 7682.4937 |  |  | 2345.6712 | 2418.3793
3 Occupant_USA_FL_HPWH_50-gallon | 7377.9454 | 2163.4261 | 0 |  | 528.1111
3 Occupant_USA_GA_Electric Storage_50-gallon | 5132.0425 |  |  | 2924.5749 | 2997.2829
3 Occupant_USA_GA_HPWH_50-gallon | 5153.5187 | 2736.6621 | 0 |  | 648.9112
3 Occupant_USA_IL_Electric Storage_50-gallon | 8987.9796 |  |  | 3414.0747 | 3486.7828
3 Occupant_USA_IL_HPWH_50-gallon | 9679.3257 | 3208.2262 | 0 |  | 750.3728
3 Occupant_USA_MN_Electric Storage_50-gallon | 14555.7703 |  |  | 3830.4296 | 3903.1377
3 Occupant_USA_MN_HPWH_50-gallon | 15958.7689 | 3606.588 | 0 |  | 831.4248
3 Occupant_USA_WA_Electric Storage_50-gallon | 3661.1725 |  |  | 3356.0933 | 3428.8013
3 Occupant_USA_WA_HPWH_50-gallon | 4015.0161 | 3157.6775 | 0 |  | 723.4956
4 Occupant_USA_FL_Electric Storage_50-gallon | 7909.2217 |  |  | 2739.1912 | 2811.8993
4 Occupant_USA_FL_HPWH_50-gallon | 7559.1426 | 2528.9385 | 0 |  | 600.1789
4 Occupant_USA_GA_Electric Storage_50-gallon | 5224.9086 |  |  | 3441.5599 | 3514.2679
4 Occupant_USA_GA_HPWH_50-gallon | 5260.5734 | 3191.3122 | 0 |  | 737.8136
4 Occupant_USA_IL_Electric Storage_50-gallon | 8848.3653 |  |  | 4034.6877 | 4107.3957
4 Occupant_USA_IL_HPWH_50-gallon | 9634.3675 | 3720.8828 | 23.2066 |  | 872.7579
4 Occupant_USA_MN_Electric Storage_50-gallon | 14197.3053 |  |  | 4538.7438 | 4611.4519
4 Occupant_USA_MN_HPWH_50-gallon | 15784.8506 | 4167.3469 | 43.8159 |  | 983.9256
4 Occupant_USA_WA_Electric Storage_50-gallon | 3624.8208 |  |  | 3964.3056 | 4037.0136
4 Occupant_USA_WA_HPWH_50-gallon | 4038.5992 | 3681.992 | 3.7828 |  | 827.5362
5 Occupant_USA_FL_Electric Storage_50-gallon | 8134.8298 |  |  | 3700.8407 | 3773.5488
5 Occupant_USA_FL_HPWH_50-gallon | 7643.8783 | 3369.4561 | 0 |  | 769.5308
5 Occupant_USA_GA_Electric Storage_50-gallon | 5322.4214 |  |  | 4686.2167 | 4758.9248
5 Occupant_USA_GA_HPWH_50-gallon | 5221.721 | 4273.9486 | 0 |  | 948.8947
5 Occupant_USA_IL_Electric Storage_50-gallon | 8718.6676 |  |  | 5519.4552 | 5592.1633
5 Occupant_USA_IL_HPWH_50-gallon | 9605.3053 | 4984.6013 | 36.6693 |  | 1133.4989
5 Occupant_USA_MN_Electric Storage_50-gallon | 13852.1322 |  |  | 6226.2895 | 6298.9975
5 Occupant_USA_MN_HPWH_50-gallon | 15782.0232 | 5593.0463 | 84.635 |  | 1302.5172
5 Occupant_USA_WA_Electric Storage_50-gallon | 3593.6574 |  |  | 5420.0576 | 5492.7657
5 Occupant_USA_WA_HPWH_50-gallon | 4041.8483 | 4952.7064 | 0.92233 |  | 1066.916
Grand Total | 411128.6905 | 76091.9197 | 193.0319 | 82808.0846 | 102554.7898

## Sheet2
Row Labels | Sum of Total HVAC | Sum of HPWH HP Coil Heating [kWh] | Sum of HPWH ER Coil Heating [kWh] | Sum of ERWH ER Coil Heating [kWh] | Sum of DHW Elec [kWh]
1 Occupant_USA_FL_Electric Storage_50-gallon | 7228.0524 |  |  | 1453.1471 | 1525.8551 | 1 Occupant_USA_FL
1 Occupant_USA_FL_HPWH_50-gallon | 7033.7645 | 1314.717 | 0 |  | 358.9847 | 1 Occupant_USA_FL | 7.9826 | 3.6623
1 Occupant_USA_GA_Electric Storage_50-gallon | 4966.1855 |  |  | 1763.5042 | 1836.2123 | 1 Occupant_USA_GA
1 Occupant_USA_GA_HPWH_50-gallon | 5025.3952 | 1605.4536 | 0 |  | 427.6233 | 1 Occupant_USA_GA | 3.2978 | 3.7544
1 Occupant_USA_IL_Electric Storage_50-gallon | 9300.615 |  |  | 2024.3873 | 2097.0953 | 1 Occupant_USA_IL
1 Occupant_USA_IL_HPWH_50-gallon | 9755.1401 | 1851.794 | 0 |  | 484.2095 | 1 Occupant_USA_IL | 1.9726 | 3.8244
1 Occupant_USA_MN_Electric Storage_50-gallon | 15316.6013 |  |  | 2243.0127 | 2315.7208 | 1 Occupant_USA_MN
1 Occupant_USA_MN_HPWH_50-gallon | 16194.8641 | 2060.5534 | 0 |  | 530.9483 | 1 Occupant_USA_MN | 1.4622 | 3.8809
1 Occupant_USA_WA_Electric Storage_50-gallon | 3753.3686 |  |  | 1997.3463 | 2070.0543 | 1 Occupant_USA_WA
1 Occupant_USA_WA_HPWH_50-gallon | 4003.7505 | 1827.8529 | 0 |  | 469.9366 | 1 Occupant_USA_WA | 2.5376 | 3.8896
2 Occupant_USA_FL_Electric Storage_50-gallon | 7454.9501 |  |  | 1970.059 | 2042.767 | 2 Occupant_USA_FL
2 Occupant_USA_FL_HPWH_50-gallon | 7187.1783 | 1788.851 | 0 |  | 452.1286 | 2 Occupant_USA_FL | 9.7032 | 3.9565
2 Occupant_USA_GA_Electric Storage_50-gallon | 5045.3947 |  |  | 2437.9818 | 2510.6899 | 2 Occupant_USA_GA
2 Occupant_USA_GA_HPWH_50-gallon | 5071.8564 | 2228.7504 | 0 |  | 547.1632 | 2 Occupant_USA_GA | 3.8854 | 4.0733
2 Occupant_USA_IL_Electric Storage_50-gallon | 9139.2062 |  |  | 2829.0603 | 2901.7683 | 2 Occupant_USA_IL
2 Occupant_USA_IL_HPWH_50-gallon | 9722.4216 | 2599.9522 | 0 |  | 629.0807 | 2 Occupant_USA_IL | 2.1447 | 4.1329
2 Occupant_USA_MN_Electric Storage_50-gallon | 14929.2281 |  |  | 3161.2895 | 3233.9976 | 2 Occupant_USA_MN
2 Occupant_USA_MN_HPWH_50-gallon | 16080.4882 | 2915.9726 | 0 |  | 695.3434 | 2 Occupant_USA_MN | 1.5791 | 4.1936
2 Occupant_USA_WA_Electric Storage_50-gallon | 3704.4501 |  |  | 2786.105 | 2858.8131 | 2 Occupant_USA_WA
2 Occupant_USA_WA_HPWH_50-gallon | 4013.1069 | 2561.2115 | 0 |  | 607.7 | 2 Occupant_USA_WA | 2.795 | 4.2146
3 Occupant_USA_FL_Electric Storage_50-gallon | 7682.4937 |  |  | 2345.6712 | 2418.3793 | 3 Occupant_USA_FL
3 Occupant_USA_FL_HPWH_50-gallon | 7377.9454 | 2163.4261 | 0 |  | 528.1111 | 3 Occupant_USA_FL | 9.677 | 4.0965
3 Occupant_USA_GA_Electric Storage_50-gallon | 5132.0425 |  |  | 2924.5749 | 2997.2829 | 3 Occupant_USA_GA
3 Occupant_USA_GA_HPWH_50-gallon | 5153.5187 | 2736.6621 | 0 |  | 648.9112 | 3 Occupant_USA_GA | 4.0822 | 4.2173
3 Occupant_USA_IL_Electric Storage_50-gallon | 8987.9796 |  |  | 3414.0747 | 3486.7828 | 3 Occupant_USA_IL
3 Occupant_USA_IL_HPWH_50-gallon | 9679.3257 | 3208.2262 | 0 |  | 750.3728 | 3 Occupant_USA_IL | 2.2253 | 4.2755
3 Occupant_USA_MN_Electric Storage_50-gallon | 14555.7703 |  |  | 3830.4296 | 3903.1377 | 3 Occupant_USA_MN
3 Occupant_USA_MN_HPWH_50-gallon | 15958.7689 | 3606.588 | 0 |  | 831.4248 | 3 Occupant_USA_MN | 1.6141 | 4.3378
3 Occupant_USA_WA_Electric Storage_50-gallon | 3661.1725 |  |  | 3356.0933 | 3428.8013 | 3 Occupant_USA_WA
3 Occupant_USA_WA_HPWH_50-gallon | 4015.0161 | 3157.6775 | 0 |  | 723.4956 | 3 Occupant_USA_WA | 2.931 | 4.3645
4 Occupant_USA_FL_Electric Storage_50-gallon | 7909.2217 |  |  | 2739.1912 | 2811.8993 | 4 Occupant_USA_FL
4 Occupant_USA_FL_HPWH_50-gallon | 7559.1426 | 2528.9385 | 0 |  | 600.1789 | 4 Occupant_USA_FL | 10.1117 | 4.2136
4 Occupant_USA_GA_Electric Storage_50-gallon | 5224.9086 |  |  | 3441.5599 | 3514.2679 | 4 Occupant_USA_GA
4 Occupant_USA_GA_HPWH_50-gallon | 5260.5734 | 3191.3122 | 0 |  | 737.8136 | 4 Occupant_USA_GA | 4.1259 | 4.3254
4 Occupant_USA_IL_Electric Storage_50-gallon | 8848.3653 |  |  | 4034.6877 | 4107.3957 | 4 Occupant_USA_IL
4 Occupant_USA_IL_HPWH_50-gallon | 9634.3675 | 3720.8828 | 23.2066 |  | 872.7579 | 4 Occupant_USA_IL | 2.2572 | 4.29
4 Occupant_USA_MN_Electric Storage_50-gallon | 14197.3053 |  |  | 4538.7438 | 4611.4519 | 4 Occupant_USA_MN
4 Occupant_USA_MN_HPWH_50-gallon | 15784.8506 | 4167.3469 | 43.8159 |  | 983.9256 | 4 Occupant_USA_MN | 1.6376 | 4.28
4 Occupant_USA_WA_Electric Storage_50-gallon | 3624.8208 |  |  | 3964.3056 | 4037.0136 | 4 Occupant_USA_WA
4 Occupant_USA_WA_HPWH_50-gallon | 4038.5992 | 3681.992 | 3.7828 |  | 827.5362 | 4 Occupant_USA_WA | 2.9693 | 4.4539
5 Occupant_USA_FL_Electric Storage_50-gallon | 8134.8298 |  |  | 3700.8407 | 3773.5488 | 5 Occupant_USA_FL
5 Occupant_USA_FL_HPWH_50-gallon | 7643.8783 | 3369.4561 | 0 |  | 769.5308 | 5 Occupant_USA_FL | 12.0951 | 4.3786
5 Occupant_USA_GA_Electric Storage_50-gallon | 5322.4214 |  |  | 4686.2167 | 4758.9248 | 5 Occupant_USA_GA
5 Occupant_USA_GA_HPWH_50-gallon | 5221.721 | 4273.9486 | 0 |  | 948.8947 | 5 Occupant_USA_GA | 5.0389 | 4.5041
5 Occupant_USA_IL_Electric Storage_50-gallon | 8718.6676 |  |  | 5519.4552 | 5592.1633 | 5 Occupant_USA_IL
5 Occupant_USA_IL_HPWH_50-gallon | 9605.3053 | 4984.6013 | 36.6693 |  | 1133.4989 | 5 Occupant_USA_IL | 2.4856 | 4.4299
5 Occupant_USA_MN_Electric Storage_50-gallon | 13852.1322 |  |  | 6226.2895 | 6298.9975 | 5 Occupant_USA_MN
5 Occupant_USA_MN_HPWH_50-gallon | 15782.0232 | 5593.0463 | 84.635 |  | 1302.5172 | 5 Occupant_USA_MN | 1.7565 | 4.359
5 Occupant_USA_WA_Electric Storage_50-gallon | 3593.6574 |  |  | 5420.0576 | 5492.7657 | 5 Occupant_USA_WA
5 Occupant_USA_WA_HPWH_50-gallon | 4041.8483 | 4952.7064 | 0.92233 |  | 1066.916 | 5 Occupant_USA_WA | 3.2695 | 4.6429

## Model Out
Run Label | Total Elec [kWh] | Total HVAC | Total Nat Gas [therm] | Total Propane [gal] | Total Heat Elec [kWh] | Prim Furnace Heat Elec [kWh] | ASHP Compressor Heat Elec [kWh] | ASHP Compressor Heat Output [kWh] | ASHP Backup Heat Elec [kWh] | ASHP Defrost Elec [kWh] | ASHP Crankcase Heater Elec [kWh] | Baseboard Heat Elec [kWh] | Cool Elec [kWh] | Fan Elec [kWh] | Pump Elec [kWh] | HPWH HP Coil Heating [kWh] | HPWH ER Coil Heating [kWh] | ERWH ER Coil Heating [kWh] | DHW Elec [kWh] | IntLights Elec [kWh] | ExtLights Elec [kWh] | Total IntEquip Elec [kWh] | IntEquip Range Elec [kWh] | IntEquip Dryer Elec [kWh] | IntEquip Clotheswasher Elec [kWh] | IntEquip Dishwasher Elec [kWh] | IntEquip Refrigerator Elec [kWh] | IntEquip Misc Elec [kWh] | HeatRecov Elec [kWh] | Heat Nat Gas [therm] | DHW Nat Gas [therm] | Total IntEquip Nat Gas [therm] | IntEquip Range Nat Gas [therm] | IntEquip Dryer Nat Gas [therm] | IntEquip Misc Nat Gas [therm] | Heat Propane [gal] | UnmetHours Heating | UnmetHours Cooling | Infiltration Living [ACH] | Infiltration Attic [ACH] | Infiltration Crawlspace [ACH] | Infiltration UnheatedBasement [ACH]
1 Occupant_USA_FL_HPWH_50-gallon | 12789.4975 | 7033.7645 | 97.746 |  | 6.9288 |  | 3.0514 | 11.5786 | 0 | 0 | 3.8774 |  | 6284.683 | 742.1527 | 0 | 1314.717 | 0 |  | 358.9847 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 0 | 1620 | 0.12658 | 4.1052 | 4.4475
2 Occupant_USA_FL_HPWH_50-gallon | 13036.0552 | 7187.1783 | 97.746 |  | 6.0765 |  | 2.1474 | 8.1036 | 0 | 0 | 3.9291 |  | 6407.7429 | 773.3589 | 0 | 1788.851 | 0 |  | 452.1286 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 0 | 1598 | 0.12685 | 4.1026 | 4.4515
3 Occupant_USA_FL_HPWH_50-gallon | 13302.8049 | 7377.9454 | 97.746 |  | 6.2649 |  | 2.3435 | 8.8585 | 0 | 0 | 3.9214 |  | 6567.6222 | 804.0583 | 0 | 2163.4261 | 0 |  | 528.1111 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 0 | 1562 | 0.12695 | 4.0981 | 4.456
4 Occupant_USA_FL_HPWH_50-gallon | 13556.0699 | 7559.1426 | 97.746 |  | 6.3721 |  | 2.4487 | 9.2665 | 0 | 0 | 3.9234 |  | 6719.7085 | 833.062 | 0 | 2528.9385 | 0 |  | 600.1789 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 0.25 | 1567.25 | 0.12701 | 4.0946 | 4.4603
5 Occupant_USA_FL_HPWH_50-gallon | 13810.1575 | 7643.8783 | 97.746 |  | 4.6687 |  | 0.63721 | 2.3654 | 0 | 0 | 4.0314 |  | 6765.5403 | 873.6694 | 0 | 3369.4561 | 0 |  | 769.5308 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 0 | 1496 | 0.12741 | 4.0947 | 4.4627
1 Occupant_USA_GA_HPWH_50-gallon | 10849.7668 | 5025.3952 | 97.746 |  | 1244.0807 |  | 808.7738 | 2838.673 | 127.77 | 25.7439 | 281.7931 |  | 3250.2317 | 531.0828 | 0 | 1605.4536 | 0 |  | 427.6233 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 22 | 570.75 | 0.17741 | 3.9306 | 4.4463
2 Occupant_USA_GA_HPWH_50-gallon | 11015.7679 | 5071.8564 | 97.746 |  | 1203.1079 |  | 788.0781 | 2765.301 | 103.8342 | 24.4533 | 286.7423 |  | 3304.6646 | 564.0838 | 0 | 2228.7504 | 0 |  | 547.1632 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 15.5 | 586.75 | 0.1781 | 3.9287 | 4.4481
3 Occupant_USA_GA_HPWH_50-gallon | 11199.1783 | 5153.5187 | 97.746 |  | 1169.7415 |  | 756.3943 | 2640.0995 | 99.1181 | 24.1402 | 290.0889 |  | 3389.5491 | 594.2282 | 0 | 2736.6621 | 0 |  | 648.9112 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 13.25 | 565 | 0.17878 | 3.9253 | 4.4504
4 Occupant_USA_GA_HPWH_50-gallon | 11395.1354 | 5260.5734 | 97.746 |  | 1156.9368 |  | 740.0903 | 2588.8961 | 99.9727 | 23.2622 | 293.6117 |  | 3479.4116 | 624.225 | 0 | 3191.3122 | 0 |  | 737.8136 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 13.5 | 582.75 | 0.17932 | 3.9228 | 4.4534
5 Occupant_USA_GA_HPWH_50-gallon | 11567.364 | 5221.721 | 97.746 |  | 1090.2024 |  | 704.2635 | 2447.3791 | 64.6858 | 22.1479 | 299.1052 |  | 3461.972 | 669.5465 | 0 | 4273.9486 | 0 |  | 948.8947 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 7.75 | 609.25 | 0.17979 | 3.923 | 4.4522
1 Occupant_USA_WA_HPWH_50-gallon | 9870.4354 | 4003.7505 | 97.746 |  | 2542.2714 |  | 1901.5978 | 7134.0245 | 127.2846 | 64.2219 | 449.1671 |  | 1046.6848 | 414.7943 | 0 | 1827.8529 | 0 |  | 469.9366 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 281.75 | 223.25 | 0.23029 | 3.6008 | 4.4319
2 Occupant_USA_WA_HPWH_50-gallon | 10017.5553 | 4013.1069 | 97.746 |  | 2503.0405 |  | 1867.027 | 6988.0431 | 112.9266 | 63.71 | 459.3769 |  | 1062.3299 | 447.7365 | 0 | 2561.2115 | 0 |  | 607.7 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 239.5 | 226.75 | 0.23129 | 3.6001 | 4.4318
3 Occupant_USA_WA_HPWH_50-gallon | 10135.26 | 4015.0161 | 97.746 |  | 2447.4657 |  | 1813.7829 | 6766.4331 | 100.884 | 62.711 | 470.0878 |  | 1093.1279 | 474.4225 | 0 | 3157.6775 | 0 |  | 723.4956 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 234.5 | 206.75 | 0.23221 | 3.5989 | 4.4316
4 Occupant_USA_WA_HPWH_50-gallon | 10262.8837 | 4038.5992 | 97.746 |  | 2403.1065 |  | 1757.7054 | 6558.5994 | 101.3963 | 60.7606 | 483.2442 |  | 1136.4881 | 499.0046 | 0 | 3681.992 | 3.7828 |  | 827.5362 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 231.75 | 224.25 | 0.23303 | 3.598 | 4.4317
5 Occupant_USA_WA_HPWH_50-gallon | 10505.5127 | 4041.8483 | 97.746 |  | 2373.3322 |  | 1758.4149 | 6526.9274 | 67.2347 | 61.1777 | 486.5049 |  | 1112.6174 | 555.8988 | 0 | 4952.7064 | 0.92233 |  | 1066.916 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 149.25 | 237.75 | 0.23364 | 3.5978 | 4.431
1 Occupant_USA_IL_HPWH_50-gallon | 15636.098 | 9755.1401 | 97.746 |  | 7262.7382 |  | 3425.2004 | 11053.1922 | 3418.3504 | 98.0506 | 321.1368 |  | 1863.5031 | 628.8988 | 0 | 1851.794 | 0 |  | 484.2095 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 83 | 107 | 0.26404 | 5.3254 | 6.0112
2 Occupant_USA_IL_HPWH_50-gallon | 15748.2507 | 9722.4216 | 97.746 |  | 7166.6774 |  | 3418.6423 | 11000.3316 | 3322.4708 | 97.3545 | 328.2098 |  | 1888.897 | 666.8472 | 0 | 2599.9522 | 0 |  | 629.0807 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 67.75 | 110.25 | 0.26458 | 5.3244 | 6.0118
3 Occupant_USA_IL_HPWH_50-gallon | 15826.4468 | 9679.3257 | 97.746 |  | 7039.2367 |  | 3417.857 | 10970.3925 | 3190.332 | 97.1561 | 333.8917 |  | 1939.3464 | 700.7425 | 0 | 3208.2262 | 0 |  | 750.3728 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 66.25 | 99.25 | 0.26516 | 5.3225 | 6.0132
4 Occupant_USA_IL_HPWH_50-gallon | 15903.8737 | 9634.3675 | 97.746 |  | 6918.7024 |  | 3386.6364 | 10842.1988 | 3092.2787 | 95.7566 | 344.0307 |  | 1988.9539 | 726.7112 | 0 | 3720.8828 | 23.2066 |  | 872.7579 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 79.75 | 93.5 | 0.2657 | 5.3213 | 6.0139
5 Occupant_USA_IL_HPWH_50-gallon | 16135.5526 | 9605.3053 | 97.746 |  | 6850.7075 |  | 3426.2246 | 10943.629 | 2982.6267 | 97.3267 | 344.5295 |  | 1964.6487 | 789.9491 | 0 | 4984.6013 | 36.6693 |  | 1133.4989 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 57.5 | 107.5 | 0.266 | 5.3211 | 6.0142
1 Occupant_USA_MN_HPWH_50-gallon | 22122.5607 | 16194.8641 | 97.746 |  | 14494.8507 |  | 4677.5788 | 14675.4477 | 9309.2323 | 153.6212 | 354.4184 |  | 943.7713 | 756.242 | 0 | 2060.5534 | 0 |  | 530.9483 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 211.5 | 73.5 | 0.29176 | 5.4941 | 6.0486
2 Occupant_USA_MN_HPWH_50-gallon | 22172.58 | 16080.4882 | 97.746 |  | 14328.8028 |  | 4718.028 | 14777.8969 | 9095.8711 | 153.519 | 361.3846 |  | 949.2551 | 802.4304 | 0 | 2915.9726 | 0 |  | 695.3434 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 191 | 72.75 | 0.29235 | 5.4931 | 6.0496
3 Occupant_USA_MN_HPWH_50-gallon | 22186.9421 | 15958.7689 | 97.746 |  | 14145.5654 |  | 4735.6275 | 14783.6139 | 8886.4656 | 154.4045 | 369.0678 |  | 972.968 | 840.2356 | 0 | 3606.588 | 0 |  | 831.4248 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 184 | 69.25 | 0.29287 | 5.4918 | 6.0508
4 Occupant_USA_MN_HPWH_50-gallon | 22165.5245 | 15784.8506 | 97.746 |  | 13914.1504 |  | 4733.913 | 14739.1731 | 8646.3025 | 152.8405 | 381.0944 |  | 1000.78 | 869.9202 | 0 | 4167.3469 | 43.8159 |  | 983.9256 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 177.75 | 68 | 0.29332 | 5.4908 | 6.0516
5 Occupant_USA_MN_HPWH_50-gallon | 22481.2888 | 15782.0232 | 97.746 |  | 13858.631 |  | 4826.7905 | 15011.6184 | 8497.4287 | 154.9027 | 379.509 |  | 975.4107 | 947.9815 | 0 | 5593.0463 | 84.635 |  | 1302.5172 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 150 | 63.25 | 0.2936 | 5.4899 | 6.0529
1 Occupant_USA_FL_Electric Storage_50-gallon | 14150.6558 | 7228.0524 | 97.746 |  | 5.3697 |  | 1.3984 | 5.1992 | 0 | 0 | 3.9713 |  | 6516.1781 | 706.5046 | 0 |  |  | 1453.1471 | 1525.8551 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 0 | 1696.5 | 0.12643 | 4.0991 | 4.4553
2 Occupant_USA_FL_Electric Storage_50-gallon | 14894.4655 | 7454.9501 | 97.746 |  | 4.9098 |  | 0.90157 | 3.3387 | 0 | 0 | 4.0083 |  | 6724.3554 | 725.6848 | 0 |  |  | 1970.059 | 2042.767 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 0 | 1703.25 | 0.12654 | 4.0939 | 4.4616
3 Occupant_USA_FL_Electric Storage_50-gallon | 15497.6213 | 7682.4937 | 97.746 |  | 4.6479 |  | 0.61731 | 2.2618 | 0 | 0 | 4.0306 |  | 6932.9876 | 744.8582 | 0 |  |  | 2345.6712 | 2418.3793 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 0 | 1713.25 | 0.12661 | 4.0887 | 4.4679
4 Occupant_USA_FL_Electric Storage_50-gallon | 16117.8694 | 7909.2217 | 97.746 |  | 4.4771 |  | 0.428 | 1.5498 | 0 | 0 | 4.0491 |  | 7140.8612 | 763.8833 | 0 |  |  | 2739.1912 | 2811.8993 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 0 | 1723 | 0.12665 | 4.0836 | 4.4742
5 Occupant_USA_FL_Electric Storage_50-gallon | 17305.1269 | 8134.8298 | 97.746 |  | 4.3632 |  | 0.29801 | 1.0715 | 0 | 0 | 4.0652 |  | 7347.7411 | 782.7254 | 0 |  |  | 3700.8407 | 3773.5488 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 0 | 1730.5 | 0.12667 | 4.0786 | 4.4805
1 Occupant_USA_GA_Electric Storage_50-gallon | 12199.1461 | 4966.1855 | 97.746 |  | 1090.5242 |  | 692.6952 | 2396.7687 | 80.3507 | 23.5257 | 293.9526 |  | 3417.4676 | 458.1938 | 0 |  |  | 1763.5042 | 1836.2123 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 7.25 | 619.5 | 0.17767 | 3.9264 | 4.449
2 Occupant_USA_GA_Electric Storage_50-gallon | 12952.8329 | 5045.3947 | 97.746 |  | 1030.707 |  | 638.2753 | 2195.7989 | 68.9612 | 22.246 | 301.2244 |  | 3546.8808 | 467.8069 | 0 |  |  | 2437.9818 | 2510.6899 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 5.75 | 645.25 | 0.17841 | 3.9223 | 4.4524
3 Occupant_USA_GA_Electric Storage_50-gallon | 13526.0738 | 5132.0425 | 97.746 |  | 975.4977 |  | 587.306 | 2008.8514 | 59.213 | 20.9773 | 308.0014 |  | 3678.4992 | 478.0456 | 0 |  |  | 2924.5749 | 2997.2829 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 4.75 | 668.25 | 0.17909 | 3.9183 | 4.4559
4 Occupant_USA_GA_Electric Storage_50-gallon | 14135.9249 | 5224.9086 | 97.746 |  | 924.5561 |  | 539.8975 | 1836.0989 | 50.6757 | 19.7173 | 314.2657 |  | 3811.5495 | 488.803 | 0 |  |  | 3441.5599 | 3514.2679 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 3.75 | 687 | 0.17973 | 3.9142 | 4.4595
5 Occupant_USA_GA_Electric Storage_50-gallon | 15478.0945 | 5322.4214 | 97.746 |  | 877.3867 |  | 495.5144 | 1675.5777 | 43.1992 | 18.4419 | 320.2313 |  | 3945.1317 | 499.903 | 0 |  |  | 4686.2167 | 4758.9248 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 2.75 | 737.25 | 0.18036 | 3.9102 | 4.4633
1 Occupant_USA_WA_Electric Storage_50-gallon | 11220.1712 | 3753.3686 | 97.746 |  | 2300.4048 |  | 1671.1603 | 6199.7848 | 87.8923 | 60.5435 | 480.8087 |  | 1141.8392 | 311.1246 | 0 |  |  | 1997.3463 | 2070.0543 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 187.75 | 268.75 | 0.23103 | 3.5993 | 4.4294
2 Occupant_USA_WA_Electric Storage_50-gallon | 11960.0115 | 3704.4501 | 97.746 |  | 2187.4103 |  | 1556.534 | 5744.2346 | 71.384 | 58.0663 | 501.4261 |  | 1208.7147 | 308.3251 | 0 |  |  | 2786.105 | 2858.8131 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 139.25 | 264.5 | 0.23214 | 3.5977 | 4.4289
3 Occupant_USA_WA_Electric Storage_50-gallon | 12486.7222 | 3661.1725 | 97.746 |  | 2078.1324 |  | 1444.0286 | 5300.8762 | 57.4132 | 55.4141 | 521.2765 |  | 1277.1602 | 305.8799 | 0 |  |  | 3356.0933 | 3428.8013 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 101 | 269.5 | 0.23321 | 3.5961 | 4.4285
4 Occupant_USA_WA_Electric Storage_50-gallon | 13058.5828 | 3624.8208 | 97.746 |  | 1973.1758 |  | 1334.2537 | 4872.2975 | 45.9795 | 52.5553 | 540.3873 |  | 1347.7176 | 303.9275 | 0 |  |  | 3964.3056 | 4037.0136 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 72 | 277 | 0.23427 | 3.5945 | 4.4282
5 Occupant_USA_WA_Electric Storage_50-gallon | 14483.1714 | 3593.6574 | 97.746 |  | 1871.655 |  | 1227.1216 | 4457.4517 | 36.1852 | 49.6066 | 558.7416 |  | 1419.635 | 302.3674 | 0 |  |  | 5420.0576 | 5492.7657 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 50.25 | 292.25 | 0.2353 | 3.5929 | 4.4281
1 Occupant_USA_IL_Electric Storage_50-gallon | 16794.4587 | 9300.615 | 97.746 |  | 6783.9873 |  | 3240.42 | 10357.899 | 3109.1759 | 93.2538 | 341.1376 |  | 1989.92 | 526.7077 | 0 |  |  | 2024.3873 | 2097.0953 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 49.5 | 121.25 | 0.26427 | 5.3234 | 6.0108
2 Occupant_USA_IL_Electric Storage_50-gallon | 17437.7229 | 9139.2062 | 97.746 |  | 6536.9062 |  | 3168.02 | 10071.3262 | 2922.7025 | 90.7641 | 355.4195 |  | 2074.6049 | 527.6952 | 0 |  |  | 2829.0603 | 2901.7683 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 42.75 | 123.75 | 0.26492 | 5.3214 | 6.0116
3 Occupant_USA_IL_Electric Storage_50-gallon | 17871.5107 | 8987.9796 | 97.746 |  | 6298.7807 |  | 3096.0561 | 9789.5457 | 2745.1277 | 88.1403 | 369.4566 |  | 2160.3905 | 528.8084 | 0 |  |  | 3414.0747 | 3486.7828 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 40.25 | 134.75 | 0.26554 | 5.3194 | 6.0124
4 Occupant_USA_IL_Electric Storage_50-gallon | 18352.5094 | 8848.3653 | 97.746 |  | 6070.3534 |  | 3023.9379 | 9511.3072 | 2577.6963 | 85.4158 | 383.3034 |  | 2247.9162 | 530.0957 | 0 |  |  | 4034.6877 | 4107.3957 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 37.25 | 130.25 | 0.26614 | 5.3174 | 6.0132
5 Occupant_USA_IL_Electric Storage_50-gallon | 19707.5792 | 8718.6676 | 97.746 |  | 5850.6134 |  | 2951.3329 | 9233.4448 | 2419.6695 | 82.6203 | 396.9906 |  | 2336.6253 | 531.4289 | 0 |  |  | 5519.4552 | 5592.1633 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 34.75 | 134.5 | 0.26671 | 5.3155 | 6.0141
1 Occupant_USA_MN_Electric Storage_50-gallon | 23029.0704 | 15316.6013 | 97.746 |  | 13652.3105 |  | 4506.5527 | 14015.9507 | 8620.2736 | 148.6101 | 376.874 |  | 1029.0274 | 635.2634 | 0 |  |  | 2243.0127 | 2315.7208 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 139.75 | 88.5 | 0.2921 | 5.4925 | 6.0473
2 Occupant_USA_MN_Electric Storage_50-gallon | 23559.974 | 14929.2281 | 97.746 |  | 13212.906 |  | 4467.5594 | 13822.0387 | 8205.5875 | 146.6079 | 393.1511 |  | 1080.906 | 635.4161 | 0 |  |  | 3161.2895 | 3233.9976 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 117.25 | 95.5 | 0.2927 | 5.4908 | 6.0479
3 Occupant_USA_MN_Electric Storage_50-gallon | 23855.6563 | 14555.7703 | 97.746 |  | 12786.1572 |  | 4425.4049 | 13620.2975 | 7807.0484 | 144.2472 | 409.4567 |  | 1134.1867 | 635.4265 | 0 |  |  | 3830.4296 | 3903.1377 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 105.75 | 96 | 0.2933 | 5.4893 | 6.0485
4 Occupant_USA_MN_Electric Storage_50-gallon | 24205.5055 | 14197.3053 | 97.746 |  | 12373.3244 |  | 4380.5189 | 13412.6866 | 7425.3638 | 141.6537 | 425.7881 |  | 1188.6567 | 635.3242 | 0 |  |  | 4538.7438 | 4611.4519 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 94.25 | 95.75 | 0.29388 | 5.4878 | 6.049
5 Occupant_USA_MN_Electric Storage_50-gallon | 25547.878 | 13852.1322 | 97.746 |  | 11971.6397 |  | 4332.7792 | 13198.4108 | 7057.938 | 138.8344 | 442.088 |  | 1245.3017 | 635.1907 | 0 |  |  | 6226.2895 | 6298.9975 | 4373.1167 | 0 | 1023.6317 |  |  | 94.3225 | 184.6933 | 668.673 | 0 |  |  |  | 97.746 |  | 52.803 | 0 |  | 87.25 | 84 | 0.29443 | 5.4863 | 6.0495

## Model In
Run Label | Timesteps Per Hour | Weather File | Building Orientation [deg] | Conditioned Footprint Area [ft^2] | Average Number of Stories Above Foundation | Average Ceiling Height Per Story [ft] | Building Width to Depth Ratio | Roof Pitch | Exterior Non-Foundation Wall Input Methd | Exterior Non-Foundation Wall Pre-Defined Constructions | Exterior Non-Foundation Wall Overall Effective R-Value [h-ft^2-F/Btu] | Ceiling And Roof Input Methd | Ceiling And Roof Construction | Ceiling Overall Effective R-Value [h-ft^2-F/Btu] | Floor and Foundation Input Methd | Foundation And Floor Construction | Foundation Type | Floor Overall Effective R-Value [h-ft^2-F/Btu] | Slab Perimeter Insulation R-Value [h-ft^2-F/Btu] | Full Under-Slab Insulation R-Value [h-ft^2-F/Btu] | Slab Thermal Break Insulation R-Value [h-ft^2-F/Btu] | Basement Wall Insulation R-Value [h-ft^2-F/Btu] | Window U-Value [Btu/h-ft^2-F] | Window Solar Heat Gain Coefficient | Window Shades | Window-to-Wall Ratio, Front [%] | Window-to-Wall Ratio, Back [%] | Window-to-Wall Ratio, Left [%] | Window-to-Wall Ratio, Right [%] | Conditioned Envelope Infiltration [ACH50] | Primary HVAC Type | HVAC Sizing Method | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Backup Electric Baseboard Heat Capacity [kW] | Non-Electric Furnace AFUE [%] | Supply Duct Leakage [%] | Supply Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Return Duct Leakage [%] | Return Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Heating Setpoint Schedule | Cooling Setpoint Schedule | Water Heater | Water Heater Setpoint Schedule | Number Of People | Interior Lighting Power Density [W/ft^2] | Exterior Lighting Power [W] | Range | Dryer | Refrigerator | Clothes Washer | Dishwasher | Misc Electric Gains [Max W] | Misc Electric Gains Schedule | Misc Gas Gains [Max Btu/h] | Misc Gas Gains Schedule
1 Occupant_USA_FL_HPWH_50-gallon | 4 | USA_FL_Miami.Natl.Hurricane.Center.722020_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 1 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
2 Occupant_USA_FL_HPWH_50-gallon | 4 | USA_FL_Miami.Natl.Hurricane.Center.722020_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 2 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
3 Occupant_USA_FL_HPWH_50-gallon | 4 | USA_FL_Miami.Natl.Hurricane.Center.722020_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 3 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
4 Occupant_USA_FL_HPWH_50-gallon | 4 | USA_FL_Miami.Natl.Hurricane.Center.722020_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 4 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
5 Occupant_USA_FL_HPWH_50-gallon | 4 | USA_FL_Miami.Natl.Hurricane.Center.722020_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 5 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
1 Occupant_USA_GA_HPWH_50-gallon | 4 | USA_GA_Atlanta-Hartsfield-Jackson.Intl.AP.722190_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 1 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
2 Occupant_USA_GA_HPWH_50-gallon | 4 | USA_GA_Atlanta-Hartsfield-Jackson.Intl.AP.722190_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 2 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
3 Occupant_USA_GA_HPWH_50-gallon | 4 | USA_GA_Atlanta-Hartsfield-Jackson.Intl.AP.722190_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 3 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
4 Occupant_USA_GA_HPWH_50-gallon | 4 | USA_GA_Atlanta-Hartsfield-Jackson.Intl.AP.722190_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 4 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
5 Occupant_USA_GA_HPWH_50-gallon | 4 | USA_GA_Atlanta-Hartsfield-Jackson.Intl.AP.722190_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 5 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
1 Occupant_USA_WA_HPWH_50-gallon | 4 | USA_WA_Seattle-Tacoma.Intl.AP.727930_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 1 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
2 Occupant_USA_WA_HPWH_50-gallon | 4 | USA_WA_Seattle-Tacoma.Intl.AP.727930_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 2 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
3 Occupant_USA_WA_HPWH_50-gallon | 4 | USA_WA_Seattle-Tacoma.Intl.AP.727930_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 3 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
4 Occupant_USA_WA_HPWH_50-gallon | 4 | USA_WA_Seattle-Tacoma.Intl.AP.727930_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 4 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
5 Occupant_USA_WA_HPWH_50-gallon | 4 | USA_WA_Seattle-Tacoma.Intl.AP.727930_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 5 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
1 Occupant_USA_IL_HPWH_50-gallon | 4 | USA_IL_Chicago.Midway.Intl.AP.725340_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 1 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
2 Occupant_USA_IL_HPWH_50-gallon | 4 | USA_IL_Chicago.Midway.Intl.AP.725340_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 2 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
3 Occupant_USA_IL_HPWH_50-gallon | 4 | USA_IL_Chicago.Midway.Intl.AP.725340_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 3 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
4 Occupant_USA_IL_HPWH_50-gallon | 4 | USA_IL_Chicago.Midway.Intl.AP.725340_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 4 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
5 Occupant_USA_IL_HPWH_50-gallon | 4 | USA_IL_Chicago.Midway.Intl.AP.725340_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 5 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
1 Occupant_USA_MN_HPWH_50-gallon | 4 | USA_MN_Duluth.Intl.AP-Duluth.ANGB.727450_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 1 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
2 Occupant_USA_MN_HPWH_50-gallon | 4 | USA_MN_Duluth.Intl.AP-Duluth.ANGB.727450_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 2 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
3 Occupant_USA_MN_HPWH_50-gallon | 4 | USA_MN_Duluth.Intl.AP-Duluth.ANGB.727450_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 3 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
4 Occupant_USA_MN_HPWH_50-gallon | 4 | USA_MN_Duluth.Intl.AP-Duluth.ANGB.727450_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 4 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
5 Occupant_USA_MN_HPWH_50-gallon | 4 | USA_MN_Duluth.Intl.AP-Duluth.ANGB.727450_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | HPWH_50-gallon | DHW_EZ_Sch_1 | 5 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
1 Occupant_USA_FL_Electric Storage_50-gallon | 4 | USA_FL_Miami.Natl.Hurricane.Center.722020_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 1 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
2 Occupant_USA_FL_Electric Storage_50-gallon | 4 | USA_FL_Miami.Natl.Hurricane.Center.722020_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 2 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
3 Occupant_USA_FL_Electric Storage_50-gallon | 4 | USA_FL_Miami.Natl.Hurricane.Center.722020_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 3 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
4 Occupant_USA_FL_Electric Storage_50-gallon | 4 | USA_FL_Miami.Natl.Hurricane.Center.722020_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 4 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
5 Occupant_USA_FL_Electric Storage_50-gallon | 4 | USA_FL_Miami.Natl.Hurricane.Center.722020_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 5 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
1 Occupant_USA_GA_Electric Storage_50-gallon | 4 | USA_GA_Atlanta-Hartsfield-Jackson.Intl.AP.722190_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 1 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
2 Occupant_USA_GA_Electric Storage_50-gallon | 4 | USA_GA_Atlanta-Hartsfield-Jackson.Intl.AP.722190_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 2 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
3 Occupant_USA_GA_Electric Storage_50-gallon | 4 | USA_GA_Atlanta-Hartsfield-Jackson.Intl.AP.722190_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 3 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
4 Occupant_USA_GA_Electric Storage_50-gallon | 4 | USA_GA_Atlanta-Hartsfield-Jackson.Intl.AP.722190_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 4 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
5 Occupant_USA_GA_Electric Storage_50-gallon | 4 | USA_GA_Atlanta-Hartsfield-Jackson.Intl.AP.722190_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 5 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
1 Occupant_USA_WA_Electric Storage_50-gallon | 4 | USA_WA_Seattle-Tacoma.Intl.AP.727930_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 1 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
2 Occupant_USA_WA_Electric Storage_50-gallon | 4 | USA_WA_Seattle-Tacoma.Intl.AP.727930_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 2 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
3 Occupant_USA_WA_Electric Storage_50-gallon | 4 | USA_WA_Seattle-Tacoma.Intl.AP.727930_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 3 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
4 Occupant_USA_WA_Electric Storage_50-gallon | 4 | USA_WA_Seattle-Tacoma.Intl.AP.727930_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 4 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
5 Occupant_USA_WA_Electric Storage_50-gallon | 4 | USA_WA_Seattle-Tacoma.Intl.AP.727930_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 5 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
1 Occupant_USA_IL_Electric Storage_50-gallon | 4 | USA_IL_Chicago.Midway.Intl.AP.725340_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 1 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
2 Occupant_USA_IL_Electric Storage_50-gallon | 4 | USA_IL_Chicago.Midway.Intl.AP.725340_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 2 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
3 Occupant_USA_IL_Electric Storage_50-gallon | 4 | USA_IL_Chicago.Midway.Intl.AP.725340_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 3 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
4 Occupant_USA_IL_Electric Storage_50-gallon | 4 | USA_IL_Chicago.Midway.Intl.AP.725340_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 4 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
5 Occupant_USA_IL_Electric Storage_50-gallon | 4 | USA_IL_Chicago.Midway.Intl.AP.725340_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 5 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
1 Occupant_USA_MN_Electric Storage_50-gallon | 4 | USA_MN_Duluth.Intl.AP-Duluth.ANGB.727450_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 1 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
2 Occupant_USA_MN_Electric Storage_50-gallon | 4 | USA_MN_Duluth.Intl.AP-Duluth.ANGB.727450_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 2 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
3 Occupant_USA_MN_Electric Storage_50-gallon | 4 | USA_MN_Duluth.Intl.AP-Duluth.ANGB.727450_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 3 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
4 Occupant_USA_MN_Electric Storage_50-gallon | 4 | USA_MN_Duluth.Intl.AP-Duluth.ANGB.727450_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 4 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0
5 Occupant_USA_MN_Electric Storage_50-gallon | 4 | USA_MN_Duluth.Intl.AP-Duluth.ANGB.727450_TMYx.2004-2018 | 0 | 1900 | 1 | 9 | 1.2 | 4-12 (Low-Moderate Slope) | Pre-Defined Construction | Wood-Framed - 2x6 - 24 in OC - R-19 Cavity | 8.3333 | Pre-Defined Construction | Attic w R49 Cavity and Shingle Roof | 9.0909 | Pre-Defined Construction | Vented Crawlspace - R19 Cavity Insulation | Vented Crawlspace | 4.3478 | 0 | 0 | 0 | 1.75 | 0.388 | 0.4 | No | 0.2 | 0.2 | 0.2 | 0.2 | 7 | Single Speed ASHP (7.5 HSPF2 14.3 SEER2) | Autosize | kW | 20 | ton | 3.4393 | Electric | kW | 15 | 35 | -30 | 0 | 0.8 | 0.075 | 4 | 0.075 | 4 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | Electric Storage_50-gallon | DHW_EZ_Sch_1 | 5 | 0.75 | 0 | Gas | Gas | Yes | Yes | Yes | 0 | Misc_Elec_EZ_Sch_1 | 0

## Run Characteristics
EnergyPlus Directory | C:\EnergyPlusV22-2-0\energyplus.exe
Model Input Template Directory | C:\Users\Christian\Repositories\REEDR\Model Input Template.xlsx
Simulation Type | Annual
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 12
Simulation End Day | 31
Output Granularity | Annual
Output End Uses | All_End_Uses
Run Complete Timestamp | 2023-08-31 13:17:10.350312-07:00 US Pacific Time