## Model Out
Date/Time | Month | Day | HOD | Run Label | Outdoor Air Temperature [F] | Mains Water Temp[F] | Interior Lighting [W] | Miscellaneous Electric Loads [W] | Miscellaneous Gas Loads [Btu/h] | Living Zone Air Temperature [F] | Attic Zone Air Temperature [F] | Fan [W] | Cooling[W] | ASHP Compressor Heat [W] | ASHP Defrost [W] | ASHP Crankcase Heater [W] | ASHP Resistance Backup Heat [W] | Crawlspace Zone Air Temperature [F]
01/01 01:00:00 | 01 | 01 | 01 | a1 | 39.02 | 47.88 | 0 | 449.7141 | 0 | 67.2693 | 40.5337 | 0 | 0 | 0 | 0 | 200 | 0
01/01 02:00:00 | 01 | 01 | 02 | a1 | 39.02 | 47.88 | 0 | 449.7141 | 0 | 66.9768 | 40.1341 | 0 | 0 | 0 | 0 | 200 | 0
01/01 03:00:00 | 01 | 01 | 03 | a1 | 37.04 | 47.89 | 0 | 449.7141 | 0 | 66.167 | 39.1985 | 0 | 0 | 0 | 0 | 200 | 0
01/01 04:00:00 | 01 | 01 | 04 | a1 | 37.04 | 47.89 | 0 | 449.7141 | 0 | 65.7133 | 38.4157 | 0 | 0 | 0 | 0 | 200 | 0
01/01 05:00:00 | 01 | 01 | 05 | a1 | 35.96 | 47.9 | 0 | 449.7141 | 0 | 65.4773 | 38.2161 | 2.3069 | 0 | 37.7767 | 2.8479 | 197.5406 | 0
01/01 06:00:00 | 01 | 01 | 06 | a1 | 35.06 | 47.9 | 0 | 449.7141 | 0 | 67.4696 | 42.172 | 30.5004 | 0 | 506.8314 | 35.5409 | 167.4712 | 0
01/01 07:00:00 | 01 | 01 | 07 | a1 | 35.06 | 47.91 | 0 | 449.7141 | 0 | 67.5452 | 42.0679 | 27.4375 | 0 | 459.6064 | 31.9667 | 170.7375 | 0
01/01 08:00:00 | 01 | 01 | 08 | a1 | 35.96 | 47.92 | 0 | 449.7141 | 0 | 67.493 | 43.2275 | 31.3651 | 0 | 529.794 | 34.8487 | 166.587 | 0
01/01 09:00:00 | 01 | 01 | 09 | a1 | 37.04 | 47.93 | 0 | 449.7141 | 0 | 67.5001 | 45.211 | 29.6747 | 0 | 500.2123 | 35.2023 | 168.4021 | 0
01/01 10:00:00 | 01 | 01 | 10 | a1 | 39.02 | 47.93 | 0 | 449.7141 | 0 | 67.5016 | 47.4357 | 26.8368 | 0 | 461.1907 | 28.5581 | 171.4863 | 0
01/01 11:00:00 | 01 | 01 | 11 | a1 | 39.02 | 47.94 | 0 | 449.7141 | 0 | 67.5133 | 48.4093 | 22.4212 | 0 | 390.1225 | 20.6822 | 176.1916 | 0
01/01 12:00:00 | 01 | 01 | 12 | a1 | 39.92 | 47.95 | 0 | 449.7141 | 0 | 67.4873 | 49.2841 | 24.0923 | 0 | 422.4983 | 21.1768 | 174.4353 | 0
01/01 13:00:00 | 01 | 01 | 13 | a1 | 41 | 47.95 | 0 | 449.7141 | 0 | 67.586 | 49.8054 | 22.4765 | 0 | 395.0018 | 20.5485 | 176.1623 | 0
01/01 14:00:00 | 01 | 01 | 14 | a1 | 42.98 | 47.95 | 0 | 449.7141 | 0 | 67.5042 | 52.2746 | 12.2938 | 0 | 247.5138 | 0 | 186.9908 | 0
01/01 15:00:00 | 01 | 01 | 15 | a1 | 42.98 | 47.95 | 0 | 449.7141 | 0 | 67.4991 | 53.5247 | 11.6327 | 0 | 234.1565 | 0 | 187.6905 | 0
01/01 16:00:00 | 01 | 01 | 16 | a1 | 42.08 | 47.95 | 0 | 449.7141 | 0 | 67.4467 | 53.1088 | 12.3254 | 0 | 246.826 | 0 | 186.9574 | 0
01/01 17:00:00 | 01 | 01 | 17 | a1 | 41 | 47.95 | 0 | 449.7141 | 0 | 67.5016 | 51.9873 | 15.9338 | 0 | 288.8028 | 8.84 | 183.1168 | 0
01/01 18:00:00 | 01 | 01 | 18 | a1 | 39.92 | 47.95 | 0 | 449.7141 | 0 | 67.4971 | 49.9828 | 20.0492 | 0 | 355.0556 | 15.35 | 178.7335 | 0
01/01 19:00:00 | 01 | 01 | 19 | a1 | 39.92 | 47.95 | 0 | 449.7141 | 0 | 67.4968 | 48.5642 | 22.7894 | 0 | 403.5787 | 17.4447 | 175.8269 | 0
01/01 20:00:00 | 01 | 01 | 20 | a1 | 39.02 | 47.95 | 0 | 449.7141 | 0 | 67.4911 | 47.3624 | 26.9538 | 0 | 477.7236 | 18.9496 | 171.4037 | 0
01/01 21:00:00 | 01 | 01 | 21 | a1 | 37.94 | 47.95 | 0 | 449.7141 | 0 | 67.4709 | 47.1136 | 29.7162 | 0 | 520.546 | 23.2387 | 168.445 | 0
01/01 22:00:00 | 01 | 01 | 22 | a1 | 37.04 | 47.96 | 0 | 449.7141 | 0 | 67.562 | 47.2654 | 32.3815 | 0 | 556.4122 | 31.0117 | 165.5646 | 0
01/01 23:00:00 | 01 | 01 | 23 | a1 | 37.94 | 47.96 | 0 | 449.7141 | 0 | 65.6693 | 44.3272 | 11.3549 | 0 | 192.9902 | 10.0672 | 187.9366 | 0
01/01 24:00:00 | 01 | 01 | 24 | a1 | 37.04 | 47.96 | 0 | 449.7141 | 0 | 65.3761 | 44.3301 | 17.5425 | 0 | 294.755 | 16.8045 | 181.3453 | 0
01/02 01:00:00 | 01 | 02 | 01 | a1 | 35.96 | 47.96 | 0 | 449.7141 | 0 | 65.4964 | 43.6352 | 17.5926 | 0 | 295.6822 | 15.6519 | 181.2861 | 0
01/02 02:00:00 | 01 | 02 | 02 | a1 | 33.98 | 47.96 | 0 | 449.7141 | 0 | 65.477 | 43.41 | 23.6808 | 0 | 387.3819 | 26.512 | 174.73 | 0
01/02 03:00:00 | 01 | 02 | 03 | a1 | 33.98 | 47.97 | 0 | 449.7141 | 0 | 65.4049 | 42.8912 | 26.4124 | 0 | 428.0265 | 32.5686 | 171.7887 | 0
01/02 04:00:00 | 01 | 02 | 04 | a1 | 35.06 | 47.97 | 0 | 449.7141 | 0 | 65.547 | 43.3287 | 27.5218 | 0 | 453.5138 | 29.5761 | 170.6682 | 0
01/02 05:00:00 | 01 | 02 | 05 | a1 | 33.98 | 47.97 | 0 | 449.7141 | 0 | 65.4733 | 42.9806 | 32.4034 | 0 | 530.2065 | 36.2774 | 165.422 | 0
01/02 06:00:00 | 01 | 02 | 06 | a1 | 33.08 | 47.97 | 0 | 449.7141 | 0 | 67.452 | 46.151 | 57.6391 | 0 | 960.0756 | 60.8455 | 138.4764 | 0
01/02 07:00:00 | 01 | 02 | 07 | a1 | 33.08 | 47.97 | 0 | 449.7141 | 0 | 67.5159 | 45.7662 | 51.9251 | 0 | 870.7933 | 54.7946 | 144.5749 | 0
01/02 08:00:00 | 01 | 02 | 08 | a1 | 33.98 | 47.97 | 0 | 449.7141 | 0 | 67.5105 | 47.1355 | 49.0769 | 0 | 829.5709 | 49.2235 | 147.6767 | 0
01/02 09:00:00 | 01 | 02 | 09 | a1 | 35.06 | 47.97 | 0 | 449.7141 | 0 | 67.5043 | 49.6899 | 39.9571 | 0 | 681.2906 | 38.0404 | 157.4507 | 0
01/02 10:00:00 | 01 | 02 | 10 | a1 | 37.94 | 47.98 | 0 | 449.7141 | 0 | 67.5015 | 55.1626 | 27.7193 | 0 | 489.9525 | 18.724 | 170.5801 | 0
01/02 11:00:00 | 01 | 02 | 11 | a1 | 41 | 47.98 | 0 | 449.7141 | 0 | 67.5004 | 62.0386 | 16.4431 | 0 | 304.5331 | 4.9769 | 182.5879 | 0
01/02 12:00:00 | 01 | 02 | 12 | a1 | 42.98 | 47.98 | 0 | 449.7141 | 0 | 67.4998 | 65.4144 | 11.1132 | 0 | 223.6998 | 0 | 188.2402 | 0
01/02 13:00:00 | 01 | 02 | 13 | a1 | 42.98 | 47.99 | 0 | 449.7141 | 0 | 67.5622 | 65.2786 | 10.5078 | 0 | 211.5151 | 0 | 188.8808 | 0
01/02 14:00:00 | 01 | 02 | 14 | a1 | 44.06 | 47.99 | 0 | 449.7141 | 0 | 67.5004 | 69.2271 | 4.9973 | 0 | 101.2389 | 0 | 194.712 | 0
01/02 15:00:00 | 01 | 02 | 15 | a1 | 46.04 | 47.99 | 0 | 449.7141 | 0 | 67.4999 | 73.7792 | 0.36609 | 0 | 7.5055 | 0 | 199.6126 | 0
01/02 16:00:00 | 01 | 02 | 16 | a1 | 44.06 | 47.99 | 0 | 449.7141 | 0 | 67.5756 | 66.2179 | 0 | 0 | 0 | 0 | 200 | 0
01/02 17:00:00 | 01 | 02 | 17 | a1 | 42.08 | 48 | 0 | 449.7141 | 0 | 67.5003 | 61.8318 | 1.2786 | 0 | 25.6056 | 0 | 198.647 | 0
01/02 18:00:00 | 01 | 02 | 18 | a1 | 39.02 | 48 | 0 | 449.7141 | 0 | 67.4991 | 57.3994 | 10.2108 | 0 | 179.2611 | 8.3414 | 189.1621 | 0
01/02 19:00:00 | 01 | 02 | 19 | a1 | 39.02 | 48.01 | 0 | 449.7141 | 0 | 67.4999 | 52.6409 | 13.8473 | 0 | 243.1127 | 11.3058 | 185.3023 | 0
01/02 20:00:00 | 01 | 02 | 20 | a1 | 35.96 | 48.01 | 0 | 449.7141 | 0 | 67.497 | 49.9514 | 22.6116 | 0 | 381.8237 | 25.1614 | 175.9118 | 0
01/02 21:00:00 | 01 | 02 | 21 | a1 | 35.96 | 48.01 | 0 | 449.7141 | 0 | 67.4956 | 47.6243 | 28.3231 | 0 | 478.223 | 31.5341 | 169.8272 | 0
01/02 22:00:00 | 01 | 02 | 22 | a1 | 35.06 | 48.01 | 0 | 449.7141 | 0 | 67.4923 | 47.0585 | 33.2091 | 0 | 550.5813 | 42.6914 | 164.5502 | 0
01/02 23:00:00 | 01 | 02 | 23 | a1 | 33.98 | 48.01 | 0 | 449.7141 | 0 | 65.6288 | 42.7652 | 17.2632 | 0 | 279.8444 | 21.3573 | 181.5604 | 0
01/02 24:00:00 | 01 | 02 | 24 | a1 | 33.08 | 48.02 | 0 | 449.7141 | 0 | 65.5049 | 40.5094 | 22.5249 | 0 | 362.5427 | 28.8199 | 175.9095 | 0
01/03 01:00:00 | 01 | 03 | 01 | a1 | 32 | 48.02 | 0 | 449.7141 | 0 | 65.4873 | 39.1106 | 30.639 | 0 | 492.8615 | 37.7134 | 167.2104 | 0
01/03 02:00:00 | 01 | 03 | 02 | a1 | 32 | 48.02 | 0 | 449.7141 | 0 | 65.4856 | 38.3177 | 35.4327 | 0 | 565.1399 | 47.3013 | 162.0402 | 0
01/03 03:00:00 | 01 | 03 | 03 | a1 | 33.08 | 48.03 | 0 | 449.7141 | 0 | 65.5026 | 39.1669 | 35.8357 | 0 | 576.4917 | 45.8874 | 161.6732 | 0
01/03 04:00:00 | 01 | 03 | 04 | a1 | 35.06 | 48.03 | 0 | 449.7141 | 0 | 65.504 | 40.6 | 33.5003 | 0 | 552.4104 | 36.1703 | 164.295 | 0
01/03 05:00:00 | 01 | 03 | 05 | a1 | 33.98 | 48.03 | 0 | 449.7141 | 0 | 65.4953 | 42.0926 | 36.9252 | 0 | 592.5393 | 49.9088 | 160.5206 | 0
01/03 06:00:00 | 01 | 03 | 06 | a1 | 33.98 | 48.03 | 0 | 449.7141 | 0 | 67.4593 | 45.7347 | 61.6357 | 0 | 1015.6227 | 76.3859 | 134.1603 | 0
01/03 07:00:00 | 01 | 03 | 07 | a1 | 33.98 | 48.04 | 0 | 449.7141 | 0 | 67.5186 | 46.1785 | 54.8181 | 0 | 908.6307 | 67.9197 | 141.4423 | 0
01/03 08:00:00 | 01 | 03 | 08 | a1 | 35.96 | 48.04 | 0 | 449.7141 | 0 | 67.5123 | 47.1021 | 53.5631 | 0 | 894.876 | 66.3563 | 142.8914 | 0
01/03 09:00:00 | 01 | 03 | 09 | a1 | 37.04 | 48.04 | 0 | 449.7141 | 0 | 67.5048 | 48.9675 | 46.8948 | 0 | 798.9562 | 49.8132 | 150.1014 | 0
01/03 10:00:00 | 01 | 03 | 10 | a1 | 39.92 | 48.04 | 0 | 449.7141 | 0 | 67.5028 | 51.7869 | 38.5619 | 0 | 682.6782 | 29.6659 | 159.0963 | 0
01/03 11:00:00 | 01 | 03 | 11 | a1 | 42.08 | 48.04 | 0 | 449.7141 | 0 | 67.5006 | 58.8825 | 22.5944 | 0 | 452.454 | 0 | 176.0909 | 0
01/03 12:00:00 | 01 | 03 | 12 | a1 | 46.04 | 48.04 | 0 | 449.7141 | 0 | 67.5002 | 65.3321 | 15.031 | 0 | 308.1445 | 0 | 184.0944 | 0
01/03 13:00:00 | 01 | 03 | 13 | a1 | 48.02 | 48.04 | 0 | 449.7141 | 0 | 67.5002 | 69.2218 | 9.7803 | 0 | 203.0351 | 0 | 189.6507 | 0
01/03 14:00:00 | 01 | 03 | 14 | a1 | 48.92 | 48.04 | 0 | 449.7141 | 0 | 67.5001 | 70.0595 | 7.4444 | 0 | 155.459 | 0 | 192.1224 | 0
01/03 15:00:00 | 01 | 03 | 15 | a1 | 50 | 48.04 | 0 | 449.7141 | 0 | 67.5049 | 68.9557 | 5.6346 | 0 | 118.5294 | 0 | 0 | 0
01/03 16:00:00 | 01 | 03 | 16 | a1 | 48.92 | 48.04 | 0 | 449.7141 | 0 | 67.5003 | 65.0996 | 4.342 | 0 | 90.6751 | 0 | 195.4053 | 0
01/03 17:00:00 | 01 | 03 | 17 | a1 | 46.94 | 48.04 | 0 | 449.7141 | 0 | 67.4998 | 61.6341 | 5.8061 | 0 | 119.7042 | 0 | 193.856 | 0
01/03 18:00:00 | 01 | 03 | 18 | a1 | 44.96 | 48.04 | 0 | 449.7141 | 0 | 67.4997 | 57.3465 | 10.3058 | 0 | 209.8879 | 0 | 189.0945 | 0
01/03 19:00:00 | 01 | 03 | 19 | a1 | 44.06 | 48.04 | 0 | 449.7141 | 0 | 67.4999 | 53.3943 | 12.9345 | 0 | 262.009 | 0 | 186.3129 | 0
01/03 20:00:00 | 01 | 03 | 20 | a1 | 42.08 | 48.04 | 0 | 449.7141 | 0 | 67.4975 | 51.817 | 16.4734 | 0 | 329.8761 | 0 | 182.5681 | 0
01/03 21:00:00 | 01 | 03 | 21 | a1 | 42.98 | 48.04 | 0 | 449.7141 | 0 | 67.499 | 49.5931 | 18.699 | 0 | 376.3786 | 0 | 180.213 | 0
01/03 22:00:00 | 01 | 03 | 22 | a1 | 42.98 | 48.04 | 0 | 449.7141 | 0 | 67.4919 | 49.1615 | 21.2937 | 0 | 428.5809 | 0 | 177.4673 | 0
01/03 23:00:00 | 01 | 03 | 23 | a1 | 39.02 | 48.04 | 0 | 449.7141 | 0 | 65.6278 | 46.7766 | 15.6011 | 0 | 260.0505 | 18.3569 | 183.4166 | 0
01/03 24:00:00 | 01 | 03 | 24 | a1 | 37.04 | 48.04 | 0 | 449.7141 | 0 | 65.5055 | 44.9408 | 20.1696 | 0 | 332.2863 | 24.074 | 178.5231 | 0
01/04 01:00:00 | 01 | 04 | 01 | a1 | 35.06 | 48.04 | 0 | 449.7141 | 0 | 65.4941 | 42.846 | 27.0723 | 0 | 442.941 | 31.7272 | 171.1267 | 0
01/04 02:00:00 | 01 | 04 | 02 | a1 | 33.98 | 48.04 | 0 | 449.7141 | 0 | 65.4841 | 41.5747 | 35.9874 | 0 | 593.9745 | 36.3764 | 161.6312 | 0
01/04 03:00:00 | 01 | 04 | 03 | a1 | 35.06 | 48.04 | 0 | 449.7141 | 0 | 65.5135 | 41.5412 | 37.0836 | 0 | 622.38 | 32.1186 | 160.5358 | 0
01/04 04:00:00 | 01 | 04 | 04 | a1 | 35.06 | 48.04 | 0 | 449.7141 | 0 | 65.4877 | 41.5752 | 38.8464 | 0 | 647.078 | 37.2559 | 158.6328 | 0
01/04 05:00:00 | 01 | 04 | 05 | a1 | 33.08 | 48.03 | 0 | 449.7141 | 0 | 64.978 | 41.1497 | 43.5754 | 0 | 718.5742 | 42.5517 | 153.5218 | 0
01/04 06:00:00 | 01 | 04 | 06 | a1 | 33.98 | 48.04 | 0 | 449.7141 | 0 | 67.4562 | 45.1308 | 69.8211 | 0 | 1179.9007 | 64.2443 | 125.6104 | 0
01/04 07:00:00 | 01 | 04 | 07 | a1 | 33.8 | 48.04 | 0 | 449.7141 | 0 | 67.5398 | 45.0171 | 62.4462 | 0 | 1074.5447 | 48.1693 | 133.5378 | 0
01/04 08:00:00 | 01 | 04 | 08 | a1 | 33.08 | 48.04 | 0 | 449.7141 | 0 | 67.4188 | 45.2517 | 63.8073 | 0 | 1095.0533 | 49.2656 | 132.0593 | 0
01/04 09:00:00 | 01 | 04 | 09 | a1 | 33.98 | 48.04 | 0 | 449.7141 | 0 | 67.4775 | 46.1219 | 61.837 | 0 | 1069.738 | 43.7136 | 134.2262 | 0
01/04 10:00:00 | 01 | 04 | 10 | a1 | 37.04 | 48.04 | 0 | 449.7141 | 0 | 67.5054 | 50.0318 | 44.4319 | 0 | 792.4575 | 22.8432 | 152.8623 | 0
01/04 11:00:00 | 01 | 04 | 11 | a1 | 39.92 | 48.04 | 0 | 449.7141 | 0 | 67.5064 | 52.8455 | 32.0423 | 0 | 594.6825 | 6.6675 | 166.0723 | 0
01/04 12:00:00 | 01 | 04 | 12 | a1 | 41 | 48.04 | 0 | 449.7141 | 0 | 67.5021 | 56.768 | 26.4535 | 0 | 497.023 | 3.4208 | 171.9989 | 0
01/04 13:00:00 | 01 | 04 | 13 | a1 | 42.08 | 48.04 | 0 | 449.7141 | 0 | 67.5028 | 60.4115 | 15.8546 | 0 | 317.5144 | 0 | 183.2229 | 0
01/04 14:00:00 | 01 | 04 | 14 | a1 | 42.08 | 48.03 | 0 | 449.7141 | 0 | 67.4879 | 59.0042 | 17.3985 | 0 | 348.3687 | 0 | 181.5892 | 0
01/04 15:00:00 | 01 | 04 | 15 | a1 | 42.08 | 48.03 | 0 | 449.7141 | 0 | 67.8997 | 58.7055 | 14.8112 | 0 | 296.6039 | 0 | 184.327 | 0
01/04 16:00:00 | 01 | 04 | 16 | a1 | 39.92 | 48.04 | 0 | 449.7141 | 0 | 67.4968 | 53.6895 | 22.1807 | 0 | 418.7224 | 0.018296 | 176.5286 | 0
01/04 17:00:00 | 01 | 04 | 17 | a1 | 35.96 | 48.04 | 0 | 449.7141 | 0 | 67.5178 | 51.5099 | 18.7281 | 0 | 338.6067 | 5.3234 | 180.1504 | 0
01/04 18:00:00 | 01 | 04 | 18 | a1 | 33.98 | 48.03 | 0 | 449.7141 | 0 | 67.4964 | 47.0709 | 32.3687 | 0 | 573.1987 | 13.7164 | 165.6439 | 0
01/04 19:00:00 | 01 | 04 | 19 | a1 | 33.08 | 48.03 | 0 | 449.7141 | 0 | 67.4959 | 44.2654 | 40.8016 | 0 | 722.0824 | 15.4193 | 156.6967 | 0
01/04 20:00:00 | 01 | 04 | 20 | a1 | 33.08 | 48.03 | 0 | 449.7141 | 0 | 67.4944 | 42.6854 | 45.1265 | 0 | 804.439 | 12.8229 | 152.1424 | 0
01/04 21:00:00 | 01 | 04 | 21 | a1 | 33.08 | 48.03 | 0 | 449.7141 | 0 | 67.5538 | 42.5479 | 48.9794 | 0 | 873.156 | 13.9191 | 148.0564 | 0
01/04 22:00:00 | 01 | 04 | 22 | a1 | 32 | 48.03 | 0 | 449.7141 | 0 | 67.516 | 42.3896 | 52.5109 | 0 | 926.4668 | 18.9857 | 144.2598 | 0
01/04 23:00:00 | 01 | 04 | 23 | a1 | 32 | 48.03 | 0 | 449.7141 | 0 | 65.5053 | 39.8062 | 32.5548 | 0 | 564.9753 | 8.8439 | 165.471 | 0
01/04 24:00:00 | 01 | 04 | 24 | a1 | 30.92 | 48.03 | 0 | 449.7141 | 0 | 65.5125 | 40.1092 | 41.4311 | 0 | 711.81 | 13.9213 | 156.0189 | 0
01/05 01:00:00 | 01 | 05 | 01 | a1 | 33.08 | 48.02 | 0 | 449.7141 | 0 | 65.4814 | 38.685 | 43.6959 | 0 | 777.9954 | 0.036042 | 153.7613 | 0
01/05 02:00:00 | 01 | 05 | 02 | a1 | 32 | 48.02 | 0 | 449.7141 | 0 | 65.5148 | 39.1104 | 44.4427 | 0 | 785.7278 | 1.1558 | 152.9611 | 0
01/05 03:00:00 | 01 | 05 | 03 | a1 | 30.92 | 48.02 | 0 | 449.7141 | 0 | 65.4889 | 39.0621 | 47.2652 | 0 | 826.5404 | 4.9384 | 149.936 | 0
01/05 04:00:00 | 01 | 05 | 04 | a1 | 30.02 | 48.01 | 0 | 449.7141 | 0 | 65.5114 | 39.4015 | 47.5042 | 0 | 824.318 | 7.0892 | 149.6563 | 0
01/05 05:00:00 | 01 | 05 | 05 | a1 | 30.02 | 48 | 0 | 449.7141 | 0 | 65.4848 | 38.2673 | 51.413 | 0 | 897.6607 | 3.3271 | 145.5604 | 0
01/05 06:00:00 | 01 | 05 | 06 | a1 | 30.02 | 48 | 0 | 449.7141 | 0 | 67.4413 | 41.5767 | 76.9844 | 0 | 1367.0796 | 4.9796 | 118.4833 | 0
01/05 07:00:00 | 01 | 05 | 07 | a1 | 30.02 | 47.99 | 0 | 449.7141 | 0 | 67.5149 | 41.4532 | 71.3014 | 0 | 1274.0704 | 4.6106 | 124.5009 | 0
01/05 08:00:00 | 01 | 05 | 08 | a1 | 32 | 47.98 | 0 | 449.7141 | 0 | 67.519 | 42.3227 | 63.4919 | 0 | 1150.9569 | 0.052371 | 132.8133 | 0
01/05 09:00:00 | 01 | 05 | 09 | a1 | 33.98 | 47.97 | 0 | 449.7141 | 0 | 67.5067 | 45.8302 | 47.903 | 0 | 876.782 | 0.039512 | 149.3094 | 0
01/05 10:00:00 | 01 | 05 | 10 | a1 | 37.04 | 47.96 | 0 | 449.7141 | 0 | 67.503 | 49.3434 | 36.4353 | 0 | 677.2889 | 0.030053 | 161.4445 | 0
01/05 11:00:00 | 01 | 05 | 11 | a1 | 39.02 | 47.96 | 0 | 449.7141 | 0 | 67.5014 | 55.963 | 24.6505 | 0 | 463.0321 | 0.020333 | 173.9151 | 0
01/05 12:00:00 | 01 | 05 | 12 | a1 | 42.08 | 47.95 | 0 | 449.7141 | 0 | 67.5004 | 63.2074 | 14.6177 | 0 | 292.7335 | 0 | 184.5318 | 0
01/05 13:00:00 | 01 | 05 | 13 | a1 | 44.06 | 47.94 | 0 | 449.7141 | 0 | 67.5003 | 66.3583 | 10.7016 | 0 | 216.785 | 0 | 188.6757 | 0
01/05 14:00:00 | 01 | 05 | 14 | a1 | 44.96 | 47.93 | 0 | 449.7141 | 0 | 67.502 | 68.4569 | 5.8781 | 0 | 119.7217 | 0 | 193.7798 | 0
01/05 15:00:00 | 01 | 05 | 15 | a1 | 44.96 | 47.93 | 0 | 449.7141 | 0 | 67.5011 | 67.3429 | 3.479 | 0 | 70.8588 | 0 | 196.3185 | 0
01/05 16:00:00 | 01 | 05 | 16 | a1 | 44.96 | 47.92 | 0 | 449.7141 | 0 | 67.5008 | 63.6862 | 1.5841 | 0 | 32.2647 | 0 | 198.3237 | 0
01/05 17:00:00 | 01 | 05 | 17 | a1 | 44.06 | 47.92 | 0 | 449.7141 | 0 | 67.5006 | 59.6651 | 3.1717 | 0 | 64.252 | 0 | 196.6438 | 0
01/05 18:00:00 | 01 | 05 | 18 | a1 | 41 | 47.91 | 0 | 449.7141 | 0 | 67.4993 | 54.4622 | 12.4206 | 0 | 235.8431 | 0.010245 | 186.8567 | 0
01/05 19:00:00 | 01 | 05 | 19 | a1 | 39.92 | 47.9 | 0 | 449.7141 | 0 | 67.4989 | 48.7459 | 19.1149 | 0 | 360.7959 | 0.015767 | 179.7728 | 0
01/05 20:00:00 | 01 | 05 | 20 | a1 | 39.92 | 47.89 | 0 | 449.7141 | 0 | 67.4985 | 46.3736 | 23.3586 | 0 | 440.8861 | 0.019267 | 175.2821 | 0
01/05 21:00:00 | 01 | 05 | 21 | a1 | 39.02 | 47.88 | 0 | 449.7141 | 0 | 67.4948 | 44.8071 | 28.0891 | 0 | 527.5737 | 0.023169 | 170.2764 | 0
01/05 22:00:00 | 01 | 05 | 22 | a1 | 37.94 | 47.88 | 0 | 449.7141 | 0 | 67.4895 | 43.7811 | 33.7453 | 0 | 630.1392 | 0.027835 | 164.291 | 0

## Model In
Run Label | Timesteps Per Hour | Weather File | Building Orientation [deg] | Conditioned Footprint Area [ft^2] | Average Number of Stories Above Foundation | Average Ceiling Height Per Story [ft] | Building Width to Depth Ratio | Roof Pitch | Exterior Non-Foundation Wall Input Methd | Exterior Non-Foundation Wall Pre-Defined Constructions | Exterior Non-Foundation Wall Overall Effective R-Value [h-ft^2-F/Btu] | Ceiling And Roof Input Methd | Ceiling And Roof Construction | Ceiling Overall Effective R-Value [h-ft^2-F/Btu] | Floor and Foundation Input Methd | Foundation And Floor Construction | Foundation Type | Floor Overall Effective R-Value [h-ft^2-F/Btu] | Slab Perimeter Insulation R-Value [h-ft^2-F/Btu] | Full Under-Slab Insulation R-Value [h-ft^2-F/Btu] | Slab Thermal Break Insulation R-Value [h-ft^2-F/Btu] | Basement Wall Insulation R-Value [h-ft^2-F/Btu] | Window U-Value [Btu/h-ft^2-F] | Window Solar Heat Gain Coefficient | Window Shades | Window-to-Wall Ratio, Front [%] | Window-to-Wall Ratio, Back [%] | Window-to-Wall Ratio, Left [%] | Window-to-Wall Ratio, Right [%] | Conditioned Envelope Infiltration [ACH50] | Primary HVAC Type | HVAC Sizing Method | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Backup Electric Baseboard Heat Capacity [kW] | Non-Electric Furnace AFUE [%] | Supply Duct Leakage [%] | Supply Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Return Duct Leakage [%] | Return Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Heating Setpoint Schedule | Cooling Setpoint Schedule | Water Heater | Water Heater Setpoint Schedule | Number Of People | Interior Lighting Power Density [W/ft^2] | Exterior Lighting Power [W] | Range | Dryer | Refrigerator | Clothes Washer | Dishwasher | Misc Electric Gains [Max W] | Misc Electric Gains Schedule | Misc Gas Gains [Max Btu/h] | Misc Gas Gains Schedule
a1 | 1 | USA_AL_Birmingham-Shuttlesworth.Intl.AP.722280_TMYx.2004-2018 | 0 | 792 | 1 | 8 | 1 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.1111 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 14.2857 | Foundation Type with Effective R-Values |  | Heated Basement | 3.8 | 0 | 0 | 0 | 7.6923 | 0.58051 | 0.57232 | No | 0.19654 | 0.19654 | 0.19654 | 0.19654 | 5.1013 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kW | 15 | ton | 1.7152 | Electric | kW | 15 | 35 | -30 | 0 |  | 0.092 | 0.5 | 0.14 | 0.5 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 0 | 0 | 0 | No | No | No | No | No | 449.7141 | Misc_Elec_EZ_Sch_1 | 0
a2 | 1 | USA_AR_Little.Rock.AFB.723405_TMYx.2004-2018 | 0 | 1625 | 1.3077 | 8 | 1 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.1111 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 50 | Foundation Type with Effective R-Values |  | Vented Crawlspace | 28.5714 | 0 | 0 | 0 | 1.75 | 0.45 | 0.46127 | No | 0.10671 | 0.10671 | 0.10671 | 0.10671 | 8.4836 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kW | 20 | ton | 2.0122 | Electric | kW | 15 | 35 | -30 | 0 | 0.8125 | 0.059107 | 3.6594 | 0.094895 | 3.865 | Heat_EZ_Sch_2 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 0 | 0 | 0 | No | No | No | No | No | 539.1499 | Misc_Elec_EZ_Sch_1 | 0

## Run Characteristics
EnergyPlus Directory | C:\EnergyPlusV22-2-0\energyplus.exe
Model Input Template Directory | C:\Users\Logan\Desktop\REEDRRepositories\REEDR\Model Input Template.xlsx
Simulation Type | Annual
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 12
Simulation End Day | 31
Output Granularity | TimeStep
Output End Uses | All_End_Uses
Run Complete Timestamp | 2023-06-12 12:46:08.186951-07:00 US Pacific Time