## Model Out
Run Label | Total Elec [kWh] | Total Nat Gas [therm] | Total Propane [gal] | Total Heat Elec [kWh] | Prim Furnace Heat Elec [kWh] | ASHP Compressor Heat Elec [kWh] | ASHP Backup Heat Elec [kWh] | ASHP Defrost Elec [kWh] | ASHP Crankcase Heater Elec [kWh] | Baseboard Heat Elec [kWh] | Cool Elec [kWh] | Fan Elec [kWh] | Pump Elec [kWh] | DHW Elec [kWh] | IntLights Elec [kWh] | ExtLights Elec [kWh] | Total IntEquip Elec [kWh] | IntEquip Range Elec [kWh] | IntEquip Dryer Elec [kWh] | IntEquip Clotheswasher Elec [kWh] | IntEquip Dishwasher Elec [kWh] | IntEquip Refrigerator Elec [kWh] | IntEquip Misc Elec [kWh] | HeatRecov Elec [kWh] | Heat Nat Gas [therm] | DHW Nat Gas [therm] | Total IntEquip Nat Gas [therm] | IntEquip Range Nat Gas [therm] | IntEquip Dryer Nat Gas [therm] | IntEquip Misc Nat Gas [therm] | Heat Propane [gal] | UnmetHours Heating | UnmetHours Cooling | Infiltration Living [ACH] | Infiltration Attic [ACH] | Infiltration Crawlspace [ACH] | Infiltration UnheatedBasement [ACH]
SITE_01826-2019 | 10569.9247 | 0 |  | 8705.3447 | 8705.3447 | [6 empty] | 104.3055 |  |  | 0 | 0 | 1760.2745 | [5 empty] | 1760.2745 |  |  |  | 0 |  |  | 0 |  | 0 | 2594.6667 | 0.36738 | 0.25994 | 0.3929
SITE_00411-2019 | 22892.3581 | 0 |  | 15074.1901 | 15074.1901 | [6 empty] | 180.6157 |  |  | 0 | 0 | 7637.5523 | [5 empty] | 7637.5523 |  |  |  | 0 |  |  | 0 |  | 0 | 2710.6667 | 0.4816 | 0.9451 | 0.80056
SITE_00411-2021 | 21142.8488 | 0 |  | 12635.7671 | 12635.7671 | [6 empty] | 151.399 |  |  | 0 | 0 | 8355.6827 | [5 empty] | 8355.6827 |  |  |  | 0 |  |  | 0 |  | 0 | 3136.3333 | 0.46869 | 1.0585 | 0.8544
SITE_00569-2021 | 16375.994 | 0 |  | 12191.9819 | 12191.9819 | [6 empty] | 146.0817 |  |  | 0 | 0 | 4037.9304 | [5 empty] | 4037.9304 |  |  |  | 0 |  |  | 0 |  | 0 | 2835 | 0.29125 | 4.443
SITE_00327-2021 | 26604.6073 | 0 |  | 22032.0544 | 22032.0544 | [6 empty] | 263.9833 |  |  | 0 | 0 | 4308.5696 | [5 empty] | 4308.5696 |  |  |  | 0 |  |  | 0 |  | 0 | 2304.1667 | 0.37441 | 0.66032 | 0.55717
SITE_00726-2021 | 11603.0923 | 0 |  | 2029.7384 | 2029.7384 | [5 empty] | 1808.0082 | 157.6606 |  |  | 0 | 0 | 7607.6851 | [5 empty] | 7607.6851 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 0 | 0.33355 | 0.53233 | 0.53701
SITE_01838-2021 | 12737.3181 | 0 |  | 740.1499 | 740.1499 | [6 empty] | 8.8683 |  |  | 0 | 0 | 11988.2999 | [5 empty] | 11988.2999 |  |  |  | 0 |  |  | 0 |  | 0 | 4123.5 | 0.19343 | 0.4231 | 0.4943
SITE_01895-2021 | 13918.98 | 0 |  | 6726.2807 | 6726.2807 | [6 empty] | 80.5928 |  |  | 0 | 0 | 7112.1064 | [5 empty] | 7112.1064 |  |  |  | 0 |  |  | 0 |  | 0.83333 | 3002.6667 | 0.37421 | 0.051445 | 0.13837
SITE_01855-2021 | 3761.1094 | 0 |  | 2448.6929 | 2448.6929 | [6 empty] | 29.3397 |  |  | 0 | 0 | 1283.0768 | [5 empty] | 1283.0768 |  |  |  | 0 |  |  | 0 |  | 0 | 2112.6667 | 0.29026 | 0.45003 | 0.5089
SITE_01863-2021 | 10276.1633 | 0 |  | 5428.3583 | 5428.3583 | [6 empty] | 65.0414 |  |  | 0 | 0 | 4782.7636 | [5 empty] | 4782.7636 |  |  |  | 0 |  |  | 0 |  | 0.66667 | 3758.1667 | 0.43007 | 0.15617 | 0.24239
SITE_01840-2021 | 13990.0325 | 0 |  | 7030.8993 | 7030.8993 | [6 empty] | 84.2427 |  |  | 0 | 0 | 6874.8905 | [5 empty] | 6874.8905 |  |  |  | 0 |  |  | 0 |  | 0 | 2002.6667 | 0.24609 | 0.61494 | 0.58619
SITE_00595-2021 | 16168.0118 | 0 |  | 11462.9957 | 11462.9957 | [6 empty] | 137.3471 |  |  | 0 | 0 | 4567.669 | [5 empty] | 4567.669 |  |  |  | 0 |  |  | 0 |  | 0 | 3719.5 | 0.45942 | 0.74098 | 0.6478
SITE_01208-2019 | 14224.1826 | 0 |  | 8497.4871 | 8497.4871 | [6 empty] | 101.815 |  |  | 0 | 0 | 5624.8805 | [5 empty] | 5624.8805 |  |  |  | 0 |  |  | 0 |  | 0 | 1713.6667 | 0.33354 | 4.0922
SITE_01208-2021 | 16055.3912 | 0 |  | 10121.5548 | 10121.5548 | [6 empty] | 121.2743 |  |  | 0 | 0 | 5812.5621 | [5 empty] | 5812.5621 |  |  |  | 0 |  |  | 0 |  | 0 | 1824.6667 | 0.36322 | 4.7938
SITE_00558-2021 | 17184.4677 | 0 |  | 6881.1889 | 6881.1889 | [6 empty] | 82.4489 |  |  | 0 | 0 | 10220.8298 | [5 empty] | 10220.8298 |  |  |  | 0 |  |  | 0 |  | 0 | 3232.8333 | 0.37062 | 0.45586 | 0.52642
SITE_00650-2021 | 19497.0773 | 0 |  | 9633.2452 | 9633.2452 | [6 empty] | 115.4234 |  |  | 0 | 0 | 9748.4087 | [5 empty] | 9748.4087 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 4023.3333 | 0.50592 | 0.56812 | 0.64982
SITE_01918-2019 | 9592.4168 | 0 |  | 5767.384 | 5767.384 | [6 empty] | 69.1035 |  |  | 0 | 0 | 3755.9293 | [5 empty] | 3755.9293 |  |  |  | 0 |  |  | 0 |  | 0 | 1746.1667 | 0.43408 | 0.20056 | 0.38841
SITE_01918-2021 | 9982.7231 | 0 |  | 7210.8107 | 7210.8107 | [6 empty] | 86.3984 |  |  | 0 | 0 | 2685.514 | [5 empty] | 2685.514 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 1842.1667 | 0.46557 | 0.27183 | 0.46028
SITE_00908-2021 | 25853.7317 | 0 |  | 20569.5818 | 20569.5818 | [6 empty] | 246.4603 |  |  | 0 | 0 | 5037.6897 | [5 empty] | 5037.6897 |  |  |  | 0 |  |  | 0 |  | 0 | 2992.5 | 0.56405 | 0.3823 | 0.38313
SITE_00651-2021 | 24562.0636 | 0 |  | 16880.1903 | 16880.1903 | [5 empty] | 1076.5262 | 295.4513 |  |  | 0 | 0 | 6309.8958 | [5 empty] | 6309.8958 |  |  |  | 0 |  |  | 0 |  | 0 | 13.8333 | 0.4524 | 0.66517 | 0.7053

## Model In
Run Label | Timesteps Per Hour | Weather File | Building Orientation [deg] | Conditioned Footprint Area [ft^2] | Average Number of Stories Above Foundation | Average Ceiling Height Per Story [ft] | Building Width to Depth Ratio | Roof Pitch | Exterior Non-Foundation Wall Input Methd | Exterior Non-Foundation Wall Pre-Defined Constructions | Exterior Non-Foundation Wall Overall Effective R-Value [h-ft^2-F/Btu] | Ceiling And Roof Input Methd | Ceiling And Roof Construction | Ceiling Overall Effective R-Value [h-ft^2-F/Btu] | Attic Vented | Floor and Foundation Input Methd | Foundation And Floor Construction | Foundation Type | Floor Overall Effective R-Value [h-ft^2-F/Btu] | Slab Perimeter Insulation R-Value [h-ft^2-F/Btu] | Full Under-Slab Insulation R-Value [h-ft^2-F/Btu] | Slab Thermal Break Insulation R-Value [h-ft^2-F/Btu] | Basement Wall Insulation R-Value [h-ft^2-F/Btu] | Foundation Vented | Window U-Value [Btu/h-ft^2-F] | Window Solar Heat Gain Coefficient | Window Shades | Window-to-Wall Ratio, Front [%] | Window-to-Wall Ratio, Back [%] | Window-to-Wall Ratio, Left [%] | Window-to-Wall Ratio, Right [%] | Conditioned Envelope Infiltration [ACH50] | Primary HVAC Type | HVAC Sizing Method | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Backup Electric Baseboard Heat Capacity [kW] | Non-Electric Furnace AFUE [%] | Supply Duct Leakage [%] | Supply Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Return Duct Leakage [%] | Return Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Heating Setpoint Schedule | Cooling Setpoint Schedule | Water Heater | Water Heater Setpoint Schedule | Number Of People | Interior Lighting Power Density [W/ft^2] | Exterior Lighting Power [W] | Range | Dryer | Refrigerator | Clothes Washer | Dishwasher | Misc Electric Gains [Max W] | Misc Electric Gains Schedule | Misc Gas Gains [Max Btu/h] | Misc Gas Gains Schedule
SITE_01826-2019 | 6 | USA_OR_Salem-Muni-AP-McNary-Field.726940_AMY_2019EPW | 0 | 1423.5 | 1 | 8.1091 | 1.6568 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6335 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52418 | 0.55161 | No | 0.15754 | 0.14139 | 0.29283 | 0.0061061 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 16.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 15.8882 | 0.001 | 100 | SITE_01826-2019-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 1952.0306 | SITE_01826-2019-MISC | 0
SITE_00411-2019 | 6 | USA_ID_Twin-Falls-Magic-Valley-Rgnl-AP-Joslin-Field.725866_AMY_2019EPW | 0 | 1656 | 1 | 9.2251 | 0.89355 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.8173 | 0 | 2.6329 | 0 | 2.0929 | No | 0.52177 | 0.6625 | No | 0.06597 | 0.089372 | 0.088126 | 0.067215 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 19.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 6.9086 | 0.001 | 100 | SITE_00411-2019-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3073.269 | SITE_00411-2019-MISC | 0
SITE_00411-2021 | 6 | USA_ID_Twin-Falls-Magic-Valley-Rgnl-AP-Joslin-Field.725866_AMY_2021EPW | 0 | 1656 | 1 | 9.2251 | 0.89355 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.8173 | 0 | 2.6329 | 0 | 2.0929 | No | 0.52177 | 0.6625 | No | 0.06597 | 0.089372 | 0.088126 | 0.067215 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 19.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 6.9086 | 0.001 | 100 | SITE_00411-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 2650.6117 | SITE_00411-2021-MISC | 0
SITE_00569-2021 | 6 | USA_OR_Crater-Lake-Klamath-Rgnl-AP.725895_AMY_2021EPW | 0 | 1311 | 2 | 6.6553 | 1.6766 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 12.632 | Yes | Foundation Type with Effective R-Values | 0 | Heated Basement | 4.7448 | 10 | 0 | 0 | 2.8652 | No | 0.53117 | 0.59846 | No | 0.26346 | 0.22417 | 0.43785 | 0.049778 | 5.7942 | Electric Furnace with No CAC | Manual | kW | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 0.39253 | 0.1399 | 0.78506 | SITE_00569-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 1972.932 | SITE_00569-2021-MISC | 0
SITE_00327-2021 | 6 | USA_WA_Pullman-Moscow-Rgnl-AP.727857_AMY_2021EPW | 0 | 1070 | 1 | 9.2667 | 1.5874 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 4.3012 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.53453 | 0.54008 | No | 0.157 | 0.066497 | 0.22349 | 0.0001 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 11.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | SITE_00327-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 2837.1518 | SITE_00327-2021-MISC | 0
SITE_00726-2021 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2021EPW | 0 | 770 | 1 | 9.2323 | 0.75367 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.1432 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 15.7301 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 15.0296 | 0 | 0 | 0 | 2.0929 | No | 0.75389 | 0.75386 | No | 0.072191 | 0.088209 | 0.0001 | 0.1604 | 8.5964 | Electric Furnace with CAC (14 SEER) | Manual | kW | 16.2 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 7.5148 | 0.001 | 100 | SITE_00726-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 3796.808 | SITE_00726-2021-MISC | 0
SITE_01838-2021 | 6 | USA_OR_Eugene-AP-Sweet-Field.726930_AMY_2021EPW | 0 | 1300 | 1 | 7.1418 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.52706 | 0.54008 | No | 0.10042 | 0.14653 | 0.1425 | 0.096295 | 5.4038 | Electric Furnace with No CAC | Manual | kW | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 11.7943 | 0.001 | 100 | SITE_01838-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 5736.91 | SITE_01838-2021-MISC | 0
SITE_01895-2021 | 6 | USA_WA_Puyallup-Pierce.County.AP-Thun.Field.720388_AMY_2021EPW | 0 | 1000 | 1 | 8.4027 | 1.7529 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.52775 | 0.71149 | No | 0.069572 | 0.089213 | 0.074376 | 0.08441 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 16.3429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | SITE_01895-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 2123.0548 | SITE_01895-2021-MISC | 0
SITE_01855-2021 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2021EPW | 0 | 1248 | 1 | 6.9948 | 2.1753 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 20.8919 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.72644 | No | 0.0001 | 0.19149 | 0.14176 | 0.049739 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 10.446 | 0.001 | 100 | SITE_01855-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1252.1034 | SITE_01855-2021-MISC | 0
SITE_01863-2021 | 6 | USA_OR_Roseburg-Rgnl-AP-Carl-Meml-Field.726904_AMY_2021EPW | 0 | 810 | 1 | 9.2313 | 0.53571 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.0206 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 9.3223 | 0 | 0 | 0 | 2.0929 | No | 1.096 | 0.54895 | No | 0.10892 | 0.058215 | 0.11815 | 0.048985 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 4.6611 | 0.001 | 100 | SITE_01863-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 3705.3924 | SITE_01863-2021-MISC | 0
SITE_01840-2021 | 6 | USA_OR_Newport.Muni.AP.726950_AMY_2021EPW | 0 | 1560 | 1 | 8.3224 | 1.4188 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.469 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.5245 | 0.54008 | No | 0.064772 | 0.19755 | 0.036942 | 0.22538 | 4.8008 | Electric Furnace with No CAC | Manual | kW | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 11.7943 | 0.001 | 100 | SITE_01840-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 3165.6484 | SITE_01840-2021-MISC | 0
SITE_00595-2021 | 6 | USA_WA_Walla-Walla-Rgnl-AP.727846_AMY_2021EPW | 0 | 1948 | 1 | 7.6008 | 0.52773 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 13.4517 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 39.8831 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.68813 | No | 0.0001 | 0.34671 | 0.12151 | 0.22521 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 15.8882 | 0.001 | 100 | SITE_00595-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 4244.9993 | SITE_00595-2021-MISC | 0
SITE_01208-2019 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2019EPW | 0 | 899 | 1.5 | 13.1265 | 0.87203 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 23.3743 | Yes | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 2.6329 | 0 | 0 | No | 0.53487 | 0.58024 | No | 0.1858 | 0.0001 | 0.1858 | 0.0001 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 0.39253 | 0.1399 | 0.78506 | SITE_01208-2019-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3336.801 | SITE_01208-2019-MISC | 0
SITE_01208-2021 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2021EPW | 0 | 899 | 1.5 | 13.1265 | 0.87203 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 23.3743 | Yes | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 2.6329 | 0 | 0 | No | 0.53487 | 0.58024 | No | 0.1858 | 0.0001 | 0.1858 | 0.0001 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 0.39253 | 0.1399 | 0.78506 | SITE_01208-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3383.063 | SITE_01208-2021-MISC | 0
SITE_00558-2021 | 6 | USA_OR_Redmond-Muni-AP-Roberts-Field.726920_AMY_2021EPW | 0 | 1120 | 1 | 8.0762 | 1.2529 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 4.8637 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 26.0716 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.086009 | 0.19388 | 0.15066 | 0.12923 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 13.0358 | 0.001 | 100 | SITE_00558-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 3405.015 | SITE_00558-2021-MISC | 0
SITE_00650-2021 | 6 | USA_WA_Spokane-Fairchild-AFB.727855_AMY_2021EPW | 0 | 891 | 1 | 9.6151 | 0.57237 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.059722 | 0.059954 | 0.059904 | 0.059772 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 10.8288 | 0.001 | 100 | SITE_00650-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 4098.3866 | SITE_00650-2021-MISC | 0
SITE_01918-2019 | 6 | USA_WA_Tacoma-Narrows-AP.727938_AMY_2019EPW | 0 | 1081 | 1 | 7.8374 | 1.4713 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.516 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 10.5746 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3147 | 0 | 0 | 0 | 2.2768 | No | 0.52177 | 0.54008 | No | 0.089278 | 0.15216 | 0.16698 | 0.074462 | 12.9298 | Electric Furnace with No CAC | Manual | kW | 14.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 5.6574 | 0.001 | 100 | SITE_01918-2019-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1715.0307 | SITE_01918-2019-MISC | 0
SITE_01918-2021 | 6 | USA_WA_Tacoma-Narrows-AP.727938_AMY_2021EPW | 0 | 1081 | 1 | 7.8374 | 1.4713 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.516 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 10.5746 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3147 | 0 | 0 | 0 | 2.2768 | No | 0.52177 | 0.54008 | No | 0.089278 | 0.15216 | 0.16698 | 0.074462 | 12.9298 | Electric Furnace with No CAC | Manual | kW | 14.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 5.6574 | 0.001 | 100 | SITE_01918-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1561.5443 | SITE_01918-2021-MISC | 0
SITE_00908-2021 | 6 | USA_MT_Missoula-Intl-AP.727730_AMY_2021EPW | 0 | 1178 | 1 | 9.8379 | 0.49293 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 20.6992 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 7.1346 | No | 0.52177 | 0.54008 | No | 0.26772 | 0.03234 | 0.18743 | 0.11263 | 10.5282 | Electric Furnace with No CAC | Manual | kW | 21.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 10.8288 | 0.001 | 100 | SITE_00908-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 2348.1472 | SITE_00908-2021-MISC | 0
SITE_00651-2021 | 6 | USA_WA_Spokane-Intl-AP.727850_AMY_2021EPW | 0 | 1078 | 1 | 10.9979 | 0.86783 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.6358 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 43.1022 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.0001 | 0.14393 | 0.0001 | 0.14393 | 8.5964 | Electric Furnace with CAC (14 SEER) | Manual | kW | 17.1 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 21.5511 | 0.001 | 100 | SITE_00651-2021-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2821.7636 | SITE_00651-2021-MISC | 0

## Run Characteristics
EnergyPlus Directory | C:\EnergyPlusV22-2-0\energyplus.exe
Model Input Template Directory | C:\Users\Christian\Repositories\REEDR\Model Input Template.xlsx
Simulation Type | Annual
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 12
Simulation End Day | 31
Output Granularity | Annual
Output End Uses | All_End_Uses
Run Complete Timestamp | 2023-08-03 13:32:28.526342-07:00 US Pacific Time