## Model Out
Run Label | Total Elec [kWh] | Total Nat Gas [therm] | Total Propane [gal] | Total Heat Elec [kWh] | Prim Furnace Heat Elec [kWh] | ASHP Compressor Heat Elec [kWh] | ASHP Backup Heat Elec [kWh] | ASHP Defrost Elec [kWh] | ASHP Crankcase Heater Elec [kWh] | Baseboard Heat Elec [kWh] | Cool Elec [kWh] | Fan Elec [kWh] | Pump Elec [kWh] | DHW Elec [kWh] | IntLights Elec [kWh] | ExtLights Elec [kWh] | Total IntEquip Elec [kWh] | IntEquip Range Elec [kWh] | IntEquip Dryer Elec [kWh] | IntEquip Clotheswasher Elec [kWh] | IntEquip Dishwasher Elec [kWh] | IntEquip Refrigerator Elec [kWh] | IntEquip Misc Elec [kWh] | HeatRecov Elec [kWh] | Heat Nat Gas [therm] | DHW Nat Gas [therm] | Total IntEquip Nat Gas [therm] | IntEquip Range Nat Gas [therm] | IntEquip Dryer Nat Gas [therm] | IntEquip Misc Nat Gas [therm] | Heat Propane [gal] | UnmetHours Heating | UnmetHours Cooling | Infiltration Living [ACH] | Infiltration Attic [ACH] | Infiltration Crawlspace [ACH] | Infiltration UnheatedBasement [ACH]
SITE_00327-2020__It_2 | 25478.9657 | 0 |  | 21225.3844 | 21225.3844 | [6 empty] | 254.3179 |  |  | 0 | 0 | 3999.2634 | [5 empty] | 3999.2634 |  |  |  | 0 |  |  | 0 |  | 0 | 2107.3333 | 0.34809 | 0.71546 | 0.58849
SITE_00327-2020__It_3 | 23478.0411 | 0 |  | 19248.1505 | 19248.1505 | [6 empty] | 230.6271 |  |  | 0 | 0 | 3999.2634 | [5 empty] | 3999.2634 |  |  |  | 0 |  |  | 0 |  | 0 | 2098.8333 | 0.30129 | 0.74693 | 0.58842
SITE_00327-2020__It_4 | 17085.9046 | 0 |  | 12931.6964 | 12931.6964 | [6 empty] | 154.9448 |  |  | 0 | 0 | 3999.2634 | [5 empty] | 3999.2634 |  |  |  | 0 |  |  | 0 |  | 0 | 1943.1667 | 0.27486 | 0.76248 | 0.58506
SITE_00327-2020__It_5 | 15469.8297 | 0 |  | 11334.7557 | 11334.7557 | [6 empty] | 135.8106 |  |  | 0 | 0 | 3999.2634 | [5 empty] | 3999.2634 |  |  |  | 0 |  |  | 0 |  | 0 | 1969.5 | 0.27059 | 0.76373 | 0.58466
SITE_00327-2020_It_1 | 11032.1519 | 0 |  | 6949.6196 | 6949.6196 | [6 empty] | 83.2688 |  |  | 0 | 0 | 3999.2634 | [5 empty] | 3999.2634 |  |  |  | 0 |  |  | 0 |  | 0 | 2263.8333 | 0.26567 | 0.76711 | 0.58375
SITE_00411-2020__It_2 | 21135.2442 | 0 |  | 12126.9584 | 12126.9584 | [6 empty] | 145.3026 |  |  | 0 | 0 | 8862.9832 | [5 empty] | 8862.9832 |  |  |  | 0 |  |  | 0 |  | 0 | 3271.6667 | 0.37402 | 1.1231 | 0.86654
SITE_00411-2020__It_3 | 19162.426 | 0 |  | 10177.4982 | 10177.4982 | [6 empty] | 121.9446 |  |  | 0 | 0 | 8862.9832 | [5 empty] | 8862.9832 |  |  |  | 0 |  |  | 0 |  | 0 | 3262.5 | 0.33401 | 1.1409 | 0.86652
SITE_00411-2020__It_4 | 16120.0557 | 0 |  | 7171.1493 | 7171.1493 | [6 empty] | 85.9231 |  |  | 0 | 0 | 8862.9832 | [5 empty] | 8862.9832 |  |  |  | 0 |  |  | 0 |  | 0 | 3577.3333 | 0.32787 | 1.1405 | 0.86595
SITE_00411-2020__It_5 | 15702.4312 | 0 |  | 6758.4694 | 6758.4694 | [6 empty] | 80.9785 |  |  | 0 | 0 | 8862.9832 | [5 empty] | 8862.9832 |  |  |  | 0 |  |  | 0 |  | 0 | 3439 | 0.32873 | 1.1402 | 0.86606
SITE_00411-2020_It_1 | 13397.6277 | 0 |  | 4480.9547 | 4480.9547 | [6 empty] | 53.6898 |  |  | 0 | 0 | 8862.9832 | [5 empty] | 8862.9832 |  |  |  | 0 |  |  | 0 |  | 0 | 3381 | 0.31025 | 1.1472 | 0.8636
SITE_00569-2020__It_2 | 13823.8328 | 0 |  | 9749.0968 | 9749.0968 | [6 empty] | 116.8116 |  |  | 0 | 0 | 3957.9244 | [5 empty] | 3957.9244 |  |  |  | 0 |  |  | 0 |  | 0 | 2841.3333 | 0.27613 | 4.0717
SITE_00569-2020__It_3 | 13823.8325 | 0 |  | 9749.0966 | 9749.0966 | [6 empty] | 116.8116 |  |  | 0 | 0 | 3957.9244 | [5 empty] | 3957.9244 |  |  |  | 0 |  |  | 0 |  | 0 | 2841.3333 | 0.27613 | 4.0717
SITE_00569-2020__It_4 | 13024.4182 | 0 |  | 8959.1472 | 8959.1472 | [6 empty] | 107.3466 |  |  | 0 | 0 | 3957.9244 | [5 empty] | 3957.9244 |  |  |  | 0 |  |  | 0 |  | 0 | 2946.5 | 0.27536 | 4.0666
SITE_00569-2020__It_5 | 13024.4182 | 0 |  | 8959.1472 | 8959.1472 | [6 empty] | 107.3466 |  |  | 0 | 0 | 3957.9244 | [5 empty] | 3957.9244 |  |  |  | 0 |  |  | 0 |  | 0 | 2946.5 | 0.27536 | 4.0666
SITE_00569-2020_It_1 | 12803.1126 | 0 |  | 8740.4619 | 8740.4619 | [6 empty] | 104.7263 |  |  | 0 | 0 | 3957.9244 | [5 empty] | 3957.9244 |  |  |  | 0 |  |  | 0 |  | 0 | 2943.6667 | 0.27504 | 4.067
SITE_00595-2020__It_2 | 14911.9804 | 0 |  | 10773.6043 | 10773.6043 | [6 empty] | 129.087 |  |  | 0 | 0 | 4009.2891 | [5 empty] | 4009.2891 |  |  |  | 0 |  |  | 0 |  | 0 | 3639 | 0.40184 | 0.73273 | 0.63765
SITE_00595-2020__It_3 | 13583.4376 | 0 |  | 9460.7913 | 9460.7913 | [6 empty] | 113.3571 |  |  | 0 | 0 | 4009.2891 | [5 empty] | 4009.2891 |  |  |  | 0 |  |  | 0 |  | 0 | 3636.3333 | 0.3715 | 0.74153 | 0.6376
SITE_00595-2020__It_4 | 13288.9281 | 0 |  | 9169.7688 | 9169.7688 | [6 empty] | 109.8702 |  |  | 0 | 0 | 4009.2891 | [5 empty] | 4009.2891 |  |  |  | 0 |  |  | 0 |  | 0 | 3705.6667 | 0.33156 | 0.7618 | 0.63754
SITE_00595-2020__It_5 | 12439.5222 | 0 |  | 8330.4198 | 8330.4198 | [6 empty] | 99.8133 |  |  | 0 | 0 | 4009.2891 | [5 empty] | 4009.2891 |  |  |  | 0 |  |  | 0 |  | 0 | 3404 | 0.33218 | 0.76137 | 0.63767
SITE_00595-2020_It_1 | 9991.5169 | 0 |  | 5911.3986 | 5911.3986 | [6 empty] | 70.8291 |  |  | 0 | 0 | 4009.2891 | [5 empty] | 4009.2891 |  |  |  | 0 |  |  | 0 |  | 0 | 3372.1667 | 0.31139 | 0.76754 | 0.63644
SITE_00650-2020__It_2 | 17937.0566 | 0 |  | 9855.4767 | 9855.4767 | [6 empty] | 118.0862 |  |  | 0 | 0 | 7963.4938 | [5 empty] | 7963.4938 |  |  |  | 0 |  |  | 0 |  | 0 | 3692.8333 | 0.52124 | 0.55869 | 0.65151
SITE_00650-2020__It_3 | 19139.8335 | 0 |  | 11044.0128 | 11044.0128 | [6 empty] | 132.327 |  |  | 0 | 0 | 7963.4938 | [5 empty] | 7963.4938 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 3707.6667 | 0.55799 | 0.54096 | 0.65155
SITE_00650-2020__It_4 | 18506.3109 | 0 |  | 10417.991 | 10417.991 | [6 empty] | 124.8261 |  |  | 0 | 0 | 7963.4938 | [5 empty] | 7963.4938 |  |  |  | 0 |  |  | 0 |  | 0 | 3584.3333 | 0.58873 | 0.52293 | 0.65172
SITE_00650-2020__It_5 | 19712.081 | 0 |  | 11609.4849 | 11609.4849 | [6 empty] | 139.1023 |  |  | 0 | 0 | 7963.4938 | [5 empty] | 7963.4938 |  |  |  | 0 |  |  | 0 |  | 0.66667 | 3597.3333 | 0.62207 | 0.50756 | 0.65171
SITE_00650-2020_It_1 | 20265.2676 | 0 |  | 12156.1218 | 12156.1218 | [6 empty] | 145.652 |  |  | 0 | 0 | 7963.4938 | [5 empty] | 7963.4938 |  |  |  | 0 |  |  | 0 |  | 0.33333 | 3486.5 | 0.68237 | 0.47897 | 0.65189
SITE_00651-2020__It_2 | 23980.821 | 0 |  | 16395.9452 | 16395.9452 | [5 empty] | 844.332 | 274.0937 |  |  | 0 | 0 | 6466.45 | [5 empty] | 6466.45 |  |  |  | 0 |  |  | 0 |  | 0 | 7.6667 | 0.41507 | 0.67714 | 0.71588
SITE_00651-2020__It_3 | 21613.136 | 0 |  | 14181.1071 | 14181.1071 | [5 empty] | 728.6973 | 236.8816 |  |  | 0 | 0 | 6466.45 | [5 empty] | 6466.45 |  |  |  | 0 |  |  | 0 |  | 0 | 13.1667 | 0.45407 | 0.65507 | 0.71539
SITE_00651-2020__It_4 | 21113.7119 | 0 |  | 13676.7346 | 13676.7346 | [5 empty] | 738.8852 | 231.6421 |  |  | 0 | 0 | 6466.45 | [5 empty] | 6466.45 |  |  |  | 0 |  |  | 0 |  | 0 | 5.8333 | 0.40537 | 0.68348 | 0.71535
SITE_00651-2020__It_5 | 17890.3584 | 0 |  | 10452.2824 | 10452.2824 | [5 empty] | 794.2174 | 177.4086 |  |  | 0 | 0 | 6466.45 | [5 empty] | 6466.45 |  |  |  | 0 |  |  | 0 |  | 0 | 0 | 0.41786 | 0.68068 | 0.71339
SITE_00651-2020_It_1 | 17544.565 | 0 |  | 10101.8811 | 10101.8811 | [5 empty] | 801.7958 | 174.4381 |  |  | 0 | 0 | 6466.45 | [5 empty] | 6466.45 |  |  |  | 0 |  |  | 0 |  | 0 | 0 | 0.37155 | 0.70772 | 0.71334
SITE_00726-2020__It_2 | 8040.0861 | 0 |  | 1870.7881 | 1870.7881 | [5 empty] | 1229.8029 | 114.4477 |  |  | 0 | 0 | 4825.0475 | [5 empty] | 4825.0475 |  |  |  | 0 |  |  | 0 |  | 0.33333 | 5 | 0.36248 | 0.5443 | 0.54984
SITE_00726-2020__It_3 | 8099.6264 | 0 |  | 1931.7289 | 1931.7289 | [5 empty] | 1228.103 | 114.7471 |  |  | 0 | 0 | 4825.0475 | [5 empty] | 4825.0475 |  |  |  | 0 |  |  | 0 |  | 0.33333 | 5 | 0.40364 | 0.52994 | 0.5499
SITE_00726-2020__It_4 | 8156.0895 | 0 |  | 1914.1945 | 1914.1945 | [5 empty] | 1296.8722 | 119.9753 |  |  | 0 | 0 | 4825.0475 | [5 empty] | 4825.0475 |  |  |  | 0 |  |  | 0 |  | 0.66667 | 3 | 0.3963 | 0.53161 | 0.54984
SITE_00726-2020__It_5 | 8201.1637 | 0 |  | 1957.2099 | 1957.2099 | [5 empty] | 1298.5446 | 120.3617 |  |  | 0 | 0 | 4825.0475 | [5 empty] | 4825.0475 |  |  |  | 0 |  |  | 0 |  | 0.66667 | 1.6667 | 0.43705 | 0.51759 | 0.54988
SITE_00726-2020_It_1 | 10239.3965 | 0 |  | 4036.4253 | 4036.4253 | [5 empty] | 1240.8963 | 137.0274 |  |  | 0 | 0 | 4825.0475 | [5 empty] | 4825.0475 |  |  |  | 0 |  |  | 0 |  | 0.66667 | 13 | 0.37707 | 0.53508 | 0.5532
SITE_00908-2020__It_2 | 26138.1844 | 0 |  | 20096.1416 | 20096.1416 | [6 empty] | 240.7876 |  |  | 0 | 0 | 5801.2553 | [5 empty] | 5801.2553 |  |  |  | 0 |  |  | 0 |  | 0 | 2952 | 0.55062 | 0.36016 | 0.35505
SITE_00908-2020__It_3 | 26483.6156 | 0 |  | 20437.4829 | 20437.4829 | [6 empty] | 244.8775 |  |  | 0 | 0 | 5801.2553 | [5 empty] | 5801.2553 |  |  |  | 0 |  |  | 0 |  | 0.33333 | 2908.8333 | 0.57992 | 0.35204 | 0.35513
SITE_00908-2020__It_4 | 26824.8513 | 0 |  | 20774.6784 | 20774.6784 | [6 empty] | 248.9177 |  |  | 0 | 0 | 5801.2553 | [5 empty] | 5801.2553 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 2871.1667 | 0.60849 | 0.34434 | 0.35519
SITE_00908-2020__It_5 | 28172.3618 | 0 |  | 22106.2345 | 22106.2345 | [6 empty] | 264.8721 |  |  | 0 | 0 | 5801.2553 | [5 empty] | 5801.2553 |  |  |  | 0 |  |  | 0 |  | 1 | 2966.6667 | 0.60861 | 0.34869 | 0.35512
SITE_00908-2020_It_1 | 28531.4005 | 0 |  | 22461.0222 | 22461.0222 | [6 empty] | 269.1231 |  |  | 0 | 0 | 5801.2553 | [5 empty] | 5801.2553 |  |  |  | 0 |  |  | 0 |  | 1.3333 | 2919.6667 | 0.63621 | 0.34125 | 0.35517
SITE_01208-2020__It_2 | 14868.9143 | 0 |  | 8426.9007 | 8426.9007 | [6 empty] | 100.9693 |  |  | 0 | 0 | 6341.0442 | [5 empty] | 6341.0442 |  |  |  | 0 |  |  | 0 |  | 0 | 1777.3333 | 0.33574 | 4.7208
SITE_01208-2020__It_3 | 14572.5965 | 0 |  | 8134.0914 | 8134.0914 | [6 empty] | 97.4609 |  |  | 0 | 0 | 6341.0442 | [5 empty] | 6341.0442 |  |  |  | 0 |  |  | 0 |  | 0 | 1824.3333 | 0.31396 | 4.7817
SITE_01208-2020__It_4 | 14273.8061 | 0 |  | 7838.8386 | 7838.8386 | [6 empty] | 93.9233 |  |  | 0 | 0 | 6341.0442 | [5 empty] | 6341.0442 |  |  |  | 0 |  |  | 0 |  | 0 | 1871.3333 | 0.29193 | 4.8472
SITE_01208-2020__It_5 | 15105.6925 | 0 |  | 8660.8756 | 8660.8756 | [6 empty] | 103.7727 |  |  | 0 | 0 | 6341.0442 | [5 empty] | 6341.0442 |  |  |  | 0 |  |  | 0 |  | 0 | 1728.5 | 0.36117 | 4.6426
SITE_01208-2020_It_1 | 16241.6634 | 0 |  | 9783.3966 | 9783.3966 | [6 empty] | 117.2225 |  |  | 0 | 0 | 6341.0442 | [5 empty] | 6341.0442 |  |  |  | 0 |  |  | 0 |  | 0 | 1729 | 0.41203 | 4.4893
SITE_01764-2020__It_2 | 14300.6897 | 0 |  | 3576.6108 | 3576.6108 | [6 empty] | 42.8542 |  |  | 0 | 0 | 10681.2247 | [5 empty] | 10681.2247 |  |  |  | 0 |  |  | 0 |  | 0.83333 | 3438 | 0.33858 | 0.4037 | 0.51314
SITE_01764-2020__It_3 | 14605.4334 | 0 |  | 3877.7463 | 3877.7463 | [6 empty] | 46.4623 |  |  | 0 | 0 | 10681.2247 | [5 empty] | 10681.2247 |  |  |  | 0 |  |  | 0 |  | 3 | 3431.6667 | 0.35218 | 0.39495 | 0.51265
SITE_01764-2020__It_4 | 14274.8447 | 0 |  | 3551.0718 | 3551.0718 | [6 empty] | 42.5482 |  |  | 0 | 0 | 10681.2247 | [5 empty] | 10681.2247 |  |  |  | 0 |  |  | 0 |  | 0 | 3427 | 0.33914 | 0.40331 | 0.51259
SITE_01764-2020__It_5 | 14208.0061 | 0 |  | 3485.0245 | 3485.0245 | [6 empty] | 41.7568 |  |  | 0 | 0 | 10681.2247 | [5 empty] | 10681.2247 |  |  |  | 0 |  |  | 0 |  | 3 | 3418.5 | 0.34623 | 0.3986 | 0.51265
SITE_01764-2020_It_1 | 13884.1025 | 0 |  | 3164.9559 | 3164.9559 | [6 empty] | 37.9218 |  |  | 0 | 0 | 10681.2247 | [5 empty] | 10681.2247 |  |  |  | 0 |  |  | 0 |  | 0 | 3402.8333 | 0.33488 | 0.406 | 0.51208
SITE_01838-2020__It_2 | 11203.2661 | 0 |  | 825.9155 | 825.9155 | [6 empty] | 9.8959 |  |  | 0 | 0 | 10367.4547 | [5 empty] | 10367.4547 |  |  |  | 0 |  |  | 0 |  | 0 | 4016.8333 | 0.18753 | 0.39053 | 0.46079
SITE_01838-2020__It_3 | 11306.6182 | 0 |  | 928.0438 | 928.0438 | [6 empty] | 11.1196 |  |  | 0 | 0 | 10367.4547 | [5 empty] | 10367.4547 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 4013 | 0.19432 | 0.38585 | 0.46055
SITE_01838-2020__It_4 | 11311.6708 | 0 |  | 933.0367 | 933.0367 | [6 empty] | 11.1794 |  |  | 0 | 0 | 10367.4547 | [5 empty] | 10367.4547 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 4018.1667 | 0.19392 | 0.38619 | 0.46081
SITE_01838-2020__It_5 | 11231.4053 | 0 |  | 853.7215 | 853.7215 | [6 empty] | 10.2291 |  |  | 0 | 0 | 10367.4547 | [5 empty] | 10367.4547 |  |  |  | 0 |  |  | 0 |  | 0 | 3977.3333 | 0.20321 | 0.37554 | 0.46055
SITE_01838-2020_It_1 | 11254.0603 | 0 |  | 876.1082 | 876.1082 | [6 empty] | 10.4973 |  |  | 0 | 0 | 10367.4547 | [5 empty] | 10367.4547 |  |  |  | 0 |  |  | 0 |  | 0 | 3950.1667 | 0.2156 | 0.36398 | 0.46057
SITE_01840-2020__It_2 | 13812.5413 | 0 |  | 6368.8754 | 6368.8754 | [6 empty] | 76.3105 |  |  | 0 | 0 | 7367.3554 | [5 empty] | 7367.3554 |  |  |  | 0 |  |  | 0 |  | 0 | 1949.5 | 0.23913 | 0.61647 | 0.57281
SITE_01840-2020__It_3 | 13976.5439 | 0 |  | 6530.9363 | 6530.9363 | [6 empty] | 78.2523 |  |  | 0 | 0 | 7367.3554 | [5 empty] | 7367.3554 |  |  |  | 0 |  |  | 0 |  | 0 | 1883.6667 | 0.26182 | 0.59982 | 0.57287
SITE_01840-2020__It_4 | 14091.5705 | 0 |  | 6644.601 | 6644.601 | [6 empty] | 79.6142 |  |  | 0 | 0 | 7367.3554 | [5 empty] | 7367.3554 |  |  |  | 0 |  |  | 0 |  | 0 | 1837.6667 | 0.27772 | 0.58875 | 0.57292
SITE_01840-2020__It_5 | 15023.1179 | 0 |  | 7565.1189 | 7565.1189 | [6 empty] | 90.6436 |  |  | 0 | 0 | 7367.3554 | [5 empty] | 7367.3554 |  |  |  | 0 |  |  | 0 |  | 0 | 1893 | 0.29312 | 0.58358 | 0.57298
SITE_01840-2020_It_1 | 15161.0805 | 0 |  | 7701.448 | 7701.448 | [6 empty] | 92.2771 |  |  | 0 | 0 | 7367.3554 | [5 empty] | 7367.3554 |  |  |  | 0 |  |  | 0 |  | 0 | 1847.8333 | 0.30905 | 0.57292 | 0.57302
SITE_01855-2020__It_2 | 4205.8089 | 0 |  | 2213.9273 | 2213.9273 | [6 empty] | 26.5268 |  |  | 0 | 0 | 1965.3548 | [5 empty] | 1965.3548 |  |  |  | 0 |  |  | 0 |  | 0 | 2219 | 0.26537 | 0.3882 | 0.44948
SITE_01855-2020__It_3 | 4188.1911 | 0 |  | 2196.5182 | 2196.5182 | [6 empty] | 26.3182 |  |  | 0 | 0 | 1965.3548 | [5 empty] | 1965.3548 |  |  |  | 0 |  |  | 0 |  | 0 | 2242.3333 | 0.25601 | 0.39379 | 0.44948
SITE_01855-2020__It_4 | 4170.4503 | 0 |  | 2178.9874 | 2178.9874 | [6 empty] | 26.1082 |  |  | 0 | 0 | 1965.3548 | [5 empty] | 1965.3548 |  |  |  | 0 |  |  | 0 |  | 0 | 2267.8333 | 0.24641 | 0.39969 | 0.44947
SITE_01855-2020__It_5 | 4077.2521 | 0 |  | 2086.8927 | 2086.8927 | [6 empty] | 25.0047 |  |  | 0 | 0 | 1965.3548 | [5 empty] | 1965.3548 |  |  |  | 0 |  |  | 0 |  | 0 | 2219 | 0.25026 | 0.3947 | 0.4495
SITE_01855-2020_It_1 | 4060.3371 | 0 |  | 2070.1779 | 2070.1779 | [6 empty] | 24.8044 |  |  | 0 | 0 | 1965.3548 | [5 empty] | 1965.3548 |  |  |  | 0 |  |  | 0 |  | 0 | 2242.5 | 0.24084 | 0.40043 | 0.44949
SITE_01863-2020__It_2 | 10526.0554 | 0 |  | 5203.2182 | 5203.2182 | [6 empty] | 62.3438 |  |  | 0 | 0 | 5260.4934 | [5 empty] | 5260.4934 |  |  |  | 0 |  |  | 0 |  | 0.33333 | 3829 | 0.4248 | 0.135 | 0.21838
SITE_01863-2020__It_3 | 10559.6321 | 0 |  | 5236.3973 | 5236.3973 | [6 empty] | 62.7414 |  |  | 0 | 0 | 5260.4934 | [5 empty] | 5260.4934 |  |  |  | 0 |  |  | 0 |  | 0.33333 | 3807.6667 | 0.43593 | 0.13042 | 0.21838
SITE_01863-2020__It_4 | 10591.7512 | 0 |  | 5268.1362 | 5268.1362 | [6 empty] | 63.1217 |  |  | 0 | 0 | 5260.4934 | [5 empty] | 5260.4934 |  |  |  | 0 |  |  | 0 |  | 0.33333 | 3787.5 | 0.44665 | 0.12605 | 0.21838
SITE_01863-2020__It_5 | 10810.3608 | 0 |  | 5484.1574 | 5484.1574 | [6 empty] | 65.71 |  |  | 0 | 0 | 5260.4934 | [5 empty] | 5260.4934 |  |  |  | 0 |  |  | 0 |  | 1.1667 | 3815.5 | 0.47101 | 0.12968 | 0.21845
SITE_01863-2020_It_1 | 10840.6999 | 0 |  | 5514.1373 | 5514.1373 | [6 empty] | 66.0692 |  |  | 0 | 0 | 5260.4934 | [5 empty] | 5260.4934 |  |  |  | 0 |  |  | 0 |  | 1.5 | 3793.6667 | 0.48178 | 0.12536 | 0.21843
SITE_01895-2020__It_2 | 13541.9219 | 0 |  | 6214.3638 | 6214.3638 | [6 empty] | 74.4592 |  |  | 0 | 0 | 7253.0989 | [5 empty] | 7253.0989 |  |  |  | 0 |  |  | 0 |  | 1.6667 | 2931.5 | 0.35637 | 0.070394 | 0.16519
SITE_01895-2020__It_3 | 13517.8744 | 0 |  | 6190.6011 | 6190.6011 | [6 empty] | 74.1744 |  |  | 0 | 0 | 7253.0989 | [5 empty] | 7253.0989 |  |  |  | 0 |  |  | 0 |  | 1.8333 | 2947.8333 | 0.3492 | 0.072327 | 0.1652
SITE_01895-2020__It_4 | 13489.7556 | 0 |  | 6162.8152 | 6162.8152 | [6 empty] | 73.8415 |  |  | 0 | 0 | 7253.0989 | [5 empty] | 7253.0989 |  |  |  | 0 |  |  | 0 |  | 1.1667 | 2965.5 | 0.34156 | 0.074401 | 0.16522
SITE_01895-2020__It_5 | 12858.0671 | 0 |  | 5538.6058 | 5538.6058 | [6 empty] | 66.3624 |  |  | 0 | 0 | 7253.0989 | [5 empty] | 7253.0989 |  |  |  | 0 |  |  | 0 |  | 0 | 2914.8333 | 0.28476 | 0.082404 | 0.16471
SITE_01895-2020_It_1 | 12831.2788 | 0 |  | 5512.1347 | 5512.1347 | [6 empty] | 66.0452 |  |  | 0 | 0 | 7253.0989 | [5 empty] | 7253.0989 |  |  |  | 0 |  |  | 0 |  | 0 | 2932.3333 | 0.277 | 0.084701 | 0.16469
SITE_01918-2020__It_2 | 10737.5115 | 0 |  | 4860.9013 | 4860.9013 | [6 empty] | 58.2423 |  |  | 0 | 0 | 5818.368 | [5 empty] | 5818.368 |  |  |  | 0 |  |  | 0 |  | 0 | 1908 | 0.43781 | 0.30896 | 0.48409
SITE_01918-2020__It_3 | 10673.0087 | 0 |  | 4797.1621 | 4797.1621 | [6 empty] | 57.4786 |  |  | 0 | 0 | 5818.368 | [5 empty] | 5818.368 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 1942.1667 | 0.42057 | 0.31803 | 0.48405
SITE_01918-2020__It_4 | 10402.1788 | 0 |  | 4529.5388 | 4529.5388 | [6 empty] | 54.2719 |  |  | 0 | 0 | 5818.368 | [5 empty] | 5818.368 |  |  |  | 0 |  |  | 0 |  | 0 | 1903.6667 | 0.40439 | 0.32382 | 0.48413
SITE_01918-2020__It_5 | 10328.7582 | 0 |  | 4456.9875 | 4456.9875 | [6 empty] | 53.4027 |  |  | 0 | 0 | 5818.368 | [5 empty] | 5818.368 |  |  |  | 0 |  |  | 0 |  | 0 | 1935.1667 | 0.38602 | 0.33352 | 0.48408
SITE_01918-2020_It_1 | 10407.3209 | 0 |  | 4534.62 | 4534.62 | [6 empty] | 54.3328 |  |  | 0 | 0 | 5818.368 | [5 empty] | 5818.368 |  |  |  | 0 |  |  | 0 |  | 0 | 1921 | 0.38676 | 0.33312 | 0.48308

## Model In
Run Label | Timesteps Per Hour | Weather File | Building Orientation [deg] | Conditioned Footprint Area [ft^2] | Average Number of Stories Above Foundation | Average Ceiling Height Per Story [ft] | Building Width to Depth Ratio | Roof Pitch | Exterior Non-Foundation Wall Input Methd | Exterior Non-Foundation Wall Pre-Defined Constructions | Exterior Non-Foundation Wall Overall Effective R-Value [h-ft^2-F/Btu] | Ceiling And Roof Input Methd | Ceiling And Roof Construction | Ceiling Overall Effective R-Value [h-ft^2-F/Btu] | Attic Vented | Floor and Foundation Input Methd | Foundation And Floor Construction | Foundation Type | Floor Overall Effective R-Value [h-ft^2-F/Btu] | Slab Perimeter Insulation R-Value [h-ft^2-F/Btu] | Full Under-Slab Insulation R-Value [h-ft^2-F/Btu] | Slab Thermal Break Insulation R-Value [h-ft^2-F/Btu] | Basement Wall Insulation R-Value [h-ft^2-F/Btu] | Foundation Vented | Window U-Value [Btu/h-ft^2-F] | Window Solar Heat Gain Coefficient | Window Shades | Window-to-Wall Ratio, Front [%] | Window-to-Wall Ratio, Back [%] | Window-to-Wall Ratio, Left [%] | Window-to-Wall Ratio, Right [%] | Conditioned Envelope Infiltration [ACH50] | Primary HVAC Type | HVAC Sizing Method | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Backup Electric Baseboard Heat Capacity [kW] | Non-Electric Furnace AFUE [%] | Supply Duct Leakage [%] | Supply Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Return Duct Leakage [%] | Return Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Heating Setpoint Schedule | Cooling Setpoint Schedule | Water Heater | Water Heater Setpoint Schedule | Number Of People | Interior Lighting Power Density [W/ft^2] | Exterior Lighting Power [W] | Range | Dryer | Refrigerator | Clothes Washer | Dishwasher | Misc Electric Gains [Max W] | Misc Electric Gains Schedule | Misc Gas Gains [Max Btu/h] | Misc Gas Gains Schedule
SITE_00327-2020__It_2 | 6 | USA_WA_Pullman-Moscow-Rgnl-AP.727857_AMY_2020EPW | 0 | 1070 | 1 | 9.2667 | 1.5874 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 4.3012 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.53453 | 0.54008 | No | 0.157 | 0.066497 | 0.22349 | 0.0001 | 7 | Electric Furnace with No CAC | Manual | kW | 11.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | SITE_00327-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 2233.9515 | SITE_00327-2020-MISC | 0
SITE_00327-2020__It_3 | 6 | USA_WA_Pullman-Moscow-Rgnl-AP.727857_AMY_2020EPW | 0 | 1070 | 1 | 9.2667 | 1.5874 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 4.3012 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.53453 | 0.54008 | No | 0.157 | 0.066497 | 0.22349 | 0.0001 | 7 | Electric Furnace with No CAC | Manual | kW | 11.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 5.6856 | 0.001 | 100 | SITE_00327-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 2233.9515 | SITE_00327-2020-MISC | 0
SITE_00327-2020__It_4 | 6 | USA_WA_Pullman-Moscow-Rgnl-AP.727857_AMY_2020EPW | 0 | 1070 | 1 | 9.2667 | 1.5874 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 4.3012 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.53453 | 0.54008 | No | 0.157 | 0.066497 | 0.22349 | 0.0001 | 7 | Electric Furnace with No CAC | Manual | kW | 11.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 5.6856 | 0.001 | 100 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 2233.9515 | SITE_00327-2020-MISC | 0
SITE_00327-2020__It_5 | 6 | USA_WA_Pullman-Moscow-Rgnl-AP.727857_AMY_2020EPW | 0 | 1070 | 1 | 9.2667 | 1.5874 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 4.3012 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 30 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.53453 | 0.54008 | No | 0.157 | 0.066497 | 0.22349 | 0.0001 | 7 | Electric Furnace with No CAC | Manual | kW | 11.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 5.6856 | 0.001 | 100 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 2233.9515 | SITE_00327-2020-MISC | 0
SITE_00327-2020_It_1 | 6 | USA_WA_Pullman-Moscow-Rgnl-AP.727857_AMY_2020EPW | 0 | 1070 | 1 | 9.2667 | 1.5874 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 30 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.53453 | 0.54008 | No | 0.157 | 0.066497 | 0.22349 | 0.0001 | 7 | Electric Furnace with No CAC | Manual | kW | 11.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 5.6856 | 0.001 | 100 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 2233.9515 | SITE_00327-2020-MISC | 0
SITE_00411-2020__It_2 | 6 | USA_ID_Twin-Falls-Magic-Valley-Rgnl-AP-Joslin-Field.725866_AMY_2020EPW | 0 | 1656 | 1 | 9.2251 | 0.89355 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.8173 | 0 | 2.6329 | 0 | 2.0929 | No | 0.52177 | 0.6625 | No | 0.06597 | 0.089372 | 0.088126 | 0.067215 | 6 | Electric Furnace with No CAC | Manual | kW | 19.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 6.9086 | 0.001 | 100 | SITE_00411-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3024.8716 | SITE_00411-2020-MISC | 0
SITE_00411-2020__It_3 | 6 | USA_ID_Twin-Falls-Magic-Valley-Rgnl-AP-Joslin-Field.725866_AMY_2020EPW | 0 | 1656 | 1 | 9.2251 | 0.89355 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.8173 | 0 | 2.6329 | 0 | 2.0929 | No | 0.52177 | 0.6625 | No | 0.06597 | 0.089372 | 0.088126 | 0.067215 | 6 | Electric Furnace with No CAC | Manual | kW | 19.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 6.9086 | 0.001 | 100 | SITE_00411-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3024.8716 | SITE_00411-2020-MISC | 0
SITE_00411-2020__It_4 | 6 | USA_ID_Twin-Falls-Magic-Valley-Rgnl-AP-Joslin-Field.725866_AMY_2020EPW | 0 | 1656 | 1 | 9.2251 | 0.89355 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 39 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.8173 | 0 | 2.6329 | 0 | 2.0929 | No | 0.52177 | 0.6625 | No | 0.06597 | 0.089372 | 0.088126 | 0.067215 | 6 | Electric Furnace with No CAC | Manual | kW | 19.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 6.9086 | 0.001 | 100 | SITE_00411-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3024.8716 | SITE_00411-2020-MISC | 0
SITE_00411-2020__It_5 | 6 | USA_ID_Twin-Falls-Magic-Valley-Rgnl-AP-Joslin-Field.725866_AMY_2020EPW | 0 | 1656 | 1 | 9.2251 | 0.89355 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 39 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.8173 | 0 | 2.6329 | 0 | 2.0929 | No | 0.25 | 0.4 | No | 0.06597 | 0.089372 | 0.088126 | 0.067215 | 6 | Electric Furnace with No CAC | Manual | kW | 19.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 6.9086 | 0.001 | 100 | SITE_00411-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3024.8716 | SITE_00411-2020-MISC | 0
SITE_00411-2020_It_1 | 6 | USA_ID_Twin-Falls-Magic-Valley-Rgnl-AP-Joslin-Field.725866_AMY_2020EPW | 0 | 1656 | 1 | 9.2251 | 0.89355 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 39 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.8173 | 0 | 2.6329 | 0 | 2.0929 | No | 0.25 | 0.4 | No | 0.06597 | 0.089372 | 0.088126 | 0.067215 | 6 | Electric Furnace with No CAC | Manual | kW | 19.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 6.9086 | 0.001 | 100 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3024.8716 | SITE_00411-2020-MISC | 0
SITE_00569-2020__It_2 | 6 | USA_OR_Crater-Lake-Klamath-Rgnl-AP.725895_AMY_2020EPW | 0 | 1311 | 2 | 6.6553 | 1.6766 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 12.632 | Yes | Foundation Type with Effective R-Values | 0 | Heated Basement | 4.7448 | 10 | 0 | 0 | 2.8652 | No | 0.53117 | 0.59846 | No | 0.26346 | 0.22417 | 0.43785 | 0.049778 | 5.7942 | Electric Furnace with No CAC | Manual | kW | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 6 | 0.14 | 6 | SITE_00569-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 2440.7311 | SITE_00569-2020-MISC | 0
SITE_00569-2020__It_3 | 6 | USA_OR_Crater-Lake-Klamath-Rgnl-AP.725895_AMY_2020EPW | 0 | 1311 | 2 | 6.6553 | 1.6766 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 12.632 | Yes | Foundation Type with Effective R-Values | 0 | Heated Basement | 4.7448 | 10 | 0 | 0 | 2.8652 | No | 0.53117 | 0.59846 | No | 0.26346 | 0.22417 | 0.43785 | 0.049778 | 5.7942 | Electric Furnace with No CAC | Manual | kW | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 6 | 0.09 | 6 | SITE_00569-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 2440.7311 | SITE_00569-2020-MISC | 0
SITE_00569-2020__It_4 | 6 | USA_OR_Crater-Lake-Klamath-Rgnl-AP.725895_AMY_2020EPW | 0 | 1311 | 2 | 6.6553 | 1.6766 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 30 | Yes | Foundation Type with Effective R-Values | 0 | Heated Basement | 4.7448 | 10 | 0 | 0 | 2.8652 | No | 0.53117 | 0.59846 | No | 0.26346 | 0.22417 | 0.43785 | 0.049778 | 5.7942 | Electric Furnace with No CAC | Manual | kW | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 6 | 0.09 | 6 | SITE_00569-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 2440.7311 | SITE_00569-2020-MISC | 0
SITE_00569-2020__It_5 | 6 | USA_OR_Crater-Lake-Klamath-Rgnl-AP.725895_AMY_2020EPW | 0 | 1311 | 2 | 6.6553 | 1.6766 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 30 | Yes | Foundation Type with Effective R-Values | 0 | Heated Basement | 4.7448 | 10 | 0 | 0 | 2.8652 | No | 0.53117 | 0.59846 | No | 0.26346 | 0.22417 | 0.43785 | 0.049778 | 5.7942 | Electric Furnace with No CAC | Manual | kW | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 6 | 0.09 | 6 | SITE_00569-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 2440.7311 | SITE_00569-2020-MISC | 0
SITE_00569-2020_It_1 | 6 | USA_OR_Crater-Lake-Klamath-Rgnl-AP.725895_AMY_2020EPW | 0 | 1311 | 2 | 6.6553 | 1.6766 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 30 | Yes | Foundation Type with Effective R-Values | 0 | Heated Basement | 4.7448 | 10 | 0 | 0 | 5 | No | 0.53117 | 0.59846 | No | 0.26346 | 0.22417 | 0.43785 | 0.049778 | 5.7942 | Electric Furnace with No CAC | Manual | kW | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 6 | 0.09 | 6 | SITE_00569-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 2440.7311 | SITE_00569-2020-MISC | 0
SITE_00595-2020__It_2 | 6 | USA_WA_Walla-Walla-Rgnl-AP.727846_AMY_2020EPW | 0 | 1948 | 1 | 7.6008 | 0.52773 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 13.4517 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 39.8831 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.68813 | No | 0.0001 | 0.34671 | 0.12151 | 0.22521 | 7 | Electric Furnace with No CAC | Manual | kW | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 15.8882 | 0.001 | 100 | SITE_00595-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3485.1291 | SITE_00595-2020-MISC | 0
SITE_00595-2020__It_3 | 6 | USA_WA_Walla-Walla-Rgnl-AP.727846_AMY_2020EPW | 0 | 1948 | 1 | 7.6008 | 0.52773 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 13.4517 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 39.8831 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.68813 | No | 0.0001 | 0.34671 | 0.12151 | 0.22521 | 7 | Electric Furnace with No CAC | Manual | kW | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.09 | 15.8882 | 0.001 | 100 | SITE_00595-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3485.1291 | SITE_00595-2020-MISC | 0
SITE_00595-2020__It_4 | 6 | USA_WA_Walla-Walla-Rgnl-AP.727846_AMY_2020EPW | 0 | 1948 | 1 | 7.6008 | 0.52773 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 13.4517 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 39.8831 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.68813 | No | 0.0001 | 0.34671 | 0.12151 | 0.22521 | 6 | Electric Furnace with No CAC | Manual | kW | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.09 | 15.8882 | 0.001 | 100 | SITE_00595-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3485.1291 | SITE_00595-2020-MISC | 0
SITE_00595-2020__It_5 | 6 | USA_WA_Walla-Walla-Rgnl-AP.727846_AMY_2020EPW | 0 | 1948 | 1 | 7.6008 | 0.52773 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 13.4517 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 39.8831 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.25 | 0.4 | No | 0.0001 | 0.34671 | 0.12151 | 0.22521 | 6 | Electric Furnace with No CAC | Manual | kW | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.09 | 15.8882 | 0.001 | 100 | SITE_00595-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3485.1291 | SITE_00595-2020-MISC | 0
SITE_00595-2020_It_1 | 6 | USA_WA_Walla-Walla-Rgnl-AP.727846_AMY_2020EPW | 0 | 1948 | 1 | 7.6008 | 0.52773 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 13.4517 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 39.8831 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.25 | 0.4 | No | 0.0001 | 0.34671 | 0.12151 | 0.22521 | 6 | Electric Furnace with No CAC | Manual | kW | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.09 | 15.8882 | 0.001 | 100 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3485.1291 | SITE_00595-2020-MISC | 0
SITE_00650-2020__It_2 | 6 | USA_WA_Spokane-Fairchild-AFB.727855_AMY_2020EPW | 0 | 891 | 1 | 9.6151 | 0.57237 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.059722 | 0.059954 | 0.059904 | 0.059772 | 9 | Electric Furnace with No CAC | Manual | kW | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 10.8288 | 0.001 | 100 | SITE_00650-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3999.9611 | SITE_00650-2020-MISC | 0
SITE_00650-2020__It_3 | 6 | USA_WA_Spokane-Fairchild-AFB.727855_AMY_2020EPW | 0 | 891 | 1 | 9.6151 | 0.57237 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.059722 | 0.059954 | 0.059904 | 0.059772 | 9 | Electric Furnace with No CAC | Manual | kW | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 10.8288 | 0.001 | 100 | SITE_00650-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3999.9611 | SITE_00650-2020-MISC | 0
SITE_00650-2020__It_4 | 6 | USA_WA_Spokane-Fairchild-AFB.727855_AMY_2020EPW | 0 | 891 | 1 | 9.6151 | 0.57237 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.059722 | 0.059954 | 0.059904 | 0.059772 | 11 | Electric Furnace with No CAC | Manual | kW | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 10.8288 | 0.001 | 100 | SITE_00650-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3999.9611 | SITE_00650-2020-MISC | 0
SITE_00650-2020__It_5 | 6 | USA_WA_Spokane-Fairchild-AFB.727855_AMY_2020EPW | 0 | 891 | 1 | 9.6151 | 0.57237 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.059722 | 0.059954 | 0.059904 | 0.059772 | 11 | Electric Furnace with No CAC | Manual | kW | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 10.8288 | 0.001 | 100 | SITE_00650-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3999.9611 | SITE_00650-2020-MISC | 0
SITE_00650-2020_It_1 | 6 | USA_WA_Spokane-Fairchild-AFB.727855_AMY_2020EPW | 0 | 891 | 1 | 9.6151 | 0.57237 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.059722 | 0.059954 | 0.059904 | 0.059772 | 13 | Electric Furnace with No CAC | Manual | kW | 14.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 10.8288 | 0.001 | 100 | SITE_00650-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 5 | 0 | 0 | No | No | No | No | No | 3999.9611 | SITE_00650-2020-MISC | 0
SITE_00651-2020__It_2 | 6 | USA_WA_Spokane-Intl-AP.727850_AMY_2020EPW | 0 | 1078 | 1 | 10.9979 | 0.86783 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.6358 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 43.1022 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.0001 | 0.14393 | 0.0001 | 0.14393 | 7 | Electric Furnace with CAC (14 SEER) | Manual | kW | 17.1 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 21.5511 | 0.001 | 100 | SITE_00651-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2355.7737 | SITE_00651-2020-MISC | 0
SITE_00651-2020__It_3 | 6 | USA_WA_Spokane-Intl-AP.727850_AMY_2020EPW | 0 | 1078 | 1 | 10.9979 | 0.86783 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.6358 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 30 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 43.1022 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.0001 | 0.14393 | 0.0001 | 0.14393 | 8.5964 | Electric Furnace with CAC (14 SEER) | Manual | kW | 17.1 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 21.5511 | 0.001 | 100 | SITE_00651-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2355.7737 | SITE_00651-2020-MISC | 0
SITE_00651-2020__It_4 | 6 | USA_WA_Spokane-Intl-AP.727850_AMY_2020EPW | 0 | 1078 | 1 | 10.9979 | 0.86783 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.6358 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 30 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 43.1022 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.0001 | 0.14393 | 0.0001 | 0.14393 | 7 | Electric Furnace with CAC (14 SEER) | Manual | kW | 17.1 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 21.5511 | 0.001 | 100 | SITE_00651-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2355.7737 | SITE_00651-2020-MISC | 0
SITE_00651-2020__It_5 | 6 | USA_WA_Spokane-Intl-AP.727850_AMY_2020EPW | 0 | 1078 | 1 | 10.9979 | 0.86783 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.6358 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 43.1022 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.0001 | 0.14393 | 0.0001 | 0.14393 | 8.5964 | Electric Furnace with CAC (14 SEER) | Manual | kW | 17.1 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 21.5511 | 0.001 | 100 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2355.7737 | SITE_00651-2020-MISC | 0
SITE_00651-2020_It_1 | 6 | USA_WA_Spokane-Intl-AP.727850_AMY_2020EPW | 0 | 1078 | 1 | 10.9979 | 0.86783 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.6358 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 43.1022 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.0001 | 0.14393 | 0.0001 | 0.14393 | 7 | Electric Furnace with CAC (14 SEER) | Manual | kW | 17.1 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 21.5511 | 0.001 | 100 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2355.7737 | SITE_00651-2020-MISC | 0
SITE_00726-2020__It_2 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2020EPW | 0 | 770 | 1 | 9.2323 | 0.75367 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.1432 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 15.7301 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 15.0296 | 0 | 0 | 0 | 2.0929 | No | 0.75389 | 0.75386 | No | 0.072191 | 0.088209 | 0.0001 | 0.1604 | 10 | Electric Furnace with CAC (14 SEER) | Manual | kW | 16.2 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 7.5148 | 0.001 | 100 | SITE_00726-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1352.6744 | SITE_00726-2020-MISC | 0
SITE_00726-2020__It_3 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2020EPW | 0 | 770 | 1 | 9.2323 | 0.75367 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.1432 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 15.7301 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 15.0296 | 0 | 0 | 0 | 2.0929 | No | 0.75389 | 0.75386 | No | 0.072191 | 0.088209 | 0.0001 | 0.1604 | 12 | Electric Furnace with CAC (14 SEER) | Manual | kW | 16.2 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 7.5148 | 0.001 | 100 | SITE_00726-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1352.6744 | SITE_00726-2020-MISC | 0
SITE_00726-2020__It_4 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2020EPW | 0 | 770 | 1 | 9.2323 | 0.75367 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.1432 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 15.7301 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 15.0296 | 0 | 0 | 0 | 2.0929 | No | 0.75389 | 0.75386 | No | 0.072191 | 0.088209 | 0.0001 | 0.1604 | 10 | Electric Furnace with CAC (14 SEER) | Manual | kW | 16.2 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.25 | 7.5148 | 0.001 | 100 | SITE_00726-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1352.6744 | SITE_00726-2020-MISC | 0
SITE_00726-2020__It_5 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2020EPW | 0 | 770 | 1 | 9.2323 | 0.75367 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.1432 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 15.7301 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 15.0296 | 0 | 0 | 0 | 2.0929 | No | 0.75389 | 0.75386 | No | 0.072191 | 0.088209 | 0.0001 | 0.1604 | 12 | Electric Furnace with CAC (14 SEER) | Manual | kW | 16.2 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.25 | 7.5148 | 0.001 | 100 | SITE_00726-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1352.6744 | SITE_00726-2020-MISC | 0
SITE_00726-2020_It_1 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2020EPW | 0 | 770 | 1 | 9.2323 | 0.75367 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.1432 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 15.7301 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 15.0296 | 0 | 0 | 0 | 2.0929 | No | 0.75389 | 0.75386 | No | 0.072191 | 0.088209 | 0.0001 | 0.1604 | 8.5964 | Electric Furnace with CAC (14 SEER) | Manual | kW | 16.2 | ton | 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 7.5148 | 0.001 | 100 | Heat_EZ_Sch_1 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1352.6744 | SITE_00726-2020-MISC | 0
SITE_00908-2020__It_2 | 6 | USA_MT_Missoula-Intl-AP.727730_AMY_2020EPW | 0 | 1178 | 1 | 9.8379 | 0.49293 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 20.6992 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 7.1346 | No | 0.52177 | 0.54008 | No | 0.26772 | 0.03234 | 0.18743 | 0.11263 | 10 | Electric Furnace with No CAC | Manual | kW | 21.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 10.8288 | 0.001 | 100 | SITE_00908-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 3048.042 | SITE_00908-2020-MISC | 0
SITE_00908-2020__It_3 | 6 | USA_MT_Missoula-Intl-AP.727730_AMY_2020EPW | 0 | 1178 | 1 | 9.8379 | 0.49293 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 20.6992 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 7.1346 | No | 0.52177 | 0.54008 | No | 0.26772 | 0.03234 | 0.18743 | 0.11263 | 11 | Electric Furnace with No CAC | Manual | kW | 21.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 10.8288 | 0.001 | 100 | SITE_00908-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 3048.042 | SITE_00908-2020-MISC | 0
SITE_00908-2020__It_4 | 6 | USA_MT_Missoula-Intl-AP.727730_AMY_2020EPW | 0 | 1178 | 1 | 9.8379 | 0.49293 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 20.6992 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 7.1346 | No | 0.52177 | 0.54008 | No | 0.26772 | 0.03234 | 0.18743 | 0.11263 | 12 | Electric Furnace with No CAC | Manual | kW | 21.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 10.8288 | 0.001 | 100 | SITE_00908-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 3048.042 | SITE_00908-2020-MISC | 0
SITE_00908-2020__It_5 | 6 | USA_MT_Missoula-Intl-AP.727730_AMY_2020EPW | 0 | 1178 | 1 | 9.8379 | 0.49293 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 20.6992 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 7.1346 | No | 0.52177 | 0.54008 | No | 0.26772 | 0.03234 | 0.18743 | 0.11263 | 10 | Electric Furnace with No CAC | Manual | kW | 21.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 10.8288 | 0.001 | 100 | SITE_00908-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 3048.042 | SITE_00908-2020-MISC | 0
SITE_00908-2020_It_1 | 6 | USA_MT_Missoula-Intl-AP.727730_AMY_2020EPW | 0 | 1178 | 1 | 9.8379 | 0.49293 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 20.6992 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 7.1346 | No | 0.52177 | 0.54008 | No | 0.26772 | 0.03234 | 0.18743 | 0.11263 | 11 | Electric Furnace with No CAC | Manual | kW | 21.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 10.8288 | 0.001 | 100 | SITE_00908-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 3048.042 | SITE_00908-2020-MISC | 0
SITE_01208-2020__It_2 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2020EPW | 0 | 899 | 1.5 | 13.1265 | 0.87203 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 23.3743 | Yes | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 2.6329 | 0 | 0 | No | 0.53487 | 0.58024 | No | 0.1858 | 0.0001 | 0.1858 | 0.0001 | 8 | Electric Furnace with No CAC | Manual | kW | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 0.39253 | 0.1399 | 0.78506 | SITE_01208-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 4051.63 | SITE_01208-2020-MISC | 0
SITE_01208-2020__It_3 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2020EPW | 0 | 899 | 1.5 | 13.1265 | 0.87203 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 23.3743 | Yes | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 2.6329 | 0 | 0 | No | 0.53487 | 0.58024 | No | 0.1858 | 0.0001 | 0.1858 | 0.0001 | 7.5 | Electric Furnace with No CAC | Manual | kW | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 0.39253 | 0.1399 | 0.78506 | SITE_01208-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 4051.63 | SITE_01208-2020-MISC | 0
SITE_01208-2020__It_4 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2020EPW | 0 | 899 | 1.5 | 13.1265 | 0.87203 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 23.3743 | Yes | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 2.6329 | 0 | 0 | No | 0.53487 | 0.58024 | No | 0.1858 | 0.0001 | 0.1858 | 0.0001 | 7 | Electric Furnace with No CAC | Manual | kW | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 0.39253 | 0.1399 | 0.78506 | SITE_01208-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 4051.63 | SITE_01208-2020-MISC | 0
SITE_01208-2020__It_5 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2020EPW | 0 | 899 | 1.5 | 13.1265 | 0.87203 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 23.3743 | Yes | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 2.6329 | 0 | 0 | No | 0.53487 | 0.58024 | No | 0.1858 | 0.0001 | 0.1858 | 0.0001 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 1 | 0.1399 | 1 | SITE_01208-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 4051.63 | SITE_01208-2020-MISC | 0
SITE_01208-2020_It_1 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2020EPW | 0 | 899 | 1.5 | 13.1265 | 0.87203 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 23.3743 | Yes | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 2.6329 | 0 | 0 | No | 0.53487 | 0.58024 | No | 0.1858 | 0.0001 | 0.1858 | 0.0001 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.091605 | 1 | 0.09 | 1 | SITE_01208-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 4051.63 | SITE_01208-2020-MISC | 0
SITE_01764-2020__It_2 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2020EPW | 0 | 764 | 1 | 7.4675 | 0.68886 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.4907 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 4.707 | 0 | 0 | 0 | 2.0929 | No | 1.0574 | 0.7751 | No | 0.19798 | 0.0058373 | 0.10608 | 0.097735 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 4.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 2.3535 | 0.001 | 100 | SITE_01764-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 4696.7647 | SITE_01764-2020-MISC | 0
SITE_01764-2020__It_3 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2020EPW | 0 | 764 | 1 | 7.4675 | 0.68886 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.4907 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 4.707 | 0 | 0 | 0 | 2.0929 | No | 1.0574 | 0.7751 | No | 0.19798 | 0.0058373 | 0.10608 | 0.097735 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 4.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 4 | 0.001 | 100 | SITE_01764-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 4696.7647 | SITE_01764-2020-MISC | 0
SITE_01764-2020__It_4 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2020EPW | 0 | 764 | 1 | 7.4675 | 0.68886 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.4907 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 4.707 | 0 | 0 | 0 | 2.0929 | No | 1.0574 | 0.7751 | No | 0.19798 | 0.0058373 | 0.10608 | 0.097735 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 4.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 4 | 0.001 | 100 | SITE_01764-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 4696.7647 | SITE_01764-2020-MISC | 0
SITE_01764-2020__It_5 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2020EPW | 0 | 764 | 1 | 7.4675 | 0.68886 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.4907 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 4.707 | 0 | 0 | 0 | 2.0929 | No | 1.0574 | 0.7751 | No | 0.19798 | 0.0058373 | 0.10608 | 0.097735 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 4.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 2.3535 | 0.001 | 100 | Heat_EZ_Sch_2 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 4696.7647 | SITE_01764-2020-MISC | 0
SITE_01764-2020_It_1 | 6 | USA_WA_Everett-Paine.Field-Snohomish.County.AP.727937_AMY_2020EPW | 0 | 764 | 1 | 7.4675 | 0.68886 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.4907 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 4.707 | 0 | 0 | 0 | 2.0929 | No | 1.0574 | 0.7751 | No | 0.19798 | 0.0058373 | 0.10608 | 0.097735 | 8.5964 | Electric Furnace with No CAC | Manual | kW | 4.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 4 | 0.001 | 100 | Heat_EZ_Sch_2 | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 4696.7647 | SITE_01764-2020-MISC | 0
SITE_01838-2020__It_2 | 6 | USA_OR_Eugene-AP-Sweet-Field.726930_AMY_2020EPW | 0 | 1300 | 1 | 7.1418 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.52706 | 0.54008 | No | 0.10042 | 0.14653 | 0.1425 | 0.096295 | 5.4038 | Electric Furnace with No CAC | Manual | kW | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 6 | 0.001 | 100 | SITE_01838-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 4669.3774 | SITE_01838-2020-MISC | 0
SITE_01838-2020__It_3 | 6 | USA_OR_Eugene-AP-Sweet-Field.726930_AMY_2020EPW | 0 | 1300 | 1 | 7.1418 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.52706 | 0.54008 | No | 0.10042 | 0.14653 | 0.1425 | 0.096295 | 5.4038 | Electric Furnace with No CAC | Manual | kW | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 11.7943 | 0.001 | 100 | SITE_01838-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 4669.3774 | SITE_01838-2020-MISC | 0
SITE_01838-2020__It_4 | 6 | USA_OR_Eugene-AP-Sweet-Field.726930_AMY_2020EPW | 0 | 1300 | 1 | 7.1418 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.52706 | 0.54008 | No | 0.10042 | 0.14653 | 0.1425 | 0.096295 | 5.4038 | Electric Furnace with No CAC | Manual | kW | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 6 | 0.001 | 100 | SITE_01838-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 4669.3774 | SITE_01838-2020-MISC | 0
SITE_01838-2020__It_5 | 6 | USA_OR_Eugene-AP-Sweet-Field.726930_AMY_2020EPW | 0 | 1300 | 1 | 7.1418 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.52706 | 0.54008 | No | 0.10042 | 0.14653 | 0.1425 | 0.096295 | 6 | Electric Furnace with No CAC | Manual | kW | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 11.7943 | 0.001 | 100 | SITE_01838-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 4669.3774 | SITE_01838-2020-MISC | 0
SITE_01838-2020_It_1 | 6 | USA_OR_Eugene-AP-Sweet-Field.726930_AMY_2020EPW | 0 | 1300 | 1 | 7.1418 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.52706 | 0.54008 | No | 0.10042 | 0.14653 | 0.1425 | 0.096295 | 6.5 | Electric Furnace with No CAC | Manual | kW | 12.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 11.7943 | 0.001 | 100 | SITE_01838-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 4669.3774 | SITE_01838-2020-MISC | 0
SITE_01840-2020__It_2 | 6 | USA_OR_Newport.Muni.AP.726950_AMY_2020EPW | 0 | 1560 | 1 | 8.3224 | 1.4188 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.469 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.5245 | 0.54008 | No | 0.064772 | 0.19755 | 0.036942 | 0.22538 | 4.8008 | Electric Furnace with No CAC | Manual | kW | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 11.7943 | 0.001 | 100 | SITE_01840-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 2329.5369 | SITE_01840-2020-MISC | 0
SITE_01840-2020__It_3 | 6 | USA_OR_Newport.Muni.AP.726950_AMY_2020EPW | 0 | 1560 | 1 | 8.3224 | 1.4188 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.469 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.5245 | 0.54008 | No | 0.064772 | 0.19755 | 0.036942 | 0.22538 | 5.5 | Electric Furnace with No CAC | Manual | kW | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 11.7943 | 0.001 | 100 | SITE_01840-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 2329.5369 | SITE_01840-2020-MISC | 0
SITE_01840-2020__It_4 | 6 | USA_OR_Newport.Muni.AP.726950_AMY_2020EPW | 0 | 1560 | 1 | 8.3224 | 1.4188 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.469 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.5245 | 0.54008 | No | 0.064772 | 0.19755 | 0.036942 | 0.22538 | 6 | Electric Furnace with No CAC | Manual | kW | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 11.7943 | 0.001 | 100 | SITE_01840-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 2329.5369 | SITE_01840-2020-MISC | 0
SITE_01840-2020__It_5 | 6 | USA_OR_Newport.Muni.AP.726950_AMY_2020EPW | 0 | 1560 | 1 | 8.3224 | 1.4188 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.469 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.5245 | 0.54008 | No | 0.064772 | 0.19755 | 0.036942 | 0.22538 | 5.5 | Electric Furnace with No CAC | Manual | kW | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.2 | 11.7943 | 0.001 | 100 | SITE_01840-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 2329.5369 | SITE_01840-2020-MISC | 0
SITE_01840-2020_It_1 | 6 | USA_OR_Newport.Muni.AP.726950_AMY_2020EPW | 0 | 1560 | 1 | 8.3224 | 1.4188 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.469 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 23.5886 | 0 | 0 | 0 | 2.0929 | No | 0.5245 | 0.54008 | No | 0.064772 | 0.19755 | 0.036942 | 0.22538 | 6 | Electric Furnace with No CAC | Manual | kW | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.2 | 11.7943 | 0.001 | 100 | SITE_01840-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 2329.5369 | SITE_01840-2020-MISC | 0
SITE_01855-2020__It_2 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2020EPW | 0 | 1248 | 1 | 6.9948 | 2.1753 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 20.8919 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.72644 | No | 0.0001 | 0.19149 | 0.14176 | 0.049739 | 8 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 10.446 | 0.001 | 100 | SITE_01855-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1622.4567 | SITE_01855-2020-MISC | 0
SITE_01855-2020__It_3 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2020EPW | 0 | 1248 | 1 | 6.9948 | 2.1753 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 20.8919 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.72644 | No | 0.0001 | 0.19149 | 0.14176 | 0.049739 | 7.5 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 10.446 | 0.001 | 100 | SITE_01855-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1622.4567 | SITE_01855-2020-MISC | 0
SITE_01855-2020__It_4 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2020EPW | 0 | 1248 | 1 | 6.9948 | 2.1753 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 20.8919 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.72644 | No | 0.0001 | 0.19149 | 0.14176 | 0.049739 | 7 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12716 | 10.446 | 0.001 | 100 | SITE_01855-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1622.4567 | SITE_01855-2020-MISC | 0
SITE_01855-2020__It_5 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2020EPW | 0 | 1248 | 1 | 6.9948 | 2.1753 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 20.8919 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.72644 | No | 0.0001 | 0.19149 | 0.14176 | 0.049739 | 8 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 10.446 | 0.001 | 100 | SITE_01855-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1622.4567 | SITE_01855-2020-MISC | 0
SITE_01855-2020_It_1 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2020EPW | 0 | 1248 | 1 | 6.9948 | 2.1753 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 20.8919 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.72644 | No | 0.0001 | 0.19149 | 0.14176 | 0.049739 | 7.5 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 10.446 | 0.001 | 100 | SITE_01855-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1622.4567 | SITE_01855-2020-MISC | 0
SITE_01863-2020__It_2 | 6 | USA_OR_Roseburg-Rgnl-AP-Carl-Meml-Field.726904_AMY_2020EPW | 0 | 810 | 1 | 9.2313 | 0.53571 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.0206 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 9.3223 | 0 | 0 | 0 | 2.0929 | No | 1.096 | 0.54895 | No | 0.10892 | 0.058215 | 0.11815 | 0.048985 | 9 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 4.6611 | 0.001 | 100 | SITE_01863-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 3259.2514 | SITE_01863-2020-MISC | 0
SITE_01863-2020__It_3 | 6 | USA_OR_Roseburg-Rgnl-AP-Carl-Meml-Field.726904_AMY_2020EPW | 0 | 810 | 1 | 9.2313 | 0.53571 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.0206 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 9.3223 | 0 | 0 | 0 | 2.0929 | No | 1.096 | 0.54895 | No | 0.10892 | 0.058215 | 0.11815 | 0.048985 | 9.5 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 4.6611 | 0.001 | 100 | SITE_01863-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 3259.2514 | SITE_01863-2020-MISC | 0
SITE_01863-2020__It_4 | 6 | USA_OR_Roseburg-Rgnl-AP-Carl-Meml-Field.726904_AMY_2020EPW | 0 | 810 | 1 | 9.2313 | 0.53571 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.0206 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 9.3223 | 0 | 0 | 0 | 2.0929 | No | 1.096 | 0.54895 | No | 0.10892 | 0.058215 | 0.11815 | 0.048985 | 10 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 4.6611 | 0.001 | 100 | SITE_01863-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 3259.2514 | SITE_01863-2020-MISC | 0
SITE_01863-2020__It_5 | 6 | USA_OR_Roseburg-Rgnl-AP-Carl-Meml-Field.726904_AMY_2020EPW | 0 | 810 | 1 | 9.2313 | 0.53571 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.0206 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 9.3223 | 0 | 0 | 0 | 2.0929 | No | 1.096 | 0.54895 | No | 0.10892 | 0.058215 | 0.11815 | 0.048985 | 9.5 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.22 | 4.6611 | 0.001 | 100 | SITE_01863-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 3259.2514 | SITE_01863-2020-MISC | 0
SITE_01863-2020_It_1 | 6 | USA_OR_Roseburg-Rgnl-AP-Carl-Meml-Field.726904_AMY_2020EPW | 0 | 810 | 1 | 9.2313 | 0.53571 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.0206 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 9.3223 | 0 | 0 | 0 | 2.0929 | No | 1.096 | 0.54895 | No | 0.10892 | 0.058215 | 0.11815 | 0.048985 | 10 | Electric Furnace with No CAC | Manual | kW | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.22 | 4.6611 | 0.001 | 100 | SITE_01863-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 3259.2514 | SITE_01863-2020-MISC | 0
SITE_01895-2020__It_2 | 6 | USA_WA_Puyallup-Pierce.County.AP-Thun.Field.720388_AMY_2020EPW | 0 | 1000 | 1 | 8.4027 | 1.7529 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.52775 | 0.71149 | No | 0.069572 | 0.089213 | 0.074376 | 0.08441 | 8 | Electric Furnace with No CAC | Manual | kW | 16.3429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | SITE_01895-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 1797.9322 | SITE_01895-2020-MISC | 0
SITE_01895-2020__It_3 | 6 | USA_WA_Puyallup-Pierce.County.AP-Thun.Field.720388_AMY_2020EPW | 0 | 1000 | 1 | 8.4027 | 1.7529 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.52775 | 0.71149 | No | 0.069572 | 0.089213 | 0.074376 | 0.08441 | 7.5 | Electric Furnace with No CAC | Manual | kW | 16.3429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | SITE_01895-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 1797.9322 | SITE_01895-2020-MISC | 0
SITE_01895-2020__It_4 | 6 | USA_WA_Puyallup-Pierce.County.AP-Thun.Field.720388_AMY_2020EPW | 0 | 1000 | 1 | 8.4027 | 1.7529 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.52775 | 0.71149 | No | 0.069572 | 0.089213 | 0.074376 | 0.08441 | 7 | Electric Furnace with No CAC | Manual | kW | 16.3429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | SITE_01895-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 1797.9322 | SITE_01895-2020-MISC | 0
SITE_01895-2020__It_5 | 6 | USA_WA_Puyallup-Pierce.County.AP-Thun.Field.720388_AMY_2020EPW | 0 | 1000 | 1 | 8.4027 | 1.7529 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.52775 | 0.71149 | No | 0.069572 | 0.089213 | 0.074376 | 0.08441 | 7.5 | Electric Furnace with No CAC | Manual | kW | 16.3429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 10 | 0.001 | 100 | SITE_01895-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 1797.9322 | SITE_01895-2020-MISC | 0
SITE_01895-2020_It_1 | 6 | USA_WA_Puyallup-Pierce.County.AP-Thun.Field.720388_AMY_2020EPW | 0 | 1000 | 1 | 8.4027 | 1.7529 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.52775 | 0.71149 | No | 0.069572 | 0.089213 | 0.074376 | 0.08441 | 7 | Electric Furnace with No CAC | Manual | kW | 16.3429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1 | 10 | 0.001 | 100 | SITE_01895-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 1797.9322 | SITE_01895-2020-MISC | 0
SITE_01918-2020__It_2 | 6 | USA_WA_Tacoma-Narrows-AP.727938_AMY_2020EPW | 0 | 1081 | 1 | 7.8374 | 1.4713 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.516 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 10.5746 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3147 | 0 | 0 | 0 | 2.2768 | No | 0.52177 | 0.54008 | No | 0.089278 | 0.15216 | 0.16698 | 0.074462 | 12 | Electric Furnace with No CAC | Manual | kW | 14.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 5.6574 | 0.001 | 100 | SITE_01918-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1839.7358 | SITE_01918-2020-MISC | 0
SITE_01918-2020__It_3 | 6 | USA_WA_Tacoma-Narrows-AP.727938_AMY_2020EPW | 0 | 1081 | 1 | 7.8374 | 1.4713 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.516 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 10.5746 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3147 | 0 | 0 | 0 | 2.2768 | No | 0.52177 | 0.54008 | No | 0.089278 | 0.15216 | 0.16698 | 0.074462 | 11 | Electric Furnace with No CAC | Manual | kW | 14.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.17053 | 5.6574 | 0.001 | 100 | SITE_01918-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1839.7358 | SITE_01918-2020-MISC | 0
SITE_01918-2020__It_4 | 6 | USA_WA_Tacoma-Narrows-AP.727938_AMY_2020EPW | 0 | 1081 | 1 | 7.8374 | 1.4713 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.516 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 10.5746 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3147 | 0 | 0 | 0 | 2.2768 | No | 0.52177 | 0.54008 | No | 0.089278 | 0.15216 | 0.16698 | 0.074462 | 12 | Electric Furnace with No CAC | Manual | kW | 14.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12 | 5.6574 | 0.001 | 100 | SITE_01918-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1839.7358 | SITE_01918-2020-MISC | 0
SITE_01918-2020__It_5 | 6 | USA_WA_Tacoma-Narrows-AP.727938_AMY_2020EPW | 0 | 1081 | 1 | 7.8374 | 1.4713 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.516 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 10.5746 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3147 | 0 | 0 | 0 | 2.2768 | No | 0.52177 | 0.54008 | No | 0.089278 | 0.15216 | 0.16698 | 0.074462 | 11 | Electric Furnace with No CAC | Manual | kW | 14.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12 | 5.6574 | 0.001 | 100 | SITE_01918-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1839.7358 | SITE_01918-2020-MISC | 0
SITE_01918-2020_It_1 | 6 | USA_WA_Tacoma-Narrows-AP.727938_AMY_2020EPW | 0 | 1081 | 1 | 7.8374 | 1.4713 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.516 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 10.5746 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3147 | 0 | 0 | 0 | 2.2768 | No | 0.52177 | 0.54008 | No | 0.089278 | 0.15216 | 0.16698 | 0.074462 | 11 | Electric Furnace with No CAC | Manual | kW | 14.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.12 | 10 | 0.001 | 100 | SITE_01918-2020-HVAC | Cool_EZ_Sch_1 | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1839.7358 | SITE_01918-2020-MISC | 0

## Run Characteristics
EnergyPlus Directory | C:\EnergyPlusV22-2-0\energyplus.exe
Model Input Template Directory | C:\Users\Christian\Repositories\REEDR\Model Input Template.xlsx
Simulation Type | Annual
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 12
Simulation End Day | 31
Output Granularity | Annual
Output End Uses | All_End_Uses
Run Complete Timestamp | 2023-08-03 15:15:49.032044-07:00 US Pacific Time