## Model Out
Date/Time | Month | Day | HOD | Run Label | Outdoor Air Temperature [F] | Living Zone Air Temperature [F] | Fans Elec [W] | ASHP Compressor Heat Elec [W] | ASHP Defrost Elec [W] | ASHP Crankcase Heater Elec [W] | ASHP Backup Heat Elec [W]
01/01 01:00:00 | 01 | 01 | 01 | SITE_00707-2021 | 35.96 | 70.0621 | 223.7566 | 3097.3219 | 198.1978 | 17.8255 | 0
01/01 02:00:00 | 01 | 01 | 02 | SITE_00707-2021 | 37.04 | 70.2366 | 219.8082 | 3059.0746 | 202.2208 | 21.1698 | 0
01/01 03:00:00 | 01 | 01 | 03 | SITE_00707-2021 | 37.04 | 70.2255 | 231.9495 | 3162.1813 | 255.2903 | 10.9959 | 0
01/01 04:00:00 | 01 | 01 | 04 | SITE_00707-2021 | 37.04 | 70.2484 | 235.832 | 3214.5038 | 259.6531 | 7.8316 | 0
01/01 05:00:00 | 01 | 01 | 05 | SITE_00707-2021 | 37.04 | 70.2487 | 241.6033 | 3369.076 | 222.4298 | 3.4362 | 0
01/01 06:00:00 | 01 | 01 | 06 | SITE_00707-2021 | 37.04 | 69.9576 | 223.4696 | 3046.5669 | 246.2562 | 17.9034 | 0
01/01 07:00:00 | 01 | 01 | 07 | SITE_00707-2021 | 37.04 | 69.8401 | 229.9699 | 3124.511 | 253.5051 | 12.6074 | 0
01/01 08:00:00 | 01 | 01 | 08 | SITE_00707-2021 | 37.94 | 70.1471 | 247.5617 | 3329.3038 | 279.2684 | 0 | 166.987
01/01 09:00:00 | 01 | 01 | 09 | SITE_00707-2021 | 37.94 | 70.2723 | 235.8442 | 3354.2911 | 184.3926 | 8.4832 | 0
01/01 10:00:00 | 01 | 01 | 10 | SITE_00707-2021 | 37.94 | 70.3537 | 208.0472 | 3018.6829 | 131.2359 | 31.2358 | 0
01/01 11:00:00 | 01 | 01 | 11 | SITE_00707-2021 | 39.92 | 69.9915 | 183.6871 | 2722.8 | 98.9401 | 51.2443 | 0
01/01 12:00:00 | 01 | 01 | 12 | SITE_00707-2021 | 41 | 69.9057 | 171.0561 | 2588.037 | 65.1328 | 61.6278 | 0
01/01 13:00:00 | 01 | 01 | 13 | SITE_00707-2021 | 42.08 | 70.2557 | 156.0678 | 2602.6319 | 0 | 73.916 | 0
01/01 14:00:00 | 01 | 01 | 14 | SITE_00707-2021 | 41 | 70.2403 | 180.0165 | 2721.2956 | 74.1835 | 54.363 | 0
01/01 15:00:00 | 01 | 01 | 15 | SITE_00707-2021 | 41 | 69.9155 | 165.2119 | 2497.0728 | 68.1409 | 66.3401 | 0
01/01 16:00:00 | 01 | 01 | 16 | SITE_00707-2021 | 41 | 69.8382 | 171.7774 | 2596.2734 | 65.6498 | 61.0437 | 0
01/01 17:00:00 | 01 | 01 | 17 | SITE_00707-2021 | 39.92 | 70.0788 | 206.7539 | 3045.5407 | 111.9577 | 32.5624 | 0
01/01 18:00:00 | 01 | 01 | 18 | SITE_00707-2021 | 39.02 | 70.1841 | 221.7825 | 3214.7935 | 146.4405 | 20.1847 | 0
01/01 19:00:00 | 01 | 01 | 19 | SITE_00707-2021 | 39.92 | 70.2654 | 224.962 | 3130.1318 | 230.6193 | 17.3694 | 0
01/01 20:00:00 | 01 | 01 | 20 | SITE_00707-2021 | 37.04 | 70.2102 | 241.3737 | 3432.4549 | 184.1013 | 3.8808 | 0
01/01 21:00:00 | 01 | 01 | 21 | SITE_00707-2021 | 37.94 | 69.9241 | 229.3274 | 3192.7191 | 220.0164 | 13.5316 | 0
01/01 22:00:00 | 01 | 01 | 22 | SITE_00707-2021 | 42.08 | 70.328 | 177.3589 | 2958.1022 | 0 | 56.7154 | 0
01/01 23:00:00 | 01 | 01 | 23 | SITE_00707-2021 | 42.98 | 70.2369 | 173.514 | 2921.7406 | 0 | 59.8217 | 0
01/01 24:00:00 | 01 | 01 | 24 | SITE_00707-2021 | 39.92 | 69.7085 | 223.6109 | 3251.5004 | 152.6351 | 18.7863 | 0

## Model In
Run Label | Timesteps Per Hour | Weather File | Building Orientation [deg] | Conditioned Footprint Area [ft^2] | Average Number of Stories Above Foundation | Average Ceiling Height Per Story [ft] | Building Width to Depth Ratio | Roof Pitch | Exterior Non-Foundation Wall Input Methd | Exterior Non-Foundation Wall Pre-Defined Constructions | Exterior Non-Foundation Wall Overall Effective R-Value [h-ft^2-F/Btu] | Ceiling And Roof Input Methd | Ceiling And Roof Construction | Ceiling Overall Effective R-Value [h-ft^2-F/Btu] | Attic Vented [Y/N] | Floor and Foundation Input Methd | Foundation And Floor Construction | Foundation Type | Floor Overall Effective R-Value [h-ft^2-F/Btu] | Slab Perimeter Insulation R-Value [h-ft^2-F/Btu] | Full Under-Slab Insulation R-Value [h-ft^2-F/Btu] | Slab Thermal Break Insulation R-Value [h-ft^2-F/Btu] | Basement Wall Insulation R-Value [h-ft^2-F/Btu] | Foundation Vented [Y/N] | Window U-Value [Btu/h-ft^2-F] | Window Solar Heat Gain Coefficient | Window Shades [Y/N] | Window-to-Wall Ratio, Front [%] | Window-to-Wall Ratio, Back [%] | Window-to-Wall Ratio, Left [%] | Window-to-Wall Ratio, Right [%] | Conditioned Envelope Infiltration [ACH50] | Primary HVAC Type | HVAC Sizing Method | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Non-Electric Furnace AFUE [%] | Supply Duct Leakage [%] | Supply Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Return Duct Leakage [%] | Return Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Supplemental Heating Source | Supplemental Heating Source Capacity Units | Supplemental Heating Source Capacity | Supplemental Heating Source Efficiency | Fraction of Home Served by Supplemental Heating Source | Heating Setpoint Schedule Method | Heating 8760 Schedule Name | Heating Setpoint 1 [deg F] | Heating Setpoint 1 End Time [HH:MM] | Heating Setpoint 2 [deg F] | Heating Setpoint 2 End Time [HH:MM] | Heating Setpoint 3 [deg F] | Heating Setpoint 3 End Time [HH:MM] | Heating Setpoint 4 [deg F] | Heating Setpoint 4 End Time [HH:MM] | Heating Setpoint 5 [deg F] | Heating Setpoint 5 End Time [HH:MM] | Heating Setpoint 6 [deg F] | Heating Setpoint 6 End Time [HH:MM] | Heating Setpoint 7 [deg F] | Heating Setpoint 7 End Time [HH:MM] | Heating Setpoint 8 [deg F] | Heating Setpoint 8 End Time [HH:MM] | Cooling Setpoint Schedule Method | Cooling 8760 Schedule Name | Cooling Setpoint 1 [deg F] | Cooling Setpoint 1 End Time [HH:MM] | Cooling Setpoint 2 [deg F] | Cooling Setpoint 2 End Time [HH:MM] | Cooling Setpoint 3 [deg F] | Cooling Setpoint 3 End Time [HH:MM] | Cooling Setpoint 4 [deg F] | Cooling Setpoint 4 End Time [HH:MM] | Cooling Setpoint 5 [deg F] | Cooling Setpoint 5 End Time [HH:MM] | Cooling Setpoint 6 [deg F] | Cooling Setpoint 6 End Time [HH:MM] | Cooling Setpoint 7 [deg F] | Cooling Setpoint 7 End Time [HH:MM] | Cooling Setpoint 8 [deg F] | Cooling Setpoint 8 End Time [HH:MM] | Thermostat Hysteresis Range [deg F] | Water Heater | Water Heater Setpoint Schedule | Number Of People | Interior Lighting Power Density [W/ft^2] | Exterior Lighting Power [W] | Range | Dryer | Refrigerator | Clothes Washer | Dishwasher | Misc Electric Gains [Max W] | Misc Electric Gains Schedule | Misc Gas Gains [Max Btu/h] | Misc Gas Gains Schedule
SITE_00707-2021 | 12 | USA_WA_Spokane-Felts-Field.727856_AMY_2021EPW | 0 | 2102 | 1.5 | 9.3238 | 0.4 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 16.2727 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 25.5918 | Yes | Foundation Type with Effective R-Values |  | Heated Basement |  |  |  |  | 0 | No | 0.51152 | 0.59205 | Yes | 0.07925 | 0.16576 | 0.017672 | 0.25772 | 6.39 | Single Speed ASHP (7.7 HSPF 13 SEER) | Manual | kBtu/h | 47 | kBtu/h | 47 | Electric | kW | 24 | 65 | -20 |  | 0.091605 | 2.2404 | 0.1399 | 1.424 | [5 empty] | 8760 Schedule (enter schedule name at right) | Heat_EZ_Sch_1 | 69.6 | 24:00 | [14 empty] | 8760 Schedule (enter schedule name at right) | Cool_EZ_Sch_1 | 71 | 24:00 | [14 empty] | 0.45 | No |  | 1 | 0 | 0 | No | No | No | No | No | 1006.9041 | SITE_00707-2021-MISC | 0

## Run Characteristics
EnergyPlus Directory | C:\EnergyPlusV22-2-0\energyplus.exe
Model Input Template Directory | C:\Users\cdouglass\Box\Drafts\Git Repositories\REEDR\REEDR\Model Input Template.xlsx
Simulation Type | Test Run
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 1
Simulation End Day | 1
Output Granularity | Hourly
Output End Uses | Heating
Run Complete Timestamp | 2024-09-10 14:22:16.381660-07:00 US Pacific Time