## Model Out
Run Label | Total Elec [kWh] | Total Nat Gas [therm] | Total Propane [gal] | Total Heat Elec [kWh] | Prim Furnace Heat Elec [kWh] | ASHP Compressor Heat Elec [kWh] | REEDR Compressor Heat + Cool | HEMS Compressor | REEDR Backup + Air Handler | HEMS Backup + Air Handler | REEDR Total HVAC | HEMS Total HVAC | ASHP Backup Heat Elec [kWh] | ASHP Defrost Elec [kWh] | ASHP Crankcase Heater Elec [kWh] | Baseboard Heat Elec [kWh] | Cool Elec [kWh] | Fan Elec [kWh] | Pump Elec [kWh] | DHW Elec [kWh] | IntLights Elec [kWh] | ExtLights Elec [kWh] | Total IntEquip Elec [kWh] | IntEquip Range Elec [kWh] | IntEquip Dryer Elec [kWh] | IntEquip Clotheswasher Elec [kWh] | IntEquip Dishwasher Elec [kWh] | IntEquip Refrigerator Elec [kWh] | IntEquip Misc Elec [kWh] | HeatRecov Elec [kWh] | Heat Nat Gas [therm] | DHW Nat Gas [therm] | Total IntEquip Nat Gas [therm] | IntEquip Range Nat Gas [therm] | IntEquip Dryer Nat Gas [therm] | IntEquip Misc Nat Gas [therm] | Heat Propane [gal] | UnmetHours Heating | UnmetHours Cooling | Infiltration Living [ACH] | Infiltration Attic [ACH] | Infiltration Crawlspace [ACH] | Infiltration UnheatedBasement [ACH]
SITE_01849-2020_It_0 | 11270.1586 | 0 |  | 1985.335 |  | 1324.8087 | 2518.5393 | 2167.595 | 223.7739 | 901.7398 | 2742.3132 | 3069.3349 | 0 | 51.6351 | 608.8912 |  | 1193.7306 | 223.7739 |  |  | 0 | 0 | 7867.3191 | [5 empty] | 7867.3191 |  |  |  | 0 |  |  | 0 |  | 0 | 22 | 0.19656 | 0.48305 | 0.44665
SITE_01849-2021_It_0 | 11059.4212 | 0 |  | 2079.1823 |  | 1397.5228 | 2646.145 | 2589.9281 | 232.8573 | 1117.6096 | 2879.0023 | 3707.5377 | 0 | 55.6414 | 626.0181 |  | 1248.6222 | 232.8573 |  |  | 0 | 0 | 7498.7594 | [5 empty] | 7498.7594 |  |  |  | 0 |  |  | 0 |  | 0 | 20.6667 | 0.20542 | 0.5604 | 0.5057
SITE_00765-2019_It_0 | 15264.0718 | 0 |  | 7299.9648 |  | 4402.5455 | 6804.8814 | 3607.6845 | 3081.3318 | 4042.1973 | 9886.2132 | 7649.8818 | 2432.8755 | 222.0754 | 242.4684 |  | 2402.3359 | 648.4563 |  |  | 0 | 0 | 4913.3149 | [5 empty] | 4913.3149 |  |  |  | 0 |  |  | 0 |  | 0 | 382.6667 | 0.23186 | 0.54642
SITE_00765-2020_It_0 | 13454.1846 | 0 |  | 4152.2097 |  | 3155.1132 | 5752.1507 | 3958.9524 | 1068.4054 | 1615.2594 | 6820.5562 | 5574.2118 | 528.248 | 147.6164 | 321.2321 |  | 2597.0376 | 540.1574 |  |  | 0 | 0 | 6164.7799 | [5 empty] | 6164.7799 |  |  |  | 0 |  |  | 0 |  | 0 | 504.8333 | 0.24959 | 0.67357
SITE_00765-2021_It_0 | 13886.6771 | 0 |  | 4807.3878 |  | 3197.8643 | 5983.7596 | 3799.5832 | 1700.8755 | 2434.8369 | 7684.6351 | 6234.4202 | 1143.1124 | 152.8706 | 313.5406 |  | 2785.8953 | 557.7631 |  |  | 0 | 0 | 5735.6309 | [5 empty] | 5735.6309 |  |  |  | 0 |  |  | 0 |  | 0 | 602.8333 | 0.24113 | 0.66371
SITE_00306-2019_It_0 | 7509.9689 | 0 |  | 3248.5441 |  | 2529.5875 | 3482.0815 | 882.2355 | 296.7599 | 3009.4705 | 3778.8414 | 3891.706 | 0 | 104.6028 | 614.3539 |  | 952.4941 | 296.7599 |  |  | 0 | 0 | 3012.1708 | [5 empty] | 3012.1708 |  |  |  | 0 |  |  | 0 |  | 0 | 1.8333 | 0.25113 | 0.53983 | 0.551
SITE_00306-2020_It_0 | 7348.3536 | 0 |  | 3066.9176 |  | 2389.559 | 3416.1478 | 1012.8761 | 295.1377 | 2856.6822 | 3711.2856 | 3869.5583 | 0 | 104.5781 | 572.7805 |  | 1026.5888 | 295.1377 |  |  | 0 | 0 | 2959.7094 | [5 empty] | 2959.7094 |  |  |  | 0 |  |  | 0 |  | 0 | 10.5 | 0.24562 | 0.5491 | 0.55448
SITE_00306-2021_It_0 | 7352.3662 | 0 |  | 3012.8802 |  | 2333.5982 | 3519.9906 | 1321.2569 | 304.8815 | 2352.2 | 3824.8721 | 3673.4569 | 0.0042259 | 103.129 | 576.1489 |  | 1186.3924 | 304.8773 |  |  | 0 | 0 | 2848.2162 | [5 empty] | 2848.2162 |  |  |  | 0 |  |  | 0 |  | 0 | 5.8333 | 0.25505 | 0.60801 | 0.59985
SITE_00011-2020_It_0 | 9974.9799 | 0 |  | 3734.4919 |  | 3104.4937 | 3962.8806 | 2479.927 | 404.0051 | 2151.2792 | 4366.8857 | 4631.2061 | 61.845 | 148.1162 | 420.037 |  | 858.3869 | 342.1601 |  |  | 0 | 0 | 5039.941 | [5 empty] | 5039.941 |  |  |  | 0 |  |  | 0 |  | 0 | 27.3333 | 0.23632 | 0.14927 | 0.15772
SITE_00011-2021_It_0 | 11565.1994 | 0 |  | 3730.3718 |  | 3074.2861 | 4113.6574 | 2464.5426 | 425.0147 | 1908.4817 | 4538.672 | 4373.0243 | 65.3647 | 157.5109 | 433.2101 |  | 1039.3713 | 359.65 |  |  | 0 | 0 | 6435.8064 | [5 empty] | 6435.8064 |  |  |  | 0 |  |  | 0 |  | 0 | 48.3333 | 0.23447 | 0.12345 | 0.13009
SITE_00661-2019_It_0 | 10961.4574 | 0 |  | 3523.7513 |  | 2732.4319 | 4394.2523 | 4763.7772 | 652.5994 | 4316.1446 | 5046.8516 | 9079.9218 | 247.0219 | 129.2163 | 415.0812 |  | 1661.8204 | 405.5774 |  |  | 0 | 0 | 5370.3083 | [5 empty] | 5370.3083 |  |  |  | 0 |  |  | 0 |  | 0 | 9.8333 | 0.35048 | 0.43706 | 0.44993
SITE_00559-2020_It_0 | 10792.4583 | 0 |  | 2646.9245 |  | 2072.5203 | 4210.3643 | 3345.9576 | 378.6248 | 1715.1426 | 4588.9891 | 5061.1002 | 6.7859 | 89.4012 | 478.2171 |  | 2137.8439 | 371.839 |  |  | 0 | 0 | 5635.8509 | [5 empty] | 5635.8509 |  |  |  | 0 |  |  | 0 |  | 0 | 14.8333 | 0.21897 | 0.68886 | 0.54532
SITE_00559-2021_It_0 | 10502.8864 | 0 |  | 2899.2285 |  | 2273.7862 | 4586.1962 | 3282.6978 | 474.4705 | 1868.7553 | 5060.6667 | 5151.4532 | 74.5839 | 95.4591 | 455.3994 |  | 2312.41 | 399.8867 |  |  | 0 | 0 | 4891.3613 | [5 empty] | 4891.3613 |  |  |  | 0 |  |  | 0 |  | 0 | 36 | 0.21616 | 0.67272 | 0.53228
SITE_00273-2019_It_0 | 12847.8983 | 0 |  | 4076.9705 |  | 3100.5532 | 4158.8053 | 3504.0486 | 627.0787 | 4805.4576 | 4785.884 | 8309.5062 | 259.4987 | 142.9993 | 573.9192 |  | 1058.2521 | 367.58 |  |  | 0 | 0 | 7345.0957 | [5 empty] | 7345.0957 |  |  |  | 0 |  |  | 0 |  | 0 | 43.8333 | 0.32616 | 0.6958 | 0.49157
SITE_00337-2019_It_0 | 14277.5288 | 0 |  | 5886.2666 |  | 5021.4524 | 7568.5461 | 7940.8813 | 845.4541 | 2106.9539 | 8414.0002 | 10047.8352 | 176.6279 | 202.9757 | 485.2106 |  | 2547.0937 | 668.8262 |  |  | 0 | 0 | 5175.3423 | [5 empty] | 5175.3423 |  |  |  | 0 |  |  | 0 |  | 0 | 9.1667 | 0.30861 | 0.64728 | 0.55187
SITE_00337-2020_It_0 | 13386.9539 | 0 |  | 5612.4901 |  | 4829.6762 | 7522.7425 | 7654.2848 | 796.5975 | 2228.9215 | 8319.34 | 9883.2063 | 131.5819 | 205.9316 | 445.3003 |  | 2693.0663 | 665.0156 |  |  | 0 | 0 | 4416.382 | [5 empty] | 4416.382 |  |  |  | 0 |  |  | 0 |  | 0.33333 | 30.3333 | 0.29975 | 0.65843 | 0.55524
SITE_00337-2021_It_0 | 13479.6431 | 0 |  | 5406.9107 |  | 4639.3229 | 7713.9943 | 6317.4666 | 783.3431 | 5109.7383 | 8497.3374 | 11427.2049 | 109.7637 | 199.3284 | 458.4958 |  | 3074.6714 | 673.5794 |  |  | 0 | 0 | 4324.4815 | [5 empty] | 4324.4815 |  |  |  | 0 |  |  | 0 |  | 0 | 54.6667 | 0.30862 | 0.72447 | 0.60047
SITE_00315-2019_It_0 | 10522.4167 | 0 |  | 2106.1793 |  | 1399.313 | 2985.1191 | 1029.8883 | 284.4799 | 4305.1084 | 3269.5989 | 5334.9967 | 0.5001 | 60.2414 | 646.1248 |  | 1585.8061 | 283.9798 |  |  | 0 | 0 | 6546.4515 | [5 empty] | 6546.4515 |  |  |  | 0 |  |  | 0 |  | 0 | 22 | 0.27729 | 0.48457 | 0.55082
SITE_00315-2020_It_0 | 9176.0503 | 0 |  | 2043.5231 |  | 1388.9873 | 2973.0622 | 2229.4609 | 282.0569 | 4473.1319 | 3255.1191 | 6702.5928 | 0 | 62.3057 | 592.2301 |  | 1584.0749 | 282.0569 |  |  | 0 | 0 | 5266.3954 | [5 empty] | 5266.3954 |  |  |  | 0 |  |  | 0 |  | 0 | 9.5 | 0.27084 | 0.49532 | 0.55439
SITE_00315-2021_It_0 | 8951.9721 | 0 |  | 2030.7286 |  | 1372.3774 | 3070.3345 | 1537.3154 | 287.475 | 4891.8086 | 3357.8095 | 6429.124 | 0.032016 | 62.1354 | 596.1837 |  | 1697.9571 | 287.443 |  |  | 0 | 0 | 4935.8435 | [5 empty] | 4935.8435 |  |  |  | 0 |  |  | 0 |  | 0 | 4.1667 | 0.28075 | 0.55903 | 0.59979
SITE_00574-2020_It_0 | 10054.156 | 0 |  | 3775.5764 |  | 2850.1364 | 4373.9088 | 4522.2619 | 448.4962 | 3190.5397 | 4822.405 | 7712.8016 | 20.1505 | 182.2687 | 723.0208 |  | 1523.7723 | 428.3457 |  |  | 0 | 0 | 4326.4615 | [5 empty] | 4326.4615 |  |  |  | 0 |  |  | 0 |  | 0 | 11 | 0.17468 | 0.55997 | 0.73933
SITE_00574-2021_It_0 | 10433.1068 | 0 |  | 3954.1347 |  | 3032.3119 | 4633.1723 | 5002.7367 | 458.6099 | 3662.4549 | 5091.7822 | 8665.1916 | 10.7756 | 190.4083 | 720.639 |  | 1600.8604 | 447.8344 |  |  | 0 | 0 | 4430.2773 | [5 empty] | 4430.2773 |  |  |  | 0 |  |  | 0 |  | 0 | 10.6667 | 0.18263 | 0.60729 | 0.79381
SITE_01848-2020_It_0 | 7657.2319 | 0 |  | 3386.5182 |  | 2833.9 | 3932.9223 | 2011.4807 | 341.4428 | 3150.7145 | 4274.3652 | 5162.1951 | 9.1061 | 93.6948 | 449.8173 |  | 1099.0223 | 332.3367 |  |  | 0 | 0 | 2839.3546 | [5 empty] | 2839.3546 |  |  |  | 0 |  |  | 0 |  | 0 | 9.1667 | 0.25788 | 0.36401 | 0.44831
SITE_01848-2021_It_0 | 7946.2222 | 0 |  | 3464.2393 |  | 2886.4719 | 4082.3507 | 2400.8178 | 361.1226 | 2767.8632 | 4443.4733 | 5168.681 | 17.1483 | 97.6252 | 462.994 |  | 1195.8788 | 343.9743 |  |  | 0 | 0 | 2942.1297 | [5 empty] | 2942.1297 |  |  |  | 0 |  |  | 0 |  | 0 | 33.1667 | 0.27052 | 0.42882 | 0.50752
SITE_00141-2020_It_0 | 9554.6863 | 0 |  | 2460.0714 |  | 1816.9781 | 2941.5095 | 4594.2837 | 284.5915 | 2382.4416 | 3226.101 | 6976.7253 | 2.2556 | 81.3972 | 559.4405 |  | 1124.5315 | 282.336 |  |  | 0 | 0 | 5687.7475 | [5 empty] | 5687.7475 |  |  |  | 0 |  |  | 0 |  | 0 | 28.5 | 0.17196 | 0.40539 | 0.9607
SITE_00141-2021_It_0 | 12446.8736 | 0 |  | 2500.0618 |  | 1755.205 | 3132.7858 | 4454.1483 | 361.427 | 10426.5714 | 3494.2128 | 14880.7197 | 57.6656 | 83.7619 | 603.4293 |  | 1377.5808 | 303.7614 |  |  | 0 | 0 | 8265.4696 | [5 empty] | 8265.4696 |  |  |  | 0 |  |  | 0 |  | 0 | 62.5 | 0.17089 | 0.41417 | 1.0051
SITE_00699-2020_It_0 | 15730.8121 | 0 |  | 4840.0573 |  | 3698.4565 | 6484.7208 | 4557.9969 | 1163.7446 | 2489.3714 | 7648.4654 | 7047.3683 | 581.122 | 171.012 | 389.4668 |  | 2786.2644 | 582.6225 |  |  | 0 | 0 | 7521.8679 | [5 empty] | 7521.8679 |  |  |  | 0 |  |  | 0 |  | 0 | 320.1667 | 0.3038 | 0.47005 | 1.049
SITE_00699-2021_It_0 | 15367.3661 | 0 |  | 5007.7068 |  | 3853.0588 | 6770.5111 | 4308.9688 | 1173.5133 | 1842.2577 | 7944.0244 | 6151.2265 | 576.069 | 172.9059 | 405.6731 |  | 2917.4523 | 597.4444 |  |  | 0 | 0 | 6844.7626 | [5 empty] | 6844.7626 |  |  |  | 0 |  |  | 0 |  | 0 | 402.5 | 0.30244 | 0.47098 | 1.0713
SITE_01618-2019_It_0 | 8656.3787 | 0 |  | 2117.1875 |  | 1507.8428 | 3378.2418 | 2951.2817 | 338.2432 | 1406.8259 | 3716.485 | 4358.1076 | 0.0019958 | 63.9837 | 545.359 |  | 1870.399 | 338.2412 |  |  | 0 | 0 | 4330.551 | [5 empty] | 4330.551 |  |  |  | 0 |  |  | 0 |  | 0 | 4 | 0.1325 | 0.19447 | 0.80832
SITE_01618-2020_It_0 | 9719.3589 | 0 |  | 2062.1805 |  | 1427.8961 | 3361.4714 | 3002.4814 | 335.0377 | 1469.3793 | 3696.5092 | 4471.8607 | 0 | 51.5228 | 582.7616 |  | 1933.5754 | 335.0377 |  |  | 0 | 0 | 5388.5653 | [5 empty] | 5388.5653 |  |  |  | 0 |  |  | 0 |  | 0 | 9.8333 | 0.1429 | 0.23441 | 0.85492
SITE_01618-2021_It_0 | 10236.3616 | 0 |  | 2315.0425 |  | 1634.2103 | 3609.1559 | 3052.599 | 356.5504 | 1137.0126 | 3965.7063 | 4189.6115 | 0.077282 | 68.0232 | 612.7317 |  | 1974.9457 | 356.4731 |  |  | 0 | 0 | 5589.9003 | [5 empty] | 5589.9003 |  |  |  | 0 |  |  | 0 |  | 0 | 25.8333 | 0.14552 | 0.24012 | 0.89101
SITE_00499-2021_It_0 | 13957.2562 | 0 |  | 1620.7469 |  | 1132.9132 | 3062.2982 | 3167.0486 | 150.2579 | 4648.4427 | 3212.5561 | 7815.4913 | 0 | 67.6448 | 420.1889 |  | 1929.385 | 150.2579 |  |  | 0 | 0 | 10256.8664 | [5 empty] | 10256.8664 |  |  |  | 0 |  |  | 0 |  | 0 | 0 | 0.18947 | 0.53158 | 0.70963
SITE_01852-2019_It_0 | 6309.6439 | 0 |  | 4486.5075 |  | 3800.4699 | 4788.8123 | 2856.2753 | 410.9216 | 1549.3495 | 5199.7339 | 4405.6248 | 0 | 157.6562 | 528.3814 |  | 988.3423 | 410.9216 |  |  | 0 | 0 | 423.8724 | [5 empty] | 423.8724 |  |  |  | 0 |  |  | 0 |  | 0 | 3.8333 | 0.28183 | 0.2716 | 0.32996
SITE_01852-2020_It_0 | 5906.4691 | 0 |  | 4081.4729 |  | 3450.8891 | 4489.9579 | 2672.1477 | 378.9294 | 1389.1672 | 4868.8873 | 4061.3149 | 0 | 119.9835 | 510.6002 |  | 1039.0687 | 378.9294 |  |  | 0 | 0 | 406.998 | [5 empty] | 406.998 |  |  |  | 0 |  |  | 0 |  | 0 | 6.6667 | 0.27658 | 0.31092 | 0.35656
SITE_01852-2021_It_0 | 6226.8127 | 0 |  | 4157.2358 |  | 3508.3876 | 4791.7295 | 2787.6345 | 403.8848 | 1661.3578 | 5195.6143 | 4448.9923 | 0 | 119.0149 | 529.8332 |  | 1283.3419 | 403.8848 |  |  | 0 | 0 | 382.3503 | [5 empty] | 382.3503 |  |  |  | 0 |  |  | 0 |  | 0 | 23.6667 | 0.28038 | 0.3205 | 0.36971
SITE_02039-2020_It_0 | 18073.24 | 0 |  | 2651.486 |  | 2104.5638 | 4035.4937 | 2980.3743 | 359.4985 | 1408.0192 | 4394.9922 | 4388.3935 | 0.39724 | 76.3872 | 470.1378 |  | 1930.93 | 359.1012 |  |  | 0 | 0 | 13131.7228 | [5 empty] | 13131.7228 |  |  |  | 0 |  |  | 0 |  | 0 | 89.5 | 0.23358 | 0.57093 | 0.76509
SITE_02039-2021_It_0 | 19545.2607 | 0 |  | 2822.3465 |  | 2213.0224 | 4481.861 | 3446.3161 | 480.9854 | 1839.6183 | 4962.8464 | 5285.9344 | 83.8027 | 80.7209 | 444.8005 |  | 2268.8386 | 397.1827 |  |  | 0 | 0 | 14056.8929 | [5 empty] | 14056.8929 |  |  |  | 0 |  |  | 0 |  | 0 | 196.5 | 0.231 | 0.57629 | 0.80275
SITE_00538-2020_It_0 | 13377.544 | 0 |  | 5036.2787 |  | 3942.503 | 6535.4581 | 3218.4375 | 810.3701 | 3499.4371 | 7345.8282 | 6717.8746 | 159.637 | 266.6091 | 667.5296 |  | 2592.9551 | 650.7331 |  |  | 0 | 0 | 5097.5771 | [5 empty] | 5097.5771 |  |  |  | 0 |  |  | 0 |  | 0 | 59.6667 | 0.26413 | 0.54705
SITE_00538-2021_It_0 | 13573.664 | 0 |  | 5293.793 |  | 4179.3187 | 6812.7292 | 4146.1988 | 841.7877 | 1548.6174 | 7654.5169 | 5694.8162 | 173.6085 | 278.1713 | 662.6945 |  | 2633.4105 | 668.1793 |  |  | 0 | 0 | 4978.2813 | [5 empty] | 4978.2813 |  |  |  | 0 |  |  | 0 |  | 0.16667 | 61.8333 | 0.27525 | 0.59166
SITE_01856-2020_It_0 | 17474.9714 | 0 |  | 2292.2577 |  | 1629.1981 | 4679.6582 | 1414.1905 | 431.337 | 3585.8752 | 5110.9951 | 5000.0657 | 3.4695 | 101.5354 | 558.0547 |  | 3050.46 | 427.8675 |  |  | 0 | 0 | 11704.3862 | [5 empty] | 11704.3862 |  |  |  | 0 |  |  | 0 |  | 0 | 275 | 0.21074 | 0.20766 | 0.23461
SITE_01856-2021_It_0 | 14852.7055 | 0 |  | 2702.4129 |  | 2060.4327 | 5126.9996 | 1248.2904 | 457.7003 | 7518.4961 | 5584.6998 | 8766.7865 | 0.10161 | 123.9988 | 517.8798 |  | 3066.5669 | 457.5987 |  |  | 0 | 0 | 8626.1271 | [5 empty] | 8626.1271 |  |  |  | 0 |  |  | 0 |  | 0 | 319.6667 | 0.21916 | 0.25024 | 0.27417
SITE_01871-2020_It_0 | 6110.2757 | 0 |  | 2057.4255 |  | 1462.7623 | 2736.6434 | 965.287 | 235.1469 | 830.0434 | 2971.7903 | 1795.3303 | 0 | 68.5896 | 526.0736 |  | 1273.8811 | 235.1469 |  |  | 0 | 0 | 2543.8221 | [5 empty] | 2543.8221 |  |  |  | 0 |  |  | 0 |  | 0 | 2 | 0.19916 | 0.17559 | 0.20863
SITE_01871-2021_It_0 | 6989.0382 | 0 |  | 2124.3517 |  | 1515.4683 | 2952.0659 | 1215.5073 | 251.5712 | 1018.4887 | 3203.6371 | 2233.996 | 0 | 64.5732 | 544.3102 |  | 1436.5975 | 251.5712 |  |  | 0 | 0 | 3176.5177 | [5 empty] | 3176.5177 |  |  |  | 0 |  |  | 0 |  | 0 | 3.1667 | 0.20529 | 0.19686 | 0.23187
SITE_01385-2019_It_0 | 9544.8719 | 0 |  | 3661.2996 |  | 3033.6993 | 4188.1605 | 2975.4698 | 357.1764 | 577.6207 | 4545.337 | 3553.0905 | 10.3749 | 142.8396 | 474.3858 |  | 1154.4613 | 346.8015 |  |  | 0 | 0 | 4382.3095 | [5 empty] | 4382.3095 |  |  |  | 0 |  |  | 0 |  | 0 | 2.6667 | 0.27838 | 0.35779 | 0.418
SITE_01385-2020_It_0 | 8571.8895 | 0 |  | 3278.3169 |  | 2714.8402 | 3925.117 | 2648.586 | 322.1624 | 520.4393 | 4247.2794 | 3169.0253 | 0.83311 | 109.6583 | 452.9853 |  | 1210.2768 | 321.3293 |  |  | 0 | 0 | 3761.9665 | [5 empty] | 3761.9665 |  |  |  | 0 |  |  | 0 |  | 0 | 9.6667 | 0.27881 | 0.4058 | 0.4611
SITE_01385-2021_It_0 | 8659.2931 | 0 |  | 3348.4572 |  | 2761.8503 | 4132.5683 | 2557.5414 | 337.8348 | 456.7649 | 4470.4031 | 3014.3063 | 2.5712 | 105.8353 | 478.2004 |  | 1370.718 | 335.2635 |  |  | 0 | 0 | 3604.8543 | [5 empty] | 3604.8543 |  |  |  | 0 |  |  | 0 |  | 0 | 12.3333 | 0.28491 | 0.44065 | 0.49477

## Model In
Run Label | Timesteps Per Hour | Weather File | Building Orientation [deg] | Conditioned Footprint Area [ft^2] | Average Number of Stories Above Foundation | Average Ceiling Height Per Story [ft] | Building Width to Depth Ratio | Roof Pitch | Exterior Non-Foundation Wall Input Methd | Exterior Non-Foundation Wall Pre-Defined Constructions | Exterior Non-Foundation Wall Overall Effective R-Value [h-ft^2-F/Btu] | Ceiling And Roof Input Methd | Ceiling And Roof Construction | Ceiling Overall Effective R-Value [h-ft^2-F/Btu] | Attic Vented [Y/N] | Floor and Foundation Input Methd | Foundation And Floor Construction | Foundation Type | Floor Overall Effective R-Value [h-ft^2-F/Btu] | Slab Perimeter Insulation R-Value [h-ft^2-F/Btu] | Full Under-Slab Insulation R-Value [h-ft^2-F/Btu] | Slab Thermal Break Insulation R-Value [h-ft^2-F/Btu] | Basement Wall Insulation R-Value [h-ft^2-F/Btu] | Foundation Vented [Y/N] | Window U-Value [Btu/h-ft^2-F] | Window Solar Heat Gain Coefficient | Window Shades [Y/N] | Window-to-Wall Ratio, Front [%] | Window-to-Wall Ratio, Back [%] | Window-to-Wall Ratio, Left [%] | Window-to-Wall Ratio, Right [%] | Conditioned Envelope Infiltration [ACH50] | Primary HVAC Type | HVAC Sizing Method | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Backup Electric Baseboard Heat Capacity [kW] | Non-Electric Furnace AFUE [%] | Supply Duct Leakage [%] | Supply Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Return Duct Leakage [%] | Return Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Heating Setpoint Input Method | Heating Setpoint [deg F] | Heating Night Setback [deg F] | Heating Night Setback Start Hour [0-23] | Heating Night Setback End Hour [0-23] | Heating Setpoint Schedule | Cooling Setpoint Input Method | Cooling Setpoint [deg F] | Cooling Night Setback [deg F] | Cooling Night Setback Start Hour [0-23] | Cooling Night Setback End Hour [0-23] | Cooling Setpoint Schedule | Water Heater | Water Heater Setpoint Schedule | Number Of People | Interior Lighting Power Density [W/ft^2] | Exterior Lighting Power [W] | Range | Dryer | Refrigerator | Clothes Washer | Dishwasher | Misc Electric Gains [Max W] | Misc Electric Gains Schedule | Misc Gas Gains [Max Btu/h] | Misc Gas Gains Schedule
SITE_01849-2020_It_0 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2020EPW | 0 | 1296 | 1 | 8.9955 | 1.1365 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 43.3984 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.053668 | 0.154 | 0.0001 | 0.20767 | 5.8443 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 23.2 | kBtu/h | 23.2 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.12716 | 15.8882 | 0.001 | 100 | Constant Setpoint | 71.5132 | 0 | 0 | 0 | SITE_01849-2020-HEAT | Constant Setpoint | 73.8957 | 0 | 0 | 0 | SITE_01849-2020-COOL | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 2757.8267 | SITE_01849-2020-MISC | 0
SITE_01849-2021_It_0 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2021EPW | 0 | 1296 | 1 | 8.9955 | 1.1365 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 43.3984 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.053668 | 0.154 | 0.0001 | 0.20767 | 5.8443 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 23.2 | kBtu/h | 23.2 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.12716 | 15.8882 | 0.001 | 100 | Constant Setpoint | 71.5132 | 0 | 0 | 0 | SITE_01849-2021-HEAT | Constant Setpoint | 73.8957 | 0 | 0 | 0 | SITE_01849-2021-COOL | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 2911.4758 | SITE_01849-2021-MISC | 0
SITE_00765-2019_It_0 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2019EPW | 0 | 1722 | 1 | 8.5745 | 0.70531 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 12.2284 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.1359 | No | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 0 | 0 | 0 | No | 0.53247 | 0.53137 | No | 0.10246 | 0.11246 | 0.11098 | 0.10393 | 9.2054 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 27.4 | kBtu/h | 28 | Electric | kW | 14 | 60 | 0 | 0 |  | 0.091605 | 2.848 | 0.1399 | 5.696 | Constant Setpoint | 66.0646 | 0 | 0 | 0 | SITE_00765-2019-HEAT | Constant Setpoint | 71.1998 | 0 | 0 | 0 | SITE_00765-2019-COOL | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 3352.0925 | SITE_00765-2019-MISC | 0
SITE_00765-2020_It_0 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2020EPW | 0 | 1722 | 1 | 8.5745 | 0.70531 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 12.2284 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.1359 | No | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 0 | 0 | 0 | No | 0.53247 | 0.53137 | No | 0.10246 | 0.11246 | 0.11098 | 0.10393 | 9.2054 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 27.4 | kBtu/h | 28 | Electric | kW | 14 | 60 | 0 | 0 |  | 0.091605 | 2.848 | 0.1399 | 5.696 | Constant Setpoint | 66.0646 | 0 | 0 | 0 | SITE_00765-2020-HEAT | Constant Setpoint | 71.1998 | 0 | 0 | 0 | SITE_00765-2020-COOL | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 3487.4665 | SITE_00765-2020-MISC | 0
SITE_00765-2021_It_0 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2021EPW | 0 | 1722 | 1 | 8.5745 | 0.70531 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 12.2284 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.1359 | No | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 0 | 0 | 0 | No | 0.53247 | 0.53137 | No | 0.10246 | 0.11246 | 0.11098 | 0.10393 | 9.2054 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 27.4 | kBtu/h | 28 | Electric | kW | 14 | 60 | 0 | 0 |  | 0.091605 | 2.848 | 0.1399 | 5.696 | Constant Setpoint | 66.0646 | 0 | 0 | 0 | SITE_00765-2021-HEAT | Constant Setpoint | 71.1998 | 0 | 0 | 0 | SITE_00765-2021-COOL | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 3312.8582 | SITE_00765-2021-MISC | 0
SITE_00306-2019_It_0 | 6 | USA_ID_Boise-AP-Gowen-Field-ANGB.726810_AMY_2019EPW | 0 | 1134 | 1 | 6.9893 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.2486 | 0 | 0 | 0 | 2.1983 | No | 0.52177 | 0.54008 | No | 0.12316 | 0.033477 | 0.055982 | 0.012516 | 8.3199 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 32.857 | kBtu/h | 23.4 | Electric | kW | 11.43 | 60 | 0 | 0 |  | 0.12716 | 6.6243 | 0.001 | 100 | Constant Setpoint | 68.1962 | 0 | 0 | 0 | SITE_00306-2019-HEAT | Constant Setpoint | 75.8298 | 0 | 0 | 0 | SITE_00306-2019-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1695.3642 | SITE_00306-2019-MISC | 0
SITE_00306-2020_It_0 | 6 | USA_ID_Boise-AP-Gowen-Field-ANGB.726810_AMY_2020EPW | 0 | 1134 | 1 | 6.9893 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.2486 | 0 | 0 | 0 | 2.1983 | No | 0.52177 | 0.54008 | No | 0.12316 | 0.033477 | 0.055982 | 0.012516 | 8.3199 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 32.857 | kBtu/h | 23.4 | Electric | kW | 11.43 | 60 | 0 | 0 |  | 0.12716 | 6.6243 | 0.001 | 100 | Constant Setpoint | 68.1962 | 0 | 0 | 0 | SITE_00306-2020-HEAT | Constant Setpoint | 75.8298 | 0 | 0 | 0 | SITE_00306-2020-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1976.2794 | SITE_00306-2020-MISC | 0
SITE_00306-2021_It_0 | 6 | USA_ID_Boise-AP-Gowen-Field-ANGB.726810_AMY_2021EPW | 0 | 1134 | 1 | 6.9893 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.2486 | 0 | 0 | 0 | 2.1983 | No | 0.52177 | 0.54008 | No | 0.12316 | 0.033477 | 0.055982 | 0.012516 | 8.3199 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 32.857 | kBtu/h | 23.4 | Electric | kW | 11.43 | 60 | 0 | 0 |  | 0.12716 | 6.6243 | 0.001 | 100 | Constant Setpoint | 68.1962 | 0 | 0 | 0 | SITE_00306-2021-HEAT | Constant Setpoint | 75.8298 | 0 | 0 | 0 | SITE_00306-2021-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1563.4513 | SITE_00306-2021-MISC | 0
SITE_00011-2020_It_0 | 6 | USA_WA_Puyallup-Pierce.County.AP-Thun.Field.720388_AMY_2020EPW | 0 | 1152 | 1 | 7.8743 | 0.75131 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.0945 | 0 | 0 | 0 | 2.0929 | No | 1.0297 | 0.74807 | No | 0.070326 | 0.12348 | 0.10344 | 0.090358 | 8.3199 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 23 | kBtu/h | 23.8 | Electric | kW | 19.1 | 60 | 0 | 0 |  | 0.17053 | 5.5472 | 0.001 | 100 | Constant Setpoint | 70.9798 | 0 | 0 | 0 | SITE_00011-2020-HEAT | Constant Setpoint | 74.1219 | 0 | 0 | 0 | SITE_00011-2020-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2411.3504 | SITE_00011-2020-MISC | 0
SITE_00011-2021_It_0 | 6 | USA_WA_Puyallup-Pierce.County.AP-Thun.Field.720388_AMY_2021EPW | 0 | 1152 | 1 | 7.8743 | 0.75131 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.0945 | 0 | 0 | 0 | 2.0929 | No | 1.0297 | 0.74807 | No | 0.070326 | 0.12348 | 0.10344 | 0.090358 | 8.3199 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 23 | kBtu/h | 23.8 | Electric | kW | 19.1 | 60 | 0 | 0 |  | 0.17053 | 5.5472 | 0.001 | 100 | Constant Setpoint | 70.9798 | 0 | 0 | 0 | SITE_00011-2021-HEAT | Constant Setpoint | 74.1219 | 0 | 0 | 0 | SITE_00011-2021-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2479.072 | SITE_00011-2021-MISC | 0
SITE_00661-2019_It_0 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2019EPW | 0 | 680 | 1 | 9.0805 | 0.47379 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.3469 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 8.0481 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 9.3223 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.52211 | No | 0.0001 | 0.15867 | 0.0001 | 0.15867 | 9.2054 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 23.7 | kBtu/h | 22.8 | Electric | kW | 10 | 60 | 0 | 0 |  | 0.17053 | 4.6611 | 0.001 | 100 | Constant Setpoint | 68.86 | 0 | 0 | 0 | SITE_00661-2019-HEAT | Constant Setpoint | 73 | 0 | 0 | 0 | SITE_00661-2019-COOL | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 2281.4478 | SITE_00661-2019-MISC | 0
SITE_00559-2020_It_0 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2020EPW | 0 | 1568 | 1 | 8.329 | 0.53069 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 17.0103 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 20.4956 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.71697 | No | 0.0001 | 0.22472 | 0.035203 | 0.18951 | 5.8443 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 28.4 | kBtu/h | 28.6 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.12716 | 15.8882 | 0.001 | 100 | Constant Setpoint | 69.7808 | 0 | 0 | 0 | SITE_00559-2020-HEAT | Constant Setpoint | 72.559 | 0 | 0 | 0 | SITE_00559-2020-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2805.8548 | SITE_00559-2020-MISC | 0
SITE_00559-2021_It_0 | 6 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2021EPW | 0 | 1568 | 1 | 8.329 | 0.53069 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 17.0103 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 20.4956 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.71697 | No | 0.0001 | 0.22472 | 0.035203 | 0.18951 | 5.8443 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 28.4 | kBtu/h | 28.6 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.12716 | 15.8882 | 0.001 | 100 | Constant Setpoint | 69.7808 | 0 | 0 | 0 | SITE_00559-2021-HEAT | Constant Setpoint | 72.559 | 0 | 0 | 0 | SITE_00559-2021-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2003.9581 | SITE_00559-2021-MISC | 0
SITE_00273-2019_It_0 | 6 | USA_WA_Pullman-Moscow-Rgnl-AP.727857_AMY_2019EPW | 0 | 784 | 1 | 8.3574 | 0.4 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.82395 | 0.54008 | No | 0.0001 | 0.0001 | 0.21926 | 0.054899 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 23.4 | kBtu/h | 23.4 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | Constant Setpoint | 68.2365 | 0 | 0 | 0 | SITE_00273-2019-HEAT | Constant Setpoint | 73.3645 | 0 | 0 | 0 | SITE_00273-2019-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2251.1437 | SITE_00273-2019-MISC | 0
SITE_00337-2019_It_0 | 6 | USA_ID_Boise-AP-Gowen-Field-ANGB.726810_AMY_2019EPW | 0 | 1787.5 | 1 | 10.0452 | 0.90323 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.81974 | 0.60851 | No | 0.10915 | 0.16255 | 0.067755 | 0.20395 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 41.714 | kBtu/h | 43.857 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | Constant Setpoint | 65.7769 | 0 | 0 | 0 | SITE_00337-2019-HEAT | Constant Setpoint | 71.3141 | 0 | 0 | 0 | SITE_00337-2019-COOL | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 2021.7906 | SITE_00337-2019-MISC | 0
SITE_00337-2020_It_0 | 6 | USA_ID_Boise-AP-Gowen-Field-ANGB.726810_AMY_2020EPW | 0 | 1787.5 | 1 | 10.0452 | 0.90323 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.81974 | 0.60851 | No | 0.10915 | 0.16255 | 0.067755 | 0.20395 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 41.714 | kBtu/h | 43.857 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | Constant Setpoint | 65.7769 | 0 | 0 | 0 | SITE_00337-2020-HEAT | Constant Setpoint | 71.3141 | 0 | 0 | 0 | SITE_00337-2020-COOL | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 1790.8232 | SITE_00337-2020-MISC | 0
SITE_00337-2021_It_0 | 6 | USA_ID_Boise-AP-Gowen-Field-ANGB.726810_AMY_2021EPW | 0 | 1787.5 | 1 | 10.0452 | 0.90323 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.3052 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.3712 | 0 | 0 | 0 | 2.0929 | No | 0.81974 | 0.60851 | No | 0.10915 | 0.16255 | 0.067755 | 0.20395 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 41.714 | kBtu/h | 43.857 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.17053 | 5.6856 | 0.001 | 100 | Constant Setpoint | 65.7769 | 0 | 0 | 0 | SITE_00337-2021-HEAT | Constant Setpoint | 71.3141 | 0 | 0 | 0 | SITE_00337-2021-COOL | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 2414.2676 | SITE_00337-2021-MISC | 0
SITE_00315-2019_It_0 | 6 | USA_ID_Boise-AP-Gowen-Field-ANGB.726810_AMY_2019EPW | 0 | 780 | 1 | 8.2656 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 27.5634 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.74912 | No | 0.21168 | 0.021765 | 0.0001 | 0.0001 | 9.2054 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 24 | kBtu/h | 24 | Electric | kW | 9.4 | 60 | 0 | 0 |  | 0.17053 | 15.8882 | 0.001 | 100 | Constant Setpoint | 70.4394 | 0 | 0 | 0 | SITE_00315-2019-HEAT | Constant Setpoint | 73.6903 | 0 | 0 | 0 | SITE_00315-2019-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2627.1274 | SITE_00315-2019-MISC | 0
SITE_00315-2020_It_0 | 6 | USA_ID_Boise-AP-Gowen-Field-ANGB.726810_AMY_2020EPW | 0 | 780 | 1 | 8.2656 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 27.5634 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.74912 | No | 0.21168 | 0.021765 | 0.0001 | 0.0001 | 9.2054 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 24 | kBtu/h | 24 | Electric | kW | 9.4 | 60 | 0 | 0 |  | 0.17053 | 15.8882 | 0.001 | 100 | Constant Setpoint | 70.4394 | 0 | 0 | 0 | SITE_00315-2020-HEAT | Constant Setpoint | 73.6903 | 0 | 0 | 0 | SITE_00315-2020-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2046.8212 | SITE_00315-2020-MISC | 0
SITE_00315-2021_It_0 | 6 | USA_ID_Boise-AP-Gowen-Field-ANGB.726810_AMY_2021EPW | 0 | 780 | 1 | 8.2656 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 27.5634 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.7764 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.74912 | No | 0.21168 | 0.021765 | 0.0001 | 0.0001 | 9.2054 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 24 | kBtu/h | 24 | Electric | kW | 9.4 | 60 | 0 | 0 |  | 0.17053 | 15.8882 | 0.001 | 100 | Constant Setpoint | 70.4394 | 0 | 0 | 0 | SITE_00315-2021-HEAT | Constant Setpoint | 73.6903 | 0 | 0 | 0 | SITE_00315-2021-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2180.7761 | SITE_00315-2021-MISC | 0
SITE_00574-2020_It_0 | 6 | USA_OR_Crater-Lake-Klamath-Rgnl-AP.725895_AMY_2020EPW | 0 | 1968 | 1 | 12.0705 | 0.83158 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 45.7413 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 26.0716 | 10 | 0 | 0 | 2.0929 | No | 0.51152 | 0.52967 | No | 0.067581 | 0.094204 | 0.033209 | 0.12858 | 5.8443 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 35.2 | kBtu/h | 36 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 1.4854 | 0.1399 | 2.9708 | Constant Setpoint | 66.6442 | 0 | 0 | 0 | SITE_00574-2020-HEAT | Constant Setpoint | 69.5644 | 0 | 0 | 0 | SITE_00574-2020-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2914.1398 | SITE_00574-2020-MISC | 0
SITE_00574-2021_It_0 | 6 | USA_OR_Crater-Lake-Klamath-Rgnl-AP.725895_AMY_2021EPW | 0 | 1968 | 1 | 12.0705 | 0.83158 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 45.7413 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 26.0716 | 10 | 0 | 0 | 2.0929 | No | 0.51152 | 0.52967 | No | 0.067581 | 0.094204 | 0.033209 | 0.12858 | 5.8443 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 35.2 | kBtu/h | 36 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 1.4854 | 0.1399 | 2.9708 | Constant Setpoint | 66.6442 | 0 | 0 | 0 | SITE_00574-2021-HEAT | Constant Setpoint | 69.5644 | 0 | 0 | 0 | SITE_00574-2021-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3348.9683 | SITE_00574-2021-MISC | 0
SITE_01848-2020_It_0 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2020EPW | 0 | 1000 | 1 | 6.9643 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 7.1939 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.8173 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.084299 | 0.1763 | 0.053846 | 0.11243 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 22.6 | kBtu/h | 25 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.17053 | 6.9086 | 0.001 | 100 | Constant Setpoint | 69.6858 | 0 | 0 | 0 | SITE_01848-2020-HEAT | Constant Setpoint | 71.0117 | 0 | 0 | 0 | SITE_01848-2020-COOL | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 782.9389 | SITE_01848-2020-MISC | 0
SITE_01848-2021_It_0 | 6 | USA_OR_Corvallis-Muni-AP.726945_AMY_2021EPW | 0 | 1000 | 1 | 6.9643 | 2.5 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 7.1939 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 13.8173 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.084299 | 0.1763 | 0.053846 | 0.11243 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 22.6 | kBtu/h | 25 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.17053 | 6.9086 | 0.001 | 100 | Constant Setpoint | 69.6858 | 0 | 0 | 0 | SITE_01848-2021-HEAT | Constant Setpoint | 71.0117 | 0 | 0 | 0 | SITE_01848-2021-COOL | No | DHW_EZ_Sch_1 | 1 | 0 | 0 | No | No | No | No | No | 838.4359 | SITE_01848-2021-MISC | 0
SITE_00141-2020_It_0 | 6 | USA_WA_Arlington.Muni.AP.727945_AMY_2020EPW | 0 | 732 | 2 | 8.6323 | 0.74874 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.172 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 29.0321 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 10.981 | 10 | 0 | 0 | 2.0929 | No | 0.51152 | 0.6181 | No | 0.16848 | 0.010103 | 0.15551 | 0.023079 | 5.8443 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 21.2 | kBtu/h | 25.2 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 2.2404 | 0.1399 | 1.424 | Constant Setpoint | 69.57 | 0 | 0 | 0 | SITE_00141-2020-HEAT | Constant Setpoint | 71.57 | 0 | 0 | 0 | SITE_00141-2020-COOL | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 2055.111 | SITE_00141-2020-MISC | 0
SITE_00141-2021_It_0 | 6 | USA_WA_Arlington.Muni.AP.727945_AMY_2021EPW | 0 | 732 | 2 | 8.6323 | 0.74874 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.172 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 29.0321 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 10.981 | 10 | 0 | 0 | 2.0929 | No | 0.51152 | 0.6181 | No | 0.16848 | 0.010103 | 0.15551 | 0.023079 | 5.8443 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 21.2 | kBtu/h | 25.2 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 2.2404 | 0.1399 | 1.424 | Constant Setpoint | 69.57 | 0 | 0 | 0 | SITE_00141-2021-HEAT | Constant Setpoint | 71.57 | 0 | 0 | 0 | SITE_00141-2021-COOL | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 2690.1724 | SITE_00141-2021-MISC | 0
SITE_00699-2020_It_0 | 6 | USA_WA_Yakima.AF-McAllister.Field.727810_AMY_2020EPW | 0 | 1350 | 1 | 9.1017 | 0.59842 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.0431 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.7676 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 15.63 | 0 | 0 | 0 | 2.0161 | No | 0.72952 | 0.58891 | No | 0.19943 | 0.077481 | 0.15325 | 0.12366 | 13.2714 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 28.6 | kBtu/h | 31 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 0.31728 | 0.1399 | 0.63456 | Constant Setpoint | 69.4367 | 0 | 0 | 0 | SITE_00699-2020-HEAT | Constant Setpoint | 74.3573 | 0 | 0 | 0 | SITE_00699-2020-COOL | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 3337.9055 | SITE_00699-2020-MISC | 0
SITE_00699-2021_It_0 | 6 | USA_WA_Yakima.AF-McAllister.Field.727810_AMY_2021EPW | 0 | 1350 | 1 | 9.1017 | 0.59842 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 10.0431 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.7676 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 15.63 | 0 | 0 | 0 | 2.0161 | No | 0.72952 | 0.58891 | No | 0.19943 | 0.077481 | 0.15325 | 0.12366 | 13.2714 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 28.6 | kBtu/h | 31 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 0.31728 | 0.1399 | 0.63456 | Constant Setpoint | 69.4367 | 0 | 0 | 0 | SITE_00699-2021-HEAT | Constant Setpoint | 74.3573 | 0 | 0 | 0 | SITE_00699-2021-COOL | No | DHW_EZ_Sch_1 | 6 | 0 | 0 | No | No | No | No | No | 4054.3456 | SITE_00699-2021-MISC | 0
SITE_01618-2019_It_0 | 6 | USA_WA_Seattle-King-County-Intl-AP-Boeing-Field.727935_AMY_2019EPW | 0 | 1088 | 2 | 9.1677 | 1.798 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 13.7289 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 36.9076 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.069 | 0 | 0 | 0 | 2 | No | 0.51587 | 0.53507 | No | 0.10963 | 0.10735 | 0.063682 | 0.15329 | 5.8443 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 36 | kBtu/h | 36 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 3 | 0.1399 | 6 | Constant Setpoint | 67.9408 | 0 | 0 | 0 | SITE_01618-2019-HEAT | Constant Setpoint | 70.9716 | 0 | 0 | 0 | SITE_01618-2019-COOL | No | DHW_EZ_Sch_1 | 7 | 0 | 0 | No | No | No | No | No | 1110.6452 | SITE_01618-2019-MISC | 0
SITE_01618-2020_It_0 | 6 | USA_WA_Seattle-King-County-Intl-AP-Boeing-Field.727935_AMY_2020EPW | 0 | 1088 | 2 | 9.1677 | 1.798 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 13.7289 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 36.9076 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.069 | 0 | 0 | 0 | 2 | No | 0.51587 | 0.53507 | No | 0.10963 | 0.10735 | 0.063682 | 0.15329 | 5.8443 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 36 | kBtu/h | 36 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 3 | 0.1399 | 6 | Constant Setpoint | 67.9408 | 0 | 0 | 0 | SITE_01618-2020-HEAT | Constant Setpoint | 70.9716 | 0 | 0 | 0 | SITE_01618-2020-COOL | No | DHW_EZ_Sch_1 | 7 | 0 | 0 | No | No | No | No | No | 1314.257 | SITE_01618-2020-MISC | 0
SITE_01618-2021_It_0 | 6 | USA_WA_Seattle-King-County-Intl-AP-Boeing-Field.727935_AMY_2021EPW | 0 | 1088 | 2 | 9.1677 | 1.798 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 13.7289 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 36.9076 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 31.069 | 0 | 0 | 0 | 2 | No | 0.51587 | 0.53507 | No | 0.10963 | 0.10735 | 0.063682 | 0.15329 | 5.8443 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 36 | kBtu/h | 36 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 3 | 0.1399 | 6 | Constant Setpoint | 67.9408 | 0 | 0 | 0 | SITE_01618-2021-HEAT | Constant Setpoint | 70.9716 | 0 | 0 | 0 | SITE_01618-2021-COOL | No | DHW_EZ_Sch_1 | 7 | 0 | 0 | No | No | No | No | No | 1558.7839 | SITE_01618-2021-MISC | 0
SITE_00499-2021_It_0 | 6 | USA_WA_Yakima.AF-McAllister.Field.727810_AMY_2021EPW | 0 | 1472 | 1 | 8.7497 | 0.81287 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 17.5367 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 34.0708 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 33.0254 | 0 | 0 | 0 | 2.0929 | No | 0.51905 | 0.53622 | No | 0.0001 | 0.33568 | 0.075723 | 0.25996 | 8.3199 | Variable Speed ASHP (10 HSPF 22 SEER) | Manual | kBtu/h | 23 | kBtu/h | 29 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 4.4045 | 0.1399 | 8.809 | Constant Setpoint | 68.5691 | 0 | 0 | 0 | SITE_00499-2021-HEAT | Constant Setpoint | 69.3053 | 0 | 0 | 0 | SITE_00499-2021-COOL | No | DHW_EZ_Sch_1 | 4 | 0 | 0 | No | No | No | No | No | 6183.7761 | SITE_00499-2021-MISC | 0
SITE_01852-2019_It_0 | 6 | USA_OR_Aurora-State-AP-Lematta-Field.726959_AMY_2019EPW | 0 | 1462 | 1 | 9.062 | 1.0114 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 27.0706 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.11076 | 0.10622 | 0.026868 | 0.19011 | 8.3199 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 51 | kBtu/h | 54 | Electric | kW | 14.4 | 60 | 0 | 0 |  | 0.17053 | 13.5353 | 0.001 | 100 | Constant Setpoint | 70.6927 | 0 | 0 | 0 | SITE_01852-2019-HEAT | Constant Setpoint | 75.4284 | 0 | 0 | 0 | SITE_01852-2019-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3231.891 | SITE_01852-2019-MISC | 0
SITE_01852-2020_It_0 | 6 | USA_OR_Aurora-State-AP-Lematta-Field.726959_AMY_2020EPW | 0 | 1462 | 1 | 9.062 | 1.0114 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 27.0706 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.11076 | 0.10622 | 0.026868 | 0.19011 | 8.3199 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 51 | kBtu/h | 54 | Electric | kW | 14.4 | 60 | 0 | 0 |  | 0.17053 | 13.5353 | 0.001 | 100 | Constant Setpoint | 70.6927 | 0 | 0 | 0 | SITE_01852-2020-HEAT | Constant Setpoint | 75.4284 | 0 | 0 | 0 | SITE_01852-2020-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1356.8002 | SITE_01852-2020-MISC | 0
SITE_01852-2021_It_0 | 6 | USA_OR_Aurora-State-AP-Lematta-Field.726959_AMY_2021EPW | 0 | 1462 | 1 | 9.062 | 1.0114 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 27.0706 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.11076 | 0.10622 | 0.026868 | 0.19011 | 8.3199 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 51 | kBtu/h | 54 | Electric | kW | 14.4 | 60 | 0 | 0 |  | 0.17053 | 13.5353 | 0.001 | 100 | Constant Setpoint | 70.6927 | 0 | 0 | 0 | SITE_01852-2021-HEAT | Constant Setpoint | 75.4284 | 0 | 0 | 0 | SITE_01852-2021-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1483.6035 | SITE_01852-2021-MISC | 0
SITE_02039-2020_It_0 | 6 | USA_OR_Portland-Intl-AP.726980_AMY_2020EPW | 0 | 1666 | 1 | 9.9976 | 0.91222 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.978 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 15.0746 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 17.9869 | 0 | 0 | 0 | 6.9962 | No | 0.82236 | 0.55971 | No | 0.10804 | 0.10804 | 0.10804 | 0.10804 | 9.2054 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 30 | kBtu/h | 30 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 1.6 | 0.1399 | 3.2 | Constant Setpoint | 68.1881 | 0 | 0 | 0 | SITE_02039-2020-HEAT | Constant Setpoint | 73.2096 | 0 | 0 | 0 | SITE_02039-2020-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3078.0205 | SITE_02039-2020-MISC | 0
SITE_02039-2021_It_0 | 6 | USA_OR_Portland-Intl-AP.726980_AMY_2021EPW | 0 | 1666 | 1 | 9.9976 | 0.91222 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 9.978 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 15.0746 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 17.9869 | 0 | 0 | 0 | 6.9962 | No | 0.82236 | 0.55971 | No | 0.10804 | 0.10804 | 0.10804 | 0.10804 | 9.2054 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 30 | kBtu/h | 30 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 1.6 | 0.1399 | 3.2 | Constant Setpoint | 68.1881 | 0 | 0 | 0 | SITE_02039-2021-HEAT | Constant Setpoint | 73.2096 | 0 | 0 | 0 | SITE_02039-2021-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 3591.3279 | SITE_02039-2021-MISC | 0
SITE_00538-2020_It_0 | 6 | USA_OR_Crater-Lake-Klamath-Rgnl-AP.725895_AMY_2020EPW | 0 | 1232 | 2 | 8.219 | 0.82935 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 19.1634 | No | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 0 | 0 | 0 | No | 0.79331 | 0.62382 | No | 0.18504 | 0.11555 | 0.10707 | 0.19353 | 8.3199 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 42 | kBtu/h | 42 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 1.4 | 0.1399 | 2.8 | Constant Setpoint | 65.3854 | 0 | 0 | 0 | SITE_00538-2020-HEAT | Constant Setpoint | 71.2812 | 0 | 0 | 0 | SITE_00538-2020-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1712.0862 | SITE_00538-2020-MISC | 0
SITE_00538-2021_It_0 | 6 | USA_OR_Crater-Lake-Klamath-Rgnl-AP.725895_AMY_2021EPW | 0 | 1232 | 2 | 8.219 | 0.82935 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 19.1634 | No | Foundation Type with Effective R-Values | 0 | Slab | 0 | 0 | 0 | 0 | 0 | No | 0.79331 | 0.62382 | No | 0.18504 | 0.11555 | 0.10707 | 0.19353 | 8.3199 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 42 | kBtu/h | 42 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.091605 | 1.4 | 0.1399 | 2.8 | Constant Setpoint | 65.3854 | 0 | 0 | 0 | SITE_00538-2021-HEAT | Constant Setpoint | 71.2812 | 0 | 0 | 0 | SITE_00538-2021-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1664.3976 | SITE_00538-2021-MISC | 0
SITE_01856-2020_It_0 | 6 | USA_OR_Medford-Rogue-Valley-Intl-Medford-AP.725970_AMY_2020EPW | 0 | 1716 | 1 | 8.0721 | 2.1606 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.1565 | 0 | 0 | 0 | 2.0929 | No | 0.8015 | 0.65994 | No | 0.16976 | 0.18474 | 0.19343 | 0.16107 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 32.8 | kBtu/h | 33.6 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.17053 | 5.5783 | 0.001 | 100 | Constant Setpoint | 67.5743 | 0 | 0 | 0 | SITE_01856-2020-HEAT | Constant Setpoint | 75.2514 | 0 | 0 | 0 | SITE_01856-2020-COOL | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 6432.6755 | SITE_01856-2020-MISC | 0
SITE_01856-2021_It_0 | 6 | USA_OR_Medford-Rogue-Valley-Intl-Medford-AP.725970_AMY_2021EPW | 0 | 1716 | 1 | 8.0721 | 2.1606 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 11.2891 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 11.1565 | 0 | 0 | 0 | 2.0929 | No | 0.8015 | 0.65994 | No | 0.16976 | 0.18474 | 0.19343 | 0.16107 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 32.8 | kBtu/h | 33.6 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.17053 | 5.5783 | 0.001 | 100 | Constant Setpoint | 67.5743 | 0 | 0 | 0 | SITE_01856-2021-HEAT | Constant Setpoint | 75.2514 | 0 | 0 | 0 | SITE_01856-2021-COOL | No | DHW_EZ_Sch_1 | 3 | 0 | 0 | No | No | No | No | No | 5152.8101 | SITE_01856-2021-MISC | 0
SITE_01871-2020_It_0 | 6 | USA_OR_Roseburg-Rgnl-AP-Carl-Meml-Field.726904_AMY_2020EPW | 0 | 1566 | 1 | 8.8317 | 1.3533 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 2.0929 | No | 0.52413 | 0.54008 | No | 0.15598 | 0.15238 | 0.15174 | 0.15662 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 33.4 | kBtu/h | 34.6 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.12716 | 10.8288 | 0.001 | 100 | Constant Setpoint | 68.8814 | 0 | 0 | 0 | SITE_01871-2020-HEAT | Constant Setpoint | 77.4811 | 0 | 0 | 0 | SITE_01871-2020-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2490.6714 | SITE_01871-2020-MISC | 0
SITE_01871-2021_It_0 | 6 | USA_OR_Roseburg-Rgnl-AP-Carl-Meml-Field.726904_AMY_2021EPW | 0 | 1566 | 1 | 8.8317 | 1.3533 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 16.3106 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 24.0342 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 21.6577 | 0 | 0 | 0 | 2.0929 | No | 0.52413 | 0.54008 | No | 0.15598 | 0.15238 | 0.15174 | 0.15662 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 33.4 | kBtu/h | 34.6 | Electric | kW | 15.17 | 60 | 0 | 0 |  | 0.12716 | 10.8288 | 0.001 | 100 | Constant Setpoint | 68.8814 | 0 | 0 | 0 | SITE_01871-2021-HEAT | Constant Setpoint | 77.4811 | 0 | 0 | 0 | SITE_01871-2021-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 1606.9729 | SITE_01871-2021-MISC | 0
SITE_01385-2019_It_0 | 6 | USA_OR_Eugene-AP-Sweet-Field.726930_AMY_2019EPW | 0 | 1326 | 1 | 8.7054 | 1 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6335 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 33.0051 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 20.9771 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.16118 | 0.16118 | 0.16118 | 0.16118 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 26 | kBtu/h | 27.4 | Electric | kW | 15 | 60 | 0 | 0 |  | 0.12716 | 10.4886 | 0.001 | 100 | Constant Setpoint | 73.0848 | 0 | 0 | 0 | SITE_01385-2019-HEAT | Constant Setpoint | 75.3281 | 0 | 0 | 0 | SITE_01385-2019-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2877.5326 | SITE_01385-2019-MISC | 0
SITE_01385-2020_It_0 | 6 | USA_OR_Eugene-AP-Sweet-Field.726930_AMY_2020EPW | 0 | 1326 | 1 | 8.7054 | 1 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6335 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 33.0051 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 20.9771 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.16118 | 0.16118 | 0.16118 | 0.16118 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 26 | kBtu/h | 27.4 | Electric | kW | 15 | 60 | 0 | 0 |  | 0.12716 | 10.4886 | 0.001 | 100 | Constant Setpoint | 73.0848 | 0 | 0 | 0 | SITE_01385-2020-HEAT | Constant Setpoint | 75.3281 | 0 | 0 | 0 | SITE_01385-2020-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2836.427 | SITE_01385-2020-MISC | 0
SITE_01385-2021_It_0 | 6 | USA_OR_Eugene-AP-Sweet-Field.726930_AMY_2021EPW | 0 | 1326 | 1 | 8.7054 | 1 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value | 0 | 11.6335 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) | 0 | 33.0051 | No | Foundation Type with Effective R-Values | 0 | Crawlspace | 20.9771 | 0 | 0 | 0 | 2.0929 | No | 0.52177 | 0.54008 | No | 0.16118 | 0.16118 | 0.16118 | 0.16118 | 8.3199 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 26 | kBtu/h | 27.4 | Electric | kW | 15 | 60 | 0 | 0 |  | 0.12716 | 10.4886 | 0.001 | 100 | Constant Setpoint | 73.0848 | 0 | 0 | 0 | SITE_01385-2021-HEAT | Constant Setpoint | 75.3281 | 0 | 0 | 0 | SITE_01385-2021-COOL | No | DHW_EZ_Sch_1 | 2 | 0 | 0 | No | No | No | No | No | 2586.4282 | SITE_01385-2021-MISC | 0

## Run Characteristics
EnergyPlus Directory | C:\EnergyPlusV22-2-0\energyplus.exe
Model Input Template Directory | C:\Users\Christian\Repositories\REEDR\Model Input Template.xlsx
Simulation Type | Annual
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 12
Simulation End Day | 31
Output Granularity | Annual
Output End Uses | All_End_Uses
Run Complete Timestamp | 2023-08-15 20:40:59.211344-07:00 US Pacific Time