## Model Out
Run Label | Primary Furnace Heat Elec [kWh] | Primary Furnace Heat Gas [therm] | Primary Furnace Heat Propane [kBtu] | ASHP Compressor Heat Elec [kWh] | ASHP Backup Heat Elec [kWh] | ASHP Backup Heat Gas [therm] | ASHP Defrost Elec [kWh] | ASHP Crankcase Heater Elec [kWh] | Supplemental Heat Elec [kWh] | Supplemental Heat Gas [therm] | Supplemental Heat Propane [kBtu] | Supplemental Heat Wood [kBtu] | Cooling Elec [kWh] | Fans Elec [kWh] | Pumps Elec [kWh] | DHW Elec [kWh] | DHW Nat Gas [therm] | Interior Lights Elec [kWh] | Exterior Lights Elec [kWh] | Interior Equip Range Elec [kWh] | Interior Equip Range Nat Gas [therm] | Interior Equip Dryer Elec [kWh] | Interior Equip Dryer Nat Gas [therm] | Interior Equip Clotheswasher Elec [kWh] | Interior Equip Dishwasher Elec [kWh] | Interior Equip Refrigerator Elec [kWh] | Interior Equip Misc Elec [kWh] | Interior Equip Misc Nat Gas [therm] | Heat Recovery Elec [kWh] | UnmetHours Heating | UnmetHours Cooling | Infiltration Living [ACH] | Infiltration Attic [ACH] | Infiltration Crawlspace [ACH] | Infiltration UnheatedBasement [ACH]
SITE_00707-2021 |  |  |  | 8838.314 | 17767.1185 |  | 351.6035 | 407.5902 |  |  |  |  | 3771.4828 | 927.3099 |  |  |  | 0 | 0 | [7 empty] | 1027.422 | 0 |  | 103.0833 | 216.4167 | 0.22928 | 4.0319
SITE_01849-2020 |  |  |  | 1158.62 | 837.9658 |  | 36.1922 | 647.5861 |  |  |  |  | 407.8324 | 118.0159 |  |  |  | 0 | 0 | [7 empty] | 7875.0386 | 0 |  | 43.8333 | 62.75 | 0.1857 | 0.45047 | 4.1384
SITE_01849-2021 |  |  |  | 1199.9316 | 858.3831 |  | 39.2915 | 670.0115 |  |  |  |  | 469.4882 | 125.2017 |  |  |  | 0 | 0 | [7 empty] | 7498.7594 | 0 |  | 45.1667 | 101.4167 | 0.19496 | 0.52742 | 4.6881
SITE_00765-2019 |  |  |  | 3218.8453 | 6123.0492 |  | 141.3684 | 417.0227 |  |  |  |  | 2234.8578 | 495.9732 |  |  |  | 0 | 0 | [7 empty] | 4913.3149 | 0 |  | 1.8333 | 480.5833 | 0.25045 | 4.1515
SITE_00765-2020 |  |  |  | 2218.0539 | 2955.3407 |  | 88.3449 | 454.8828 |  |  |  |  | 2059.9262 | 377.3907 |  |  |  | 0 | 0 | [7 empty] | 6190.6982 | 0 |  | 0 | 449.4167 | 0.27428 | 4.9568
SITE_00765-2021 |  |  |  | 2354.5008 | 3664.3312 |  | 94.5729 | 436.6754 |  |  |  |  | 2335.1 | 411.5543 |  |  |  | 0 | 0 | [7 empty] | 5735.6309 | 0 |  | 0.083333 | 590.9167 | 0.26354 | 4.8482
SITE_00619-2020 |  |  |  | 1647.8943 | 1034.0863 |  | 89.439 | 740.5581 |  |  |  |  | 567.693 | 127.9849 |  |  |  | 0 | 0 | [7 empty] | 2619.4103 | 0 |  | 28.0833 | 3.5 | 0.20073 | 0.63283 | 4.7281
SITE_00619-2021 |  |  |  | 1679.2684 | 1229.8832 |  | 93.6371 | 735.8224 |  |  |  |  | 792.5107 | 138.3077 |  |  |  | 0 | 0 | [7 empty] | 2517.5862 | 0 |  | 27 | 31.5 | 0.2028 | 0.65406 | 4.9424
SITE_01669-2019 |  |  |  | 1539.6419 | 2287.1609 |  | 44.4948 | 473.38 |  |  |  |  | 573.9072 | 178.522 |  |  |  | 0 | 0 | [7 empty] | 703.1763 | 0 |  | 17.5 | 92.8333 | 0.22644 | 2.7131 | 3.0931
SITE_01669-2020 |  |  |  | 1640.0431 | 2286.2346 |  | 38.6313 | 485.7876 |  |  |  |  | 10.6164 | 120.5417 |  |  |  | 0 | 0 | [7 empty] | 700.396 | 0 |  | 19.5 | 0.16667 | 0.24962 | 3.2183 | 3.6489
SITE_01669-2021 |  |  |  | 1839.1794 | 2776.6385 |  | 50.7349 | 503.8748 |  |  |  |  | 44.754 | 140.0572 |  |  |  | 0 | 0 | [7 empty] | 853.4151 | 0 |  | 20.25 | 8.6667 | 0.25656 | 3.2366 | 3.6984

## Model In
Run Label | Timesteps Per Hour | Weather File | Building Orientation [deg] | Conditioned Footprint Area [ft^2] | Average Number of Stories Above Foundation | Average Ceiling Height Per Story [ft] | Building Width to Depth Ratio | Roof Pitch | Exterior Non-Foundation Wall Input Methd | Exterior Non-Foundation Wall Pre-Defined Constructions | Exterior Non-Foundation Wall Overall Effective R-Value [h-ft^2-F/Btu] | Ceiling And Roof Input Methd | Ceiling And Roof Construction | Ceiling Overall Effective R-Value [h-ft^2-F/Btu] | Attic Vented [Y/N] | Floor and Foundation Input Methd | Foundation And Floor Construction | Foundation Type | Floor Overall Effective R-Value [h-ft^2-F/Btu] | Slab Perimeter Insulation R-Value [h-ft^2-F/Btu] | Full Under-Slab Insulation R-Value [h-ft^2-F/Btu] | Slab Thermal Break Insulation R-Value [h-ft^2-F/Btu] | Basement Wall Insulation R-Value [h-ft^2-F/Btu] | Foundation Vented [Y/N] | Window U-Value [Btu/h-ft^2-F] | Window Solar Heat Gain Coefficient | Window Shades [Y/N] | Window-to-Wall Ratio, Front [%] | Window-to-Wall Ratio, Back [%] | Window-to-Wall Ratio, Left [%] | Window-to-Wall Ratio, Right [%] | Conditioned Envelope Infiltration [ACH50] | Primary HVAC Type | HVAC Sizing Method | Primary Heating Capacity Units | Primary Rated Heating Capacity [@47F OAT] | Primary Cooling Capacity Units | Primary Rated Cooling Capacity [@95F OAT] | ASHP Backup Heat Type | ASHP Backup Heat Capacity Units | ASHP Backup Heat Capacity | ASHP Backup Heat Lockout Temp [deg F] | ASHP Compressor Lockout Temp [deg F] | Non-Electric Furnace AFUE [%] | Supply Duct Leakage [%] | Supply Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Return Duct Leakage [%] | Return Duct Insulation Nominal R-Value [h-ft^2-F/Btu] | Supplemental Heating Source | Supplemental Heating Source Capacity Units | Supplemental Heating Source Capacity | Supplemental Heating Source Efficiency | Fraction of Home Served by Supplemental Heating Source | Heating Setpoint Schedule Method | Heating 8760 Schedule Name | Heating Setpoint 1 [deg F] | Heating Setpoint 1 End Time [HH:MM] | Heating Setpoint 2 [deg F] | Heating Setpoint 2 End Time [HH:MM] | Heating Setpoint 3 [deg F] | Heating Setpoint 3 End Time [HH:MM] | Heating Setpoint 4 [deg F] | Heating Setpoint 4 End Time [HH:MM] | Heating Setpoint 5 [deg F] | Heating Setpoint 5 End Time [HH:MM] | Heating Setpoint 6 [deg F] | Heating Setpoint 6 End Time [HH:MM] | Heating Setpoint 7 [deg F] | Heating Setpoint 7 End Time [HH:MM] | Heating Setpoint 8 [deg F] | Heating Setpoint 8 End Time [HH:MM] | Cooling Setpoint Schedule Method | Cooling 8760 Schedule Name | Cooling Setpoint 1 [deg F] | Cooling Setpoint 1 End Time [HH:MM] | Cooling Setpoint 2 [deg F] | Cooling Setpoint 2 End Time [HH:MM] | Cooling Setpoint 3 [deg F] | Cooling Setpoint 3 End Time [HH:MM] | Cooling Setpoint 4 [deg F] | Cooling Setpoint 4 End Time [HH:MM] | Cooling Setpoint 5 [deg F] | Cooling Setpoint 5 End Time [HH:MM] | Cooling Setpoint 6 [deg F] | Cooling Setpoint 6 End Time [HH:MM] | Cooling Setpoint 7 [deg F] | Cooling Setpoint 7 End Time [HH:MM] | Cooling Setpoint 8 [deg F] | Cooling Setpoint 8 End Time [HH:MM] | Thermostat Hysteresis Range [deg F] | Natural Ventilation Setpoint Temperature [deg F] | Water Heater | Water Heater Setpoint Schedule | Number Of People | Interior Lighting Power Density [W/ft^2] | Exterior Lighting Power [W] | Range | Dryer | Refrigerator | Clothes Washer | Dishwasher | Misc Electric Gains [Max W] | Misc Electric Gains Schedule | Misc Gas Gains [Max Btu/h] | Misc Gas Gains Schedule
SITE_00707-2021 | 12 | USA_WA_Spokane-Felts-Field.727856_AMY_2021EPW | 0 | 2102 | 1.5 | 9.3238 | 0.4 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 16.2727 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 25.5918 | Yes | Foundation Type with Effective R-Values |  | Heated Basement |  |  |  |  | 0 | No | 0.51152 | 0.59205 | Yes | 0.07925 | 0.16576 | 0.017672 | 0.25772 | 6.39 | Single Speed ASHP (7.7 HSPF 13 SEER) | Manual | kBtu/h | 47 | kBtu/h | 47 | Electric | kW | 24 | 65 | -20 |  | 0.091605 | 2.2404 | 0.1399 | 1.424 | [5 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 69.6 | 24:00 | [14 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 71 | 24:00 | [14 empty] | 0.45 |  | No |  | 1 | 0 | 0 | No | No | No | No | No | 1006.9041 | SITE_00707-2021-MISC | 0
SITE_01849-2020 | 12 | USA_OR_Corvallis-Muni-AP.726945_AMY_2020EPW | 0 | 1296 | 1 | 8.9955 | 1.1365 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 43.3984 | No | Foundation Type with Effective R-Values |  | Crawlspace | 31.7764 |  |  |  |  | Yes | 0.52177 | 0.54008 | Yes | 0.053668 | 0.154 | 0.0001 | 0.20767 | 6.86 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 23.2 | kBtu/h | 23.2 | Electric | kW | 15 | 58 | -20 |  | 0.12716 | 15.8882 | 0.001 | 100 | [5 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 65.74 | 5:00 | 71.75 | 17:00 | 65.74 | 24:00 | [10 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 75.685 | 24:00 | [14 empty] | 0.45 |  | No |  | 3 | 0 | 0 | No | No | No | No | No | 2757.8267 | SITE_01849-2020-MISC | 0
SITE_01849-2021 | 12 | USA_OR_Corvallis-Muni-AP.726945_AMY_2021EPW | 0 | 1296 | 1 | 8.9955 | 1.1365 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.6926 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 43.3984 | No | Foundation Type with Effective R-Values |  | Crawlspace | 31.7764 |  |  |  |  | Yes | 0.52177 | 0.54008 | Yes | 0.053668 | 0.154 | 0.0001 | 0.20767 | 6.86 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 23.2 | kBtu/h | 23.2 | Electric | kW | 15 | 58 | -20 |  | 0.12716 | 15.8882 | 0.001 | 100 | [5 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 65.74 | 5:00 | 71.75 | 17:00 | 65.74 | 24:00 | [10 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 75.7717 | 24:00 | [14 empty] | 0.45 |  | No |  | 3 | 0 | 0 | No | No | No | No | No | 2911.4758 | SITE_01849-2021-MISC | 0
SITE_00765-2019 | 12 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2019EPW | 0 | 1722 | 1 | 8.5745 | 0.70531 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 12.2284 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 8.1359 | Yes | Foundation Type with Effective R-Values |  | Slab |  | 0 | 0 | 0 |  | No | 0.53247 | 0.53137 | Yes | 0.10246 | 0.11246 | 0.11098 | 0.10393 | 10.545 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 27.4 | kBtu/h | 28 | Electric | kW | 14 | 60 | -20 |  | 0.091605 | 2.848 | 0.1399 | 5.696 | [5 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 63.935 | 5:00 | 64.4 | 19:00 | 63.935 | 24:00 | [10 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 72.2383 | 24:00 | [14 empty] | 0.45 |  | No |  | 3 | 0 | 0 | No | No | No | No | No | 3304.7518 | SITE_00765-2019-MISC | 0
SITE_00765-2020 | 12 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2020EPW | 0 | 1722 | 1 | 8.5745 | 0.70531 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 12.2284 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 8.1359 | Yes | Foundation Type with Effective R-Values |  | Slab |  | 0 | 0 | 0 |  | No | 0.53247 | 0.53137 | Yes | 0.10246 | 0.11246 | 0.11098 | 0.10393 | 10.545 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 27.4 | kBtu/h | 28 | Electric | kW | 14 | 60 | -20 |  | 0.091605 | 2.848 | 0.1399 | 5.696 | [5 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 63.935 | 5:00 | 64.4 | 19:00 | 63.935 | 24:00 | [10 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 74.4717 | 24:00 | [14 empty] | 0.45 |  | No |  | 3 | 0 | 0 | No | No | No | No | No | 3438.214 | SITE_00765-2020-MISC | 0
SITE_00765-2021 | 12 | USA_WA_Pasco-Tri-Cities-AP.727845_AMY_2021EPW | 0 | 1722 | 1 | 8.5745 | 0.70531 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 12.2284 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 8.1359 | Yes | Foundation Type with Effective R-Values |  | Slab |  | 0 | 0 | 0 |  | No | 0.53247 | 0.53137 | Yes | 0.10246 | 0.11246 | 0.11098 | 0.10393 | 10.545 | Single Speed ASHP (8.5 HSPF 15 SEER) | Manual | kBtu/h | 27.4 | kBtu/h | 28 | Electric | kW | 14 | 60 | -20 |  | 0.091605 | 2.848 | 0.1399 | 5.696 | [5 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 63.935 | 5:00 | 64.4 | 19:00 | 63.935 | 24:00 | [10 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 74.025 | 24:00 | [14 empty] | 0.45 |  | No |  | 3 | 0 | 0 | No | No | No | No | No | 3266.0716 | SITE_00765-2021-MISC | 0
SITE_00619-2020 | 12 | USA_OR_Redmond-Muni-AP-Roberts-Field.726920_AMY_2020EPW | 0 | 1881 | 1.5 | 8.7808 | 0.4 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 16.6487 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 24.1509 | No | Foundation Type with Effective R-Values |  | Crawlspace | 26.0716 |  |  |  |  | Yes | 0.51905 | 0.53622 | Yes | 0.17021 | 0.12992 | 0.28574 | 0.058195 | 7.221 | Variable Speed ASHP (10 HSPF 22 SEER) | Manual | kBtu/h | 45.5 | kBtu/h | 47.5 | Electric | kW | 15 | 50 | -20 |  | 0.091605 | 4 | 0.1399 | 8 | [5 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 52.75 | 5:00 | 57.325 | 23:00 | 52.75 | 24:00 | [10 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 81.55 | 24:00 | [14 empty] | 0.45 |  | No |  | 1 | 0 | 0 | No | No | No | No | No | 1076.5667 | SITE_00619-2020-MISC | 0
SITE_00619-2021 | 12 | USA_OR_Redmond-Muni-AP-Roberts-Field.726920_AMY_2021EPW | 0 | 1881 | 1.5 | 8.7808 | 0.4 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 16.6487 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 24.1509 | No | Foundation Type with Effective R-Values |  | Crawlspace | 26.0716 |  |  |  |  | Yes | 0.51905 | 0.53622 | Yes | 0.17021 | 0.12992 | 0.28574 | 0.058195 | 7.221 | Variable Speed ASHP (10 HSPF 22 SEER) | Manual | kBtu/h | 45.5 | kBtu/h | 47.5 | Electric | kW | 15 | 45 | -20 |  | 0.091605 | 4 | 0.1399 | 8 | [5 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 52.75 | 5:00 | 57.325 | 23:00 | 52.75 | 24:00 | [10 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 82.33 | 24:00 | [14 empty] | 0.45 |  | No |  | 1 | 0 | 0 | No | No | No | No | No | 1084.832 | SITE_00619-2021-MISC | 0
SITE_01669-2019 | 12 | USA_WA_Seattle-King-County-Intl-AP-Boeing-Field.727935_AMY_2019EPW | 0 | 1080 | 1 | 9.349 | 0.73159 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.5024 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 38.5719 | Yes | Foundation Type with Effective R-Values |  | Crawlspace | 26.0716 |  |  |  |  | Yes | 0.52699 | 0.53758 | Yes | 0.11731 | 0.15424 | 0.12063 | 0.15092 | 11.3884 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 18 | kBtu/h | 18 | Electric | kW | 15 | 60 | 25 |  | 0.091605 | 0.25 | 0.1399 | 0.5 | [5 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 64.1 | 9:00 | 66.2667 | 23:00 | 64.1 | 24:00 | [10 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 72.3875 | 24:00 | [14 empty] | 0.45 |  | No |  | 1 | 0 | 0 | No | No | No | No | No | 1326.5792 | SITE_01669-2019-MISC | 0
SITE_01669-2020 | 12 | USA_WA_Seattle-King-County-Intl-AP-Boeing-Field.727935_AMY_2020EPW | 0 | 1080 | 1 | 9.349 | 0.73159 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.5024 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 38.5719 | Yes | Foundation Type with Effective R-Values |  | Crawlspace | 26.0716 |  |  |  |  | Yes | 0.52699 | 0.53758 | Yes | 0.11731 | 0.15424 | 0.12063 | 0.15092 | 11.3884 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 18 | kBtu/h | 18 | Electric | kW | 15 | 60 | 30 |  | 0.091605 | 0.25 | 0.1399 | 0.5 | [5 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 64.1 | 9:00 | 66.2667 | 23:00 | 64.1 | 24:00 | [10 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 85.6 | 24:00 | [14 empty] | 0.45 |  | No |  | 1 | 0 | 0 | No | No | No | No | No | 475.7187 | SITE_01669-2020-MISC | 0
SITE_01669-2021 | 12 | USA_WA_Seattle-King-County-Intl-AP-Boeing-Field.727935_AMY_2021EPW | 0 | 1080 | 1 | 9.349 | 0.73159 | 4-12 (Low-Moderate Slope) | Overall Effective R-Value |  | 11.5024 | Ceiling Overall Effective R-Value (Assumes Uninsulated Roof) |  | 38.5719 | Yes | Foundation Type with Effective R-Values |  | Crawlspace | 26.0716 |  |  |  |  | Yes | 0.52699 | 0.53758 | Yes | 0.11731 | 0.15424 | 0.12063 | 0.15092 | 11.3884 | Single Speed ASHP (8.2 HSPF 14 SEER) | Manual | kBtu/h | 18 | kBtu/h | 18 | Electric | kW | 15 | 60 | 20 |  | 0.091605 | 0.25 | 0.1399 | 0.5 | [5 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 64.1 | 9:00 | 66.2667 | 23:00 | 64.1 | 24:00 | [10 empty] | Daily Schedule (enter setpoint values/end times at right) |  | 85.8 | 24:00 | [14 empty] | 0.45 |  | No |  | 1 | 0 | 0 | No | No | No | No | No | 1381.1193 | SITE_01669-2021-MISC | 0

## Run Characteristics
EnergyPlus Directory | C:\EnergyPlusV22-2-0\energyplus.exe
Model Input Template Directory | C:\Users\cdouglass\Box\Drafts\Git Repositories\REEDR\REEDR\Model Input Template.xlsx
Simulation Type | Annual
Simulation Begin Month | 1
Simulation Begin Day | 1
Simulation End Month | 12
Simulation End Day | 31
Output Granularity | Annual
Output End Uses | All_End_Uses
Run Complete Timestamp | 2024-09-13 10:40:00.548479-07:00 US Pacific Time